## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E078E:0000007C
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:00:14
Stop Time | 2024-11-20 16:01:00
Run Time | 00:00:46
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 49.6 dB | 68.8 dB | 74.7 dB
Lωpk | 88.2 dB | 95.5 dB | 101.6 dB
| 2024-11-20 16:00:16 | 2024-11-20 16:00:31 | 2024-11-20 16:00:17
LωSmin | 45.1 dB | 62.5 dB | 68.3 dB
| 2024-11-20 16:00:50 | 2024-11-20 16:00:28 | 2024-11-20 16:00:55
LωSmax | 57.4 dB | 79.1 dB | 85.7 dB
| 2024-11-20 16:00:17 | 2024-11-20 16:00:17 | 2024-11-20 16:00:17
LωFmin | 44.3 dB | 60.3 dB | 63.9 dB
| 2024-11-20 16:00:49 | 2024-11-20 16:00:26 | 2024-11-20 16:00:45
LωFmax | 63.0 dB | 84.3 dB | 90.8 dB
| 2024-11-20 16:00:20 | 2024-11-20 16:00:17 | 2024-11-20 16:00:17
LωImin | 46.0 dB | 65.0 dB | 71.3 dB
| 2024-11-20 16:00:50 | 2024-11-20 16:00:55 | 2024-11-20 16:00:55
LωImax | 67.8 dB | 88.8 dB | 95.7 dB
| 2024-11-20 16:00:20 | 2024-11-20 16:00:17 | 2024-11-20 16:00:17
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 49.6 | 49.6 | -99.9 | 49.6 | 49.6 | -99.9 | -99.9 | dB
LCeq - LAeq | 19.2 dB
LAIeq | 58.6 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 66.2 dB
EA (Pa²s) | 0.0 Pa²s
EA,8 h (Pa²s) | 1.1 Pa²s
EA,40 h (Pa²s) | 5.3 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.0 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:00:14 | Run | Local
2024/11/20 16:01:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -25.9 | -14.3 | -9.8 | 1.2 | 7.8 | 18.8 | 21 | 23.9 | 27.4 | 28.9 | 26.6 | 35.4 | 35.2 | 32.2 | 32.6 | 32.7 | 36.7 | 37.9 | 37.4 | 38.3 | 38.2 | 39.6 | 38.8 | 39.6 | 36.6 | 35.4 | 36.8 | 35.1 | 34.2 | 32.5 | 31.8 | 29.8 | 26.3 | 22.8 | 16.5 | 7.8
1/3 LAFmax | -9.7 | 1.2 | 5.7 | 16.1 | 22.6 | 30.6 | 35.9 | 39 | 42.7 | 41.8 | 43.4 | 40.1 | 40.7 | 45.9 | 44.8 | 47.6 | 54.1 | 54.9 | 50.8 | 53.5 | 51.1 | 57.5 | 55.3 | 55.7 | 52.6 | 50.2 | 51.6 | 51.1 | 50.8 | 50.3 | 49.8 | 48 | 45.3 | 43.4 | 35.9 | 27
1/3 LAFmin | -55.4 | -45.3 | -35.6 | -17.6 | -13 | 3.5 | 2.9 | 3.4 | 9 | 12.1 | 12.1 | 25.8 | 24.8 | 25.6 | 24.6 | 24 | 30.3 | 31.5 | 31.5 | 32.9 | 32.9 | 32.8 | 31.1 | 31.3 | 28.4 | 27.5 | 26.9 | 25.1 | 22.3 | 20.1 | 16.8 | 12.8 | 9.3 | 5 | 0 | -9.7
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:00 | 46.17 | 57.72 | 63.29 | 72.37 | 69.17 | 78.74 | 0 | 95 | USB |  | -20.95 | -17.78 | -16.42 | -5.32 | 7.34 | 15.21 | 13.14 | 12.08 | 20.44 | 20.38 | 18.79 | 35.05 | 31.93 | 32.39 | 32.22 | 31.32 | 33.55 | 35.63 | 35.81 | 37.99 | 35.62 | 34.51 | 33.35 | 32.68 | 31.46 | 30.55 | 30.37 | 27.19 | 25.32 | 22.65 | 19.79 | 16.63 | 13.61 | 8.15 | 1.88 | -8.73
| 2024-11-20 16:00 | 46.84 | 64.51 | 65.24 | 74.43 | 69.04 | 78.01 | 0 | 95 | USB |  | -30.93 | -22.05 | -20.55 | -4.95 | 5.61 | 10.03 | 11.5 | 13.74 | 28.95 | 18.81 | 19.75 | 37.94 | 36.88 | 32.39 | 30.89 | 31.12 | 34.63 | 35.81 | 36.2 | 36.26 | 36.36 | 34.58 | 33.29 | 33.14 | 30.86 | 30.2 | 31.65 | 31.37 | 26.54 | 23.32 | 25.14 | 22.17 | 14.24 | 9.1 | 3.85 | -7.72
| 2024-11-20 16:00 | 56.91 | 88.16 | 77.93 | 92.75 | 84.74 | 100.54 | 0 | 95 | USB |  | -28.93 | -15.26 | -4.05 | -1.68 | 10.32 | 21.65 | 27.3 | 29.21 | 31.84 | 34.01 | 33.31 | 37.36 | 35.65 | 39.54 | 38.41 | 34.58 | 39.67 | 44.13 | 41.94 | 45.65 | 45.67 | 42.57 | 45.32 | 47.24 | 43.93 | 42.61 | 45.04 | 44.6 | 44.21 | 44.58 | 44.11 | 42.75 | 39.68 | 36.75 | 29.8 | 21.09
| 2024-11-20 16:00 | 57.26 | 82.09 | 79.42 | 94.61 | 85.66 | 101.65 | 0 | 95 | USB |  | -19.27 | 0.28 | 3.21 | 14.04 | 20.77 | 28.53 | 34.42 | 36.43 | 39.73 | 38.6 | 34.94 | 38.49 | 37.39 | 36.61 | 37.76 | 38.99 | 40.67 | 40.27 | 45.41 | 48.52 | 44.88 | 43.98 | 45.53 | 49.27 | 45 | 44.68 | 44.63 | 44.27 | 42.52 | 42.88 | 42.73 | 40.96 | 37.71 | 34.15 | 28.97 | 20.59
| 2024-11-20 16:00 | 46.64 | 64.39 | 63.7 | 73.76 | 68.78 | 80.38 | 0 | 95 | USB |  | -22.37 | -5.64 | 0.68 | 11.06 | 16.73 | 25.08 | 26.91 | 31.85 | 33.35 | 31.32 | 28.25 | 37.13 | 36.83 | 31.79 | 33.26 | 29.26 | 36.53 | 35.69 | 34.31 | 36.52 | 37.46 | 34.54 | 33.11 | 33.44 | 30.91 | 30.85 | 29.42 | 27.55 | 25.67 | 23.92 | 21.72 | 19.56 | 17.02 | 12.53 | 6.08 | -2.46
| 2024-11-20 16:00 | 47.22 | 61.12 | 63.41 | 73.43 | 67.73 | 77.6 | 0 | 95 | USB |  | -31.09 | -15.83 | -14.4 | 1.93 | 4.2 | 12.78 | 14.94 | 14.6 | 17.18 | 19.4 | 18.04 | 36.36 | 33.17 | 31.44 | 31.03 | 29.85 | 36.71 | 37.1 | 36.24 | 36.89 | 36.75 | 35.4 | 34.39 | 33.52 | 32.07 | 32.98 | 36.95 | 32.03 | 29.39 | 25.97 | 20.9 | 17.06 | 15.02 | 9.59 | 2.66 | -7.31
| 2024-11-20 16:00 | 57.94 | 84.64 | 64.49 | 85.09 | 68.05 | 85.78 | 0 | 95 | USB |  | -40.85 | -23.27 | -27.26 | -4.93 | -1.52 | 11.92 | 17.04 | 12.5 | 16.32 | 18.12 | 25.05 | 36.18 | 36.63 | 32.81 | 31.03 | 34.06 | 36.74 | 38.71 | 43.89 | 41.86 | 46.11 | 52.35 | 50.38 | 49.84 | 47.62 | 44.43 | 43.41 | 42.36 | 41.15 | 37.4 | 36.45 | 34.8 | 29.17 | 20.33 | 11.71 | -1.03
| 2024-11-20 16:00 | 53.14 | 82.78 | 67.63 | 83.45 | 72.49 | 86.05 | 0 | 95 | USB |  | -40.9 | -32.04 | -23.97 | -4.44 | 0.98 | 16.11 | 16.51 | 11.61 | 26.07 | 24.56 | 24.43 | 36.74 | 35.34 | 29.36 | 29.38 | 29.56 | 37.33 | 36.35 | 36.23 | 37.8 | 41.19 | 47.03 | 44.04 | 42.16 | 43.33 | 42.01 | 42.01 | 39.48 | 36.48 | 34.93 | 33.21 | 29.81 | 25.75 | 18.6 | 11.39 | 1.59
| 2024-11-20 16:00 | 46.81 | 60.21 | 66.73 | 76.18 | 72.37 | 81.53 | 0 | 95 | USB |  | -40.24 | -27.22 | -27.14 | -3.85 | 6.67 | 22.04 | 13.24 | 18.04 | 23.27 | 19.47 | 16.82 | 35.96 | 33.45 | 31.31 | 34.75 | 32.48 | 37.18 | 34.58 | 36.32 | 36.55 | 37.74 | 34.36 | 33.36 | 33.32 | 30.58 | 30.24 | 30.69 | 28.67 | 28.76 | 24.33 | 20.96 | 18.35 | 16.34 | 13.48 | 3.44 | -8.3
| 2024-11-20 16:00 | 46.25 | 67.12 | 64.85 | 74.62 | 70.36 | 79.25 | 0 | 95 | USB |  | -39.49 | -28.44 | -28.03 | -1.95 | 5.23 | 18.05 | 13.63 | 16.69 | 15.43 | 19.02 | 19.65 | 36.88 | 36.07 | 29.97 | 27.58 | 29.81 | 33.94 | 35.37 | 34.93 | 35.92 | 37.69 | 34.7 | 33.31 | 32.67 | 30.07 | 29.68 | 28.8 | 27.03 | 24.68 | 27.12 | 30.87 | 27.15 | 19.33 | 17.83 | 4.46 | -8.06
| 2024-11-20 16:00 | 46.13 | 62.39 | 62.53 | 72.3 | 66.23 | 74.94 | 0 | 95 | USB |  | -41.36 | -30.37 | -26.37 | 0.56 | -1.38 | 11.44 | 14.87 | 18.57 | 12.98 | 19.73 | 18.67 | 36.62 | 35.45 | 30.26 | 29.06 | 27.07 | 35.3 | 35.33 | 34 | 36.12 | 37.36 | 34.87 | 33 | 32.66 | 30.63 | 30.75 | 32.28 | 29 | 26.29 | 22.07 | 19.18 | 16.71 | 12.81 | 6.98 | 1.02 | -8.09
| 2024-11-20 16:00 | 49.11 | 78.48 | 65.64 | 79.82 | 71.48 | 82.97 | 0 | 95 | USB |  | -42.98 | -34.04 | -32.15 | -7.74 | 4.02 | 17.17 | 14.33 | 10.94 | 14.78 | 23.84 | 26.76 | 36.5 | 37.56 | 31.81 | 32.21 | 28.27 | 36.31 | 36.13 | 36.18 | 36.64 | 39.12 | 36.19 | 34.57 | 33.58 | 32.71 | 34.54 | 37.35 | 40.08 | 40.02 | 32.03 | 28.94 | 25.6 | 20.86 | 16.06 | 7.37 | -5.21
| 2024-11-20 16:00 | 46.89 | 65.83 | 61.74 | 71.89 | 67.73 | 79.98 | 0 | 95 | USB |  | -32.51 | -25.03 | -24 | -8.53 | 5.01 | 15.24 | 15.44 | 10.59 | 16.39 | 21.82 | 20.25 | 32.32 | 32.51 | 30.39 | 33.3 | 27.08 | 37.02 | 36.28 | 32.7 | 37.41 | 37.78 | 35.28 | 35.94 | 36.04 | 33.12 | 33.76 | 31.74 | 30.34 | 31.09 | 28.14 | 23.91 | 21.78 | 15.57 | 11.44 | 3.85 | -7.5
| 2024-11-20 16:00 | 46.42 | 60.45 | 62.61 | 73.59 | 72.47 | 81.29 | 0 | 95 | USB |  | -30.14 | -26.57 | -25.61 | -11.47 | -8.92 | 11.02 | 16.26 | 11.31 | 12.97 | 21.76 | 19.44 | 29.76 | 36.82 | 31.21 | 29.73 | 28.59 | 35.57 | 36.72 | 33.81 | 35.34 | 36.7 | 34.46 | 32.25 | 32.61 | 31.2 | 32.26 | 36.67 | 31.49 | 28.97 | 26.36 | 22.01 | 19.04 | 16.66 | 9.88 | 2.89 | -7.92
| 2024-11-20 16:00 | 45.4 | 61.06 | 62.73 | 73.44 | 67.72 | 77.91 | 0 | 95 | USB |  | -27.17 | -27.35 | -18.65 | -9.03 | -3.21 | 9.82 | 18.52 | 13.38 | 17.54 | 25.43 | 23.76 | 29.1 | 32.97 | 29.97 | 28.26 | 29.51 | 33.56 | 36.2 | 33.58 | 35.64 | 35.8 | 34.47 | 32.56 | 32.84 | 31.06 | 30.4 | 32.49 | 28.5 | 27.98 | 25.67 | 26.78 | 20.82 | 13.82 | 11.06 | 3.99 | -7.03
| 2024-11-20 16:00 | 46.11 | 62.15 | 64.59 | 74.41 | 70.29 | 82.41 | 0 | 95 | USB |  | -34.68 | -31.37 | -26.44 | -6.37 | -2.97 | 9.45 | 17.94 | 14.42 | 20.65 | 29.39 | 25.09 | 31.56 | 36.81 | 30.57 | 31.9 | 29.67 | 35.78 | 35.66 | 33.15 | 35.64 | 36.32 | 34.08 | 33.21 | 32.5 | 31.08 | 30.57 | 30.28 | 28.88 | 27.45 | 25.66 | 28.13 | 26.31 | 21.66 | 19.54 | 11.06 | -0.28
| 2024-11-20 16:01 | 52.93 | 76.31 | 74.33 | 91.26 | 80.4 | 97.74 | 0 | 95 | USB |  | -31.9 | -23.18 | -12.9 | -7.47 | 5.69 | 17.06 | 20.44 | 25.4 | 29.14 | 36.05 | 35.42 | 34.4 | 34.9 | 35.57 | 36.38 | 38.34 | 41 | 42.32 | 40.36 | 39.21 | 40.34 | 38.22 | 43.47 | 45.98 | 40.75 | 38.31 | 37.09 | 35.37 | 34.41 | 34.37 | 33.28 | 32.65 | 29.92 | 26.29 | 19.62 | 10.48
| 2024-11-20 16:01 | 54.57 | 79.27 | 76.5 | 95.52 | 81.23 | 101.26 | 0 | 95 | USB |  | -12.86 | -9 | -2.28 | 9.28 | 13.88 | 26.46 | 29.37 | 34.72 | 37.95 | 38.03 | 36.87 | 33.9 | 35.72 | 37.38 | 37.77 | 40.28 | 46.42 | 47.01 | 42.05 | 39.1 | 40.36 | 40.62 | 43.53 | 45.91 | 39.12 | 40.1 | 36.36 | 37.1 | 36.38 | 35.01 | 37.01 | 32.94 | 28.05 | 23.79 | 19.59 | 10.42
| 2024-11-20 16:01 | 47.45 | 63.01 | 65.73 | 75.49 | 70.87 | 81.48 | 0 | 95 | USB |  | -17.23 | -11.91 | -5.68 | 5.06 | 7.17 | 18.6 | 18.22 | 21.65 | 26 | 32.96 | 26.1 | 30.75 | 35.42 | 31.87 | 31.54 | 32.12 | 36.1 | 37.51 | 33.66 | 34.81 | 37.02 | 37.59 | 35.5 | 35.55 | 33.26 | 32.35 | 35.88 | 31.57 | 32.84 | 29.06 | 24.49 | 23.1 | 20.57 | 16.48 | 9.61 | -5.16
| 2024-11-20 16:01 | 50.96 | 72.46 | 64.85 | 75.83 | 73.07 | 83.91 | 0 | 95 | USB |  | -28.15 | -24.09 | -23.66 | -10.5 | 3.16 | 14.42 | 14.32 | 16.18 | 20.68 | 31.68 | 23.76 | 32.62 | 34.61 | 31.21 | 31.49 | 32.04 | 35.08 | 36.31 | 36.12 | 36.86 | 35.74 | 36.81 | 34.54 | 37.29 | 34.61 | 36.21 | 45.3 | 42.01 | 42.74 | 36.83 | 32 | 25.9 | 24.86 | 16.66 | 9.04 | 0.17
| 2024-11-20 16:01 | 47.22 | 63.04 | 66.51 | 76.63 | 70.38 | 80.04 | 0 | 95 | USB |  | -30.68 | -28.93 | -23.81 | -8.67 | -0.47 | 14.22 | 13.71 | 18.65 | 23.58 | 32.33 | 27.72 | 36.4 | 38.11 | 31.53 | 34.68 | 30.44 | 34.04 | 35.93 | 35.4 | 35.99 | 35.69 | 35.6 | 33.61 | 34.51 | 32.16 | 30.56 | 33.96 | 31.48 | 29.15 | 25.8 | 22.62 | 18.69 | 15.91 | 11.8 | 3.66 | -7.37
| 2024-11-20 16:01 | 48.25 | 64.74 | 65.45 | 75.08 | 69.56 | 80.37 | 0 | 95 | USB |  | -32.07 | -32.58 | -22.07 | -11.43 | -3.83 | 15.97 | 13.43 | 18.6 | 21.05 | 28.76 | 25.7 | 35.87 | 33.86 | 31.06 | 37.79 | 39.51 | 33.42 | 37.35 | 37.32 | 37.4 | 36.51 | 35.65 | 34.69 | 35.94 | 33.85 | 31.72 | 30.72 | 34.55 | 31.14 | 27.11 | 23.68 | 20.66 | 19.59 | 10.57 | 4.9 | -5.54
| 2024-11-20 16:01 | 48.81 | 63.13 | 66.25 | 75.46 | 71.17 | 81.3 | 0 | 95 | USB |  | -31.63 | -33.28 | -25.41 | -7.63 | -1.06 | 14.4 | 9.61 | 14.98 | 23.18 | 29.83 | 26.01 | 37.48 | 35.47 | 30.7 | 33.81 | 31.5 | 34.63 | 37.31 | 36.16 | 36.31 | 35.64 | 35.32 | 35.05 | 35.54 | 33.41 | 34.22 | 42.79 | 34.81 | 34.75 | 32.01 | 26.21 | 19.92 | 16.82 | 9.17 | 2.42 | -8.71
| 2024-11-20 16:01 | 46.36 | 58.78 | 65.93 | 76.26 | 70.29 | 79.79 | 0 | 95 | USB |  | -37.38 | -31.34 | -26.15 | -7.68 | 2.51 | 18.36 | 10.94 | 16.08 | 22.64 | 30.14 | 26.36 | 36.79 | 36.14 | 29.97 | 30.06 | 30.44 | 35.02 | 35.88 | 35.54 | 35.46 | 35.08 | 35.29 | 34.64 | 33.68 | 31.12 | 29.68 | 31.83 | 29.3 | 26.1 | 23.19 | 19.61 | 17.06 | 12 | 7.42 | 1.42 | -8.83
| 2024-11-20 16:01 | 45.75 | 57.32 | 65.12 | 75.66 | 69.64 | 78.32 | 0 | 95 | USB |  | -37.72 | -34.54 | -25.75 | -7.82 | 0.94 | 16.79 | 11.47 | 16.58 | 24.67 | 30.75 | 22.92 | 33.61 | 31.36 | 30.57 | 29.79 | 30.53 | 34.14 | 36.32 | 36.34 | 36.39 | 34.4 | 34.73 | 33.72 | 33.8 | 31.15 | 29.73 | 29.06 | 27.88 | 25.01 | 22.29 | 19.16 | 16.04 | 12.04 | 6.67 | 1.62 | -8.38
| 2024-11-20 16:01 | 47.05 | 58.97 | 64.81 | 74.29 | 69.76 | 80.02 | 0 | 95 | USB |  | -37.59 | -30.88 | -21.99 | -7.31 | -3.09 | 15.77 | 12.26 | 14.78 | 19.14 | 26.67 | 23.03 | 34.84 | 35.55 | 30.09 | 34.17 | 33.31 | 34.39 | 38.49 | 36.9 | 37.28 | 34.93 | 35.87 | 33.91 | 34.19 | 31.15 | 30.32 | 31.68 | 28.94 | 25.99 | 23.09 | 20.44 | 18.56 | 12.52 | 7.06 | 1.54 | -7.88
| 2024-11-20 16:01 | 46.97 | 58.92 | 65.55 | 74.69 | 70.95 | 80.89 | 0 | 95 | USB |  | -31.65 | -23.97 | -27.63 | -4.28 | -2.36 | 16.34 | 13.46 | 16.33 | 17.08 | 24.16 | 20.77 | 35.34 | 37.21 | 31.59 | 32.88 | 33.53 | 35.02 | 37.23 | 36.3 | 36.93 | 35.7 | 35.85 | 34.99 | 33.85 | 31.31 | 29.97 | 31.04 | 28.95 | 26.25 | 23.41 | 20.27 | 17.11 | 12.75 | 7.67 | 1.84 | -8.79
| 2024-11-20 16:01 | 46.4 | 58.9 | 64.46 | 74.22 | 70 | 78 | 0 | 95 | USB |  | -33.17 | -37.75 | -25.51 | -3.29 | 1.28 | 18.09 | 10.61 | 14.67 | 14.77 | 21.27 | 19 | 33.31 | 32.37 | 31.23 | 32.06 | 37.42 | 34.84 | 36.74 | 36.55 | 35.85 | 35.4 | 35.75 | 34.41 | 33.17 | 31.1 | 29.92 | 28.69 | 28.09 | 25.07 | 22.49 | 19.35 | 16.73 | 12.4 | 7.51 | 1.88 | -7.6
| 2024-11-20 16:01 | 46.12 | 56.81 | 65.55 | 74.82 | 71.2 | 81.41 | 0 | 95 | USB |  | -35.96 | -33.64 | -25.02 | -5.39 | -2.42 | 18.4 | 12.31 | 14.1 | 15.09 | 18.2 | 16.7 | 33.47 | 36.04 | 31.26 | 31.43 | 29.47 | 35.03 | 36.32 | 35.25 | 36.07 | 35.93 | 35.52 | 34.21 | 33.25 | 31 | 29.73 | 28.94 | 27.56 | 24.12 | 21.59 | 19.2 | 15.02 | 10.57 | 6.34 | 0.99 | -9.11
| 2024-11-20 16:01 | 46.47 | 58.45 | 66.89 | 76.08 | 72.37 | 81.03 | 0 | 95 | USB |  | -39.52 | -31.72 | -26.22 | -6.19 | 1.94 | 20.6 | 12.69 | 12.13 | 16.66 | 19.37 | 18.25 | 35.41 | 38.22 | 32.21 | 29.45 | 29.4 | 35.86 | 36.35 | 36.44 | 35.78 | 35.37 | 35.63 | 33.89 | 32.88 | 30.36 | 29.29 | 29.1 | 27.32 | 24.54 | 21.37 | 19.18 | 14.92 | 9.9 | 6.23 | 0.95 | -8.88
| 2024-11-20 16:01 | 45.52 | 57.14 | 65.04 | 74.77 | 68.27 | 77.28 | 0 | 95 | USB |  | -39.63 | -29.49 | -23.08 | -5.29 | -3.56 | 18.47 | 16.94 | 15.29 | 29.55 | 24.07 | 18.28 | 33.08 | 32.97 | 29.71 | 28.35 | 28.28 | 34.41 | 35.22 | 35.49 | 35.6 | 35.86 | 34.74 | 33.84 | 32.72 | 30.36 | 29.38 | 30.39 | 27.71 | 25.3 | 21.91 | 18.37 | 15.61 | 11.65 | 7.48 | 2.18 | -8.71
| 2024-11-20 16:01 | 46.01 | 64.24 | 63.31 | 73.13 | 68.92 | 78.89 | 0 | 95 | USB |  | -44.12 | -27.18 | -24.5 | -4.36 | 0.43 | 8.29 | 13.22 | 14.39 | 23.6 | 19.41 | 17.19 | 35.33 | 32.18 | 29.75 | 32.01 | 30.19 | 34.58 | 36.02 | 36.12 | 35.92 | 35.35 | 35.37 | 32.85 | 32.75 | 30.14 | 29.48 | 30.86 | 28.52 | 27.52 | 26.54 | 24.39 | 19.9 | 16.48 | 12.38 | 5.28 | -5.59
| 2024-11-20 16:01 | 45.56 | 57.01 | 65.61 | 75.78 | 71.42 | 80.97 | 0 | 95 | USB |  | -42.75 | -28.5 | -22.14 | -4.57 | 9.83 | 18.22 | 11.61 | 11.2 | 14.03 | 16.68 | 19.18 | 36.91 | 31.86 | 32.73 | 28.7 | 28.6 | 34.88 | 35.81 | 35.54 | 35.24 | 35.17 | 34.66 | 33.35 | 32.61 | 29.67 | 28.71 | 28.26 | 26.47 | 25.01 | 22.86 | 19.92 | 17.59 | 15.6 | 10.4 | 3.42 | -8.17
| 2024-11-20 16:01 | 45.55 | 57.62 | 64.32 | 74.01 | 69.48 | 78.52 | 0 | 95 | USB |  | -41.81 | -29.37 | -24.51 | -11.2 | 7.9 | 17.02 | 11.7 | 10.45 | 14.23 | 16.48 | 17.67 | 35.35 | 34.09 | 31.72 | 27.82 | 28.78 | 34.52 | 35.16 | 36.44 | 35.7 | 34.77 | 34.56 | 33.03 | 32.35 | 29.5 | 28.41 | 28.38 | 26.28 | 23.37 | 21.01 | 18.65 | 15.21 | 10.5 | 6.22 | 1.51 | -8.5
| 2024-11-20 16:01 | 45.69 | 57.7 | 63.84 | 74.78 | 68.88 | 77.39 | 0 | 95 | USB |  | -41.58 | -33.44 | -26.68 | -10.08 | 2.58 | 15.91 | 13.91 | 9.29 | 16.28 | 20.68 | 21.31 | 31.95 | 38.94 | 30.9 | 28.9 | 29.18 | 33.94 | 34.46 | 34.99 | 35.7 | 34.88 | 34.99 | 33.07 | 32.2 | 30.15 | 29.37 | 29.95 | 27.02 | 24.38 | 21.69 | 18.11 | 14.35 | 10.58 | 5.87 | 1 | -9.3
| 2024-11-20 16:01 | 45.09 | 57.07 | 63.25 | 73.46 | 69.3 | 78.31 | 0 | 95 | USB |  | -35.63 | -30.85 | -30.05 | -12.57 | -2.61 | 16.61 | 13.41 | 12.63 | 13.13 | 17.68 | 16.29 | 28.92 | 33.43 | 29.93 | 29.9 | 28.58 | 33.27 | 35.01 | 35.33 | 35.76 | 34.68 | 35.88 | 32.92 | 32.54 | 30.72 | 29.16 | 29.85 | 27.6 | 25.69 | 22.52 | 19.16 | 15.76 | 12.14 | 8.05 | 2.04 | -7.63
| 2024-11-20 16:01 | 45.34 | 57.97 | 63.57 | 72.17 | 69.51 | 77.75 | 0 | 95 | USB |  | -34.33 | -26.29 | -27.61 | -10.56 | 3 | 14.51 | 10 | 12.9 | 12.75 | 21.28 | 17.77 | 31.92 | 31.34 | 30.58 | 29.62 | 28.53 | 34.1 | 35.38 | 35.41 | 36.53 | 34.86 | 35.57 | 33.32 | 32.78 | 30.6 | 29.41 | 27.88 | 26.63 | 24.2 | 21.31 | 19.1 | 16.08 | 12.13 | 7.61 | 1.34 | -8.87
| 2024-11-20 16:01 | 45.83 | 57.11 | 64.69 | 74.13 | 70.13 | 78.17 | 0 | 95 | USB |  | -36.64 | -25.17 | -21.58 | -11.25 | -5.58 | 18.13 | 12.11 | 12.77 | 13.92 | 19.22 | 18.11 | 34.85 | 33.52 | 32.54 | 33.6 | 27.41 | 34.05 | 35.86 | 35.72 | 35.88 | 35.38 | 35.29 | 34.1 | 32.28 | 30.82 | 29.64 | 29.14 | 27.29 | 25.19 | 22.87 | 20.71 | 16.97 | 13.58 | 9.33 | 3.65 | -7.81
| 2024-11-20 16:01 | 46.05 | 58.07 | 64.34 | 73.42 | 71.46 | 81.17 | 0 | 95 | USB |  | -36.41 | -26.67 | -25.27 | -10.93 | -6.43 | 17.31 | 9.36 | 9.5 | 12.67 | 18.05 | 20.57 | 35.78 | 34.9 | 29.34 | 31.29 | 28.39 | 34.66 | 35.7 | 35.05 | 35.77 | 35.68 | 35.77 | 33.81 | 33.02 | 30.68 | 30.56 | 30.05 | 28.13 | 26.14 | 23.73 | 21.54 | 18.18 | 14.45 | 9.47 | 3.02 | -8.01
| 2024-11-20 16:01 | 46.05 | 60.23 | 64.25 | 73.99 | 70.32 | 78.99 | 0 | 95 | USB |  | -24.02 | -14.57 | -20.86 | -8.98 | -4.59 | 17.95 | 9.01 | 9.39 | 16.38 | 20.28 | 18.9 | 33.68 | 36.46 | 31.14 | 31.34 | 30 | 35.04 | 36.17 | 36.01 | 36.25 | 35.92 | 34.95 | 33.69 | 33.35 | 30.79 | 29.48 | 29.48 | 27.14 | 25.42 | 22.65 | 20.35 | 17.86 | 11.94 | 7.27 | 0.93 | -8.97
| 2024-11-20 16:01 | 46.23 | 62.89 | 63.15 | 72.4 | 68.36 | 77.72 | 0 | 95 | USB |  | -31.56 | -22.71 | -23.78 | -15.39 | -7.08 | 15.59 | 11.29 | 10.02 | 14.07 | 16.82 | 21.02 | 33.01 | 32.72 | 29.77 | 30.33 | 29.79 | 34.48 | 36.02 | 36.11 | 36.04 | 35.73 | 35.47 | 34.38 | 33.18 | 32.29 | 30.82 | 32.78 | 31.35 | 30.18 | 27.62 | 25.28 | 24.82 | 18.12 | 13.54 | 7.26 | -5.08
| 2024-11-20 16:01 | 46.31 | 66.84 | 63.02 | 72.93 | 68.06 | 76.67 | 0 | 95 | USB |  | -37.63 | -24.6 | -24.19 | -10.91 | -3.14 | 15.83 | 12.66 | 12.24 | 16.69 | 18.19 | 19.44 | 36.11 | 29.67 | 31.04 | 28.58 | 29.53 | 33.32 | 36.67 | 36.7 | 36.09 | 34.76 | 35.55 | 33.76 | 33.27 | 31.2 | 30.22 | 30.48 | 29.79 | 28.57 | 31.61 | 32.5 | 22.14 | 15.57 | 9.43 | 2.95 | -8.11
| 2024-11-20 16:01 | 46.19 | 57.62 | 64.08 | 74.7 | 69.49 | 77.9 | 0 | 95 | USB |  | -35.51 | -30.3 | -27.24 | -12.22 | -3.45 | 15.7 | 10.5 | 10.62 | 14.62 | 19.93 | 18.7 | 37.03 | 34.05 | 29.75 | 29.04 | 30.31 | 35.54 | 36 | 36.42 | 36.12 | 35.21 | 35.34 | 34.07 | 33.35 | 31.02 | 29.68 | 29.03 | 27.32 | 25.36 | 22.41 | 18.94 | 14.5 | 11.61 | 5.84 | 0.88 | -8.53
| 2024-11-20 16:01 | 46.72 | 60.2 | 64.74 | 73.43 | 69.39 | 78.46 | 0 | 95 | USB |  | -40.26 | -31.98 | -32.5 | -12.17 | -3.24 | 15.78 | 10.72 | 12.14 | 12.29 | 18.19 | 18.08 | 38.26 | 36.45 | 30.81 | 29.87 | 30.69 | 34.81 | 35.73 | 35.44 | 35.86 | 35.64 | 35.7 | 34.19 | 33.17 | 31.4 | 31.06 | 32.35 | 30.15 | 27.98 | 25.41 | 23.23 | 21.52 | 15.9 | 10.94 | 3.94 | -7.56
| 2024-11-20 16:01 | 45.97 | 59.12 | 64.59 | 75.22 | 69.89 | 78.09 | 0 | 95 | USB |  | -34.9 | -26.17 | -29.04 | -8.98 | -4.48 | 16.85 | 12.37 | 7.88 | 13.71 | 17.52 | 17.45 | 37.13 | 33.59 | 30.78 | 27.57 | 30.01 | 35.61 | 35.42 | 35.53 | 35.17 | 35.63 | 35.29 | 33.84 | 33.47 | 31.02 | 29.57 | 29.76 | 28.65 | 26.68 | 23.41 | 19.93 | 16.02 | 11.9 | 6.71 | 1.12 | -8.9
| 2024-11-20 16:01 | 45.89 | 57.5 | 64.54 | 73.91 | 69.77 | 79.25 | 0 | 95 | USB |  | -38.43 | -31.57 | -31.2 | -9.77 | -3.15 | 17.65 | 12.97 | 11.05 | 12.46 | 18.72 | 17.63 | 36.67 | 31.48 | 27.85 | 29.04 | 29.91 | 35.07 | 36.13 | 35.7 | 35.75 | 35.64 | 34.8 | 33.81 | 33.13 | 31.31 | 29.6 | 29.21 | 28.13 | 25.89 | 23.65 | 21.27 | 18.44 | 13.64 | 8.24 | 2.76 | -8.01
Stop | 2024-11-20 16:01