## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E07FB:0000007E
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:02:03
Stop Time | 2024-11-20 16:03:00
Run Time | 00:00:57
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 48.6 dB | 65.2 dB | 70.2 dB
Lωpk | 78.4 dB | 78.8 dB | 85.2 dB
| 2024-11-20 16:02:07 | 2024-11-20 16:02:57 | 2024-11-20 16:02:09
LωSmin | 46.7 dB | 63.4 dB | 68.3 dB
| 2024-11-20 16:02:18 | 2024-11-20 16:02:19 | 2024-11-20 16:02:54
LωSmax | 51.3 dB | 68.2 dB | 75.0 dB
| 2024-11-20 16:02:03 | 2024-11-20 16:02:49 | 2024-11-20 16:02:10
LωFmin | 46.0 dB | 60.7 dB | 65.2 dB
| 2024-11-20 16:02:18 | 2024-11-20 16:02:19 | 2024-11-20 16:02:40
LωFmax | 56.0 dB | 70.3 dB | 79.6 dB
| 2024-11-20 16:02:06 | 2024-11-20 16:02:49 | 2024-11-20 16:02:09
LωImin | 47.9 dB | 66.1 dB | 71.0 dB
| 2024-11-20 16:02:19 | 2024-11-20 16:02:28 | 2024-11-20 16:02:53
LωImax | 58.4 dB | 72.1 dB | 82.2 dB
| 2024-11-20 16:02:06 | 2024-11-20 16:02:49 | 2024-11-20 16:02:09
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 48.6 | 48.6 | -99.9 | 48.6 | 48.6 | -99.9 | -99.9 | dB
LCeq - LAeq | 16.6 dB
LAIeq | 51.7 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 66.1 dB
EA (Pa²s) | 0.0 Pa²s
EA,8 h (Pa²s) | 0.8 Pa²s
EA,40 h (Pa²s) | 4.1 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.0 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:02:03 | Run | Local
2024/11/20 16:03:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -35.9 | -27.6 | -25.3 | -6.8 | 5.1 | 16.2 | 13.8 | 15.1 | 20.6 | 26.2 | 20.6 | 33.8 | 35 | 34.8 | 37.4 | 39.5 | 37.9 | 40.1 | 38.3 | 36.3 | 39.1 | 36.7 | 33.9 | 32.1 | 30.2 | 29.6 | 30.8 | 27.6 | 28.6 | 26.1 | 23 | 19.1 | 14.9 | 11.3 | 4.3 | -6.1
1/3 LAFmax | -24.1 | -20.6 | -16.9 | 0.2 | 13.8 | 21.6 | 19.6 | 24.2 | 31.7 | 35.9 | 30.4 | 39.1 | 41.1 | 43.5 | 45.7 | 50.6 | 45 | 45.6 | 47.5 | 46 | 52.7 | 46.2 | 44 | 41.3 | 42 | 38.1 | 45.5 | 38.8 | 44.7 | 47.1 | 42.5 | 35.8 | 29 | 25.1 | 19.2 | 4
1/3 LAFmin | -52.3 | -45.8 | -40.8 | -19.8 | -14.1 | 9.1 | 3.9 | 3.7 | 9.6 | 13.8 | 11.4 | 23.6 | 26.1 | 26.5 | 28.6 | 29.6 | 32.2 | 36.9 | 34.3 | 32.3 | 36.1 | 33.9 | 30.7 | 29.2 | 27.1 | 26.5 | 25.4 | 24 | 22.2 | 19.4 | 16.8 | 12.4 | 8.1 | 5.3 | 0.3 | -7.9
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:02 | 48.77 | 72 | 65.93 | 75.4 | 72.55 | 82.04 | 0 | 95 | USB |  | -28.94 | -23.78 | -24.2 | -7.86 | 9.46 | 17.02 | 15.36 | 16.21 | 16.98 | 21.84 | 19.97 | 28.31 | 34.09 | 31.49 | 33.42 | 34.69 | 37.74 | 40.92 | 41.12 | 38.19 | 39.78 | 36.35 | 37.37 | 35.39 | 31.78 | 32.09 | 31.37 | 28.2 | 29.94 | 24.78 | 21.91 | 18.01 | 12.93 | 7.71 | 2.69 | -6.1
| 2024-11-20 16:02 | 47.94 | 60.24 | 66.01 | 76.99 | 71.43 | 80.22 | 0 | 95 | USB |  | -28.68 | -24.72 | -22.44 | -6.78 | 13.24 | 19.18 | 15.92 | 16.33 | 18.69 | 23.46 | 24.88 | 31.76 | 34.77 | 32.31 | 32.81 | 34.78 | 36.99 | 39.35 | 38.26 | 35.62 | 39.5 | 36.85 | 33.9 | 32.47 | 31.38 | 33.17 | 33.71 | 29.2 | 31.94 | 26.54 | 24.37 | 21.33 | 15.16 | 8.9 | 3.33 | -6.2
| 2024-11-20 16:02 | 47.39 | 58.97 | 65.49 | 76.39 | 71.11 | 80.04 | 0 | 95 | USB |  | -37.45 | -32.16 | -27 | -11.75 | 9.17 | 15.77 | 13.45 | 11.97 | 15.66 | 19.7 | 18.56 | 32.35 | 37.44 | 30.97 | 32.84 | 35.46 | 36.29 | 39.29 | 38.38 | 35.44 | 39.32 | 35.78 | 33.56 | 32.18 | 28.02 | 28.05 | 27.71 | 25.88 | 23.81 | 21.81 | 19.07 | 15.12 | 10.7 | 6.74 | 2.05 | -6.49
| 2024-11-20 16:02 | 51.3 | 72.51 | 64.01 | 77.36 | 69.38 | 79.08 | 0 | 95 | USB |  | -35.16 | -31.03 | -25.98 | -5.27 | 6.45 | 16.96 | 14.09 | 15.61 | 16.38 | 20.76 | 18.54 | 33.35 | 31.2 | 31.9 | 34.23 | 36.71 | 37.9 | 41.84 | 39.72 | 40.18 | 46.37 | 40.05 | 35.56 | 35.99 | 36.22 | 33.45 | 39.76 | 31.03 | 33.35 | 31.24 | 29.87 | 23.96 | 22.16 | 18.63 | 13.08 | -3.56
| 2024-11-20 16:02 | 49.44 | 78.41 | 66.55 | 76.83 | 72.67 | 81.89 | 0 | 95 | USB |  | -31.37 | -25.5 | -24.99 | -2.62 | 10.57 | 18.26 | 12.74 | 16.22 | 16.31 | 18.7 | 18.67 | 35.14 | 34.08 | 31.2 | 34.62 | 36.78 | 37.29 | 39.21 | 37.9 | 35.51 | 39.18 | 36.72 | 33.5 | 32.99 | 31.04 | 32.19 | 38.67 | 33.23 | 39.58 | 39.34 | 34.26 | 28.09 | 24.48 | 19.99 | 12.8 | -1.27
| 2024-11-20 16:02 | 47.83 | 65.12 | 64.83 | 76.58 | 69.65 | 78.41 | 0 | 95 | USB |  | -30.8 | -23.78 | -22.8 | -10.08 | 10.01 | 17.36 | 13.27 | 19.18 | 12.81 | 20.53 | 16.8 | 35.48 | 37.51 | 32.22 | 33.62 | 36.11 | 35.23 | 39.96 | 36.91 | 34.62 | 38.22 | 37.28 | 33.95 | 32.01 | 30.44 | 30.25 | 29.88 | 27.99 | 30.5 | 27.82 | 30.58 | 26.4 | 19.85 | 12.09 | 7.97 | -2.78
| 2024-11-20 16:02 | 47.26 | 59.24 | 63.96 | 73.92 | 75.6 | 85.15 | 0 | 95 | USB |  | -28.67 | -27.9 | -26.83 | -7.27 | 2.52 | 15.39 | 15.54 | 16.43 | 13.37 | 19.57 | 20.01 | 34.6 | 33.87 | 28.53 | 33.3 | 32.15 | 36.2 | 39.9 | 38.75 | 35.39 | 38.81 | 36.93 | 34.02 | 31.51 | 29.24 | 30.27 | 28.42 | 25.51 | 25.52 | 22.01 | 18.57 | 14.38 | 9.75 | 6.56 | 6.52 | -6.74
| 2024-11-20 16:02 | 47.29 | 59.33 | 64.69 | 75.47 | 72.43 | 81.15 | 0 | 95 | USB |  | -35.05 | -23.58 | -25.21 | -8.84 | 7.43 | 15.23 | 14.36 | 15.81 | 15.83 | 20.83 | 20.08 | 33.12 | 30.44 | 29.7 | 33.37 | 33.06 | 36.47 | 39.11 | 36.96 | 35.39 | 38.86 | 37.04 | 34.19 | 32.96 | 31.08 | 31.37 | 31.33 | 32.13 | 29.25 | 24.13 | 21.19 | 15.77 | 10.84 | 6.66 | 1.57 | -7
| 2024-11-20 16:02 | 47.3 | 59.23 | 63.78 | 74 | 69.34 | 78.56 | 0 | 95 | USB |  | -36.28 | -23.93 | -28.51 | -10.23 | 9.32 | 15.9 | 13.38 | 14.94 | 13.98 | 21.65 | 15.57 | 30.24 | 33.57 | 31.33 | 33.41 | 34.14 | 35.86 | 39.52 | 37.85 | 35.79 | 38.76 | 36.19 | 33.91 | 31.31 | 29.99 | 29.29 | 29.1 | 32.7 | 32.9 | 25.21 | 22.54 | 19.87 | 18.09 | 18.1 | 5.23 | -5.71
| 2024-11-20 16:02 | 47.15 | 63.58 | 64.44 | 73.59 | 70.06 | 79.96 | 0 | 95 | USB |  | -34.37 | -28.86 | -34.62 | -11.55 | 5.78 | 16.99 | 14.92 | 15.02 | 15.72 | 22.08 | 19.84 | 34.74 | 34.13 | 30.66 | 33.34 | 31.85 | 35.98 | 39.68 | 36.51 | 34.3 | 38.38 | 36.79 | 34.78 | 31.48 | 30.68 | 29.49 | 30.08 | 31.4 | 28.26 | 24.27 | 21.73 | 18.05 | 14.75 | 10.42 | 3.24 | -5.68
| 2024-11-20 16:02 | 47.18 | 59.85 | 64.99 | 74.62 | 69.91 | 80.07 | 0 | 95 | USB |  | -38.19 | -25.1 | -29.93 | -10.37 | 8.06 | 14.68 | 13.68 | 14.68 | 13.48 | 24.19 | 16.4 | 36.74 | 35.51 | 31.32 | 33.09 | 31.8 | 36.3 | 39.76 | 37.31 | 34.69 | 37.71 | 35.53 | 33.05 | 31.52 | 28.75 | 27.82 | 28.66 | 26.59 | 28.76 | 21.73 | 20.42 | 16.12 | 10.02 | 5.98 | 1.03 | -6.92
| 2024-11-20 16:02 | 47.26 | 57.83 | 63.48 | 73.49 | 68.87 | 79.97 | 0 | 95 | USB |  | -34.43 | -25.63 | -21.83 | -10.07 | 2.62 | 15.84 | 13.37 | 14.19 | 16.06 | 21.06 | 18.17 | 37.9 | 33.93 | 29.92 | 32.87 | 32.85 | 37.07 | 40.06 | 37.35 | 34.08 | 39.01 | 35.94 | 32.48 | 31.22 | 28.13 | 28.03 | 28.58 | 25.47 | 25.32 | 20.73 | 18.53 | 14.67 | 10.13 | 7.12 | 1.79 | -6.69
| 2024-11-20 16:02 | 46.91 | 58.03 | 64.56 | 74.58 | 70.83 | 81.15 | 0 | 95 | USB |  | -33.79 | -25.53 | -23.42 | -4.96 | -3.11 | 15.15 | 14.61 | 11.29 | 21.67 | 21.12 | 17.43 | 36.44 | 30.82 | 29.41 | 32.7 | 33.8 | 37.29 | 40.59 | 35.81 | 35.11 | 38.04 | 35.68 | 32.41 | 31.08 | 28.11 | 27.63 | 27.16 | 24.84 | 25.17 | 21.07 | 18.24 | 16.22 | 11.46 | 7.52 | 1.48 | -6.35
| 2024-11-20 16:02 | 46.79 | 58.35 | 63.94 | 73.74 | 69.12 | 79.88 | 0 | 95 | USB |  | -38.03 | -23.7 | -23.94 | -6.05 | 4.07 | 14.42 | 13.73 | 12.09 | 22.72 | 21.85 | 19.43 | 33.97 | 30.86 | 31.35 | 33.25 | 33.57 | 36.68 | 40.08 | 36.94 | 34.96 | 38.2 | 35.55 | 32.88 | 30.84 | 28.75 | 27.81 | 26.73 | 25.12 | 23.79 | 20.5 | 18.52 | 14.62 | 9.87 | 6.26 | 1.11 | -7.05
| 2024-11-20 16:02 | 46.8 | 59.1 | 63.22 | 73.39 | 68.72 | 79.49 | 0 | 95 | USB |  | -38.04 | -31.98 | -22.13 | -4.86 | 5.48 | 15.16 | 17.05 | 10.03 | 16.96 | 20 | 20.13 | 29.18 | 32.55 | 32.26 | 33.5 | 33.34 | 37.22 | 39.91 | 37.46 | 35.21 | 37.93 | 36.57 | 32.6 | 31.11 | 28.94 | 27.4 | 26.58 | 24.55 | 23.53 | 20.52 | 17.63 | 13.92 | 9.9 | 6.03 | 0.82 | -6.89
| 2024-11-20 16:02 | 46.76 | 58.81 | 64.71 | 75.86 | 70.68 | 79.7 | 0 | 95 | USB |  | -39.16 | -29.79 | -26.44 | -4.86 | 5.86 | 15.78 | 14.37 | 13.29 | 15.11 | 18.2 | 17.65 | 29.35 | 33.2 | 29.58 | 32.27 | 34.34 | 35.76 | 40.01 | 37.78 | 34.12 | 37.89 | 36.75 | 33.25 | 31.44 | 29.37 | 28.95 | 28.75 | 25.36 | 23.94 | 20.98 | 18 | 13.81 | 9.65 | 6.27 | 1.13 | -6.8
| 2024-11-20 16:02 | 47.05 | 59.5 | 63.04 | 73.65 | 68.64 | 78.49 | 0 | 95 | USB |  | -46.55 | -30.6 | -27.54 | -2.9 | 2.66 | 15.44 | 14.62 | 10.83 | 15.54 | 17.45 | 18.28 | 29.99 | 34.59 | 30.62 | 32.32 | 34.73 | 35.83 | 40.76 | 37.31 | 35.2 | 38.04 | 36 | 32.16 | 31.41 | 29.02 | 27.89 | 27.7 | 25.06 | 25.1 | 21.57 | 19.09 | 15.14 | 10.73 | 7.33 | 1.09 | -7.04
| 2024-11-20 16:02 | 47.44 | 60.87 | 64.07 | 74.84 | 69.32 | 78.45 | 0 | 95 | USB |  | -41.86 | -31 | -30.17 | -6.05 | 0.43 | 15.69 | 12.47 | 12.82 | 14.65 | 17.36 | 21.18 | 33.16 | 35.03 | 32.1 | 32.79 | 36.33 | 36.33 | 40.3 | 37.61 | 35.41 | 38.76 | 36.58 | 33.33 | 32.23 | 29.34 | 28.12 | 27.74 | 25.98 | 25.94 | 22.75 | 19.38 | 16.11 | 11.24 | 7.56 | 1.59 | -7.09
| 2024-11-20 16:02 | 47.29 | 59.36 | 63.4 | 72.21 | 68.22 | 77.38 | 0 | 95 | USB |  | -39.63 | -35.12 | -30.76 | -7.22 | 6.61 | 16.11 | 11.41 | 13.71 | 14.97 | 19.68 | 18.89 | 35.57 | 30.86 | 31.84 | 32.94 | 34.53 | 37.14 | 40.31 | 38.31 | 35.32 | 38.16 | 36.53 | 33.43 | 31.66 | 29.42 | 27.52 | 27.78 | 25.5 | 23.86 | 21 | 18.4 | 14.92 | 10.41 | 5.94 | 1.02 | -7.04
| 2024-11-20 16:02 | 47.05 | 58.73 | 64.89 | 75.31 | 70.03 | 78.85 | 0 | 95 | USB |  | -42.85 | -36.63 | -29.55 | -8.37 | -0.65 | 17.65 | 12.93 | 11.9 | 16.25 | 20.2 | 20.83 | 36 | 31.2 | 31.43 | 32.4 | 33.62 | 36.02 | 39.99 | 37.4 | 34.19 | 38.35 | 36.84 | 33.24 | 32.06 | 29.37 | 27.78 | 27.69 | 25.33 | 23.63 | 20.79 | 18.03 | 14.4 | 10.12 | 6.24 | 0.8 | -6.9
| 2024-11-20 16:02 | 49.07 | 60.06 | 64.88 | 75.05 | 69.25 | 77.59 | 0 | 95 | USB |  | -35.93 | -34.71 | -28.46 | -8.77 | -3.89 | 17.78 | 12.36 | 11.73 | 14.32 | 20.27 | 19.89 | 35.71 | 34.55 | 34.58 | 34.84 | 43.09 | 38.45 | 40.39 | 38.58 | 35.62 | 38.64 | 37.07 | 32.66 | 31.63 | 29.3 | 28.23 | 28.02 | 25.75 | 26.1 | 21.78 | 18.94 | 16.17 | 11.55 | 7.42 | 1.3 | -6.56
| 2024-11-20 16:02 | 50.18 | 62.71 | 66.72 | 77.46 | 70.77 | 81.74 | 0 | 95 | USB |  | -37.86 | -33.31 | -22.25 | -11.14 | 1.06 | 15.71 | 11.98 | 13.37 | 22.94 | 25.25 | 21.65 | 34.9 | 38.47 | 38.88 | 38.72 | 44.88 | 38.66 | 40.88 | 38.69 | 35.35 | 38.19 | 36.49 | 32.79 | 31.53 | 29.4 | 28.32 | 27.86 | 25.51 | 24.48 | 21.26 | 18.84 | 14.89 | 11.42 | 7.2 | 1.74 | -7.11
| 2024-11-20 16:02 | 48.56 | 60.64 | 65.07 | 74.63 | 69.46 | 80.66 | 0 | 95 | USB |  | -39.06 | -28.64 | -22.44 | -10.88 | 6.92 | 16.63 | 11.72 | 15.68 | 24.05 | 27.57 | 19.86 | 32.66 | 35.06 | 37.41 | 40.02 | 39.99 | 38.28 | 39.86 | 38.14 | 35.01 | 38.79 | 36.06 | 32.5 | 31.75 | 29.3 | 27.58 | 27.3 | 25.29 | 23.76 | 21.24 | 18.74 | 15.37 | 11.15 | 6.67 | 1.15 | -7.15
| 2024-11-20 16:02 | 48.21 | 59.38 | 64.36 | 74.94 | 68.69 | 79.09 | 0 | 95 | USB |  | -45.26 | -32.32 | -24.63 | -13.64 | 1.44 | 16.04 | 14.7 | 12.62 | 14.98 | 26.7 | 18.42 | 28.59 | 32.51 | 38.38 | 37.22 | 37.17 | 38.41 | 40.69 | 37.71 | 34.48 | 38.78 | 36.05 | 33.71 | 31.86 | 29 | 27.96 | 28.27 | 25.88 | 24.48 | 21.42 | 18.98 | 16.2 | 11.69 | 7.09 | 1.54 | -7.13
| 2024-11-20 16:02 | 47.94 | 60.44 | 63.33 | 75.29 | 67.97 | 76.85 | 0 | 95 | USB |  | -42.27 | -30.28 | -26.59 | -11.75 | -5.41 | 15.88 | 9.59 | 14.4 | 18.58 | 24.83 | 19.11 | 29.36 | 32.72 | 36.75 | 36.82 | 37.37 | 39.3 | 40.85 | 38.2 | 34.87 | 38.33 | 35.67 | 32.79 | 31.93 | 29.13 | 28.12 | 27.98 | 25.66 | 26.03 | 21.6 | 18.88 | 15.69 | 11.85 | 7.31 | 1.25 | -7.03
| 2024-11-20 16:02 | 48.16 | 59.65 | 64.81 | 74.23 | 69.44 | 79.72 | 0 | 95 | USB |  | -41.51 | -24.63 | -32.8 | -13.49 | -3.39 | 16.14 | 12.15 | 13.23 | 20.17 | 22.33 | 19.64 | 29.71 | 37.48 | 36.36 | 37.09 | 36.31 | 38.66 | 40.32 | 37.34 | 34.91 | 38.56 | 36.64 | 33.15 | 32.29 | 30.01 | 28.07 | 27.39 | 25.99 | 24.38 | 21.45 | 19.08 | 16.07 | 12.29 | 7.4 | 2.14 | -6.9
| 2024-11-20 16:02 | 48.62 | 59.78 | 64.58 | 74.79 | 68.31 | 78.78 | 0 | 95 | USB |  | -43.01 | -27.62 | -33.9 | -10.87 | -2.73 | 14.53 | 14.58 | 13.61 | 14.66 | 28.34 | 21.7 | 29.99 | 37 | 35.9 | 39.5 | 37.27 | 37.88 | 40.05 | 38.53 | 35.74 | 38.92 | 36.45 | 33.2 | 32.85 | 32.59 | 30.66 | 29.68 | 27.3 | 26.05 | 23.84 | 21.42 | 17.72 | 13.02 | 7.98 | 2.25 | -6.83
| 2024-11-20 16:03 | 48.27 | 60.59 | 65.46 | 75.02 | 69.84 | 79.34 | 0 | 95 | USB |  | -36.12 | -28.91 | -31.62 | -16.73 | -0.92 | 15.71 | 10.76 | 16.48 | 16.23 | 29.78 | 20.74 | 28.76 | 33.86 | 36.7 | 39.25 | 37.07 | 39.65 | 40.15 | 38.01 | 34.63 | 37.9 | 35.94 | 33.34 | 31.55 | 30.36 | 28.34 | 27.71 | 25.77 | 24.49 | 21.95 | 20.15 | 16.69 | 12.69 | 8.07 | 2.09 | -6.78
| 2024-11-20 16:03 | 48.05 | 61.2 | 65.04 | 75.97 | 69.02 | 78.68 | 0 | 95 | USB |  | -37.09 | -26.92 | -26.86 | -9.66 | -1.55 | 15.43 | 14.76 | 14.98 | 18.85 | 30.41 | 17.8 | 31.26 | 35.51 | 37.2 | 38.61 | 37.57 | 39.32 | 39.15 | 37.18 | 35.31 | 38.08 | 35.63 | 32.83 | 31.07 | 28.8 | 27.52 | 27.99 | 25.89 | 24.82 | 21.79 | 20.24 | 16.72 | 12.1 | 8.18 | 2.1 | -6.94
| 2024-11-20 16:03 | 48.05 | 60.98 | 64.4 | 74.27 | 68.66 | 77.53 | 0 | 95 | USB |  | -38.94 | -36.93 | -29.92 | -12.91 | -1.61 | 15.25 | 14.51 | 13.35 | 17.92 | 24.58 | 18.74 | 32.76 | 32.82 | 36.55 | 39.22 | 35.01 | 38.24 | 38.8 | 37.49 | 35.6 | 38.44 | 35.39 | 32.97 | 31.57 | 28.71 | 32.37 | 34.63 | 26.34 | 26.85 | 22.08 | 19.51 | 21.8 | 12.18 | 6.51 | 1.69 | -7.05
| 2024-11-20 16:03 | 48 | 60.23 | 65.06 | 77.19 | 69.45 | 78.96 | 0 | 95 | USB |  | -39.07 | -33.22 | -27.94 | -11.32 | -3.46 | 16.03 | 12.13 | 16.57 | 16.78 | 26.69 | 22.3 | 36.21 | 33.67 | 34.81 | 37.67 | 36.62 | 37.96 | 40.24 | 37.43 | 35.47 | 38.27 | 36.35 | 33.72 | 31.11 | 29.16 | 29.71 | 27.71 | 24.97 | 23.3 | 20.53 | 18.25 | 15.39 | 10.53 | 7.46 | 1.99 | -6.1
| 2024-11-20 16:03 | 49.31 | 65.09 | 66.27 | 76.33 | 70.44 | 80.02 | 0 | 95 | USB |  | -42.34 | -33.4 | -29 | -9.42 | 1.75 | 15.77 | 15.8 | 14.01 | 17.12 | 24.46 | 22.07 | 38.34 | 38.35 | 36.23 | 37.6 | 37.26 | 38.47 | 39.98 | 38.51 | 35.62 | 39.49 | 38.35 | 36.95 | 34.88 | 31.43 | 30.66 | 30.63 | 29.29 | 27.37 | 23.77 | 22.98 | 20.38 | 15.84 | 11.37 | 3.26 | -5.59
| 2024-11-20 16:03 | 49.79 | 61.39 | 67.64 | 78.65 | 71.73 | 82.04 | 0 | 95 | USB |  | -40.88 | -31.8 | -28.28 | -6.44 | 0.9 | 16.6 | 15.08 | 14.67 | 20.31 | 30.03 | 25.71 | 37.18 | 36.28 | 38.41 | 39.7 | 40.12 | 39.11 | 40.74 | 40.05 | 35.82 | 38.13 | 36.51 | 33.33 | 31.78 | 31.38 | 31.23 | 32.4 | 28.63 | 31.9 | 27.87 | 23.97 | 20.71 | 18.97 | 18.59 | 9.53 | -5.73
| 2024-11-20 16:03 | 50.11 | 63.7 | 65.84 | 76.78 | 70.07 | 80.39 | 0 | 95 | USB |  | -39.36 | -24.98 | -23.83 | -4.54 | 8.91 | 16.52 | 16.54 | 16.52 | 24.64 | 27.59 | 25.3 | 35.97 | 35.56 | 35.48 | 40.42 | 43.66 | 39.27 | 40.54 | 40.13 | 38.11 | 39.61 | 36.5 | 34.12 | 31.87 | 30.36 | 29.51 | 29.86 | 29.13 | 28.07 | 26.21 | 24 | 21.64 | 18.92 | 13.79 | 5.97 | -5.16
| 2024-11-20 16:03 | 49.09 | 62.17 | 64.58 | 74.84 | 68.65 | 78.65 | 0 | 95 | USB |  | -39.41 | -28.57 | -24.01 | -7.35 | 2.54 | 14.28 | 14.93 | 15.57 | 20.42 | 24.78 | 20.62 | 32.91 | 36.99 | 33.2 | 37.6 | 44.53 | 37.58 | 39.3 | 38.13 | 35.34 | 38.19 | 36.65 | 33.41 | 30.94 | 28.59 | 27.75 | 26.88 | 25.51 | 23.84 | 21.38 | 19.67 | 16.6 | 11.54 | 6.96 | 1.23 | -7.03
| 2024-11-20 16:03 | 47.83 | 63.94 | 64.69 | 75.36 | 70.46 | 81.6 | 0 | 95 | USB |  | -38.37 | -31.05 | -27.44 | -3.87 | 3.07 | 15.24 | 12.7 | 15.2 | 20.26 | 25.66 | 21.42 | 29.61 | 36.43 | 32.41 | 34.95 | 36.38 | 37.04 | 39.54 | 37.88 | 37.5 | 37.92 | 36.71 | 33.8 | 31 | 29.77 | 29.22 | 32.88 | 29.87 | 28.48 | 26.18 | 23.45 | 20.41 | 15.56 | 10.82 | 3.47 | -5.78
| 2024-11-20 16:03 | 47.76 | 60.36 | 64.67 | 76.47 | 70.45 | 80.33 | 0 | 95 | USB |  | -37.44 | -24.79 | -27.16 | -4.3 | 9.3 | 15.66 | 12.07 | 15.5 | 18.5 | 21.84 | 23.57 | 31.16 | 30.88 | 33.11 | 33.86 | 34.37 | 37.07 | 39.87 | 38.49 | 39.59 | 38.68 | 36.38 | 33.22 | 32.49 | 31.1 | 29.42 | 28.31 | 26.39 | 26.13 | 22.35 | 20.37 | 17.75 | 12.83 | 8.13 | 2.06 | -7.01
| 2024-11-20 16:03 | 47.35 | 58.57 | 63.32 | 73.36 | 68.3 | 78.45 | 0 | 95 | USB |  | -38.78 | -26.16 | -20.77 | -2.19 | 7.19 | 16.03 | 14.81 | 16.1 | 17.22 | 20.86 | 18.88 | 31.75 | 33.33 | 32.11 | 34.32 | 33.21 | 37.28 | 40.45 | 37.6 | 36.3 | 39.1 | 36.55 | 33.39 | 31.51 | 28.8 | 28.26 | 27.24 | 25 | 23.52 | 21.18 | 18.47 | 15.06 | 10.88 | 7.16 | 1.88 | -6.77
| 2024-11-20 16:03 | 47.81 | 68.66 | 65.5 | 76.39 | 71.01 | 82.44 | 0 | 95 | USB |  | -44.7 | -35.03 | -20.22 | -4.45 | 5.15 | 14.89 | 10.41 | 16.16 | 22.67 | 21.91 | 21.1 | 31.5 | 35.96 | 31.62 | 32.93 | 35.47 | 36.32 | 39.71 | 38.16 | 35.5 | 38.98 | 37.77 | 35.45 | 32.75 | 31.52 | 30.71 | 31.2 | 26.49 | 25.68 | 23.17 | 21.48 | 18.34 | 16.24 | 16.67 | 5.78 | -2.42
| 2024-11-20 16:03 | 47.77 | 59.25 | 65.88 | 76.46 | 69.79 | 80.25 | 0 | 95 | USB |  | -40.67 | -27.79 | -23.17 | -2.51 | 5.34 | 17.49 | 14.29 | 13.72 | 27.52 | 23.79 | 21.75 | 32.42 | 37.57 | 32.83 | 32.08 | 34.22 | 38.47 | 39.84 | 38.32 | 35.55 | 37.75 | 36.89 | 33.55 | 31.8 | 29.99 | 29.8 | 29.12 | 27.17 | 24.68 | 22.4 | 20.37 | 17.35 | 12.34 | 7.5 | 2.05 | -7.05
| 2024-11-20 16:03 | 48.38 | 67.16 | 65.97 | 77.5 | 69.33 | 80.38 | 0 | 95 | USB |  | -34.55 | -25.38 | -25.59 | -4.71 | 3.18 | 15.86 | 12.6 | 14.97 | 30.39 | 27.06 | 19.68 | 34.53 | 38.64 | 30.91 | 32.57 | 34.24 | 36.29 | 40.37 | 38.25 | 35.86 | 38.97 | 37.77 | 37.59 | 33.46 | 32.36 | 30.6 | 29.24 | 26.39 | 25.85 | 22.05 | 19.88 | 16.69 | 13.63 | 13.16 | 2.89 | -5.69
| 2024-11-20 16:03 | 47.68 | 60.1 | 65.56 | 75.17 | 70.54 | 78.83 | 0 | 95 | USB |  | -38.69 | -28.48 | -26.35 | -7.55 | 0.57 | 15.54 | 13.01 | 17.34 | 23.06 | 27.53 | 18.49 | 35.56 | 34.25 | 31.48 | 34.11 | 35.89 | 36.86 | 39.11 | 38.84 | 36.98 | 38.89 | 36.62 | 33.28 | 32.47 | 29.09 | 28.42 | 28.53 | 26 | 25.56 | 22.29 | 19.72 | 16.73 | 12.94 | 8.36 | 2.22 | -6.69
| 2024-11-20 16:03 | 47.89 | 58.77 | 67.16 | 76.1 | 71.66 | 80.86 | 0 | 95 | USB |  | -44.36 | -24.76 | -27.49 | -2.86 | 2.29 | 17.78 | 12.12 | 15.56 | 21.16 | 32.88 | 19.74 | 35.88 | 32.61 | 32.93 | 35.08 | 34.96 | 37.8 | 40.48 | 38.48 | 35.79 | 38.49 | 36.87 | 33.75 | 31.89 | 29.62 | 28.92 | 28.46 | 25.78 | 24.09 | 21.63 | 18.78 | 14.6 | 9.98 | 6.34 | 1.28 | -6.86
| 2024-11-20 16:03 | 48.62 | 61.22 | 65.16 | 75.31 | 70.84 | 81.43 | 0 | 95 | USB |  | -36.55 | -24.96 | -21.96 | -3.01 | 4.28 | 17.99 | 11.97 | 16.07 | 22.86 | 27.72 | 18.3 | 35.34 | 33.38 | 33.43 | 36.58 | 41.52 | 36.08 | 41.05 | 38.45 | 35.98 | 38.68 | 36.5 | 33.66 | 31.41 | 29.44 | 28.26 | 28.04 | 26.06 | 24.04 | 21.58 | 19.63 | 16.58 | 12.28 | 8.75 | 2.44 | -6.23
| 2024-11-20 16:03 | 50.01 | 61.65 | 66.21 | 76.58 | 70.31 | 80.94 | 0 | 95 | USB |  | -35.52 | -27.99 | -25.92 | -5.91 | 0.99 | 15.88 | 13.26 | 14.62 | 15.44 | 31.16 | 17.62 | 32.45 | 33.45 | 35.35 | 36.09 | 45.29 | 39.96 | 39.77 | 39.21 | 36.9 | 38.91 | 36.44 | 33.34 | 32.15 | 29.45 | 28.43 | 28.26 | 26.21 | 24.82 | 22.17 | 19.01 | 17.29 | 13.23 | 8.25 | 2.41 | -7.08
| 2024-11-20 16:03 | 49.87 | 62.18 | 67.6 | 77.71 | 71.47 | 81.51 | 0 | 95 | USB |  | -34.46 | -26.44 | -25.37 | -11.26 | 3.25 | 17.67 | 12.44 | 15.87 | 15.51 | 34.79 | 21.66 | 28.1 | 32.7 | 35.07 | 38.92 | 44.14 | 39.58 | 40.65 | 39.96 | 36.29 | 39.19 | 36.77 | 33.32 | 32.41 | 30.44 | 30.33 | 30.23 | 28.49 | 27.71 | 25.43 | 23.74 | 19.13 | 14.27 | 8.94 | 2.98 | -6.49
| 2024-11-20 16:03 | 50.12 | 62.51 | 67.93 | 78.08 | 72 | 81.37 | 0 | 95 | USB |  | -34.29 | -35.11 | -22.44 | -8.79 | 1.48 | 19.51 | 16.11 | 20.1 | 26.96 | 31.02 | 24.53 | 31.61 | 37.08 | 38.39 | 41.43 | 42.92 | 40.95 | 40.08 | 38.42 | 36.37 | 39.27 | 37.03 | 33.56 | 32.15 | 30.13 | 30.67 | 29.72 | 28.39 | 26.88 | 24.65 | 22.21 | 22.45 | 14.55 | 7.85 | 1.88 | -7.1
| 2024-11-20 16:03 | 50.19 | 66.14 | 64.51 | 75.18 | 69.07 | 78.61 | 0 | 95 | USB |  | -31.1 | -31.13 | -27.12 | -9.19 | -5 | 15.24 | 15.48 | 17.3 | 21.98 | 27.75 | 19.91 | 28.47 | 31.94 | 36.54 | 41.44 | 38.34 | 38.94 | 39.97 | 39.14 | 40.78 | 41.83 | 40.98 | 35.65 | 32.52 | 30.41 | 29.1 | 31.52 | 29.46 | 32.1 | 31.86 | 26.58 | 20.07 | 14.38 | 11.2 | 4.27 | -5.65
| 2024-11-20 16:03 | 49.36 | 60.95 | 64.85 | 75.31 | 69.07 | 79.98 | 0 | 95 | USB |  | -39.4 | -26.82 | -34.99 | -12.6 | 0.87 | 14.6 | 13.53 | 12.93 | 17.24 | 25.83 | 19.49 | 29.14 | 36.16 | 36.58 | 40.73 | 40.41 | 39.99 | 39.79 | 39.01 | 36.59 | 39.18 | 36.93 | 34.58 | 32.64 | 29.75 | 30.38 | 32.06 | 28.05 | 28.42 | 24.95 | 21.98 | 21.42 | 15.71 | 10.02 | 3.24 | -6.13
| 2024-11-20 16:03 | 48.83 | 60.39 | 64.42 | 74.4 | 68.8 | 77.58 | 0 | 95 | USB |  | -36.21 | -32.28 | -30.62 | -13.78 | 0.7 | 15.26 | 13.89 | 15.04 | 19.3 | 24.22 | 19.77 | 30.89 | 36.84 | 34.73 | 41.31 | 38.7 | 36.7 | 39.77 | 37.69 | 37.29 | 38.76 | 36.64 | 32.92 | 31.49 | 29.06 | 30.91 | 34.26 | 26.64 | 30.82 | 25.69 | 21.45 | 20.53 | 16.73 | 13.39 | 5.34 | -5.99
| 2024-11-20 16:03 | 48.64 | 59.96 | 64.84 | 74.95 | 69.16 | 79.17 | 0 | 95 | USB |  | -40.84 | -26.53 | -28.56 | -11.03 | -5.49 | 14.74 | 12.74 | 14.16 | 18.2 | 27.21 | 19.52 | 31.48 | 32.04 | 36.77 | 39.92 | 40.4 | 37.3 | 39.39 | 37.7 | 35.69 | 38.62 | 36.49 | 33.56 | 31.22 | 28.72 | 29.36 | 31.33 | 26.4 | 30.12 | 26.46 | 22.5 | 20.35 | 18.67 | 15.53 | 6.52 | -5.84
| 2024-11-20 16:03 | 48.65 | 61.38 | 64.22 | 73.69 | 68.37 | 77.3 | 0 | 95 | USB |  | -43.53 | -39.62 | -28.13 | -9.99 | -0.9 | 16.09 | 11.93 | 16.13 | 16.43 | 21.07 | 17.57 | 35.5 | 33.17 | 35.08 | 41.37 | 36.73 | 37.63 | 39.71 | 38.23 | 37.24 | 38.57 | 35.93 | 32.49 | 31.23 | 30.12 | 29.95 | 29.18 | 29.85 | 30.61 | 23.83 | 22.51 | 18.75 | 12.75 | 7.8 | 2.06 | -6.88
| 2024-11-20 16:03 | 48.82 | 59.99 | 64.97 | 75.62 | 68.92 | 77.94 | 0 | 95 | USB |  | -38.6 | -33.5 | -26.35 | -8.91 | -6.95 | 15 | 12.63 | 12.8 | 16.59 | 22.87 | 17.29 | 36.69 | 36.32 | 36.56 | 40.24 | 38.15 | 37.33 | 40.45 | 38.66 | 37.54 | 38 | 35.73 | 33.03 | 31.05 | 28.59 | 28.98 | 30.12 | 24.97 | 24.92 | 21.64 | 19.01 | 16.31 | 10.85 | 6.53 | 1.27 | -7.06
| 2024-11-20 16:03 | 49.69 | 62.38 | 66.23 | 75.96 | 70.37 | 80.74 | 0 | 95 | USB |  | -37.87 | -33.22 | -29.38 | -9.85 | -0.49 | 16.36 | 12.4 | 14.08 | 21.96 | 26.96 | 23.2 | 35.44 | 32.97 | 37.28 | 41.26 | 43.28 | 40.1 | 40.55 | 37.43 | 35.7 | 38.33 | 35.39 | 33.15 | 30.53 | 28.42 | 28.79 | 30.63 | 24.59 | 24.53 | 21.26 | 19.64 | 16.4 | 10.46 | 6.75 | 1.73 | -6.94
| 2024-11-20 16:03 | 51.05 | 62.92 | 66.35 | 78.75 | 70.05 | 80.14 | 0 | 95 | USB |  | -38.89 | -31.08 | -27.26 | -6.93 | 3.78 | 15.31 | 14.19 | 13.49 | 22.35 | 25.8 | 21.33 | 34.43 | 38.29 | 41.21 | 43.01 | 45.38 | 40.24 | 40.05 | 39.48 | 36.41 | 39.14 | 35.86 | 32.7 | 30.73 | 28.81 | 28.38 | 27.6 | 25.65 | 25.66 | 22.12 | 20.44 | 17.52 | 13.62 | 8.67 | 2.72 | -6.12
| 2024-11-20 16:03 | 50.66 | 62.74 | 64.78 | 76.23 | 69.67 | 78.97 | 0 | 95 | USB |  | -39.62 | -24.12 | -21.32 | -4.41 | 0.47 | 13.66 | 13.73 | 18.01 | 18.28 | 22.82 | 20.47 | 31.8 | 33.36 | 34.46 | 35.46 | 48.03 | 37.16 | 39.42 | 38.14 | 38.39 | 38.72 | 36.29 | 33.14 | 31.14 | 28.98 | 29.24 | 28.01 | 26.16 | 26.74 | 24.77 | 20.24 | 18.09 | 13.6 | 9.21 | 2.75 | -6.74
| 2024-11-20 16:03 | 47.69 | 66.09 | 63.49 | 74.8 | 68.76 | 78.56 | 0 | 95 | USB |  | -37.52 | -29.21 | -23.17 | -4.91 | 7.22 | 14.79 | 10.74 | 13.13 | 18.25 | 22.19 | 20.24 | 30.05 | 36.02 | 33.68 | 33.23 | 35.15 | 37.44 | 39.54 | 37.72 | 36.63 | 39.31 | 36.84 | 35.34 | 32.16 | 31.74 | 28.91 | 29.73 | 25.51 | 23.28 | 20.53 | 18.84 | 15.7 | 12.09 | 10.45 | 3.1 | -6.57
Stop | 2024-11-20 16:03