## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E0852:00000080
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:03:30
Stop Time | 2024-11-20 16:04:00
Run Time | 00:00:30
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 58.8 dB | 67.4 dB | 72.7 dB
Lωpk | 85.3 dB | 90.1 dB | 89.3 dB
| 2024-11-20 16:03:54 | 2024-11-20 16:03:54 | 2024-11-20 16:03:54
LωSmin | 46.6 dB | 63.3 dB | 68.4 dB
| 2024-11-20 16:03:41 | 2024-11-20 16:03:42 | 2024-11-20 16:03:41
LωSmax | 67.7 dB | 74.1 dB | 78.1 dB
| 2024-11-20 16:03:54 | 2024-11-20 16:03:54 | 2024-11-20 16:03:55
LωFmin | 46.1 dB | 61.3 dB | 64.7 dB
| 2024-11-20 16:03:41 | 2024-11-20 16:03:41 | 2024-11-20 16:03:37
LωFmax | 72.4 dB | 78.5 dB | 81.9 dB
| 2024-11-20 16:03:54 | 2024-11-20 16:03:54 | 2024-11-20 16:03:55
LωImin | 47.8 dB | 65.9 dB | 71.7 dB
| 2024-11-20 16:03:41 | 2024-11-20 16:03:42 | 2024-11-20 16:03:52
LωImax | 76.4 dB | 80.6 dB | 84.3 dB
| 2024-11-20 16:03:54 | 2024-11-20 16:03:54 | 2024-11-20 16:03:55
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 58.8 | 58.8 | -99.9 | 58.8 | 58.8 | -99.9 | -99.9 | dB
LCeq - LAeq | 8.6 dB
LAIeq | 65.9 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 73.5 dB
EA (Pa²s) | 0.0 Pa²s
EA,8 h (Pa²s) | 8.7 Pa²s
EA,40 h (Pa²s) | 43.4 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.0 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:03:30 | Run | Local
2024/11/20 16:04:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -29.1 | -22.9 | -16.3 | -5.6 | 2.4 | 16.5 | 13.6 | 15 | 19.1 | 25 | 22.3 | 33.8 | 36.6 | 40.9 | 39.6 | 42.6 | 46.2 | 50.6 | 48.7 | 52.4 | 51.3 | 47.6 | 40.8 | 42.5 | 44.2 | 43.8 | 40.3 | 39.2 | 40.9 | 38.8 | 35.3 | 33.1 | 27.3 | 18.4 | 10.4 | -2.6
1/3 LAFmax | -17 | -11.1 | -0.3 | 1.5 | 10 | 22.8 | 19.7 | 21.4 | 27 | 30.9 | 29.7 | 41.3 | 48.5 | 54.1 | 54.2 | 57.9 | 62.8 | 68.7 | 65.6 | 70.7 | 67.4 | 66.3 | 55.2 | 60.7 | 61 | 60.7 | 57.1 | 53.8 | 58.4 | 54.7 | 52.3 | 50.4 | 43.2 | 33.4 | 25.8 | 12.7
1/3 LAFmin | -48.3 | -43.3 | -38.6 | -18.4 | -15.2 | 7.4 | 4.5 | 4.8 | 8.4 | 15 | 12.9 | 24.8 | 26.4 | 27.2 | 28.4 | 29.4 | 32.7 | 35.8 | 35.2 | 31.7 | 34.5 | 33 | 30.1 | 29.5 | 27.4 | 26.7 | 25 | 23.6 | 21.7 | 19.2 | 17 | 12.8 | 9 | 5.2 | 0.8 | -8.4
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:03 | 54.71 | 78.19 | 67.18 | 81.33 | 72.23 | 82.35 | 0 | 95 | USB |  | -26.44 | -23.57 | -21.47 | -8.48 | 4.15 | 17.43 | 14.45 | 15.43 | 23.53 | 25.4 | 23.46 | 34.4 | 33.98 | 43.55 | 43.24 | 47.16 | 43.82 | 41.77 | 46.98 | 43.67 | 40.58 | 38.69 | 40.65 | 39.22 | 36.04 | 37.94 | 40 | 41.79 | 38.49 | 36.48 | 34.03 | 29.38 | 23.52 | 13.97 | 4.91 | -6.63
| 2024-11-20 16:04 | 53.13 | 80.21 | 67.15 | 79.54 | 75.15 | 86.87 | 0 | 95 | USB |  | -31.08 | -26.06 | -13.14 | -7.19 | 5.62 | 18.13 | 13.68 | 15.9 | 17.95 | 26.06 | 24.8 | 34.34 | 34.97 | 35.45 | 35.55 | 43.15 | 38.58 | 39.29 | 40.65 | 38.58 | 39.04 | 36.79 | 35.83 | 37.17 | 39.57 | 41.99 | 45.93 | 43.14 | 42.96 | 40.13 | 36.28 | 30.16 | 24.91 | 20.43 | 13.57 | 4.41
| 2024-11-20 16:04 | 49.4 | 68.9 | 67.35 | 76.35 | 76.82 | 84.76 | 0 | 95 | USB |  | -31.87 | -22.88 | -14.44 | -6.5 | 8.33 | 18.12 | 15.9 | 15.75 | 24.69 | 28.32 | 26.75 | 31.58 | 34.35 | 34.83 | 34.1 | 35.49 | 35.84 | 39.44 | 37.58 | 38.39 | 38.54 | 36.72 | 37.15 | 38.02 | 36.81 | 33.92 | 35.99 | 37.59 | 37.59 | 30.41 | 29.97 | 24.84 | 22.15 | 19.18 | 10.63 | 0.34
| 2024-11-20 16:04 | 52.39 | 68.14 | 67.82 | 79.04 | 73.67 | 83.11 | 0 | 95 | USB |  | -27.86 | -26.31 | -16.88 | -5.55 | 5.75 | 21.1 | 13.65 | 14.22 | 21.35 | 26.67 | 23.77 | 31.23 | 41.1 | 42.62 | 36.99 | 40.2 | 44.21 | 41.71 | 40.37 | 40.11 | 42.89 | 37.26 | 35.27 | 40.23 | 40.07 | 37.25 | 37.29 | 35.64 | 32.49 | 29.21 | 24.65 | 18.38 | 15.95 | 10.73 | 4.21 | -5.5
| 2024-11-20 16:04 | 49.13 | 69.56 | 64.23 | 74.52 | 69.25 | 79.28 | 0 | 95 | USB |  | -27.27 | -17.6 | -12.96 | -7.2 | 5.98 | 18.34 | 13.6 | 15.04 | 19.84 | 27.35 | 23.61 | 31.39 | 34.61 | 30.5 | 33.47 | 34.77 | 37.92 | 40.26 | 37.5 | 35.51 | 38.29 | 38.04 | 35.44 | 33.24 | 35.2 | 37.72 | 37.08 | 38.69 | 35.4 | 30.37 | 29.6 | 24.91 | 21.01 | 18.83 | 8.58 | -2.65
| 2024-11-20 16:04 | 47.09 | 62.66 | 63.92 | 74.59 | 69.02 | 77.71 | 0 | 95 | USB |  | -32.12 | -18.75 | -26.02 | -4.19 | 4.14 | 14.54 | 13.52 | 11.56 | 16.72 | 26.28 | 24.54 | 32.65 | 34.69 | 31.28 | 34.13 | 33.69 | 36.85 | 39.87 | 36.58 | 35.73 | 37.38 | 37.43 | 33.57 | 31.85 | 29.25 | 28.84 | 27 | 26.14 | 23.91 | 21.04 | 19.6 | 15.85 | 12 | 7.63 | 2.63 | -5.62
| 2024-11-20 16:04 | 47.39 | 61.02 | 65.57 | 75.69 | 70.97 | 80.04 | 0 | 95 | USB |  | -37.09 | -23.52 | -28.22 | -14.85 | -3.37 | 17.74 | 12.12 | 11.9 | 20.6 | 25.72 | 24.38 | 34 | 35.02 | 32.45 | 33.84 | 31.56 | 37.29 | 40.23 | 37.31 | 36.31 | 37.94 | 36.93 | 32.44 | 31.42 | 30.56 | 29.84 | 28.94 | 27.45 | 25.84 | 21.89 | 20.84 | 17.51 | 13.02 | 9.09 | 3.02 | -6.47
| 2024-11-20 16:04 | 47.69 | 63.35 | 64.74 | 76.75 | 69.31 | 78.37 | 0 | 95 | USB |  | -38.64 | -29.46 | -21.31 | -8.63 | 3.12 | 18.82 | 13.8 | 15.62 | 19.29 | 26.69 | 24.82 | 35.3 | 31.96 | 30.7 | 33.22 | 32.96 | 37.36 | 39.12 | 38.12 | 35.87 | 37.1 | 37.16 | 34.16 | 34.04 | 33.38 | 32.39 | 33.89 | 32.01 | 30.15 | 25.88 | 22.59 | 18.67 | 14.33 | 10.13 | 3.17 | -6.5
| 2024-11-20 16:04 | 47.12 | 58.12 | 64.46 | 74.76 | 68.78 | 79.36 | 0 | 95 | USB |  | -40.16 | -31.72 | -22.21 | -12.11 | 0.89 | 11.24 | 12.05 | 12.15 | 17.56 | 25.9 | 24.28 | 36.76 | 36.22 | 31 | 30.61 | 33.32 | 36.26 | 39.44 | 38 | 34.91 | 37.51 | 36.65 | 31.57 | 30.4 | 28.31 | 27.44 | 25.91 | 24.36 | 23.01 | 20.79 | 18.05 | 15.66 | 11.09 | 7.69 | 1.97 | -6.31
| 2024-11-20 16:04 | 47.01 | 62.21 | 64.75 | 73.81 | 69.33 | 78.49 | 0 | 95 | USB |  | -38.16 | -25.86 | -26.68 | -4.9 | 4.4 | 15.65 | 15.11 | 18.51 | 15.66 | 24.04 | 21.91 | 35.54 | 36.86 | 31.45 | 32.47 | 32.82 | 35.89 | 38.83 | 37.94 | 35.91 | 37.04 | 36.15 | 33.95 | 31.9 | 29.13 | 29.26 | 27.45 | 25.01 | 23.7 | 21.73 | 20.19 | 16.98 | 12.38 | 8.96 | 2.27 | -6.9
| 2024-11-20 16:04 | 46.54 | 58.07 | 63.31 | 73.66 | 68.5 | 77.29 | 0 | 95 | USB |  | -42.84 | -31.09 | -28.02 | -3.46 | 4.65 | 13.11 | 15.8 | 19.13 | 13.88 | 20.48 | 24.48 | 30.8 | 30.45 | 31.73 | 33.38 | 32.78 | 35.47 | 39.29 | 38.24 | 35.86 | 37 | 36.77 | 32.09 | 30.74 | 28.99 | 28.32 | 26.74 | 25.2 | 23.6 | 20.77 | 17.96 | 15 | 10.17 | 6.36 | 1.77 | -7.47
| 2024-11-20 16:04 | 46.63 | 58.27 | 63.93 | 73.49 | 69.56 | 78.16 | 0 | 95 | USB |  | -38.4 | -27.44 | -27.52 | -4.07 | 0.59 | 17.2 | 11.25 | 12.95 | 11.49 | 20.85 | 21.78 | 27.17 | 35.03 | 30.2 | 32.29 | 33.35 | 35.91 | 38.84 | 38.09 | 35.74 | 37.08 | 36.57 | 32.69 | 30.62 | 29.33 | 28.93 | 27.84 | 25.89 | 23.81 | 21.22 | 18.75 | 15.58 | 10.91 | 6.94 | 2 | -7.09
| 2024-11-20 16:04 | 46.82 | 59 | 63.86 | 73.98 | 69.32 | 78.04 | 0 | 95 | USB |  | -40.1 | -33.66 | -27.6 | -3.75 | -0.92 | 14.11 | 15.06 | 16.32 | 15.15 | 19.44 | 20.2 | 31.31 | 33.39 | 31.27 | 31.44 | 31.69 | 36.22 | 40 | 37.48 | 35.56 | 37.43 | 37.23 | 32.16 | 30.76 | 29.19 | 29.15 | 28.03 | 26.03 | 24.48 | 21.75 | 19.8 | 16.11 | 10.79 | 6.7 | 2.56 | -6.95
| 2024-11-20 16:04 | 48.03 | 60.95 | 64.24 | 74.55 | 69.2 | 79.58 | 0 | 95 | USB |  | -38.44 | -34.46 | -29.07 | -3.4 | 2.61 | 16.52 | 13.67 | 14.56 | 16.63 | 23.34 | 20.61 | 31.92 | 31.78 | 32.25 | 34.61 | 41.97 | 37.15 | 40.22 | 37.64 | 35.58 | 36.73 | 36.63 | 32.63 | 30.91 | 29.05 | 29.37 | 28.44 | 25.64 | 24.63 | 21.92 | 19.03 | 15.53 | 10.07 | 6.21 | 1.5 | -7.33
| 2024-11-20 16:04 | 49.49 | 61.28 | 64.94 | 75.57 | 69.46 | 79.26 | 0 | 95 | USB |  | -38.57 | -38.16 | -29.34 | -2.64 | 0.77 | 13.96 | 14.16 | 13.13 | 14.3 | 22.21 | 17.77 | 34.12 | 35.68 | 35.6 | 38.59 | 44.06 | 38.36 | 40.68 | 38.96 | 35.39 | 36.98 | 37.43 | 33.24 | 30.77 | 29.26 | 29.17 | 28.29 | 25.62 | 23.44 | 20.94 | 17.92 | 13.88 | 10.86 | 6.37 | 1.92 | -7.05
| 2024-11-20 16:04 | 49.05 | 61.87 | 65.59 | 78.1 | 70.32 | 79.6 | 0 | 95 | USB |  | -35.86 | -31.87 | -28.07 | -2.96 | 2.88 | 17.6 | 14.74 | 15.13 | 22.27 | 25.75 | 20.08 | 31.03 | 35.7 | 38.33 | 39.76 | 41.52 | 37.85 | 40.78 | 38.71 | 35.42 | 37.01 | 36.78 | 32.39 | 31.06 | 29.89 | 29.62 | 29.01 | 27.38 | 27.03 | 23.35 | 20.51 | 17.41 | 12.46 | 8.18 | 2.49 | -6.56
| 2024-11-20 16:04 | 48.17 | 61.09 | 64.98 | 75.89 | 69.83 | 78.76 | 0 | 95 | USB |  | -35.42 | -27.64 | -23.18 | -3.5 | -0.14 | 16.39 | 10.85 | 11.46 | 17.11 | 27.63 | 21.16 | 28.3 | 35.17 | 36.95 | 37.72 | 36.57 | 38.74 | 39.19 | 38.65 | 36.61 | 37.09 | 37.51 | 35.08 | 31.87 | 30.67 | 29.96 | 28.7 | 26.49 | 24.55 | 22.17 | 20.42 | 18.27 | 13.14 | 9.69 | 3.65 | -6.43
| 2024-11-20 16:04 | 48.05 | 59.99 | 64.24 | 74.87 | 68.98 | 79.07 | 0 | 95 | USB |  | -37.64 | -28.09 | -27.59 | -3.6 | 0.53 | 15.42 | 15.11 | 13.74 | 19.46 | 25.81 | 18.46 | 27.95 | 34.82 | 36.97 | 38.8 | 37.15 | 38.08 | 39.27 | 38.47 | 36.48 | 37.43 | 36.95 | 33.35 | 31.62 | 29.79 | 29.6 | 28.58 | 25.93 | 24.03 | 22.1 | 19.76 | 16.49 | 11.85 | 7.64 | 2.54 | -6.68
| 2024-11-20 16:04 | 49.68 | 68.12 | 65.3 | 76.44 | 70.18 | 79.63 | 0 | 95 | USB |  | -37.81 | -24.98 | -32.42 | -4.17 | 1.17 | 16.1 | 13.25 | 9.15 | 19.18 | 26.54 | 21.19 | 32.98 | 31.06 | 37.77 | 40.41 | 37.79 | 38.94 | 40.65 | 38.96 | 37.22 | 38.65 | 38.87 | 34.15 | 32.78 | 33.07 | 35.99 | 36.3 | 33.08 | 29.99 | 27.37 | 24.67 | 21.71 | 17.63 | 12.37 | 5.84 | -5.05
| 2024-11-20 16:04 | 48.18 | 60.42 | 64.58 | 74.35 | 69.07 | 78.85 | 0 | 95 | USB |  | -42.56 | -25.87 | -23.43 | -6.44 | -1.12 | 15.82 | 13.49 | 14.64 | 17.42 | 24.68 | 17.74 | 35.88 | 31.15 | 35.68 | 38.11 | 37.39 | 38.6 | 39.63 | 38.38 | 35.7 | 37.66 | 37.06 | 32.59 | 32.22 | 30.84 | 31.82 | 29.44 | 29 | 26.7 | 23.84 | 21.78 | 17.8 | 13.49 | 9.18 | 3.44 | -6.06
| 2024-11-20 16:04 | 50.49 | 70.09 | 65.96 | 76.47 | 69.79 | 80.4 | 0 | 95 | USB |  | -43 | -25.46 | -24.28 | -7.42 | 0.56 | 14.94 | 14.22 | 15.35 | 20.27 | 24.93 | 20.46 | 35.48 | 33.48 | 38.54 | 42.06 | 43.51 | 39.73 | 39.79 | 40.85 | 35.95 | 38.23 | 37.79 | 35.87 | 33.5 | 30.52 | 30.57 | 28.74 | 29.43 | 26.27 | 23.29 | 21.64 | 18.37 | 13.47 | 9.26 | 3.84 | -6.31
| 2024-11-20 16:04 | 51.21 | 64.22 | 65.6 | 76.33 | 69.74 | 79.25 | 0 | 95 | USB |  | -42.45 | -20.61 | -25.74 | -8.26 | -2.91 | 16.35 | 13.19 | 15.5 | 24.21 | 26.51 | 21.74 | 34.09 | 36.79 | 35.43 | 39.36 | 45.06 | 38.47 | 40.33 | 40.66 | 37.88 | 38.51 | 36.69 | 33.98 | 35.65 | 35.62 | 39.73 | 36.17 | 36.32 | 35.65 | 32.66 | 25.71 | 20.7 | 17.38 | 10.57 | 4.36 | -5.32
| 2024-11-20 16:04 | 50.67 | 66.79 | 65.11 | 76.5 | 69.53 | 79.28 | 0 | 95 | USB |  | -37.19 | -31.98 | -25.11 | -11.61 | -3.47 | 15.72 | 11.16 | 12.99 | 16.75 | 20.92 | 20.98 | 30.85 | 36.9 | 33.86 | 36.28 | 46.65 | 37.13 | 40.12 | 39 | 36.11 | 37.71 | 37.14 | 34.18 | 34.43 | 33.45 | 32.26 | 31.78 | 31.3 | 29.05 | 28.5 | 27.01 | 27.3 | 27.36 | 18.08 | 11.07 | -2.61
| 2024-11-20 16:04 | 64.17 | 81.07 | 70.19 | 85.89 | 72.13 | 86.49 | 0 | 95 | USB |  | -36.08 | -38.41 | -23.04 | -6.71 | 0.13 | 15.33 | 15.03 | 16.64 | 17.13 | 25.06 | 19.87 | 26.59 | 32.87 | 44.19 | 41.8 | 51.07 | 51.73 | 51.62 | 54.03 | 56.54 | 60.72 | 47.04 | 39.02 | 38.11 | 43.85 | 48.42 | 45.36 | 42.46 | 48.76 | 43.37 | 39.68 | 38.91 | 31.17 | 21.1 | 12.89 | -2.65
| 2024-11-20 16:04 | 68.73 | 85.32 | 74.74 | 90.14 | 77.09 | 89.29 | 0 | 95 | USB |  | -33.92 | -23.19 | -17.88 | -11.92 | -3.46 | 15.13 | 11.5 | 10.3 | 14.18 | 26.28 | 20.32 | 27.82 | 30.8 | 46.05 | 49.17 | 48.34 | 57.29 | 63.74 | 60.62 | 63.04 | 56.66 | 45.02 | 43.84 | 46.39 | 49.62 | 54.27 | 50.85 | 48.59 | 51.96 | 47.99 | 44.1 | 44.35 | 37.58 | 27.77 | 20.29 | 5.21
| 2024-11-20 16:04 | 61.82 | 78.32 | 70.67 | 83.12 | 77.98 | 88.46 | 0 | 95 | USB |  | -24.11 | -15.59 | -5 | -3.08 | 4.26 | 15.68 | 9.58 | 9.95 | 15.24 | 20.73 | 19.62 | 37.17 | 43.97 | 48.84 | 40.15 | 44.02 | 49.49 | 53.57 | 53.47 | 57.16 | 46.93 | 50.24 | 42.09 | 39.86 | 44.53 | 45.21 | 39.96 | 45.97 | 42.42 | 46.39 | 42.07 | 37.26 | 31.71 | 21.53 | 12.18 | -3.4
| 2024-11-20 16:04 | 50.52 | 74.13 | 64.34 | 74.84 | 74.6 | 82.16 | 0 | 95 | USB |  | -19.47 | -16.5 | -8.82 | -3.68 | -3.95 | 16.55 | 11.37 | 14.82 | 14.28 | 21.69 | 20.97 | 34.23 | 35.48 | 31.41 | 32.74 | 33.27 | 36.45 | 38.88 | 35.96 | 35.44 | 36.55 | 35.27 | 34.02 | 32.45 | 35.04 | 32.69 | 34.49 | 41.45 | 39.11 | 42.79 | 42.17 | 38.68 | 34.62 | 22.09 | 9.96 | -2.79
| 2024-11-20 16:04 | 51.6 | 73.69 | 64.84 | 78.42 | 77.33 | 85.7 | 0 | 95 | USB |  | -24.94 | -19.63 | -18.68 | -8.65 | -5.02 | 15.9 | 12.53 | 11.32 | 16.5 | 22.59 | 21.03 | 35.69 | 38.01 | 33.83 | 34.26 | 33.7 | 37.3 | 38.56 | 39.2 | 35.98 | 38.15 | 41.87 | 43.4 | 40.84 | 37.41 | 37.87 | 35.04 | 35.26 | 40 | 40.21 | 35.93 | 32.86 | 28.21 | 20.46 | 12.5 | -0.45
| 2024-11-20 16:04 | 67.25 | 83.92 | 71.93 | 85.86 | 74.78 | 87.55 | 0 | 95 | USB |  | -21.81 | -21.98 | -19.09 | -7.87 | -3.5 | 15.58 | 13.67 | 17.94 | 17.81 | 21.43 | 18.1 | 36.71 | 42.88 | 48.4 | 39.96 | 44.85 | 52.71 | 51.29 | 50.85 | 58.37 | 62.68 | 61.28 | 51.43 | 54.21 | 54.49 | 52.38 | 46.84 | 42.74 | 39.44 | 36.21 | 27.07 | 26.09 | 22.01 | 19.04 | 7.94 | -4.66
| 2024-11-20 16:04 | 65.22 | 80.27 | 71.11 | 84.91 | 73.28 | 85.82 | 0 | 95 | USB |  | -31.97 | -26.53 | -25.39 | -8.97 | -5.89 | 15.36 | 11.45 | 17.6 | 15.82 | 20.64 | 19.44 | 37.83 | 36.05 | 46.5 | 43.75 | 37.51 | 49.88 | 55.35 | 54.26 | 61.66 | 54.76 | 48.74 | 48.99 | 51.28 | 54.68 | 50.19 | 42.54 | 42.45 | 46.68 | 46.12 | 42.58 | 38.91 | 33.25 | 25.65 | 17.57 | 1.05
Stop | 2024-11-20 16:04