## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E0870:00000083
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:04:00
Stop Time | 2024-11-20 16:05:00
Run Time | 00:01:00
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 62.7 dB | 69.2 dB | 72.5 dB
Lωpk | 88.2 dB | 89.0 dB | 89.9 dB
| 2024-11-20 16:04:19 | 2024-11-20 16:04:19 | 2024-11-20 16:04:41
LωSmin | 49.1 dB | 64.6 dB | 69.2 dB
| 2024-11-20 16:04:57 | 2024-11-20 16:04:58 | 2024-11-20 16:04:15
LωSmax | 68.5 dB | 73.2 dB | 76.6 dB
| 2024-11-20 16:04:41 | 2024-11-20 16:04:21 | 2024-11-20 16:04:48
LωFmin | 45.0 dB | 62.0 dB | 65.5 dB
| 2024-11-20 16:04:30 | 2024-11-20 16:04:57 | 2024-11-20 16:04:17
LωFmax | 73.5 dB | 76.8 dB | 80.1 dB
| 2024-11-20 16:04:06 | 2024-11-20 16:04:41 | 2024-11-20 16:04:48
LωImin | 53.6 dB | 67.0 dB | 72.0 dB
| 2024-11-20 16:04:57 | 2024-11-20 16:04:58 | 2024-11-20 16:04:15
LωImax | 76.8 dB | 79.2 dB | 82.7 dB
| 2024-11-20 16:04:06 | 2024-11-20 16:04:06 | 2024-11-20 16:04:48
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 62.7 | 62.7 | -99.9 | 62.7 | 62.7 | -99.9 | -99.9 | dB
LCeq - LAeq | 6.4 dB
LAIeq | 70.3 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 80.5 dB
EA (Pa²s) | 0.0 Pa²s
EA,8 h (Pa²s) | 21.7 Pa²s
EA,40 h (Pa²s) | 108.4 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.0 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:04:00 | Run | Timer
2024/11/20 16:05:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -31.4 | -25.3 | -22.4 | -5.9 | 1.4 | 16.2 | 13 | 14.4 | 18.4 | 23.2 | 22 | 34.4 | 40.5 | 44.6 | 40.3 | 43.2 | 49.4 | 50 | 50.2 | 56.3 | 56.7 | 52.6 | 48.4 | 51.1 | 51.3 | 47 | 44.4 | 44.3 | 41.5 | 40.5 | 38.2 | 33.9 | 27.9 | 20.2 | 11.3 | -2.5
1/3 LAFmax | -21.1 | -15 | -10.3 | 3 | 8.1 | 20.9 | 19.1 | 20.9 | 27.9 | 30.8 | 33.5 | 39.5 | 49.6 | 55.2 | 52.7 | 58.6 | 61.5 | 66.1 | 65.1 | 68.7 | 71.6 | 69 | 61.9 | 68.7 | 67.6 | 63.7 | 60.9 | 60.6 | 55.1 | 59 | 59.3 | 51.7 | 44.5 | 35.6 | 28.1 | 12.3
1/3 LAFmin | -54.4 | -41.9 | -36.9 | -21.2 | -14.6 | 8.6 | 3.4 | 3.7 | 6.5 | 10.2 | 11.7 | 21.3 | 27.1 | 26.6 | 25.5 | 28.4 | 32.7 | 33.7 | 31.3 | 31.6 | 33 | 32.6 | 31.5 | 31.2 | 29.5 | 29.4 | 27.4 | 25.1 | 23.5 | 20.6 | 17.6 | 14 | 9.7 | 5.3 | 0.7 | -9.5
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:04 | 66.68 | 83.4 | 71.59 | 85.68 | 72.78 | 86.31 | 0 | 95 | USB |  | -32.12 | -25.47 | -25.39 | -7.64 | -4.13 | 15.68 | 12.87 | 15.78 | 16.22 | 20.52 | 16.89 | 37.19 | 38.56 | 46.79 | 42.26 | 38.71 | 53.01 | 54.37 | 52.42 | 61.96 | 61.43 | 52.38 | 43.68 | 51.09 | 54.49 | 51.23 | 48.28 | 46.56 | 45.53 | 46.74 | 44.49 | 38.68 | 32.51 | 23.71 | 14.78 | -0.6
| 2024-11-20 16:04 | 63.41 | 84.85 | 69.66 | 86.55 | 73.61 | 88.06 | 0 | 95 | USB |  | -37.62 | -27.15 | -30.15 | -4.42 | 0.75 | 15.35 | 6.24 | 13.65 | 14.88 | 21.78 | 17.36 | 35.51 | 38.27 | 43.97 | 40.44 | 41.69 | 53.67 | 52.78 | 53.43 | 58.8 | 47 | 42.2 | 37.62 | 38.78 | 45.63 | 55.95 | 48.94 | 51.84 | 45.3 | 46.26 | 41.62 | 39.77 | 33.8 | 26.6 | 17.35 | 0.79
| 2024-11-20 16:04 | 64.64 | 84.59 | 69.56 | 86.88 | 72.91 | 87.66 | 0 | 95 | USB |  | -32.67 | -22.97 | -21.59 | -6.8 | -0.78 | 15.53 | 13.56 | 15.06 | 18.83 | 19.41 | 18.9 | 30.11 | 39 | 44.65 | 35.59 | 42.53 | 51.38 | 47.28 | 50.96 | 58.05 | 60.26 | 57.12 | 50.47 | 48.77 | 45.78 | 39.3 | 41.93 | 48.31 | 45.29 | 41.95 | 39.67 | 40.02 | 33.74 | 22.54 | 14.05 | -4.16
| 2024-11-20 16:04 | 63.49 | 83.97 | 68.92 | 83.89 | 72.1 | 84.04 | 0 | 95 | USB |  | -36.41 | -27.66 | -25.61 | -4.14 | 2.83 | 16.47 | 10.12 | 13.82 | 15.24 | 20.83 | 15.91 | 29.57 | 43.52 | 39.69 | 29.21 | 44.6 | 44.38 | 46.91 | 51.4 | 55.04 | 60.02 | 51.27 | 46.52 | 46.7 | 54.55 | 49.44 | 42.29 | 45.24 | 41.2 | 38.03 | 29.39 | 30.11 | 27 | 17.94 | 8.07 | -4
| 2024-11-20 16:04 | 65.27 | 84.24 | 70.53 | 85.06 | 73.38 | 87.41 | 0 | 95 | USB |  | -28.83 | -24.71 | -26.17 | -3.61 | -0.47 | 17.67 | 13.38 | 11.55 | 15.75 | 20.38 | 18.71 | 31.95 | 40.4 | 44.58 | 39.96 | 41.1 | 52.01 | 50.72 | 49.48 | 56.58 | 60.07 | 58.52 | 50.86 | 53.82 | 51.24 | 45.63 | 45.3 | 47.13 | 44.97 | 42.96 | 41.55 | 39.83 | 34.78 | 24.07 | 13.12 | -0.3
| 2024-11-20 16:04 | 63.25 | 81.19 | 69.7 | 82.59 | 71.71 | 84.46 | 0 | 95 | USB |  | -33.39 | -27.56 | -27.5 | -2.2 | 4.28 | 17.02 | 13.49 | 11.61 | 17.38 | 22.78 | 16.53 | 27.4 | 43.76 | 45.75 | 38 | 47.16 | 49.29 | 47.24 | 48.22 | 53.86 | 59.66 | 54.49 | 50.4 | 53.21 | 47.99 | 41.2 | 41.48 | 43.29 | 43.44 | 40.45 | 38.94 | 35.68 | 32.94 | 22.49 | 12.26 | -3.14
| 2024-11-20 16:04 | 68.43 | 88.01 | 72.74 | 88.46 | 74.79 | 88.78 | 0 | 95 | USB |  | -39.75 | -25.87 | -28.18 | -5.41 | 4.28 | 15.44 | 11.21 | 15.61 | 24.17 | 23.22 | 22.17 | 26.55 | 42.47 | 49.98 | 40.6 | 44.92 | 54.23 | 46.21 | 50.39 | 58.8 | 64.58 | 58.67 | 56.51 | 58.43 | 58.94 | 49.33 | 47.38 | 45.49 | 42.5 | 38.07 | 32.51 | 35.12 | 29.83 | 20.1 | 10.74 | -3.45
| 2024-11-20 16:04 | 65.73 | 85.34 | 71.84 | 87.32 | 73.65 | 87.73 | 0 | 95 | USB |  | -35.01 | -25.29 | -22.97 | -3.19 | -4.13 | 17.86 | 16.39 | 12.26 | 23.04 | 22.12 | 21.6 | 31.11 | 44.74 | 48.95 | 42.5 | 44.83 | 52.89 | 53.73 | 51.45 | 59.05 | 61.28 | 52.43 | 53.97 | 54.03 | 52.25 | 42.1 | 42.84 | 44.24 | 39.47 | 33.84 | 27.74 | 23.7 | 22.06 | 14.3 | 9.36 | -5.35
| 2024-11-20 16:04 | 51.5 | 66.17 | 66.12 | 77.17 | 70.84 | 81.33 | 0 | 95 | USB |  | -36.17 | -26.46 | -25.9 | -3.9 | -8 | 17.04 | 10.87 | 12.76 | 20.33 | 24.14 | 20.8 | 34.96 | 39.48 | 38.49 | 37.29 | 41.5 | 39.75 | 37.51 | 39.85 | 45.34 | 43.36 | 40.26 | 35.13 | 34.57 | 38.38 | 33.33 | 34.66 | 32.61 | 27.85 | 26.35 | 21.81 | 18.55 | 15.26 | 9.86 | 3.88 | -8.04
| 2024-11-20 16:04 | 54.82 | 74.1 | 66.23 | 80.07 | 70.74 | 80.55 | 0 | 95 | USB |  | -28.55 | -17.68 | -20.72 | -4.3 | -1.84 | 15.51 | 13.42 | 14.95 | 21.58 | 21.81 | 18.27 | 36.66 | 35.58 | 41.49 | 38.3 | 42.17 | 41.69 | 46.23 | 42.12 | 47.22 | 42.56 | 42.07 | 38.04 | 36.15 | 35.86 | 35.25 | 37.24 | 37.39 | 37.16 | 33.53 | 27.98 | 23.39 | 18.63 | 14.97 | 6.7 | -5.75
| 2024-11-20 16:04 | 55.41 | 72.55 | 67.91 | 81.36 | 70.73 | 82.36 | 0 | 95 | USB |  | -26.25 | -22.42 | -17.7 | -9.1 | -0.16 | 14.95 | 11.58 | 15.32 | 20.29 | 22.59 | 20.02 | 38.19 | 41.24 | 46.28 | 38.96 | 42.58 | 48.17 | 44.88 | 48.35 | 46.38 | 48.66 | 43.02 | 39.02 | 38.88 | 38.6 | 36.8 | 35.79 | 33.68 | 32.18 | 29.04 | 24.06 | 20.18 | 16.89 | 12.01 | 6.33 | -6.7
| 2024-11-20 16:04 | 46.1 | 58.2 | 63.6 | 72.79 | 68.61 | 76.98 | 0 | 96 | USB |  | -31.87 | -28.07 | -21.46 | -6.84 | -1.03 | 16.17 | 11.29 | 11.78 | 16.67 | 18.57 | 19.33 | 37 | 33.64 | 29.34 | 29.24 | 32.12 | 35.13 | 36.32 | 34.83 | 35.41 | 35.79 | 34.56 | 33.71 | 33.67 | 31.51 | 30.92 | 30.14 | 28.1 | 27.82 | 25.1 | 22.49 | 18.79 | 15.45 | 11.43 | 3.74 | -7.72
| 2024-11-20 16:04 | 64.45 | 82.47 | 69.19 | 84.66 | 71.2 | 85.68 | 0 | 96 | USB |  | -39.05 | -23.91 | -26.86 | -9.62 | 4.56 | 14.15 | 10.58 | 13.99 | 15.23 | 19.34 | 18.25 | 35.22 | 36.77 | 40.21 | 44.67 | 32.68 | 45.74 | 51.22 | 51.6 | 59.24 | 59.77 | 55.4 | 51.93 | 50.57 | 44.94 | 39.62 | 40.37 | 38.93 | 44 | 30.69 | 25.93 | 21.64 | 19.9 | 12.74 | 4.18 | -7.42
| 2024-11-20 16:04 | 54.16 | 67.16 | 65.27 | 76.56 | 69.66 | 80 | 0 | 96 | USB |  | -40.74 | -25.99 | -27.54 | -11.59 | 3.78 | 15.85 | 12.56 | 15.49 | 17.8 | 16.71 | 15.87 | 31.7 | 29.97 | 40.41 | 32.81 | 32.51 | 45.91 | 45.35 | 42.17 | 48.41 | 41.83 | 39.86 | 36.76 | 41.04 | 38.71 | 40.09 | 40.45 | 35.5 | 37.23 | 32.33 | 35.07 | 30.55 | 21.95 | 15.47 | 7.34 | -5.24
| 2024-11-20 16:04 | 54.43 | 71.34 | 64.8 | 77 | 69.52 | 80.1 | 0 | 96 | USB |  | -43.47 | -26.88 | -24.12 | -10.11 | 2.86 | 15.7 | 12.43 | 17.34 | 18.2 | 18.95 | 17.67 | 32.58 | 34.72 | 36.73 | 32.1 | 32.7 | 40.53 | 42.16 | 39.64 | 51.08 | 46.76 | 44.37 | 40.48 | 41.14 | 35.75 | 34.24 | 33.29 | 32.5 | 32.32 | 24.82 | 23.19 | 20.49 | 16.64 | 10.69 | 3.17 | -7.6
| 2024-11-20 16:04 | 56.19 | 77.08 | 65.61 | 79.49 | 70.07 | 81.2 | 0 | 96 | USB |  | -35.16 | -23.76 | -30.5 | -10.64 | 1.16 | 15.86 | 10.56 | 15.48 | 15.32 | 18.06 | 18.67 | 34.22 | 36.7 | 35.55 | 33.63 | 32.56 | 40.97 | 43.96 | 43.34 | 45.96 | 43.5 | 43.46 | 39.59 | 46.01 | 51.4 | 40.59 | 43.21 | 40.74 | 41.58 | 39.16 | 34.32 | 30.89 | 30.29 | 26.55 | 15.92 | 0.27
| 2024-11-20 16:04 | 53.01 | 71.26 | 64.29 | 76.65 | 69.24 | 80.29 | 0 | 96 | USB |  | -38.12 | -30.23 | -25.19 | -11.46 | 1.86 | 16.78 | 13.78 | 12.73 | 17.35 | 19.39 | 17.92 | 32.17 | 33 | 39.55 | 35.48 | 32.52 | 41.74 | 41.25 | 42.41 | 42.29 | 37.7 | 36.79 | 35.5 | 39.84 | 48.23 | 38.75 | 38.09 | 36.34 | 37.23 | 34.76 | 30.36 | 26.02 | 24.39 | 20.48 | 10.94 | -3.69
| 2024-11-20 16:04 | 66.12 | 87.13 | 70.36 | 88.25 | 72.21 | 88.33 | 0 | 96 | USB |  | -30.82 | -29.61 | -25.12 | -13.97 | 2.48 | 15.54 | 10.96 | 14.14 | 13.77 | 21.67 | 16.29 | 34.41 | 32.83 | 37.28 | 40.27 | 48.81 | 48.92 | 52.27 | 54.27 | 61.69 | 56.83 | 52.8 | 49.74 | 52.44 | 59.82 | 50.36 | 45.06 | 43.49 | 40.64 | 33.41 | 34.59 | 34.98 | 26.14 | 19.78 | 11.78 | -0.24
| 2024-11-20 16:04 | 62.63 | 80.28 | 69.88 | 84.14 | 72.25 | 84.36 | 0 | 96 | USB |  | -36.61 | -30.32 | -22.77 | -8.7 | 2.8 | 16.99 | 12.42 | 14.5 | 15.12 | 24.34 | 17.66 | 36.52 | 35.83 | 40.61 | 43.17 | 50.23 | 50.26 | 54.4 | 54.33 | 55.37 | 54.59 | 50.59 | 47.49 | 48.68 | 48.33 | 40.39 | 39.64 | 38.61 | 36.96 | 30.59 | 29.55 | 22.91 | 19.85 | 16.42 | 9.86 | -3.44
| 2024-11-20 16:04 | 68.54 | 88.19 | 73.1 | 88.98 | 74.4 | 88.93 | 0 | 96 | USB |  | -32.84 | -31.67 | -22.62 | -10.19 | -0.79 | 16.3 | 13.06 | 11.17 | 14.16 | 22.15 | 19.6 | 37.17 | 36.94 | 49.48 | 43.06 | 45.44 | 53.11 | 55.63 | 55.11 | 60.1 | 65.43 | 58.77 | 49.15 | 53.79 | 56.61 | 47.98 | 46.49 | 48.01 | 44.8 | 41.2 | 34.54 | 29.77 | 28.64 | 23.05 | 16.31 | 4.67
| 2024-11-20 16:04 | 67.64 | 86.82 | 73.37 | 87.19 | 74.7 | 87.2 | 0 | 96 | USB |  | -30.75 | -23.54 | -23.26 | -9.48 | 1.16 | 15.43 | 10.71 | 10.93 | 14.83 | 18.83 | 20.75 | 38 | 37.17 | 50.71 | 44.48 | 43.24 | 53.99 | 55.82 | 54.42 | 60.08 | 61.41 | 62.18 | 51.77 | 50.02 | 53 | 45.46 | 44.13 | 49.72 | 46.39 | 44.54 | 43.6 | 38.41 | 32.17 | 22.7 | 11.89 | -0.82
| 2024-11-20 16:04 | 66.67 | 83.72 | 71.53 | 83.79 | 73.68 | 85.84 | 0 | 96 | USB |  | -38.31 | -24.12 | -21.83 | -7.56 | 4.47 | 14.95 | 14.53 | 13.05 | 23.31 | 23.13 | 21.71 | 37.68 | 43.05 | 49.81 | 41.44 | 43 | 49.6 | 54.71 | 54.77 | 58.4 | 55.68 | 50.1 | 48.02 | 50.21 | 60.36 | 56.38 | 54.64 | 53.75 | 50.55 | 53.82 | 52.56 | 45.58 | 38.65 | 30.94 | 21.91 | 6.44
| 2024-11-20 16:04 | 64.31 | 84.22 | 70.79 | 85.76 | 73.81 | 86.97 | 0 | 96 | USB |  | -37.74 | -25.75 | -17.94 | -6.69 | 2.93 | 15.99 | 9.8 | 12.61 | 16.99 | 24 | 19.73 | 33.87 | 44.2 | 47.74 | 42.01 | 45.66 | 51.78 | 50.97 | 50.32 | 53.39 | 57.91 | 59.29 | 50.93 | 54.03 | 45.59 | 39.63 | 40.41 | 44.53 | 44.99 | 46.48 | 47.04 | 43.34 | 33.9 | 25.42 | 14.39 | -1.8
| 2024-11-20 16:04 | 58.98 | 75.25 | 68.86 | 81.24 | 73.29 | 84.14 | 0 | 96 | USB |  | -33.79 | -27.02 | -25.13 | -5.04 | 2.53 | 15.08 | 11.56 | 13.29 | 23.14 | 26.49 | 22.52 | 29.7 | 42.41 | 46.84 | 42.02 | 40.36 | 49.96 | 51.73 | 48.16 | 48.4 | 51.78 | 46.95 | 40.03 | 40.81 | 46.51 | 45.14 | 41.33 | 37.63 | 36.25 | 39.56 | 34.64 | 30.89 | 23.84 | 15.15 | 9.84 | -2.7
| 2024-11-20 16:04 | 61.2 | 79.39 | 68.87 | 82.74 | 71.98 | 84.51 | 0 | 96 | USB |  | -23.05 | -21.41 | -18.48 | -4.05 | -0.71 | 16.61 | 14.81 | 11.26 | 23.1 | 28.46 | 17.82 | 29.05 | 45.95 | 40.85 | 35.66 | 46.04 | 37.77 | 43.84 | 45.03 | 51.52 | 56.06 | 55.57 | 41.26 | 46.51 | 49.85 | 44.23 | 45.5 | 45.88 | 37 | 42.42 | 34.01 | 29.94 | 23.64 | 15.52 | 8.09 | -3.77
| 2024-11-20 16:04 | 60.61 | 82.32 | 68.66 | 84.58 | 72.18 | 84.89 | 0 | 96 | USB |  | -28.32 | -28.94 | -26.97 | -4.51 | 2.65 | 16.49 | 14.01 | 14.21 | 21.37 | 26.37 | 20.9 | 32.79 | 38.38 | 46.2 | 40.04 | 43.04 | 42.42 | 44.09 | 44.35 | 50.65 | 53.08 | 47.88 | 45.64 | 51.29 | 53.69 | 50.39 | 43.47 | 44.93 | 41.41 | 46.04 | 36.35 | 33.72 | 28.35 | 17.76 | 8.53 | -3.67
| 2024-11-20 16:04 | 51.47 | 70.37 | 65.66 | 77.9 | 70.42 | 80.03 | 0 | 96 | USB |  | -37.06 | -25.98 | -25.35 | -2.5 | 1.48 | 16.95 | 14.11 | 18.03 | 20.51 | 26.43 | 17.95 | 34.69 | 37.45 | 38.83 | 39.79 | 43.61 | 37.71 | 36.69 | 34.85 | 34.86 | 36.12 | 34.8 | 34.43 | 33.17 | 46.43 | 44.94 | 33.77 | 36.32 | 34.01 | 23.25 | 20.82 | 17.94 | 13.11 | 7.55 | 3.04 | -8.74
| 2024-11-20 16:04 | 67.66 | 84.93 | 73.59 | 86.48 | 74.81 | 88.07 | 0 | 96 | USB |  | -34.07 | -29.31 | -27.13 | -3.73 | 0.76 | 16.44 | 12.3 | 17.27 | 19.83 | 27.81 | 22.36 | 31.48 | 43.83 | 50.62 | 45.63 | 42.24 | 54.77 | 59.35 | 52.26 | 60.38 | 59.66 | 59.39 | 51.66 | 52.91 | 57.57 | 56.12 | 49.47 | 48.86 | 42.64 | 39.05 | 31.44 | 25.19 | 26.39 | 18.09 | 12.95 | 1.5
| 2024-11-20 16:04 | 47.56 | 65.22 | 64.72 | 75.44 | 69.77 | 79.09 | 0 | 96 | USB |  | -35.63 | -27.58 | -27.62 | -3.98 | -5.38 | 17.11 | 15.7 | 15.92 | 18.26 | 26.16 | 24.67 | 29.23 | 39.1 | 38.55 | 32.16 | 38.26 | 35.67 | 36.69 | 34.11 | 37.52 | 37.92 | 36.54 | 36.73 | 33.11 | 30.9 | 30.47 | 29.41 | 32.56 | 28.96 | 23.14 | 20.03 | 17.07 | 11.54 | 8.33 | 2.57 | -7.98
| 2024-11-20 16:04 | 45.55 | 57.52 | 64.15 | 74.22 | 69.47 | 78.19 | 0 | 96 | USB |  | -44.07 | -32.54 | -31.29 | -5.12 | 2.17 | 15.18 | 12.35 | 13 | 16.47 | 20.34 | 28.35 | 30.44 | 35.32 | 30.96 | 31.51 | 30.87 | 35.51 | 36.03 | 33.84 | 34.86 | 34.65 | 34.32 | 33.6 | 33.36 | 31.09 | 31.1 | 29.03 | 26.9 | 24.78 | 22.84 | 20.2 | 18.35 | 14.49 | 10.67 | 3.78 | -6.54
| 2024-11-20 16:05 | 62.64 | 82.22 | 67.9 | 84.83 | 71.1 | 85.72 | 0 | 96 | USB |  | -41.07 | -35.04 | -24.99 | -4.17 | 5.04 | 15.04 | 13.04 | 18.1 | 16.11 | 19.63 | 28.88 | 35.36 | 36.13 | 33.48 | 40.44 | 32.16 | 38.92 | 46.43 | 40.58 | 54.49 | 58.15 | 47.17 | 46.53 | 53.33 | 55.49 | 49.69 | 42.13 | 42.84 | 46 | 25.74 | 21.62 | 16.55 | 12.66 | 9.88 | 3.82 | -5.54
| 2024-11-20 16:05 | 65.15 | 82.08 | 70.89 | 85.02 | 72.95 | 85.19 | 0 | 96 | USB |  | -34.55 | -32.97 | -23.63 | -5.53 | 3.75 | 15.76 | 15.56 | 16.67 | 16.94 | 19.57 | 25.94 | 36.87 | 37.74 | 40.84 | 43.87 | 39.13 | 53.78 | 56.04 | 55.75 | 60.01 | 57.84 | 51.33 | 47.34 | 49.84 | 48.64 | 48.89 | 47.09 | 42.89 | 42.85 | 39.34 | 36.73 | 32.6 | 26.77 | 20.2 | 11.4 | -2.7
| 2024-11-20 16:05 | 62.8 | 76.73 | 68.63 | 82.03 | 71.44 | 84.42 | 0 | 96 | USB |  | -37.44 | -29.21 | -28.61 | -7.19 | 2.2 | 16.21 | 15.36 | 16.84 | 14.03 | 19.73 | 24.02 | 37.48 | 32.68 | 40.55 | 35.37 | 32.24 | 50.83 | 47.33 | 50.09 | 61.12 | 54.78 | 47.85 | 41.61 | 48.22 | 49.74 | 46.51 | 45.74 | 40.65 | 38.9 | 26.66 | 23.33 | 17.06 | 13.93 | 7.97 | 3.16 | -7.65
| 2024-11-20 16:05 | 57.71 | 71.29 | 67.09 | 77.4 | 71.39 | 83.16 | 0 | 96 | USB |  | -42.21 | -34.44 | -25.04 | -6.02 | 3.75 | 16.44 | 15.38 | 15.91 | 15.79 | 20.38 | 31.54 | 36.46 | 36.63 | 33.89 | 35.18 | 33.59 | 43.79 | 40.56 | 44.06 | 53.68 | 51.29 | 41.36 | 39.36 | 41.74 | 49.18 | 41.32 | 42.89 | 38.07 | 40.67 | 33.41 | 30.67 | 26.91 | 20.18 | 12.64 | 4.62 | -7.02
| 2024-11-20 16:05 | 58.53 | 75.61 | 66.73 | 79.71 | 70.05 | 82.13 | 0 | 96 | USB |  | -44.24 | -36.92 | -28.67 | 0.25 | 2.84 | 18.58 | 16.22 | 12.9 | 18.36 | 17.7 | 26.95 | 35.24 | 31.57 | 42.97 | 33.7 | 32.09 | 47.84 | 44.03 | 47.26 | 54.5 | 50.99 | 45.88 | 42.31 | 42.99 | 42.66 | 40.28 | 40.5 | 39.31 | 39.13 | 36.22 | 31.63 | 30.56 | 23.52 | 19.12 | 12.11 | -2.49
| 2024-11-20 16:05 | 62.13 | 80.81 | 67.65 | 83.27 | 70.59 | 84.18 | 0 | 96 | USB |  | -40.92 | -31.13 | -25.82 | -4.61 | -1.76 | 15.4 | 12 | 14.88 | 14.42 | 19.22 | 27.03 | 35.08 | 35.26 | 36.56 | 40.06 | 34.11 | 43.74 | 47.52 | 44.17 | 57.13 | 56.81 | 49.59 | 50.1 | 48.22 | 51.77 | 46.74 | 45.26 | 40.05 | 38.83 | 34.31 | 29.4 | 31.21 | 22.8 | 14.73 | 6.65 | -6.29
| 2024-11-20 16:05 | 57.43 | 74.44 | 65.17 | 76.43 | 70.28 | 81.35 | 0 | 96 | USB |  | -45.55 | -34.53 | -21.57 | -4.53 | 0.3 | 15 | 14.83 | 13.61 | 13.22 | 18.21 | 22.8 | 32.55 | 36.44 | 32.56 | 32.12 | 37.37 | 38.05 | 43.62 | 46.31 | 52.51 | 49.37 | 45.13 | 44.54 | 43.99 | 49.6 | 46.58 | 43.25 | 40.44 | 39.28 | 32.94 | 29.99 | 23.8 | 21.44 | 14.35 | 8.21 | -4
| 2024-11-20 16:05 | 64.01 | 82.54 | 68.8 | 84.57 | 73.17 | 85.71 | 0 | 96 | USB |  | -29.99 | -24.36 | -17.11 | -9.97 | 5.56 | 17.55 | 13.9 | 14.82 | 13.73 | 18.97 | 21.21 | 30.58 | 33.02 | 33.5 | 39.17 | 36.15 | 42.94 | 47.54 | 45.94 | 60.59 | 59.17 | 52.2 | 50.36 | 48.51 | 48.26 | 44.14 | 44.91 | 38.87 | 39.66 | 35.85 | 33.03 | 31.91 | 24.63 | 20.45 | 14.01 | 0.32
| 2024-11-20 16:05 | 58.19 | 76.9 | 66.19 | 79.35 | 70.12 | 82.99 | 0 | 96 | USB |  | -31 | -22.67 | -22.3 | -9.93 | 0.94 | 15.91 | 12.31 | 11.91 | 15.67 | 20.44 | 21.33 | 31.31 | 36.27 | 40.8 | 38.62 | 31.63 | 48.92 | 45.75 | 47.79 | 51.86 | 51.06 | 44.87 | 48.16 | 47.71 | 39.58 | 38.71 | 39.57 | 33.67 | 35.93 | 34.6 | 30.28 | 28.41 | 21.11 | 15 | 5.18 | -7.07
| 2024-11-20 16:05 | 55.72 | 74.77 | 65.97 | 77.83 | 70.21 | 80.96 | 0 | 96 | USB |  | -37.99 | -31.89 | -27.58 | -7.57 | -3.7 | 15.84 | 13.37 | 12.31 | 13.5 | 24.4 | 18.98 | 30.77 | 33.65 | 39.91 | 34.12 | 39.66 | 51.13 | 39.23 | 42.86 | 47.1 | 47.01 | 42.68 | 42.03 | 40.25 | 42.95 | 40.2 | 36.99 | 37.83 | 38.4 | 33.61 | 30.86 | 27.66 | 23.17 | 13.56 | 5.71 | -5.76
| 2024-11-20 16:05 | 64.69 | 80.23 | 70.08 | 83.9 | 73.04 | 86.84 | 0 | 96 | USB |  | -32.09 | -28.35 | -30.7 | -11.4 | 6.15 | 15.84 | 12.44 | 14.57 | 18.25 | 23.23 | 19.02 | 30.34 | 39.12 | 42.58 | 37.91 | 43.34 | 50.53 | 43.66 | 53.91 | 58.75 | 61.08 | 54.23 | 48.85 | 48.96 | 47.45 | 44.16 | 42.37 | 37.43 | 37.46 | 35.68 | 30.27 | 29.01 | 24.05 | 16.65 | 8.12 | -4.55
| 2024-11-20 16:05 | 69.76 | 87.04 | 73.83 | 87.55 | 75.86 | 89.94 | 0 | 96 | USB |  | -32.71 | -25.01 | -25.39 | -10.05 | 5.51 | 15.62 | 14.47 | 14.93 | 19.36 | 27.29 | 17.51 | 34.78 | 40.61 | 47.31 | 46.55 | 44.88 | 55.26 | 52.88 | 59.53 | 64.94 | 63.41 | 57.6 | 54.72 | 60.37 | 56.76 | 50.68 | 50.39 | 47.12 | 46.39 | 39.2 | 36.62 | 29.46 | 28.96 | 18.85 | 12.47 | -2.12
| 2024-11-20 16:05 | 62.18 | 78.3 | 69.15 | 82.23 | 71.53 | 82.72 | 0 | 96 | USB |  | -36.18 | -20.91 | -29.91 | -10.24 | -4.44 | 13.83 | 11.48 | 12.94 | 20.01 | 28.52 | 16.77 | 36.58 | 32.43 | 43.21 | 36.92 | 34.36 | 52.87 | 46.85 | 53.18 | 59.29 | 51.65 | 44.81 | 43.49 | 44.15 | 44.54 | 43.55 | 45.51 | 41.28 | 40.92 | 35.52 | 33.17 | 32.08 | 30.26 | 18.07 | 9.26 | -3.33
| 2024-11-20 16:05 | 57.69 | 78.61 | 66.8 | 79.82 | 70.85 | 79.83 | 0 | 96 | USB |  | -34.42 | -30.79 | -28.26 | -7.82 | -0.62 | 16.38 | 10.93 | 11.84 | 16.21 | 27.88 | 19.01 | 38.1 | 36.08 | 38.65 | 34.76 | 36.4 | 43.81 | 40.11 | 44.87 | 52.45 | 51.67 | 42.39 | 45.5 | 47.65 | 47.27 | 40.3 | 37.41 | 36.16 | 36.65 | 31.74 | 30.11 | 32.7 | 22.61 | 16.8 | 6.14 | -6.63
| 2024-11-20 16:05 | 58.13 | 76.82 | 66.62 | 80.16 | 70.76 | 81.42 | 0 | 96 | USB |  | -36.54 | -30.58 | -24.83 | -7.82 | -1.95 | 16.72 | 14.39 | 12.42 | 14.66 | 26.14 | 16.76 | 37.57 | 39.46 | 37.39 | 36.08 | 36.42 | 40.87 | 40.37 | 47.75 | 52.72 | 52.77 | 45 | 47.57 | 47.08 | 39.38 | 40.35 | 36.5 | 36.26 | 35.49 | 31.66 | 30.75 | 33.31 | 22.9 | 16.46 | 8.68 | -3.84
| 2024-11-20 16:05 | 57.13 | 73.55 | 67.45 | 79.38 | 71.44 | 81.85 | 0 | 96 | USB |  | -36.69 | -25.64 | -26.51 | -6.58 | 0.29 | 16.53 | 11.16 | 14.55 | 15.13 | 27.93 | 18.72 | 32.51 | 38.58 | 41.6 | 43.92 | 40.36 | 45.61 | 45.45 | 47.27 | 51 | 45.75 | 39.09 | 40.28 | 45.41 | 44.59 | 43.06 | 41.24 | 38.7 | 34.03 | 28.61 | 26.68 | 17.32 | 18.63 | 10.47 | 4.21 | -7.86
| 2024-11-20 16:05 | 65.41 | 81.62 | 69.15 | 83.41 | 72.35 | 84.13 | 0 | 96 | USB |  | -38.26 | -31.83 | -19.92 | -3.25 | -0.4 | 16.79 | 14.46 | 14.92 | 24.16 | 27.34 | 25.52 | 31.42 | 38.92 | 38.8 | 40.24 | 40.51 | 46.48 | 47.48 | 47.92 | 56.94 | 52.89 | 46.02 | 53.7 | 63.29 | 51.5 | 46.82 | 45.42 | 44.53 | 41.45 | 42.95 | 37.64 | 34.39 | 31.76 | 26.67 | 16.85 | 3.78
| 2024-11-20 16:05 | 58.76 | 79.39 | 69.36 | 81.61 | 72.74 | 84.66 | 0 | 96 | USB |  | -27.42 | -24.34 | -15.75 | -5.56 | -1.4 | 15.48 | 13.03 | 16.52 | 20.12 | 23.46 | 18.53 | 24.92 | 37.41 | 49.67 | 38.25 | 44.05 | 50.22 | 43.21 | 43.95 | 47.25 | 50.49 | 43.11 | 44.24 | 45.84 | 48.83 | 49.1 | 43.61 | 42.25 | 37.15 | 33.61 | 31.18 | 27.22 | 21.56 | 13.2 | 6.18 | -6.46
| 2024-11-20 16:05 | 64.22 | 81.44 | 71.32 | 84.51 | 77.43 | 88.17 | 0 | 96 | USB |  | -29.77 | -26.9 | -19.97 | -4.53 | -0.19 | 17.98 | 10.1 | 12.49 | 14.42 | 19.26 | 20.66 | 31.24 | 44.67 | 46.59 | 43.97 | 46.57 | 54.86 | 53.46 | 50.45 | 57.45 | 56.71 | 55.89 | 54.42 | 50.6 | 46.6 | 43.82 | 42.91 | 43.73 | 38.95 | 36.77 | 28.71 | 29.58 | 26.24 | 23.99 | 11.3 | -2.27
| 2024-11-20 16:05 | 65.18 | 81.98 | 72.01 | 87.37 | 74.98 | 85.42 | 0 | 96 | USB |  | -29.87 | -25.22 | -26.54 | -3.55 | -3.2 | 17.53 | 10.89 | 11.52 | 16.62 | 21.62 | 17.88 | 30.47 | 46.04 | 43.11 | 43.25 | 53.71 | 55.17 | 53.02 | 54.64 | 56.57 | 57.02 | 55.91 | 54.92 | 47.15 | 45.42 | 48.82 | 51.02 | 53.16 | 47.1 | 40.22 | 27.45 | 26.83 | 25.06 | 18.28 | 8.89 | -1.41
| 2024-11-20 16:05 | 60.41 | 80.88 | 67.97 | 82.95 | 74.43 | 87.1 | 0 | 96 | USB |  | -33.44 | -28.74 | -19.19 | -4.56 | -1.94 | 17.05 | 11.44 | 13.38 | 11.73 | 19.06 | 16.9 | 27.94 | 44.67 | 39.33 | 38.79 | 45.05 | 40.59 | 50.08 | 48.98 | 50.28 | 52.49 | 52.02 | 48.48 | 50.63 | 51.23 | 46.8 | 44.9 | 41.58 | 38.69 | 30.37 | 25.52 | 24.61 | 21.71 | 15.44 | 6 | -5.67
| 2024-11-20 16:05 | 58.46 | 72.14 | 67.29 | 79.44 | 70.75 | 81.29 | 0 | 96 | USB |  | -26.54 | -21.1 | -19.49 | -5.2 | -0.27 | 16.12 | 11.54 | 13.2 | 14.75 | 19.15 | 15.93 | 31.49 | 37.56 | 40.06 | 41.65 | 33.22 | 46.08 | 47.35 | 46.3 | 54.98 | 49.02 | 43.57 | 41.24 | 41.17 | 45.47 | 37.55 | 40.46 | 39.36 | 39.39 | 34.25 | 29.2 | 30.35 | 22.82 | 14.38 | 6.38 | -6.2
| 2024-11-20 16:05 | 57.9 | 73.59 | 68.38 | 80.13 | 71.36 | 81.75 | 0 | 96 | USB |  | -39.43 | -30.44 | -24.16 | -6.14 | 2.13 | 16.65 | 13.13 | 16.28 | 12.74 | 15.03 | 17.06 | 35.46 | 39.76 | 47.88 | 33.48 | 40.8 | 45.25 | 44.22 | 48.97 | 49.02 | 52.91 | 44.76 | 43.16 | 41.53 | 44.72 | 40.94 | 39.89 | 35.68 | 33.35 | 26.65 | 20.72 | 16.71 | 15.88 | 8.99 | 3.32 | -8.21
| 2024-11-20 16:05 | 56.2 | 72.24 | 69.61 | 81.56 | 73.59 | 83.94 | 0 | 96 | USB |  | -37.31 | -31.07 | -27.08 | -6.89 | -6.78 | 16.03 | 11.03 | 11.7 | 16.5 | 18.39 | 17.18 | 36.67 | 42.78 | 50.58 | 45.77 | 39.36 | 48.32 | 46.86 | 47.44 | 44 | 42.05 | 39.87 | 37.19 | 39.09 | 40.57 | 35.56 | 39.98 | 37.2 | 33.57 | 32.76 | 33.02 | 28.36 | 18.31 | 11.93 | 5.1 | -7.58
| 2024-11-20 16:05 | 48.95 | 72.13 | 65.11 | 78.03 | 74.38 | 82.7 | 0 | 96 | USB |  | -24.27 | -27.44 | -20.57 | -8.83 | -0.46 | 16.42 | 9.67 | 12.06 | 14.23 | 17.01 | 18.24 | 37.4 | 36.44 | 33.39 | 32.07 | 35.74 | 37.67 | 37.73 | 34.86 | 34.09 | 36.5 | 37.6 | 35.18 | 33.94 | 36.12 | 35.64 | 34.69 | 35.41 | 31.37 | 27.45 | 23.53 | 19.09 | 14.08 | 7.51 | 2.07 | -8.26
| 2024-11-20 16:05 | 54.42 | 71.99 | 68.93 | 79.91 | 72.21 | 81.91 | 0 | 96 | USB |  | -25.27 | -23.21 | -14.23 | -8.7 | -1.35 | 15.03 | 10.03 | 9.95 | 13.21 | 19.62 | 17.18 | 36.47 | 45.99 | 48.13 | 32.34 | 40.2 | 43.38 | 42.79 | 41.26 | 45.74 | 41.61 | 44.44 | 38.39 | 34.9 | 35.81 | 36.04 | 39.41 | 37.28 | 33.9 | 31.92 | 32.29 | 29.96 | 20.5 | 11.46 | 5.2 | -6.65
| 2024-11-20 16:05 | 47.22 | 66.31 | 64.51 | 74.1 | 72.22 | 82.59 | 0 | 96 | USB |  | -31.58 | -19.8 | -23.51 | -10.27 | -4.84 | 17.2 | 14.31 | 13.39 | 10.85 | 17.61 | 18.09 | 35.62 | 36.21 | 39.58 | 30.85 | 36.79 | 37.91 | 37.49 | 34.19 | 33.53 | 37.19 | 34.87 | 32.51 | 33.74 | 31.84 | 31.9 | 30.82 | 28.97 | 27.64 | 24.8 | 21.35 | 17.81 | 13.02 | 8.59 | 2.89 | -7.3
| 2024-11-20 16:05 | 47.39 | 72.53 | 63.5 | 72.41 | 71.95 | 82.15 | 0 | 96 | USB |  | -27.28 | -20.21 | -21.34 | -9.66 | -4.49 | 15.73 | 10.78 | 15.44 | 13.3 | 22.1 | 17.11 | 30.97 | 32.83 | 30.51 | 32.53 | 39.1 | 36.86 | 37.33 | 34.87 | 33.58 | 36.9 | 34.58 | 33.39 | 33.99 | 32.8 | 35.63 | 34.77 | 33.68 | 31.43 | 27.22 | 24.53 | 19.94 | 15.05 | 9.91 | 3.5 | -6.24
| 2024-11-20 16:05 | 59.06 | 81.71 | 69.21 | 83.31 | 72.04 | 86.83 | 0 | 96 | USB |  | -27.24 | -21.98 | -23.96 | -12.43 | -3.78 | 16.29 | 13.18 | 12.65 | 18.94 | 21 | 17.42 | 30.97 | 46.33 | 43.71 | 38.85 | 47.35 | 43.88 | 50.32 | 46.71 | 53.47 | 46.77 | 47.68 | 48.79 | 43.65 | 43.17 | 42.02 | 39.49 | 38.27 | 40.23 | 35.3 | 30.2 | 27.03 | 23.24 | 15.78 | 9.41 | -5.05
| 2024-11-20 16:05 | 54.44 | 73.5 | 67.08 | 79.21 | 71 | 84.2 | 0 | 96 | USB |  | -32.72 | -27.64 | -29.7 | -10.65 | -2.32 | 15.05 | 12.38 | 17.03 | 21.25 | 22.76 | 20.41 | 31.14 | 43.92 | 38.32 | 40 | 45.07 | 40 | 41.3 | 40.33 | 50.14 | 41.74 | 45.59 | 42.76 | 39.53 | 34.12 | 33.28 | 32.04 | 30.43 | 30.73 | 25.83 | 23.5 | 21.72 | 23.06 | 17.37 | 6.75 | -4.79
Stop | 2024-11-20 16:05