## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E0924:00000089
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:07:00
Stop Time | 2024-11-20 16:08:00
Run Time | 00:01:00
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 66.2 dB | 70.8 dB | 71.8 dB
Lωpk | 92.1 dB | 93.9 dB | 94.2 dB
| 2024-11-20 16:07:07 | 2024-11-20 16:07:03 | 2024-11-20 16:07:03
LωSmin | 53.7 dB | 63.1 dB | 66.9 dB
| 2024-11-20 16:07:38 | 2024-11-20 16:07:38 | 2024-11-20 16:07:38
LωSmax | 72.8 dB | 76.7 dB | 76.9 dB
| 2024-11-20 16:07:03 | 2024-11-20 16:07:03 | 2024-11-20 16:07:03
LωFmin | 47.0 dB | 59.9 dB | 62.9 dB
| 2024-11-20 16:07:38 | 2024-11-20 16:07:06 | 2024-11-20 16:07:06
LωFmax | 77.3 dB | 80.6 dB | 80.7 dB
| 2024-11-20 16:07:03 | 2024-11-20 16:07:03 | 2024-11-20 16:07:03
LωImin | 60.4 dB | 66.7 dB | 70.5 dB
| 2024-11-20 16:07:38 | 2024-11-20 16:07:38 | 2024-11-20 16:07:34
LωImax | 81.2 dB | 84.4 dB | 84.4 dB
| 2024-11-20 16:07:03 | 2024-11-20 16:07:03 | 2024-11-20 16:07:03
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 66.2 | 66.2 | -99.9 | 66.2 | 66.2 | -99.9 | -99.9 | dB
LCeq - LAeq | 4.6 dB
LAIeq | 73.7 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 84.0 dB
EA (Pa²s) | 0.1 Pa²s
EA,8 h (Pa²s) | 48.5 Pa²s
EA,40 h (Pa²s) | 242.6 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.1 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:07:00 | Run | Timer
2024/11/20 16:08:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -38.6 | -31 | -27.5 | -3.7 | -0.6 | 10 | 14.3 | 13.5 | 18.7 | 26.4 | 20.8 | 30.9 | 37.1 | 42.1 | 44.2 | 44.8 | 43.8 | 51.3 | 57.4 | 63 | 60.3 | 53.7 | 46 | 43.3 | 44.1 | 44.1 | 45.2 | 42.9 | 41.8 | 42.7 | 37.4 | 33.6 | 29.1 | 23 | 17.5 | 6.3
1/3 LAFmax | -30.8 | -23.7 | -20.9 | 1.7 | 12.6 | 19.8 | 25.8 | 21.7 | 29.1 | 35.6 | 34.5 | 39 | 45 | 52 | 56.2 | 58.6 | 52.7 | 67.8 | 73.4 | 76.7 | 74.1 | 71.8 | 60.9 | 58.4 | 62.3 | 59.9 | 61 | 60.1 | 56.3 | 63.9 | 56.2 | 50.3 | 50.5 | 43.4 | 38.9 | 28
1/3 LAFmin | -54.8 | -44.1 | -38.5 | -17.7 | -15 | -0.9 | 3.5 | 4.2 | 6.2 | 13.9 | 13.1 | 19.6 | 27.7 | 27.2 | 30.3 | 31.5 | 32.7 | 35.8 | 38.8 | 37.2 | 36.9 | 35.3 | 32.5 | 31.8 | 28.9 | 27.7 | 26.5 | 25.6 | 22.5 | 20.3 | 18.1 | 14.3 | 10.2 | 5.6 | 0.7 | -0.1
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:07 | 64.99 | 82.98 | 70.04 | 85.6 | 71.1 | 86.32 | 0 | 96 | USB |  | -42.95 | -37.73 | -25.34 | -2.43 | -5.37 | 8.77 | 11.93 | 11.91 | 21.08 | 26.2 | 21.96 | 28.05 | 39.61 | 47.76 | 44.14 | 42.83 | 44.43 | 46.27 | 51.13 | 61.04 | 61.96 | 50.65 | 40.95 | 40.65 | 46.09 | 48.3 | 49.75 | 46.3 | 39.22 | 35.81 | 29.39 | 25.27 | 24.16 | 19.53 | 12.28 | 2
| 2024-11-20 16:07 | 61.74 | 77.14 | 66.71 | 80.82 | 68.76 | 80.8 | 0 | 96 | USB |  | -38.94 | -33.69 | -23.07 | -4.07 | -0.79 | 11.1 | 12.85 | 11.8 | 19.24 | 18.56 | 18.72 | 25.25 | 37.68 | 38.6 | 35.22 | 38.63 | 42.47 | 43.84 | 52.96 | 54.21 | 57.96 | 52.59 | 40.72 | 41.54 | 42.87 | 46.08 | 45.56 | 37.42 | 42.63 | 42.98 | 40.4 | 37.28 | 31.55 | 28.61 | 19.93 | 5.82
| 2024-11-20 16:07 | 65.86 | 80.14 | 70.59 | 84.01 | 71.19 | 84.33 | 0 | 96 | USB |  | -35.25 | -28.06 | -27.14 | -5.4 | 0.71 | 6.47 | 13.92 | 12.05 | 18.5 | 21.35 | 19.06 | 28.75 | 36.02 | 46.28 | 43.93 | 39.72 | 49.61 | 47.59 | 56.7 | 62.98 | 59.65 | 48.8 | 42.8 | 45.81 | 47.92 | 47.07 | 46.13 | 41.26 | 43.87 | 38.77 | 39.15 | 30.4 | 27.68 | 20.87 | 17.31 | 6.52
| 2024-11-20 16:07 | 73.73 | 90.07 | 77.59 | 93.87 | 77.73 | 94.24 | 0 | 96 | USB |  | -35.09 | -27.15 | -26.91 | -7.02 | -2.36 | 5.75 | 9.7 | 13.02 | 15.2 | 19.83 | 19.53 | 32.15 | 31.81 | 41.66 | 47.84 | 47.78 | 43.67 | 54.93 | 67.84 | 71.05 | 64.11 | 61.94 | 52.99 | 50.09 | 47.82 | 48.41 | 49.08 | 47.7 | 44.14 | 41.68 | 36.64 | 35.76 | 33.13 | 31.3 | 30.24 | 17.36
| 2024-11-20 16:07 | 68.55 | 89.44 | 72.24 | 91.25 | 72.78 | 91.45 | 0 | 96 | USB |  | -37.36 | -32.41 | -30.97 | -8.1 | -4.98 | 10.6 | 11.38 | 14.84 | 21.08 | 21.44 | 18.76 | 32.96 | 41.27 | 40.04 | 39.3 | 47.09 | 39.45 | 47.68 | 57.2 | 66.09 | 63.38 | 54.82 | 46.61 | 41.74 | 36.86 | 32.33 | 38.22 | 41.27 | 38.2 | 34.99 | 33.43 | 28.73 | 24.12 | 16.32 | 10.68 | 1.55
| 2024-11-20 16:07 | 64.57 | 83.68 | 68.99 | 82.83 | 70.33 | 85.63 | 0 | 96 | USB |  | -38.71 | -31.11 | -28.9 | -7.95 | -0.46 | 10.95 | 12.47 | 14.78 | 18.41 | 22.48 | 18.92 | 31.91 | 39.43 | 39.03 | 36.03 | 41.71 | 38.58 | 40.65 | 52.83 | 61.78 | 59.46 | 50.69 | 43.38 | 45.15 | 39.42 | 39.63 | 42.17 | 44.83 | 40.06 | 46.37 | 43.62 | 38.07 | 42.07 | 35.1 | 30.5 | 19.6
| 2024-11-20 16:07 | 48.47 | 62.63 | 61.87 | 72.9 | 65.79 | 76.7 | 0 | 96 | USB |  | -38.94 | -27.62 | -32.14 | -9.75 | -2.43 | 13.47 | 14.87 | 16.46 | 15.22 | 22.11 | 18.48 | 31.01 | 35.19 | 30.62 | 34.96 | 35.86 | 34.73 | 37.65 | 41.01 | 39.44 | 39.79 | 37.31 | 36.05 | 34.82 | 31.75 | 31.43 | 31.47 | 30.53 | 29.15 | 28.66 | 25.6 | 21.81 | 19.85 | 17.31 | 10.13 | 2.54
| 2024-11-20 16:07 | 66.27 | 92.08 | 69.82 | 89.11 | 71.05 | 89.37 | 0 | 96 | USB |  | -36.49 | -35.3 | -26.96 | -10.1 | 0.02 | 12.23 | 11.56 | 9.3 | 15.22 | 23.56 | 22.88 | 33.46 | 37.4 | 37.45 | 39.46 | 38.94 | 39.99 | 48.79 | 49.91 | 57.54 | 62.56 | 54.15 | 53.2 | 51.43 | 47.2 | 49.8 | 50.54 | 52.44 | 49.63 | 45.29 | 44.26 | 40.61 | 36.51 | 31.09 | 22.35 | 8.9
| 2024-11-20 16:07 | 68.31 | 82.68 | 71.81 | 85.31 | 72.3 | 85.53 | 0 | 96 | USB |  | -36.63 | -30.55 | -24.67 | -9.98 | -1.55 | 13.77 | 12.23 | 11.96 | 13.23 | 20.57 | 20.49 | 30.34 | 35.13 | 42.07 | 45.94 | 39.12 | 45.79 | 52.04 | 60.25 | 62.07 | 65.39 | 57.69 | 48.73 | 44.93 | 49.1 | 50.59 | 50.78 | 46.35 | 45.68 | 38.64 | 38.69 | 30.95 | 25.23 | 17.86 | 13.08 | 3.81
| 2024-11-20 16:07 | 60.99 | 75.3 | 66.73 | 81.01 | 68.55 | 81.44 | 0 | 96 | USB |  | -34.45 | -33.36 | -27.87 | -11.28 | -8.22 | 12.05 | 13.22 | 15.49 | 12.83 | 21.15 | 17.88 | 27.18 | 34.93 | 39.19 | 41.02 | 45.82 | 40.39 | 42.36 | 52.98 | 58.43 | 53.16 | 43.79 | 39.98 | 41.21 | 43.67 | 43.71 | 46.72 | 42.92 | 40.89 | 33.79 | 34.22 | 30.28 | 27.59 | 17.88 | 14.05 | 4.56
| 2024-11-20 16:07 | 64.8 | 80.65 | 70.72 | 85.96 | 71.77 | 85.97 | 0 | 96 | USB |  | -37.89 | -33.24 | -30.09 | -13.05 | -3.58 | 12.42 | 9.98 | 13.04 | 21.59 | 26.61 | 19.44 | 26.69 | 39.62 | 40.92 | 44.63 | 48.15 | 42.99 | 47.04 | 58.97 | 61.35 | 52.25 | 47.24 | 41.37 | 37.27 | 37.65 | 39.03 | 36.75 | 35.6 | 41.74 | 38.81 | 37.29 | 30.97 | 24.95 | 18.08 | 12.04 | 2.74
| 2024-11-20 16:07 | 64.62 | 83.5 | 70.43 | 84.22 | 71.34 | 85.15 | 0 | 96 | USB |  | -38.98 | -31.69 | -28.6 | -10.43 | -2.51 | 10.47 | 16.7 | 14.6 | 21.16 | 29.74 | 20.2 | 30.96 | 38.02 | 43.37 | 50.81 | 40.96 | 43.52 | 51.88 | 53.59 | 62.57 | 56.92 | 48.9 | 47.35 | 42.8 | 43.42 | 47.39 | 51.42 | 46.31 | 46.74 | 44.92 | 41.96 | 40.73 | 34.01 | 25.02 | 18 | 4.86
| 2024-11-20 16:07 | 66.39 | 82.12 | 71.86 | 85.52 | 73.04 | 86.77 | 0 | 96 | USB |  | -39.6 | -27.62 | -30.11 | -8.47 | 1.65 | 11.84 | 13.34 | 14.69 | 17.14 | 29.19 | 18.6 | 33.45 | 37.5 | 45.91 | 48.2 | 46.82 | 46.26 | 45.67 | 61.25 | 61.01 | 57.11 | 48.92 | 43.43 | 43.58 | 47.26 | 51.48 | 55.59 | 51.99 | 49 | 47.31 | 45 | 43 | 33.79 | 26.2 | 17.93 | 5.17
| 2024-11-20 16:07 | 71.05 | 85.04 | 75.01 | 88.85 | 75.39 | 89.39 | 0 | 96 | USB |  | -43.11 | -32.42 | -31.77 | -8.16 | 5.22 | 11.77 | 12.19 | 10.3 | 14.35 | 30.77 | 20.03 | 31.6 | 35.94 | 46.11 | 46.36 | 48.15 | 47.35 | 47.22 | 65.01 | 68.13 | 63.05 | 50.89 | 50.08 | 48.26 | 56.33 | 53.87 | 51.99 | 44 | 46.86 | 45.62 | 42.54 | 35.08 | 32.01 | 25.19 | 19.7 | 6.61
| 2024-11-20 16:07 | 68.26 | 83.83 | 72.1 | 85.28 | 72.67 | 85.17 | 0 | 96 | USB |  | -38.1 | -25.74 | -30.33 | -6.57 | 3.53 | 6.12 | 11.03 | 15.14 | 15.74 | 29.55 | 18.79 | 28.47 | 39.33 | 45.29 | 45.48 | 42.66 | 47.92 | 44.66 | 58.4 | 63.9 | 64.48 | 55.09 | 45.29 | 46.19 | 47.58 | 47.66 | 50.74 | 43.92 | 45.53 | 33.83 | 38.45 | 24.54 | 22.92 | 14.69 | 10.05 | 1.97
| 2024-11-20 16:07 | 62.11 | 75.98 | 67.67 | 79.74 | 69.27 | 80.8 | 0 | 96 | USB |  | -33.56 | -31.09 | -26.88 | -4.28 | -2 | 5.34 | 12.49 | 13.4 | 17.37 | 28.7 | 19.13 | 26.36 | 37.3 | 36.8 | 43.7 | 41.46 | 42.27 | 43.64 | 54.8 | 58.18 | 56.93 | 47.12 | 41.52 | 39.42 | 41.93 | 40.58 | 38.88 | 37.19 | 44.42 | 39.31 | 38.91 | 31.27 | 26.38 | 19.23 | 14.17 | 3.18
| 2024-11-20 16:07 | 59.91 | 78.66 | 66.36 | 79.73 | 68.62 | 81.62 | 0 | 96 | USB |  | -42.44 | -36.78 | -29.27 | -2 | -2.36 | 4.39 | 11.62 | 13.24 | 18.94 | 26.76 | 18.48 | 31.91 | 38.93 | 34.22 | 41.34 | 40.2 | 41.85 | 40 | 52.29 | 53.35 | 55.5 | 45.45 | 40.92 | 41.91 | 48.63 | 46.84 | 40.44 | 34.96 | 34.5 | 28.07 | 25.54 | 20.59 | 20.38 | 13.78 | 8.13 | 2.01
| 2024-11-20 16:07 | 65.7 | 80.75 | 69.85 | 83.68 | 71.06 | 84.74 | 0 | 96 | USB |  | -41 | -29.28 | -28.15 | -2.05 | -8.19 | 9.07 | 15.81 | 15.12 | 18.66 | 24.51 | 19.44 | 32.73 | 36.27 | 43.62 | 44.54 | 40.82 | 46.48 | 44.7 | 52.64 | 59.19 | 62.58 | 56.21 | 49.47 | 44.36 | 51.75 | 49.47 | 46.48 | 39.86 | 40.96 | 31.75 | 34.3 | 26.93 | 25.8 | 18.46 | 14.26 | 4.74
| 2024-11-20 16:07 | 58.74 | 76.75 | 66.97 | 79.81 | 69.59 | 81.98 | 0 | 96 | USB |  | -40.97 | -33.02 | -25.66 | -1.33 | -4.77 | 4.11 | 15.28 | 12.64 | 17.74 | 30.15 | 19.68 | 32.79 | 31.78 | 37.32 | 43.84 | 42.83 | 44.46 | 41.3 | 52.55 | 55.81 | 45.95 | 41.83 | 42.71 | 37.93 | 36.12 | 39.45 | 37.6 | 38.54 | 31.29 | 28.94 | 27.21 | 23.66 | 20.89 | 15.77 | 10.26 | 2.26
| 2024-11-20 16:07 | 63.24 | 77.6 | 71.15 | 84.7 | 72.01 | 84.78 | 0 | 96 | USB |  | -45.42 | -32.19 | -25.51 | -1.58 | -6.09 | 8.1 | 14.24 | 14.27 | 14.87 | 31.38 | 19.09 | 32.91 | 33.37 | 36.71 | 49.06 | 54.06 | 46.43 | 53.99 | 55.97 | 57.6 | 51.26 | 47.46 | 40.36 | 40.22 | 36.81 | 35.42 | 39.85 | 36.25 | 35.71 | 34.33 | 30.99 | 25.94 | 20.1 | 13.59 | 6.41 | 0.94
| 2024-11-20 16:07 | 57.57 | 75.57 | 68.13 | 83.22 | 70.11 | 83.99 | 0 | 96 | USB |  | -45.18 | -31.43 | -27.94 | -1.8 | -2.58 | 4.97 | 16.92 | 12.27 | 14.14 | 34.05 | 20.61 | 32.48 | 34.67 | 37.67 | 49.15 | 40.14 | 42.94 | 57.39 | 42.06 | 44.57 | 51.07 | 41.19 | 36.42 | 37.63 | 31.52 | 31.7 | 32.57 | 29.43 | 28.4 | 25.38 | 21.85 | 18.22 | 14.65 | 12.81 | 7.58 | 0.98
| 2024-11-20 16:07 | 56.34 | 78.97 | 67.85 | 82.5 | 69.9 | 84.44 | 0 | 96 | USB |  | -39.32 | -33.15 | -30.17 | -1.94 | -5.68 | 4.11 | 14.39 | 13.07 | 22.56 | 30.85 | 20.51 | 31.74 | 38.84 | 39.08 | 46.06 | 48.76 | 44.25 | 40.16 | 44.14 | 41.43 | 39.38 | 38.52 | 34.81 | 35.39 | 34.12 | 30.31 | 31.63 | 29.23 | 28.86 | 28.01 | 23.71 | 21.26 | 14.53 | 11.16 | 3.57 | 0.79
| 2024-11-20 16:07 | 68.85 | 85.55 | 73.83 | 90.04 | 74.3 | 90.44 | 0 | 96 | USB |  | -39.26 | -31.38 | -30.3 | -2.69 | -0.72 | 7.58 | 15.66 | 16.63 | 26.3 | 24.17 | 21.62 | 27.83 | 37.6 | 43.6 | 49.47 | 50.4 | 48.16 | 56.95 | 59.57 | 67.15 | 58.42 | 51 | 43.79 | 41.95 | 39.08 | 33.01 | 38.97 | 35.8 | 44.32 | 49.12 | 38.38 | 37.55 | 28.16 | 23.72 | 13.91 | 1.59
| 2024-11-20 16:07 | 68.47 | 81.88 | 73.27 | 86.57 | 73.98 | 87.87 | 0 | 96 | USB |  | -40.45 | -30.61 | -28.98 | -2.86 | -1.88 | 8.15 | 13.38 | 12.87 | 16.82 | 19.74 | 19.04 | 24.45 | 37.31 | 44.2 | 38.01 | 52.97 | 44.02 | 53 | 64.12 | 62.67 | 60.95 | 50.55 | 39.68 | 37.48 | 43.27 | 41.84 | 46.33 | 44.03 | 44.7 | 56.37 | 48.6 | 42.6 | 33.01 | 27.4 | 16.46 | 5.3
| 2024-11-20 16:07 | 69.47 | 85.45 | 73.71 | 88.92 | 74.07 | 88.9 | 0 | 96 | USB |  | -38.04 | -30.05 | -28.04 | -3.54 | -4.16 | 7.67 | 13.95 | 12.63 | 16.99 | 17.78 | 18.73 | 23.63 | 37.75 | 46 | 45.78 | 39.5 | 46.94 | 56.07 | 57.64 | 68.66 | 56.24 | 55.34 | 40.76 | 38.58 | 41.75 | 39.5 | 40.06 | 36.6 | 33.25 | 28.62 | 25 | 22.56 | 17.11 | 12.68 | 7.59 | 1.53
| 2024-11-20 16:07 | 54.27 | 70.38 | 62.77 | 76.69 | 66.03 | 77.03 | 0 | 96 | USB |  | -38.04 | -29.1 | -28.8 | -6.02 | -2.71 | 5.45 | 15.33 | 11.4 | 13.63 | 19.19 | 21.32 | 29.63 | 32.56 | 38.01 | 33.58 | 35 | 37.3 | 43.97 | 42.64 | 52.43 | 46.79 | 40.53 | 35.16 | 33.77 | 32.08 | 30.85 | 32.13 | 31.5 | 30.86 | 30.25 | 27.25 | 30.9 | 23.48 | 17.29 | 9.33 | 2.91
| 2024-11-20 16:07 | 66.79 | 83.8 | 71.12 | 87.49 | 71.78 | 88.63 | 0 | 96 | USB |  | -36.73 | -30.95 | -29.19 | -7.45 | -4.25 | 6.79 | 14.98 | 12.8 | 15.6 | 23.53 | 19.15 | 33.13 | 33.39 | 33.96 | 37.56 | 45.82 | 38.62 | 48.26 | 62.34 | 62.8 | 57.93 | 54.54 | 42.42 | 41.5 | 46.27 | 46.43 | 46.91 | 44.63 | 44.96 | 39 | 34.31 | 31.29 | 24.47 | 20.78 | 13.56 | 3.12
| 2024-11-20 16:07 | 54.78 | 70.11 | 63.72 | 75.44 | 66.45 | 77.93 | 0 | 96 | USB |  | -32.85 | -32.82 | -28.58 | -6.16 | -4.04 | 6.74 | 12.23 | 13.26 | 15.65 | 23.86 | 18 | 32.94 | 37.24 | 30.64 | 33.27 | 39.82 | 35.08 | 37.76 | 52.69 | 48.05 | 43.95 | 37.97 | 35.22 | 33.44 | 32 | 33.51 | 36.04 | 35.48 | 30.42 | 30.47 | 26.19 | 23.82 | 20.18 | 14.87 | 7.58 | 0.93
| 2024-11-20 16:07 | 61.62 | 80.75 | 66.81 | 83.7 | 68.33 | 84.08 | 0 | 96 | USB |  | -43.86 | -27.63 | -30.66 | -7.11 | -2.66 | 13.04 | 11.51 | 10.43 | 16.36 | 19.15 | 18.62 | 31.74 | 35.64 | 42.16 | 37.71 | 37.47 | 40.08 | 46.7 | 50.38 | 56.62 | 56.58 | 53.38 | 42.74 | 39.54 | 36.69 | 33.11 | 37.12 | 38.22 | 40.12 | 45.39 | 41.67 | 36.62 | 25.43 | 19.67 | 11.18 | 2.3
| 2024-11-20 16:07 | 65.28 | 82.45 | 70.16 | 86.43 | 71.12 | 86.74 | 0 | 96 | USB |  | -40.16 | -32.39 | -29.43 | -6.95 | -4.18 | 11.18 | 14.42 | 13.33 | 12.5 | 19.87 | 18.18 | 31.65 | 31.73 | 44.59 | 43.33 | 35.69 | 41.56 | 48.86 | 55.36 | 62.57 | 59.1 | 50.39 | 48.15 | 46.49 | 42.2 | 36.08 | 38.93 | 36.79 | 34.69 | 32.3 | 31.02 | 26.65 | 23.44 | 18.63 | 10.53 | 1.81
| 2024-11-20 16:08 | 64.77 | 81.11 | 70.4 | 84.56 | 71.19 | 85.16 | 0 | 96 | USB |  | -46.23 | -34.6 | -35.33 | -8.54 | -3.05 | 11.03 | 14.39 | 11.01 | 13.83 | 21.25 | 17.23 | 32.91 | 35.43 | 42.28 | 45.36 | 38.97 | 43.86 | 60.23 | 56.33 | 60.67 | 55.14 | 46.84 | 46.75 | 41.43 | 38.89 | 38.37 | 38.19 | 38.02 | 37.13 | 33.99 | 33.34 | 30.27 | 23.23 | 17.56 | 9.05 | 1.24
| 2024-11-20 16:08 | 56.93 | 71.45 | 64.34 | 76.66 | 66.55 | 80.32 | 0 | 96 | USB |  | -40.25 | -30.35 | -29.42 | -6.72 | -8.53 | 11.11 | 15.25 | 10.67 | 12.52 | 27.38 | 18.2 | 32.74 | 36.21 | 36.88 | 32.9 | 35.03 | 41.31 | 42.91 | 47.41 | 54.15 | 47.84 | 39.49 | 39.3 | 38.26 | 40.19 | 35.61 | 33.09 | 34.43 | 33.13 | 33.28 | 32.7 | 29.21 | 24.62 | 21.52 | 12.16 | 1.97
| 2024-11-20 16:08 | 59.42 | 72.87 | 65.78 | 77.42 | 68.2 | 79.68 | 0 | 96 | USB |  | -38.28 | -30.63 | -29.11 | -7.25 | -5.84 | 11.07 | 12.97 | 12.09 | 15.26 | 24.89 | 20.12 | 32.09 | 37.07 | 40.08 | 33.47 | 34.77 | 38.49 | 42.53 | 44.47 | 52.6 | 56.47 | 52.11 | 45.68 | 42.84 | 35.51 | 31.74 | 30.9 | 32.64 | 33.4 | 29.61 | 24.29 | 20.86 | 19.07 | 11.86 | 4.8 | 0.78
| 2024-11-20 16:08 | 58.1 | 73.11 | 66.29 | 77.78 | 68.26 | 78.81 | 0 | 96 | USB |  | -39.41 | -33.17 | -25.2 | -6.44 | -8.82 | 12.68 | 12.99 | 8.95 | 16.05 | 27.7 | 20.95 | 30.95 | 37.27 | 33.79 | 44.17 | 33.87 | 37.49 | 52.85 | 48.23 | 53.2 | 46.38 | 39.75 | 37.53 | 34.19 | 31.58 | 42.01 | 43.93 | 43.46 | 37.64 | 28.9 | 29.85 | 20.6 | 18.37 | 9.42 | 3.54 | 0.53
| 2024-11-20 16:08 | 58.61 | 81.05 | 67.47 | 83 | 71.81 | 84 | 0 | 96 | USB |  | -37.87 | -32.4 | -27.74 | -4.86 | 0.79 | 7.89 | 15.66 | 11.85 | 18.49 | 23.98 | 19.43 | 24.85 | 32.31 | 32.26 | 40.04 | 35.35 | 36.17 | 46.53 | 48 | 56.67 | 47.48 | 39.89 | 38.75 | 36.77 | 46.54 | 38.06 | 37.72 | 37.19 | 38.19 | 38.71 | 33.45 | 28.83 | 26.14 | 21.11 | 9.21 | 0.83
| 2024-11-20 16:08 | 58.88 | 75.52 | 64.97 | 78.73 | 67.68 | 81.1 | 0 | 96 | USB |  | -37.44 | -31.42 | -24.56 | -4.87 | 9.53 | 15.89 | 21.54 | 11.78 | 16.01 | 28.25 | 20.69 | 25.56 | 33.89 | 32.28 | 36.29 | 36.11 | 36.46 | 40.36 | 44.35 | 53.98 | 55.77 | 46.75 | 45.1 | 43.85 | 34.7 | 30.03 | 32.61 | 31.82 | 29.2 | 28.89 | 25.58 | 22.12 | 19.18 | 14.94 | 5.15 | 0.75
| 2024-11-20 16:08 | 59.51 | 72.3 | 66.44 | 80.02 | 68.72 | 80.37 | 0 | 96 | USB |  | -43.7 | -30.18 | -28.21 | -3.4 | 3.51 | 8.25 | 16.04 | 9.66 | 11.51 | 25.39 | 19.43 | 30.76 | 36.7 | 43.34 | 39.91 | 36.38 | 40.93 | 43.66 | 48.22 | 57.44 | 51.68 | 44.01 | 42.9 | 37.15 | 38.06 | 31.98 | 34.65 | 30.73 | 27.51 | 23.46 | 20.94 | 17.25 | 13.36 | 8.37 | 2.53 | 0.45
| 2024-11-20 16:08 | 52.25 | 71.58 | 62.34 | 73.96 | 66.61 | 77.25 | 0 | 96 | USB |  | -44.04 | -27.84 | -25.74 | -1.72 | -1.22 | 7.57 | 13.21 | 11.87 | 15.77 | 22.06 | 18.75 | 32.34 | 34.8 | 30.06 | 35.27 | 36.95 | 36.76 | 46.41 | 42.47 | 42.82 | 43.73 | 41.79 | 37.99 | 34.42 | 37.38 | 41.74 | 36.58 | 33.13 | 28.73 | 25.91 | 26.03 | 22.47 | 16.81 | 10.22 | 3.27 | 0.52
| 2024-11-20 16:08 | 53.91 | 71.94 | 63.37 | 77.5 | 67.23 | 80.31 | 0 | 96 | USB |  | -41.49 | -30.85 | -26.79 | -1.98 | -1.31 | 6.43 | 13.99 | 12.23 | 15.83 | 22.65 | 18.33 | 32.21 | 33.15 | 33.69 | 34.04 | 34.04 | 38.37 | 40.02 | 46.13 | 51.74 | 40.69 | 38.33 | 36.08 | 34.43 | 30.15 | 30.39 | 27.1 | 26.91 | 24.79 | 25.06 | 23.4 | 21.06 | 19.93 | 14.23 | 6.8 | 0.88
| 2024-11-20 16:08 | 60.68 | 73.87 | 66.09 | 79.01 | 68.62 | 80.53 | 0 | 96 | USB |  | -43.79 | -33.1 | -27.89 | -1.09 | -2.73 | 6.33 | 15.17 | 16.01 | 13.29 | 21.96 | 19.94 | 33.21 | 37.33 | 36.72 | 33.81 | 33.9 | 40.38 | 40.12 | 50.25 | 58.46 | 51.75 | 49.91 | 42.71 | 45.03 | 39.53 | 38.9 | 34.35 | 32.26 | 31.06 | 27.36 | 26.03 | 22.37 | 18.75 | 14.26 | 6.55 | 0.89
| 2024-11-20 16:08 | 61.14 | 80.03 | 65.74 | 81.49 | 68.56 | 81.33 | 0 | 96 | USB |  | -42.78 | -31.42 | -24.7 | -0.73 | -3.95 | 7.7 | 12.98 | 15.5 | 16.83 | 21.14 | 21.99 | 29.44 | 36.76 | 36.37 | 36.73 | 37.4 | 38.72 | 40.96 | 45.51 | 52 | 56.28 | 57 | 48.14 | 46.93 | 41.53 | 38.29 | 44.53 | 40.43 | 36.7 | 37.63 | 33.63 | 29.49 | 25.5 | 21.67 | 12.19 | 2.23
| 2024-11-20 16:08 | 60.33 | 75.41 | 67.85 | 82.08 | 69.96 | 82.04 | 0 | 96 | USB |  | -40.04 | -32.94 | -24.48 | 0.19 | -2.06 | 7.32 | 13.44 | 13.21 | 19.7 | 26.09 | 25.74 | 29.32 | 37.12 | 32.86 | 44.8 | 35.57 | 37.89 | 56.32 | 50.15 | 52.2 | 51.66 | 41.48 | 38.48 | 42.76 | 37.29 | 44.95 | 44.55 | 41.55 | 41.41 | 42.92 | 34.73 | 33.49 | 28.09 | 22.6 | 12.16 | 2.31
| 2024-11-20 16:08 | 73.56 | 86.89 | 77.01 | 90.01 | 77.24 | 89.93 | 0 | 96 | USB |  | -37.32 | -31.8 | -26.04 | -1.12 | 0.77 | 2.72 | 14.28 | 9.92 | 14.66 | 24.22 | 21.42 | 32.97 | 33.94 | 35.45 | 46.62 | 46.22 | 39.31 | 57.15 | 63.81 | 71.07 | 67.99 | 56.24 | 44.38 | 45.76 | 42.74 | 46.47 | 46.44 | 44.78 | 40.49 | 37.99 | 33.03 | 28.55 | 26.66 | 20.87 | 13.05 | 2.37
| 2024-11-20 16:08 | 66.94 | 81.8 | 71.48 | 86.09 | 72.21 | 85.84 | 0 | 96 | USB |  | -39.85 | -30.52 | -27.29 | -1.29 | -6.94 | 6.47 | 13.37 | 11.58 | 13.83 | 26.51 | 19.38 | 33.08 | 35.73 | 42.21 | 47.08 | 41.37 | 46.38 | 56.67 | 56.45 | 63.48 | 62.23 | 49.02 | 39.54 | 37.73 | 35.62 | 45.53 | 47.12 | 46.84 | 48.26 | 50.14 | 40.61 | 37.68 | 31.36 | 24.1 | 14.64 | 3.68
| 2024-11-20 16:08 | 66.22 | 80.21 | 70.95 | 83.58 | 72 | 84.71 | 0 | 96 | USB |  | -40.71 | -30.81 | -27.16 | -1.57 | -1.96 | 5.26 | 12.3 | 11.33 | 14.48 | 19.87 | 19.04 | 32.32 | 38.01 | 47.12 | 44 | 38.49 | 45.74 | 47.99 | 54.6 | 64 | 59.58 | 49.16 | 41.72 | 40.88 | 35.26 | 38.29 | 45.31 | 49.66 | 46.04 | 47.51 | 41.64 | 40.96 | 32.02 | 25.94 | 15.24 | 2.74
| 2024-11-20 16:08 | 65.05 | 78.89 | 69.38 | 82.99 | 70.48 | 83.38 | 0 | 96 | USB |  | -42.47 | -28.66 | -29.1 | -1.61 | -1.24 | 7.27 | 13.04 | 11.6 | 20.74 | 19.24 | 18.77 | 33.45 | 39.39 | 41.91 | 39.99 | 40.71 | 42.25 | 46.56 | 55.3 | 61.54 | 59.46 | 55.74 | 47.14 | 44.75 | 34.4 | 35.52 | 43.51 | 43.43 | 36.78 | 33.39 | 27.88 | 30.73 | 34.94 | 22.65 | 12.32 | 2.91
| 2024-11-20 16:08 | 58.59 | 75.31 | 65.61 | 79.04 | 68.96 | 80.36 | 0 | 96 | USB |  | -38.52 | -31.91 | -27.33 | -2.59 | 2.94 | 8.4 | 13.65 | 13.06 | 18.15 | 20.67 | 20.66 | 31.44 | 32.49 | 34.26 | 35.77 | 38.76 | 41.42 | 43.84 | 47.77 | 56.57 | 48.58 | 45.08 | 39.34 | 39.15 | 36.31 | 34.47 | 37.1 | 35.86 | 32.07 | 29.66 | 28.78 | 30.15 | 20.23 | 15.02 | 6.49 | 0.65
| 2024-11-20 16:08 | 60.52 | 76.92 | 66.62 | 79.03 | 69.13 | 80.93 | 0 | 96 | USB |  | -35.18 | -35.79 | -26.47 | -1.96 | -2.26 | 13.37 | 11.37 | 14.24 | 20.07 | 22.21 | 22.6 | 33.16 | 33.62 | 40.07 | 33.93 | 46.36 | 45.27 | 42.7 | 49.07 | 54.35 | 57.31 | 45.92 | 44.11 | 43.93 | 39.09 | 39.98 | 41.52 | 35.36 | 34.36 | 28.13 | 24.78 | 20.62 | 15.43 | 10.74 | 3.64 | 0.48
| 2024-11-20 16:08 | 71.95 | 86.64 | 75.06 | 89.05 | 75.45 | 89.44 | 0 | 96 | USB |  | -40.27 | -30.78 | -29.86 | -2.25 | 1.61 | 14.14 | 11.69 | 10.92 | 21.23 | 24.65 | 20.94 | 28.6 | 39.29 | 44.97 | 42.95 | 45.41 | 44.64 | 51.73 | 56.57 | 67.89 | 67.4 | 64.56 | 53.05 | 42.8 | 40.97 | 38.93 | 43.07 | 46.06 | 48.89 | 43.6 | 34.73 | 35.47 | 25.81 | 18.22 | 9.69 | 1.26
| 2024-11-20 16:08 | 71.02 | 87.54 | 74.11 | 89.95 | 74.62 | 90.32 | 0 | 96 | USB |  | -40.51 | -34.21 | -28.09 | -3.31 | -3.08 | 12.96 | 10.89 | 13.32 | 19.81 | 26.26 | 18.26 | 24.8 | 37.74 | 48.42 | 40.26 | 38.52 | 45.84 | 46.53 | 53.82 | 65.32 | 68.85 | 61.45 | 50.19 | 43.56 | 39.14 | 35.74 | 41.88 | 43.49 | 43.34 | 37.46 | 32.35 | 31.45 | 21.56 | 18.69 | 9.71 | 1.19
| 2024-11-20 16:08 | 57.59 | 69.19 | 66.3 | 77.06 | 68.43 | 80.28 | 0 | 96 | USB |  | -38.56 | -33.02 | -30.04 | -3.39 | -2.44 | 12.61 | 12.55 | 13.71 | 18.68 | 24.98 | 19.33 | 26.25 | 40.8 | 43.15 | 37.81 | 43.73 | 42.51 | 45.52 | 51.37 | 52.92 | 51.98 | 41.17 | 37.42 | 39 | 34.4 | 34.52 | 35.14 | 35.44 | 34.38 | 29.48 | 26.99 | 24.88 | 17.32 | 10.85 | 3.45 | 0.56
| 2024-11-20 16:08 | 59.86 | 76.07 | 67.01 | 82.1 | 69.09 | 82.06 | 0 | 96 | USB |  | -39.59 | -28.82 | -28.35 | -5.02 | 1.78 | 11.48 | 13.48 | 11.53 | 17.5 | 29.2 | 19.5 | 25.34 | 39.15 | 43.31 | 37.2 | 38.77 | 39.4 | 47.42 | 51.36 | 56.92 | 52.64 | 45.38 | 40.01 | 40.88 | 33.85 | 34.43 | 40.09 | 35.57 | 30.38 | 27.64 | 22.38 | 18.4 | 17.16 | 11.18 | 4.26 | 0.59
| 2024-11-20 16:08 | 52.3 | 65.77 | 64.22 | 75.06 | 67.19 | 77.18 | 0 | 96 | USB |  | -40.79 | -32.93 | -30.04 | -4.32 | -2.05 | 8.21 | 13.17 | 12.56 | 16.23 | 27.24 | 23.02 | 26.61 | 34.83 | 32.68 | 37.23 | 46.55 | 39.05 | 42.29 | 43.18 | 45.72 | 39.46 | 38.48 | 34.72 | 33.33 | 30.26 | 29.25 | 30.92 | 29.15 | 27.41 | 27.43 | 26.04 | 23.21 | 19.94 | 14.89 | 6.4 | 0.82
| 2024-11-20 16:08 | 65.2 | 83.49 | 69.79 | 86.57 | 70.86 | 86.77 | 0 | 96 | USB |  | -47.5 | -39.08 | -27.03 | -3.42 | 0.26 | 8.08 | 17.04 | 15.86 | 16.39 | 26.43 | 18.93 | 22.6 | 35 | 32.45 | 39.7 | 48.67 | 40.86 | 47.03 | 57.44 | 61.54 | 60.42 | 48.46 | 38.83 | 37.76 | 38.81 | 39.61 | 42.72 | 40.04 | 33.61 | 29.53 | 24.91 | 20.47 | 18.1 | 13.1 | 5.46 | 0.79
| 2024-11-20 16:08 | 62.72 | 79.75 | 69.85 | 85.07 | 71.04 | 85.89 | 0 | 96 | USB |  | -35.6 | -30.38 | -27.52 | -4.25 | -4.32 | 7.97 | 14.98 | 13.93 | 21.92 | 26.42 | 22.25 | 26.85 | 40.21 | 43.02 | 47.26 | 48.46 | 44.13 | 47.87 | 56.98 | 58.86 | 48.43 | 41.35 | 40.62 | 37.58 | 35.39 | 35.18 | 35.28 | 30.87 | 26.15 | 25.78 | 23.32 | 17.85 | 16.82 | 11.51 | 4.74 | 0.72
| 2024-11-20 16:08 | 72.15 | 85.74 | 76.07 | 88.76 | 76.44 | 88.81 | 0 | 96 | USB |  | -35.31 | -31.62 | -26.17 | -3.73 | -2.76 | 9.69 | 16.82 | 18.61 | 26.29 | 26.8 | 22.82 | 23.19 | 39.12 | 42.54 | 51.3 | 48.78 | 46.46 | 59.18 | 61.21 | 68.87 | 67.64 | 58.47 | 54.9 | 50.62 | 40.59 | 45.01 | 43.39 | 37.3 | 35.63 | 33.2 | 30.24 | 24.99 | 23.66 | 18.25 | 13.67 | 2.11
| 2024-11-20 16:08 | 68.87 | 85.88 | 73.26 | 88.47 | 73.85 | 89.14 | 0 | 96 | USB |  | -44.91 | -30.89 | -29 | -2 | -3.66 | 6.4 | 15.44 | 15.15 | 20.78 | 29.18 | 22.79 | 29.09 | 35.6 | 42.54 | 45.41 | 45.36 | 46.43 | 54.83 | 59.97 | 67.08 | 59.69 | 55.24 | 46.76 | 36.24 | 33.44 | 34.22 | 35.21 | 35.19 | 34.6 | 34.1 | 28.07 | 20.06 | 18.1 | 14.07 | 8.24 | 0.83
| 2024-11-20 16:08 | 69.93 | 84.02 | 73.77 | 88.28 | 74.28 | 87.72 | 0 | 96 | USB |  | -44.33 | -33.79 | -27.33 | -2.66 | 1.36 | 9.16 | 12.14 | 14.14 | 19.3 | 25.08 | 21.54 | 30.54 | 37.43 | 43.06 | 47.32 | 42.92 | 46.17 | 51.15 | 58.06 | 68.64 | 59.01 | 58.65 | 48.98 | 37.52 | 32.51 | 43.39 | 43.41 | 42.44 | 36.17 | 37.93 | 28.67 | 20.85 | 20.23 | 13.27 | 11.32 | 1.21
| 2024-11-20 16:08 | 67.98 | 82.91 | 72.54 | 84.97 | 73.23 | 85.97 | 0 | 96 | USB |  | -38.44 | -36.07 | -28.75 | -2.91 | -2.18 | 7.19 | 15.42 | 14.61 | 17.24 | 28.49 | 28.75 | 32.88 | 38.31 | 46.57 | 43.77 | 45.39 | 48.79 | 48.93 | 58.22 | 64.91 | 62.85 | 52.05 | 48.22 | 43.49 | 46.23 | 45.24 | 46.42 | 42.3 | 40.04 | 39.32 | 32.61 | 27.83 | 24.52 | 18.5 | 13.64 | 4.41
| 2024-11-20 16:08 | 60.11 | 81.35 | 67.77 | 85.73 | 69.86 | 85.68 | 0 | 96 | USB |  | -36.9 | -33.26 | -25.51 | -1.81 | -7.85 | 8.14 | 17.24 | 13.55 | 20.6 | 30.06 | 24.12 | 33.72 | 34.96 | 38.33 | 39.18 | 44.89 | 41.06 | 41.24 | 51.67 | 57.84 | 51.88 | 42.16 | 39.66 | 40.15 | 31.99 | 32.66 | 35 | 36.59 | 32.43 | 35.26 | 30.94 | 24.22 | 20.34 | 14.68 | 7.18 | 1.01
Stop | 2024-11-20 16:08