## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E0A50:00000093
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:12:00
Stop Time | 2024-11-20 16:12:13
Run Time | 00:00:13
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 50.8 dB | 67.0 dB | 71.1 dB
Lωpk | 75.5 dB | 80.4 dB | 84.9 dB
| 2024-11-20 16:12:00 | 2024-11-20 16:12:12 | 2024-11-20 16:12:12
LωSmin | 48.5 dB | 63.4 dB | 67.6 dB
| 2024-11-20 16:12:04 | 2024-11-20 16:12:04 | 2024-11-20 16:12:05
LωSmax | 53.0 dB | 70.0 dB | 73.7 dB
| 2024-11-20 16:12:12 | 2024-11-20 16:12:12 | 2024-11-20 16:12:12
LωFmin | 47.5 dB | 61.5 dB | 65.2 dB
| 2024-11-20 16:12:03 | 2024-11-20 16:12:04 | 2024-11-20 16:12:05
LωFmax | 56.8 dB | 72.1 dB | 75.5 dB
| 2024-11-20 16:12:00 | 2024-11-20 16:12:12 | 2024-11-20 16:12:11
LωImin | 51.7 dB | 65.7 dB | 70.4 dB
| 2024-11-20 16:12:10 | 2024-11-20 16:12:05 | 2024-11-20 16:12:06
LωImax | 65.3 dB | 74.0 dB | 77.6 dB
| 2024-11-20 16:12:00 | 2024-11-20 16:12:12 | 2024-11-20 16:12:12
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 50.8 | 50.8 | -99.9 | 50.8 | 50.8 | -99.9 | -99.9 | dB
LCeq - LAeq | 16.2 dB
LAIeq | 57.4 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 61.9 dB
EA (Pa²s) | 0.0 Pa²s
EA,8 h (Pa²s) | 1.4 Pa²s
EA,40 h (Pa²s) | 6.9 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.0 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:12:00 | Run | Timer
2024/11/20 16:12:13 | Stop | Local

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -36 | -26.9 | -24.5 | -6.2 | 0.8 | 19.5 | 14.8 | 19.2 | 23.5 | 27.9 | 25 | 31.2 | 36.2 | 34.9 | 41.9 | 43.1 | 40.3 | 37.2 | 42.7 | 38.8 | 39.3 | 38.3 | 37.9 | 36.5 | 34.2 | 33 | 33.3 | 29.2 | 27.1 | 24.6 | 22.8 | 18.6 | 14.8 | 10 | 4.2 | -1.4
1/3 LAFmax | -31.9 | -18.4 | -18.3 | 0.1 | 8 | 24.9 | 19.6 | 30.3 | 33.7 | 34.9 | 32.3 | 36 | 42.3 | 44.2 | 49.7 | 50.4 | 46.5 | 41.5 | 47.6 | 42 | 45.1 | 46.5 | 50.6 | 47.2 | 45.1 | 44.8 | 48.9 | 38.8 | 35.4 | 33.3 | 33.7 | 27.2 | 24.3 | 18.6 | 12 | -0.1
1/3 LAFmin | -45.2 | -40.9 | -34.2 | -16 | -10.5 | 4.4 | 7.2 | 9.1 | 13 | 17 | 14.1 | 22.4 | 27.2 | 26.8 | 29.1 | 31.5 | 33.7 | 34.1 | 39.6 | 35.6 | 37 | 35.7 | 33.1 | 32.5 | 29.9 | 27.7 | 25.7 | 25.5 | 23.2 | 20.4 | 17.3 | 13.5 | 9.8 | 5.4 | 0.5 | -2
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:12 | 51.73 | 75.46 | 67.37 | 79.1 | 71.83 | 82.59 | 0 | 96 | USB |  | -35.56 | -32.86 | -21.52 | -11.78 | -3.16 | 19.01 | 13.97 | 19.67 | 19.67 | 22.2 | 16.22 | 25.96 | 35.88 | 31.23 | 34.05 | 34.29 | 35.68 | 37.28 | 43.98 | 39.46 | 40.97 | 41 | 43.66 | 41.36 | 39.24 | 38.98 | 41.9 | 32.34 | 29.42 | 26.5 | 22.49 | 17.53 | 13.77 | 8.6 | 2.92 | -1.53
| 2024-11-20 16:12 | 49.76 | 71.45 | 66.57 | 76.01 | 71.51 | 79.57 | 0 | 96 | USB |  | -33.93 | -27.76 | -27.18 | -9.04 | -2.23 | 22.7 | 13.44 | 26.37 | 19.18 | 23.71 | 17.3 | 27.77 | 31.88 | 30.65 | 34.4 | 34.67 | 35.97 | 37.14 | 42.16 | 39.31 | 40.37 | 39.06 | 43.13 | 38.25 | 33.77 | 31.56 | 30.3 | 29.26 | 28.47 | 26.33 | 23.96 | 20.03 | 16.54 | 11.97 | 5.61 | -1.12
| 2024-11-20 16:12 | 49.35 | 63.94 | 64.85 | 74.38 | 70.81 | 79.07 | 0 | 96 | USB |  | -40.7 | -29.39 | -22.69 | -10.61 | -0.03 | 21.23 | 11.35 | 16.29 | 18.69 | 26.26 | 19.61 | 31.49 | 32.4 | 30.01 | 31.31 | 35.32 | 35.63 | 36.23 | 42.01 | 38.5 | 39.28 | 38.58 | 38.19 | 38.85 | 37.34 | 37.46 | 35.77 | 30.41 | 29.54 | 27.49 | 23.53 | 17.54 | 14.43 | 9.55 | 3.5 | -1.24
| 2024-11-20 16:12 | 48.61 | 68.06 | 63.15 | 72.99 | 69.25 | 78.51 | 0 | 96 | USB |  | -36.63 | -29.21 | -24.75 | -4.9 | 1.1 | 16.32 | 14.46 | 13.99 | 17.85 | 24.2 | 20.45 | 32.77 | 35.27 | 29.89 | 33.62 | 35.29 | 36.6 | 36.47 | 42.21 | 38.76 | 39.26 | 37.47 | 35.04 | 34.47 | 35.74 | 33.1 | 28 | 27.35 | 25.13 | 22.46 | 20.2 | 18.97 | 13.49 | 8.38 | 2.1 | -1.55
| 2024-11-20 16:12 | 48.29 | 59.82 | 63.15 | 73.75 | 67.92 | 77.35 | 0 | 96 | USB |  | -35.96 | -27.6 | -19.66 | -1.44 | 1.35 | 9.74 | 13.01 | 14.43 | 17.22 | 22.74 | 18.88 | 33.69 | 33.9 | 31.26 | 35.67 | 37.77 | 35.74 | 37.51 | 41.07 | 38.46 | 38.44 | 37.92 | 34.56 | 33.89 | 31.82 | 29.04 | 27.84 | 27.31 | 25.86 | 22.58 | 21.59 | 17.06 | 12.56 | 7.6 | 1.94 | -1.45
| 2024-11-20 16:12 | 50.41 | 62.73 | 63.93 | 75.14 | 67 | 77.2 | 0 | 96 | USB |  | -36.03 | -31.1 | -23.53 | -3.39 | 1.14 | 11.88 | 15.81 | 16.43 | 23.08 | 20.78 | 21.58 | 32.26 | 33.7 | 33.38 | 38.66 | 45.8 | 37.16 | 37.56 | 42.37 | 38.71 | 39.05 | 37.85 | 34.48 | 34.21 | 31.11 | 28.7 | 26.82 | 26.25 | 24.29 | 21.69 | 19.11 | 14.88 | 11.18 | 6.73 | 1.26 | -1.64
| 2024-11-20 16:12 | 51.92 | 63.41 | 66.01 | 75.57 | 68.56 | 78.95 | 0 | 96 | USB |  | -36.79 | -25.19 | -25.07 | -8.23 | -2.81 | 9.75 | 13.46 | 14.28 | 18.09 | 24.54 | 21.12 | 32.38 | 39.06 | 38.17 | 41.81 | 47.28 | 40.29 | 37.47 | 43.16 | 38.59 | 38.61 | 37.8 | 35.16 | 34.39 | 31.28 | 30.52 | 29.28 | 29.19 | 28.9 | 24.97 | 26.63 | 18.43 | 15.69 | 12.07 | 5.8 | -1.44
| 2024-11-20 16:12 | 50.53 | 62.1 | 66.32 | 75.98 | 69.83 | 79.21 | 0 | 96 | USB |  | -35.99 | -28.02 | -28.19 | -7.3 | -0.79 | 16.72 | 15.12 | 18.48 | 23.75 | 29.72 | 22.56 | 31.15 | 33.8 | 36.67 | 43.45 | 44.26 | 39.34 | 37.87 | 42.77 | 37.7 | 37.96 | 37.8 | 34.35 | 34.31 | 31.25 | 28.8 | 27.73 | 27.03 | 25.07 | 23.43 | 21.99 | 18.43 | 14.13 | 8.88 | 4.41 | -1.33
| 2024-11-20 16:12 | 50.54 | 62.96 | 66.54 | 77.27 | 70.73 | 80.49 | 0 | 96 | USB |  | -36.49 | -28.12 | -29.84 | -7.6 | -1.89 | 16.8 | 13.17 | 15.52 | 20.72 | 27.89 | 28.12 | 27.51 | 32.76 | 33.63 | 44.02 | 42.67 | 41.62 | 35.73 | 41.6 | 38.1 | 38.91 | 37.38 | 34.34 | 34.38 | 30.8 | 28.51 | 26.76 | 26.47 | 24.41 | 23.25 | 20.98 | 16.98 | 13.27 | 9.28 | 1.61 | -1.35
| 2024-11-20 16:12 | 50.79 | 63.66 | 67.52 | 77.63 | 71.14 | 79.94 | 0 | 96 | USB |  | -36.38 | -19.9 | -29.74 | -7.81 | -0.27 | 20.75 | 15.52 | 15.44 | 23.39 | 30.71 | 26.94 | 28.6 | 37.1 | 33.68 | 44.35 | 41.48 | 42.73 | 37.16 | 41.63 | 39.24 | 38.6 | 37.7 | 34.29 | 35.14 | 31.39 | 29.61 | 28.82 | 30.98 | 26.7 | 24.11 | 23.76 | 21.59 | 16.37 | 11.62 | 7.86 | -1.08
| 2024-11-20 16:12 | 50.44 | 68.52 | 68.17 | 78.49 | 72.5 | 82.16 | 0 | 96 | USB |  | -32.53 | -28.29 | -31.06 | -7.95 | 3.11 | 20.88 | 17.26 | 15.15 | 24.6 | 30.45 | 26.87 | 29.78 | 34.9 | 33.53 | 43.27 | 40.01 | 42.88 | 36.55 | 42.29 | 38.19 | 40.24 | 37.91 | 34.47 | 35.11 | 33.43 | 30.78 | 29.81 | 27.98 | 26.11 | 22.85 | 21.25 | 17.52 | 13.46 | 8.78 | 2.56 | -1.46
| 2024-11-20 16:12 | 50.74 | 62.49 | 69.29 | 78.27 | 73.47 | 82.53 | 0 | 96 | USB |  | -36.66 | -29.8 | -27.31 | -5.46 | 4.7 | 22.17 | 16.02 | 19.91 | 25.93 | 29.95 | 28.05 | 30.19 | 38.38 | 33.39 | 44.01 | 39.95 | 42.06 | 37.19 | 42.03 | 38.7 | 38.95 | 37.97 | 35.22 | 35.45 | 32.58 | 30.82 | 30.28 | 30.11 | 26.42 | 24.12 | 20.17 | 16.66 | 13.47 | 8.25 | 2.37 | -1.51
| 2024-11-20 16:12 | 54.03 | 66.32 | 70.58 | 80.38 | 73.97 | 84.86 | 0 | 96 | USB |  | -39.43 | -30.96 | -24.46 | -5.89 | 2.56 | 22.43 | 15.86 | 21.09 | 30.19 | 31.93 | 30.21 | 33.77 | 40.35 | 40.88 | 46.41 | 48.79 | 44.18 | 38.88 | 45.45 | 39.71 | 39.57 | 38.32 | 35.57 | 35.63 | 33.16 | 31.31 | 30.14 | 29.77 | 27.48 | 25.07 | 24.08 | 21.43 | 18.48 | 12.77 | 6.12 | -1.05
Stop | 2024-11-20 16:12