Larson Davis Sound Meter Real-Time Monitoring Software Documentation v1
2/12/2024 by Ken Cheung
Important: RUN AS ADMINISTRATOR or the software may fail to read the USB and Bluetooth ports used by the sound meter.

Pre-requisites:

- G4 LD Utility installed

- Administrator rights

- Python & any IDE installed (for uncompiled code)

Current Features:

- Auto detect & display dynamic port numbers = plug-and-play

- Custom defined desired parameters to display (e.g.: L_Aeq, L_Ceq)

- Custom defined keypress for manual interruption

- Display with timestamps

- Output desired parameters every second

- Custom defined monitoring duration

- Or Indefinite noise monitoring until manual interruption

- Bluetooth acts as a backup connection to keep it running (with a noticeable delay in refresh/response rate, non-ideal performance)

- Exception handling if connection is broken during monitoring, the program will continue to run and attempt to reconnect (to the same port) every second

- Attempt to fall back and reconnect with Bluetooth, to continue monitoring if device is disconnected

- GitHub Version Control

Wishlist:

- User defined port number as a backup measure

- Reconnect with different port automatically / switch back to USB as soon as it is again available.

- Backend logging as csv

Notes:

- Status page to see the values we need: http://127.0.0.1:2567/sdk?func=getpagestatus

- If USB is connected, Bluetooth port no longer shows the readings, everything has to be read from the USB itself.

- USB is disconnected, everything can be read from Bluetooth.