## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E07BC:0000007D
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:01:00
Stop Time | 2024-11-20 16:01:50
Run Time | 00:00:50
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 46.8 dB | 64.3 dB | 69.7 dB
Lωpk | 82.5 dB | 89.0 dB | 87.9 dB
| 2024-11-20 16:01:37 | 2024-11-20 16:01:37 | 2024-11-20 16:01:37
LωSmin | 45.3 dB | 62.7 dB | 67.5 dB
| 2024-11-20 16:01:31 | 2024-11-20 16:01:30 | 2024-11-20 16:01:30
LωSmax | 53.5 dB | 67.0 dB | 72.6 dB
| 2024-11-20 16:01:37 | 2024-11-20 16:01:11 | 2024-11-20 16:01:11
LωFmin | 44.5 dB | 60.6 dB | 64.7 dB
| 2024-11-20 16:01:28 | 2024-11-20 16:01:28 | 2024-11-20 16:01:24
LωFmax | 61.4 dB | 70.8 dB | 76.4 dB
| 2024-11-20 16:01:37 | 2024-11-20 16:01:10 | 2024-11-20 16:01:10
LωImin | 46.4 dB | 65.0 dB | 70.8 dB
| 2024-11-20 16:01:31 | 2024-11-20 16:01:30 | 2024-11-20 16:01:30
LωImax | 65.8 dB | 74.1 dB | 78.6 dB
| 2024-11-20 16:01:37 | 2024-11-20 16:01:37 | 2024-11-20 16:01:10
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 46.8 | 46.8 | -99.9 | 46.8 | 46.8 | -99.9 | -99.9 | dB
LCeq - LAeq | 17.5 dB
LAIeq | 52.6 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 63.8 dB
EA (Pa²s) | 0.0 Pa²s
EA,8 h (Pa²s) | 0.6 Pa²s
EA,40 h (Pa²s) | 2.8 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.0 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:01:00 | Run | Timer
2024/11/20 16:01:50 | Stop | Local

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -34.3 | -26.8 | -19.2 | -7.8 | 1.2 | 16.3 | 13.7 | 12.9 | 14.9 | 19.4 | 19 | 36.4 | 34.9 | 30.8 | 31.3 | 31.9 | 35.9 | 36.7 | 36.1 | 36.7 | 36 | 35.6 | 33.8 | 33.6 | 31.7 | 31.5 | 32.1 | 31 | 30.2 | 28 | 25 | 22.1 | 17.6 | 12.9 | 5.6 | -6.1
1/3 LAFmax | -24.2 | -16.4 | -3.7 | -0.1 | 10.6 | 22.9 | 25.5 | 20.2 | 21.1 | 26.9 | 26.7 | 40.3 | 40.4 | 39.2 | 45.8 | 52.5 | 53.8 | 52.9 | 50.9 | 51.7 | 48.9 | 47 | 44.3 | 47.5 | 40.4 | 48.9 | 44.6 | 45.9 | 47.7 | 45.6 | 40.3 | 38.8 | 32.1 | 28.7 | 18.8 | 8.2
1/3 LAFmin | -52.7 | -39.9 | -36.4 | -19.5 | -14.5 | 9.5 | 2.8 | 3 | 4.7 | 7.9 | 11.7 | 24.1 | 25.9 | 25.2 | 22.9 | 25.5 | 30.7 | 31.3 | 31.9 | 32.9 | 33 | 32.8 | 30.9 | 30.8 | 29 | 27.8 | 26.7 | 25.3 | 22.9 | 20 | 16.7 | 12.6 | 9.2 | 4.5 | 0 | -9.7
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:01 | 46.59 | 61.44 | 64.91 | 74.57 | 69.84 | 78.35 | 0 | 95 | USB |  | -50.6 | -28.62 | -28.77 | -8.3 | -4.57 | 17.84 | 11.45 | 7.33 | 17.21 | 16.53 | 17.43 | 37.59 | 36.1 | 30.76 | 30.46 | 31.29 | 35.75 | 36.32 | 36.24 | 35.49 | 35.81 | 35.45 | 33.9 | 32.82 | 31.1 | 30.3 | 29.14 | 28.95 | 27.4 | 26.61 | 25.41 | 19.41 | 15.24 | 12.65 | 6.78 | -5.48
| 2024-11-20 16:01 | 46.34 | 59.21 | 63.87 | 73.6 | 69.18 | 78.16 | 0 | 95 | USB |  | -37.73 | -27.35 | -26.24 | -6.07 | -1.27 | 17.12 | 13.62 | 8.35 | 16.89 | 19.35 | 17.64 | 35.13 | 33.6 | 30.3 | 28.93 | 30.09 | 35.98 | 35.59 | 34.81 | 35.63 | 35.7 | 36.37 | 33.72 | 33.78 | 32.49 | 33.24 | 32.59 | 30.14 | 28.23 | 26.85 | 27.74 | 18.84 | 15.05 | 9.37 | 3.47 | -7.89
| 2024-11-20 16:01 | 46.86 | 61.53 | 64.76 | 74.41 | 70.08 | 78.62 | 0 | 95 | USB |  | -39.56 | -30.82 | -31.17 | -8.99 | -5.61 | 17.02 | 13.05 | 8.52 | 12.1 | 18.29 | 17.2 | 35.77 | 35.64 | 29.26 | 28.29 | 29.25 | 35.47 | 36.06 | 35.25 | 36.55 | 36.01 | 35.67 | 33.81 | 33.72 | 32.27 | 32.21 | 35.29 | 33.29 | 29.83 | 27.91 | 27.43 | 26.39 | 21.5 | 14.92 | 9.62 | -2.85
| 2024-11-20 16:01 | 50.38 | 66.57 | 64.48 | 74.43 | 69.74 | 80.17 | 0 | 95 | USB |  | -40.48 | -31.35 | -30.08 | -5.94 | -2.05 | 16.47 | 14.31 | 12.67 | 18.24 | 18.89 | 18.14 | 34.92 | 34.72 | 31.2 | 30.08 | 29.4 | 35.89 | 34.12 | 35.47 | 36.55 | 36.57 | 36.18 | 34.06 | 35.09 | 35.53 | 35.92 | 39.03 | 42.25 | 43.04 | 41.27 | 36.01 | 34.1 | 27.63 | 21.17 | 12.13 | -0.75
| 2024-11-20 16:01 | 46 | 64.69 | 65.19 | 74.37 | 70.95 | 79.45 | 0 | 95 | USB |  | -32.6 | -29.93 | -25.04 | -6.66 | -0.41 | 18.62 | 11.3 | 10.46 | 16.79 | 19.55 | 16.9 | 34.63 | 34.65 | 31.78 | 29.65 | 28.85 | 34.77 | 35.99 | 35.54 | 35.77 | 35.25 | 35.23 | 33.82 | 32.94 | 30.91 | 29.36 | 29.95 | 28.84 | 26.87 | 28.66 | 28.08 | 19.62 | 13.59 | 7.92 | 2.94 | -8.92
| 2024-11-20 16:01 | 45.98 | 57.36 | 64.19 | 74.1 | 69.24 | 77.58 | 0 | 95 | USB |  | -31.36 | -30.2 | -25.69 | -2.58 | -5.19 | 16.77 | 12.69 | 16.56 | 15.41 | 14.05 | 17.21 | 36.91 | 36.03 | 30.71 | 27.3 | 29.27 | 33.9 | 35.86 | 35.42 | 36.14 | 34.85 | 35.17 | 33.07 | 32.9 | 31.11 | 29.33 | 28.6 | 27.74 | 25.69 | 22.89 | 21.46 | 19.61 | 16.59 | 10.73 | 3.81 | -7.43
| 2024-11-20 16:01 | 46.78 | 58.76 | 65.03 | 74.37 | 70.13 | 78.41 | 0 | 95 | USB |  | -39.54 | -31.05 | -24.51 | -3.97 | -9.21 | 16.54 | 12.62 | 10.47 | 12.71 | 18.23 | 16.41 | 37.18 | 35.01 | 32.73 | 32.98 | 30.8 | 34.27 | 35.88 | 35.41 | 35.6 | 35.46 | 37.01 | 35.33 | 33.15 | 32.03 | 29.38 | 32.44 | 29.22 | 27.64 | 25.68 | 24.77 | 22.23 | 18.38 | 13.18 | 6.08 | -6.28
| 2024-11-20 16:01 | 47.59 | 61.11 | 64.62 | 73.78 | 69.8 | 79.36 | 0 | 95 | USB |  | -43.79 | -32.29 | -28.03 | -8.42 | -3.07 | 16.89 | 8.84 | 15.01 | 13.7 | 17.96 | 17.88 | 37.99 | 33.25 | 29.47 | 27.89 | 28.48 | 35.17 | 35.64 | 36.46 | 35.49 | 35.18 | 35.77 | 33.94 | 32.98 | 31.74 | 30.94 | 40.67 | 32.52 | 35.3 | 32.54 | 26.82 | 23.76 | 19.91 | 16.76 | 8.32 | -3.49
| 2024-11-20 16:01 | 46.52 | 59.15 | 64.29 | 73.39 | 69.76 | 78.98 | 0 | 95 | USB |  | -36.15 | -35.03 | -27.22 | -10.44 | -3.09 | 17.42 | 12.6 | 10.91 | 16.05 | 19.99 | 15.57 | 35.21 | 31.04 | 30.48 | 34.12 | 29.62 | 34.98 | 36.87 | 36.25 | 39.14 | 36.99 | 34.94 | 33.99 | 32.13 | 30.35 | 29.07 | 28.46 | 26.87 | 24.04 | 21.47 | 18.19 | 14.38 | 10.18 | 5.8 | 0.61 | -9.41
| 2024-11-20 16:01 | 46.48 | 63.29 | 65.1 | 74.14 | 70.86 | 79.06 | 0 | 95 | USB |  | -38.9 | -26.61 | -24.11 | -6.12 | 0 | 17.27 | 14.89 | 10.7 | 15.02 | 19.44 | 18.17 | 30.68 | 37.07 | 31.65 | 30.31 | 28.69 | 35.09 | 35.77 | 35.24 | 36.06 | 35.06 | 35.88 | 34.24 | 34.04 | 32.38 | 32.59 | 34.59 | 29.53 | 27.39 | 25.78 | 22.48 | 20.79 | 14.53 | 8.56 | 2.85 | -8.13
| 2024-11-20 16:01 | 46.12 | 59.67 | 66.83 | 78.17 | 72.68 | 83.3 | 0 | 95 | USB |  | -42.75 | -23.8 | -24.37 | -10.44 | -2.32 | 18.15 | 12.16 | 12.36 | 12.84 | 17.04 | 16.35 | 32.14 | 36.43 | 30.53 | 28.07 | 27.42 | 34.83 | 34.8 | 36.45 | 36.77 | 35.68 | 35.75 | 33.12 | 32.61 | 31.92 | 32.31 | 32.84 | 28.89 | 27.36 | 25.52 | 23.36 | 18.05 | 14.02 | 9.66 | 2.37 | -8.41
| 2024-11-20 16:01 | 45.91 | 57.25 | 64.82 | 74.86 | 69.81 | 79.57 | 0 | 95 | USB |  | -46.66 | -29.71 | -24.54 | -6.65 | 3.31 | 20.02 | 21.64 | 14.22 | 14.44 | 20.99 | 16.97 | 33.29 | 30.26 | 30.24 | 30.87 | 31.85 | 35.22 | 36.14 | 35.27 | 36.31 | 35.43 | 35.23 | 33.15 | 32.41 | 31.59 | 30.33 | 31.65 | 28.88 | 27.7 | 24.69 | 21.14 | 17.3 | 13.91 | 10.13 | 2.93 | -8.69
| 2024-11-20 16:01 | 46.2 | 57.52 | 63.69 | 74.59 | 69.14 | 79.58 | 0 | 95 | USB |  | -33.7 | -29.12 | -26.29 | -8.59 | -1.06 | 14.89 | 11.17 | 10.55 | 14.88 | 18.29 | 17.86 | 36 | 33.69 | 30.83 | 32.22 | 28.21 | 34.81 | 37.16 | 35.61 | 37.27 | 35.68 | 35.16 | 33.29 | 32.75 | 31.06 | 30.77 | 28.92 | 26.74 | 24.34 | 21.21 | 18.99 | 14.68 | 10.2 | 6.06 | 1.53 | -8.69
| 2024-11-20 16:01 | 46.18 | 58.3 | 64.48 | 75.54 | 69.45 | 78.84 | 0 | 95 | USB |  | -34.17 | -28.24 | -27.62 | -8.28 | 7.19 | 15.21 | 14.52 | 10.5 | 13.92 | 19.05 | 20.33 | 36.81 | 34.12 | 30.43 | 31.41 | 30.6 | 35.91 | 36.47 | 35.48 | 36.08 | 35.35 | 36.16 | 33.06 | 32.66 | 30.98 | 30.22 | 28.6 | 27.08 | 24.91 | 22.09 | 19.42 | 15.61 | 10.92 | 6.08 | 1.42 | -8.86
| 2024-11-20 16:01 | 46.28 | 57.81 | 65.31 | 76.88 | 70.94 | 80 | 0 | 95 | USB |  | -42.95 | -33.34 | -19.04 | -9 | -0.43 | 17.71 | 13.65 | 11.71 | 18.11 | 19.96 | 21.31 | 35.55 | 33.54 | 30.1 | 30.79 | 31.87 | 35.35 | 35.92 | 36.45 | 36.43 | 36.29 | 36.1 | 33.9 | 33.11 | 31.05 | 29.9 | 28.72 | 27.7 | 25.35 | 22.83 | 19.17 | 15.05 | 10.29 | 5.32 | 0.76 | -8.97
| 2024-11-20 16:01 | 46.64 | 59.61 | 65.42 | 76.74 | 70.85 | 80.75 | 0 | 95 | USB |  | -41.98 | -31.82 | -20.7 | -6.06 | 3.3 | 19.13 | 15.28 | 10.2 | 13.79 | 18.51 | 21.6 | 36.15 | 34.19 | 30.72 | 33.93 | 31.82 | 34.89 | 35.14 | 36.27 | 38.48 | 36.76 | 35.44 | 33.32 | 32.94 | 30.81 | 29.76 | 28.37 | 27.85 | 25.69 | 22.63 | 18.56 | 14.8 | 10.86 | 5.92 | 1.53 | -8.05
| 2024-11-20 16:01 | 46.66 | 59.02 | 64.67 | 73.89 | 69.72 | 78.92 | 0 | 95 | USB |  | -33.55 | -30.84 | -20.13 | -13.8 | 1.64 | 15.98 | 13.19 | 13.24 | 14.17 | 20.24 | 19.82 | 34.78 | 37.17 | 30.41 | 35.96 | 30.5 | 35.77 | 36.32 | 35.13 | 36.28 | 36.37 | 36 | 34.55 | 32.82 | 31.39 | 30.15 | 30.29 | 27.56 | 25.36 | 22.23 | 19.9 | 16.01 | 10.56 | 6.05 | 1.35 | -8.82
| 2024-11-20 16:01 | 45.99 | 57.74 | 64.26 | 74.72 | 69.85 | 79.47 | 0 | 95 | USB |  | -35.04 | -24.56 | -23.74 | -11.13 | -0.98 | 18.64 | 11.94 | 7.5 | 15.16 | 21.11 | 20.27 | 32.83 | 34.48 | 30.13 | 28.42 | 30.05 | 34.84 | 34.99 | 36.19 | 36.45 | 35.42 | 35.59 | 33.91 | 33.19 | 33.01 | 31.05 | 30.44 | 28.83 | 27.24 | 24.47 | 21.57 | 17.32 | 13.28 | 8.37 | 2.22 | -8.5
| 2024-11-20 16:01 | 46.61 | 59.11 | 63.67 | 74.35 | 69.21 | 78.88 | 0 | 95 | USB |  | -31.18 | -26.07 | -16.84 | -5.61 | 4.46 | 16.03 | 13.46 | 11.29 | 10.95 | 19.63 | 20.6 | 35.94 | 29.76 | 31.51 | 33.04 | 31.68 | 35.52 | 37.64 | 38.52 | 36.26 | 36.28 | 35.13 | 33.63 | 32.7 | 31.15 | 29.93 | 29.19 | 27.71 | 25.82 | 23.86 | 19.73 | 16.37 | 11.82 | 6.76 | 1.6 | -8.89
| 2024-11-20 16:01 | 46.36 | 59.9 | 64.06 | 75.13 | 69.59 | 79.64 | 0 | 95 | USB |  | -46.19 | -23.23 | -11.19 | -8.81 | 5.46 | 15.3 | 13.64 | 8.37 | 11.32 | 17.29 | 17.52 | 36.2 | 29.87 | 29.81 | 30.68 | 31.02 | 36.28 | 36.95 | 37 | 36.48 | 36.04 | 35.56 | 33.72 | 32.6 | 31 | 29.93 | 29.01 | 27.94 | 25.14 | 22.81 | 19.98 | 16.29 | 11.63 | 7.81 | 3.76 | -4.31
| 2024-11-20 16:01 | 45.83 | 57.16 | 62.91 | 73.16 | 68.18 | 76.87 | 0 | 95 | USB |  | -36.82 | -29.06 | -17.58 | -9.17 | 4.76 | 14.88 | 14.14 | 8.57 | 13.59 | 15.91 | 18.46 | 36.38 | 30.76 | 28.43 | 31.8 | 29.81 | 33.89 | 36.05 | 35.33 | 35.93 | 35.91 | 35.73 | 33.17 | 32.92 | 31.21 | 30.55 | 30.33 | 28 | 25.56 | 22.55 | 18.86 | 14.64 | 10.55 | 5.36 | 0.7 | -9.17
| 2024-11-20 16:01 | 46.28 | 58.11 | 64.3 | 74.09 | 69.27 | 78.01 | 0 | 95 | USB |  | -34.19 | -24.97 | -17.6 | -6.27 | 1.02 | 15.64 | 11.71 | 11.1 | 11.88 | 17.33 | 17.46 | 36.83 | 36.84 | 29.62 | 30.32 | 30.32 | 33.89 | 36.53 | 35.77 | 34.82 | 35.86 | 35.26 | 33.9 | 32.67 | 31.16 | 30.16 | 30.78 | 28.35 | 25.67 | 23.01 | 19.93 | 16.02 | 11.92 | 6.97 | 1.55 | -7.45
| 2024-11-20 16:01 | 46.5 | 58.06 | 65.08 | 75.18 | 69.87 | 79.44 | 0 | 95 | USB |  | -36.87 | -29.35 | -17.01 | -9.77 | 5.05 | 17.44 | 11.81 | 12.3 | 15.9 | 19.2 | 17.15 | 37.69 | 34.58 | 30.23 | 28.6 | 29.84 | 35.52 | 36.81 | 36.43 | 36.52 | 36.1 | 35.36 | 33.17 | 33.08 | 30.89 | 30.46 | 30.17 | 28.57 | 27.33 | 24.11 | 20.59 | 16.18 | 12.34 | 7.05 | 1.52 | -8.57
| 2024-11-20 16:01 | 46.53 | 62.89 | 64.25 | 74.63 | 69.26 | 78.89 | 0 | 95 | USB |  | -38.37 | -29.26 | -25.86 | -9.45 | -3.76 | 16.83 | 14.96 | 12.32 | 18.15 | 20.05 | 19.72 | 37.4 | 32.22 | 29.24 | 29.21 | 30.73 | 35.99 | 36.66 | 35.97 | 36.18 | 35.2 | 35.27 | 34.54 | 36.15 | 33.47 | 30.78 | 30 | 28.4 | 25.35 | 22.54 | 19.36 | 13.98 | 9.96 | 5.5 | 0.85 | -9.01
| 2024-11-20 16:01 | 46.27 | 59.75 | 63.4 | 74.12 | 68.16 | 77.58 | 0 | 95 | USB |  | -32.6 | -22.62 | -23.84 | -8.63 | 0.83 | 15.01 | 9.83 | 12.56 | 14.73 | 14.8 | 18.37 | 37.57 | 33.46 | 32.26 | 29.68 | 29.36 | 33.9 | 35.47 | 35.82 | 35.39 | 35.02 | 36.25 | 34.34 | 33.77 | 32.26 | 30.27 | 30.58 | 28.12 | 25.4 | 22.44 | 19.26 | 15.63 | 11.33 | 6.79 | 2.1 | -8.6
| 2024-11-20 16:01 | 47.24 | 61.05 | 63.51 | 74.28 | 67.82 | 77.24 | 0 | 95 | USB |  | -39.47 | -25.42 | -27.11 | -11.32 | 1.5 | 14.25 | 13.4 | 11 | 13.83 | 17.69 | 17.41 | 37.28 | 36.24 | 29.74 | 27.68 | 28.9 | 35.28 | 35.34 | 36.05 | 35.31 | 35.23 | 35.25 | 33.94 | 33.3 | 33.49 | 33.1 | 35.05 | 37.65 | 31.47 | 28.98 | 29.69 | 21.96 | 19.27 | 14.1 | 7.72 | -4.01
| 2024-11-20 16:01 | 47.22 | 59.57 | 64.49 | 74.01 | 68.83 | 77.8 | 0 | 95 | USB |  | -45.49 | -29.15 | -22.75 | -8.34 | -8.87 | 14.94 | 13.18 | 15.61 | 14.95 | 18.53 | 18.18 | 38.16 | 35.68 | 32.34 | 31.52 | 29 | 34.99 | 39.49 | 36 | 38.28 | 35.16 | 35.4 | 33.36 | 32.59 | 30.65 | 29.75 | 31.15 | 29.03 | 27.78 | 24.77 | 21.02 | 18.37 | 15.08 | 12.39 | 3.11 | -8.65
| 2024-11-20 16:01 | 46.04 | 58.04 | 63.72 | 72.97 | 68.38 | 77.16 | 0 | 95 | USB |  | -42.75 | -32.46 | -23.05 | -9.02 | -3.27 | 16.14 | 11.34 | 12.69 | 11.24 | 20.36 | 16.16 | 37.36 | 31.27 | 31.12 | 28.52 | 28.28 | 34.96 | 35.82 | 35.69 | 37.24 | 35.79 | 36.03 | 33.43 | 32.9 | 31.19 | 30.12 | 29.03 | 27.39 | 24.81 | 22.69 | 20.41 | 17.19 | 11.35 | 6.76 | 1.78 | -8.54
| 2024-11-20 16:01 | 45.13 | 57.01 | 62.72 | 73.63 | 67.93 | 77.1 | 0 | 95 | USB |  | -36.81 | -27.77 | -19.19 | -11.82 | -4.85 | 15.76 | 13.41 | 11.78 | 15.42 | 19.44 | 15.73 | 32.98 | 34.95 | 28.59 | 28.24 | 27.79 | 33.6 | 34.55 | 35.61 | 35.77 | 34.69 | 35.14 | 32.98 | 32.05 | 30.05 | 29.18 | 28.21 | 26.45 | 24.6 | 21.07 | 18.23 | 14 | 10.4 | 5.64 | 1.08 | -8.81
| 2024-11-20 16:01 | 45.64 | 57.16 | 63.14 | 72.64 | 67.95 | 77 | 0 | 95 | USB |  | -36.97 | -29.6 | -17.29 | -9 | 2.03 | 13.38 | 13.16 | 15.25 | 16.76 | 19.91 | 18.92 | 29.04 | 37.68 | 29.56 | 26.97 | 29.16 | 34.52 | 35.63 | 35.63 | 35.54 | 34.84 | 34.89 | 33.76 | 33.18 | 31.31 | 29.33 | 28.99 | 26.95 | 24.91 | 22.03 | 19.52 | 16.04 | 12.1 | 7.03 | 1.71 | -8.65
| 2024-11-20 16:01 | 45.2 | 57.68 | 62.64 | 72.44 | 67.31 | 77.08 | 0 | 95 | USB |  | -41.7 | -27.6 | -22.6 | -10.82 | -1.41 | 14.31 | 10.97 | 13.07 | 13.75 | 18.07 | 18.41 | 34.59 | 32.8 | 29.84 | 27.78 | 28.07 | 34.3 | 36.28 | 34.91 | 34.76 | 35.62 | 34.49 | 32.84 | 32.07 | 30.83 | 29.46 | 28.25 | 26.59 | 24.59 | 21.11 | 18.33 | 13.79 | 10.22 | 5.7 | 0.86 | -8.88
| 2024-11-20 16:02 | 45.85 | 57.74 | 64.39 | 74.17 | 69.08 | 79.31 | 0 | 95 | USB |  | -34.38 | -26.75 | -27.26 | -6.29 | 4.42 | 15.22 | 16.88 | 13.39 | 14.41 | 20.26 | 18.34 | 37.81 | 33.03 | 30.3 | 28.31 | 28.77 | 34.69 | 35.81 | 34.89 | 35.21 | 34.9 | 35.07 | 33.44 | 32.7 | 30 | 29.01 | 28.17 | 26.23 | 23.97 | 21.1 | 17.77 | 14.24 | 10.22 | 5.46 | 0.6 | -9.08
| 2024-11-20 16:02 | 46.28 | 57.99 | 63.94 | 72.8 | 67.74 | 77.53 | 0 | 95 | USB |  | -33.95 | -35.55 | -31.35 | -9.04 | -1.17 | 13.63 | 9.89 | 12.63 | 9.12 | 21.22 | 18.26 | 39.57 | 37.13 | 29.3 | 27.77 | 27.61 | 34.08 | 34.97 | 36.02 | 35.07 | 35.35 | 35.05 | 33.41 | 32.43 | 30.42 | 28.62 | 27.4 | 26.24 | 23.95 | 21.23 | 18.39 | 14.16 | 11.21 | 5.71 | 1.13 | -8.76
| 2024-11-20 16:02 | 45.92 | 57.82 | 64.71 | 74.22 | 69.39 | 78.83 | 0 | 95 | USB |  | -37.6 | -31.21 | -32.24 | -6.19 | -2.75 | 15.06 | 13.78 | 10.32 | 12.47 | 21.06 | 15.85 | 38.16 | 34.94 | 29.4 | 26.54 | 28.46 | 34.61 | 35.56 | 34.93 | 36.22 | 35.56 | 35.32 | 33.36 | 32.52 | 31.02 | 29.53 | 28.75 | 26.8 | 24.54 | 21.15 | 18.18 | 14.1 | 10.54 | 5.41 | 0.76 | -9.13
| 2024-11-20 16:02 | 46.13 | 58.68 | 63.97 | 75.29 | 68.29 | 77.66 | 0 | 95 | USB |  | -38.5 | -33.23 | -29.56 | -8.46 | -0.77 | 15.37 | 14.39 | 12.19 | 11.49 | 20.76 | 19.01 | 38.36 | 36.47 | 29.74 | 25.86 | 27.71 | 34.39 | 35.62 | 35.62 | 35.4 | 34.71 | 35.41 | 33.64 | 33.04 | 30.89 | 29.57 | 28.65 | 26.96 | 24.45 | 21.6 | 18.2 | 14.75 | 10.9 | 5.89 | 0.68 | -8.95
| 2024-11-20 16:02 | 45.99 | 58.27 | 63.94 | 73.64 | 69.04 | 78.18 | 0 | 95 | USB |  | -42.61 | -26.07 | -25.48 | -6.23 | 4.54 | 14.29 | 11.97 | 12.26 | 14.25 | 19.25 | 19.5 | 37.24 | 36.23 | 28.8 | 28.63 | 29 | 34.97 | 35.23 | 34.54 | 35.9 | 35.63 | 35.53 | 33.26 | 33.06 | 31.41 | 29.69 | 28.12 | 28.59 | 26.14 | 22.89 | 18.68 | 14.54 | 10.66 | 6.22 | 0.92 | -9.14
| 2024-11-20 16:02 | 46.22 | 58.38 | 64.22 | 73.99 | 69.09 | 78.16 | 0 | 95 | USB |  | -42.53 | -28.46 | -25.93 | -7.43 | 0.9 | 13.82 | 11.1 | 15 | 13.76 | 20.39 | 20.26 | 37.82 | 31.72 | 29.23 | 28.63 | 29.75 | 35.82 | 36.44 | 35.02 | 36.39 | 35.88 | 35.34 | 34.15 | 32.57 | 30.48 | 29.59 | 28.62 | 27.36 | 24.57 | 21.7 | 18.59 | 14.25 | 10.16 | 5.39 | 0.76 | -9.34
| 2024-11-20 16:02 | 53.61 | 82.51 | 65.35 | 88.97 | 70.55 | 87.92 | 0 | 95 | USB |  | -37.65 | -26.82 | -22.46 | -7.02 | 2.97 | 15.08 | 12.73 | 15.2 | 14.86 | 20.36 | 22.37 | 37.46 | 36.04 | 33.42 | 39.16 | 44.7 | 46.19 | 45.25 | 43.42 | 44.03 | 41.9 | 40.05 | 37.86 | 39.85 | 34.27 | 40.48 | 32.79 | 28.72 | 33.56 | 28.99 | 30.59 | 29.45 | 22.16 | 20.24 | 10.79 | 0.12
| 2024-11-20 16:02 | 46.16 | 60.1 | 63.85 | 73.86 | 68.97 | 77.41 | 0 | 95 | USB |  | -31.94 | -30.69 | -20.83 | -6.19 | 1.61 | 14.5 | 13.6 | 13.7 | 17.3 | 20.96 | 20.29 | 36.16 | 32.82 | 31.45 | 33.57 | 31.69 | 34.94 | 35.77 | 35.23 | 35.89 | 36.42 | 35.35 | 33.42 | 33.37 | 30.67 | 30.39 | 29.84 | 26.8 | 25.01 | 23.17 | 19.7 | 15.46 | 10.9 | 6.31 | 1.28 | -8.42
| 2024-11-20 16:02 | 46.13 | 58.26 | 64.26 | 74.28 | 69.47 | 79.47 | 0 | 95 | USB |  | -40.35 | -34.51 | -22.68 | -8.76 | 2.41 | 14.74 | 15.08 | 11.55 | 15.07 | 23.52 | 20.14 | 36.22 | 35.56 | 31.77 | 31.8 | 30.69 | 33.98 | 35.74 | 35.27 | 36.02 | 35.99 | 34.97 | 33.71 | 33.13 | 31.09 | 30.29 | 29.08 | 27.7 | 26.85 | 25.17 | 23.19 | 20.66 | 17.7 | 12.97 | 5.56 | -6.86
| 2024-11-20 16:02 | 46.27 | 71.98 | 62.7 | 74.64 | 69.26 | 80.1 | 0 | 95 | USB |  | -33.8 | -19.19 | -17.39 | -6.31 | -0.58 | 15.35 | 11.94 | 12.87 | 15.42 | 19.28 | 19.55 | 31.44 | 34.43 | 31.86 | 29.33 | 30.04 | 34.43 | 35.42 | 35.19 | 35.31 | 37.09 | 35.56 | 33.42 | 34.09 | 31.68 | 32.14 | 33.06 | 32.72 | 29.63 | 26.52 | 25.17 | 21.71 | 18.99 | 14.25 | 7.56 | -4.89
| 2024-11-20 16:02 | 47.58 | 66.27 | 65.13 | 78.83 | 71.44 | 82.07 | 0 | 95 | USB |  | -31.31 | -24.05 | -21.67 | -12.5 | 2.3 | 17.71 | 12.56 | 15.94 | 17.66 | 22.42 | 21.34 | 32.01 | 37.12 | 30.39 | 31.63 | 31.23 | 35.37 | 35.43 | 35.31 | 35.96 | 36.51 | 36.21 | 35.07 | 34.71 | 33.39 | 32.08 | 34.58 | 34.55 | 34.19 | 33.51 | 32.14 | 29.95 | 27.53 | 22.39 | 14.83 | 1.62
| 2024-11-20 16:02 | 46.23 | 58.6 | 63.24 | 74.34 | 69.38 | 77.85 | 0 | 95 | USB |  | -26.94 | -21.6 | -24.93 | -11.81 | 2.22 | 16.11 | 13.94 | 13.69 | 13.07 | 17.88 | 21.68 | 32.33 | 35.45 | 30.68 | 31.01 | 30.33 | 34.01 | 37.54 | 34.98 | 35.34 | 35.03 | 34.81 | 33.86 | 33.43 | 31.03 | 32.15 | 31.93 | 30.22 | 29.93 | 29.82 | 27.9 | 25.99 | 22.73 | 17.99 | 11.11 | -1.14
| 2024-11-20 16:02 | 46.89 | 72.38 | 64.8 | 75.16 | 70.94 | 80.86 | 0 | 95 | USB |  | -29.44 | -32.36 | -24.06 | -10.77 | -0.12 | 15.63 | 14.94 | 17.29 | 16.15 | 15.87 | 18.44 | 35.38 | 36.09 | 31.44 | 32.04 | 31.16 | 34.75 | 36.34 | 35.07 | 36.91 | 36.58 | 35.04 | 32.75 | 34.32 | 32.06 | 33.8 | 34.05 | 31.61 | 28 | 24.04 | 22.3 | 17.02 | 15.64 | 6.24 | 1.19 | -7.98
| 2024-11-20 16:02 | 46.02 | 66.11 | 63.09 | 73.92 | 68.29 | 78 | 0 | 95 | USB |  | -31.54 | -27.62 | -19.07 | -11.52 | 4.61 | 15.21 | 9.99 | 12.78 | 14.7 | 18.41 | 20.05 | 36.92 | 35.09 | 31.63 | 32.35 | 30.95 | 33.63 | 34.98 | 34.81 | 36.27 | 35.84 | 34.7 | 33.14 | 33.03 | 30.65 | 30.96 | 30.21 | 27.99 | 26.33 | 22.88 | 19.74 | 15.09 | 11.12 | 6 | 0.86 | -9.01
| 2024-11-20 16:02 | 46.77 | 69.68 | 64.46 | 74.93 | 69.83 | 78.48 | 0 | 95 | USB |  | -34.07 | -26.78 | -29.15 | -14.42 | -0.8 | 15.55 | 12.91 | 12.17 | 12.56 | 18.66 | 20.64 | 38.11 | 35.67 | 33.16 | 32.19 | 29.13 | 35.57 | 36.82 | 35.31 | 36.62 | 35.22 | 35.05 | 33.8 | 33.85 | 30.96 | 31.25 | 31.35 | 29.43 | 27.91 | 23.02 | 21.45 | 18.07 | 12.64 | 7.06 | 2.34 | -7.95
| 2024-11-20 16:02 | 46.58 | 68.62 | 63.34 | 73.56 | 68.49 | 77.79 | 0 | 95 | USB |  | -28.43 | -28.01 | -33.11 | -9.64 | -0.64 | 14.03 | 11.61 | 14.36 | 9.76 | 17.85 | 20.78 | 37.2 | 35.85 | 30.92 | 30.91 | 29.4 | 35.63 | 36.49 | 34.78 | 36.28 | 35.95 | 34.64 | 33.62 | 34.23 | 31.76 | 31.25 | 31.8 | 30.84 | 29.14 | 23.49 | 21.96 | 19.15 | 13.95 | 7.1 | 1.94 | -8.44
| 2024-11-20 16:02 | 45.92 | 58 | 64.48 | 76 | 69.43 | 79.51 | 0 | 95 | USB |  | -36.73 | -33.18 | -22.13 | -8.11 | -5.45 | 15 | 13.5 | 14.37 | 12.03 | 20.73 | 17.77 | 37.33 | 30.11 | 30.83 | 29.78 | 30.56 | 35.42 | 35.88 | 35.51 | 35.69 | 35.71 | 35.01 | 32.69 | 32.88 | 30.59 | 29.21 | 28.98 | 26.91 | 24.75 | 22.48 | 21.31 | 17.51 | 13.55 | 9.01 | 3.78 | -7.59
| 2024-11-20 16:02 | 47.34 | 60.79 | 64.89 | 75.04 | 72.07 | 80.75 | 0 | 95 | USB |  | -38.09 | -23.97 | -9.67 | -10.04 | -2.49 | 17.08 | 13.77 | 13.35 | 13.23 | 19.75 | 18.94 | 37.47 | 36.93 | 31.29 | 34.63 | 29.01 | 34.23 | 35.63 | 34.72 | 36.57 | 36.01 | 36.36 | 33.57 | 34.11 | 32.24 | 31.26 | 34.4 | 34 | 33.95 | 29.66 | 25.7 | 23.5 | 21.56 | 19.89 | 10.04 | -5.02
| 2024-11-20 16:02 | 45.73 | 58.02 | 63.61 | 73.71 | 70.76 | 81.3 | 0 | 95 | USB |  | -26.34 | -21.73 | -8.77 | -4.52 | 2.47 | 15.33 | 15.22 | 14.81 | 16.17 | 20.41 | 16.86 | 36.76 | 31.55 | 32.81 | 31.35 | 27.33 | 35.11 | 35.74 | 34.44 | 35.62 | 35.73 | 34.22 | 32.61 | 32.32 | 31.59 | 30.08 | 29.82 | 26.76 | 24.75 | 22.31 | 19.52 | 15.18 | 10.88 | 6.6 | 1.61 | -8.63
Stop | 2024-11-20 16:02