## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E0834:0000007F
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:03:00
Stop Time | 2024-11-20 16:03:11
Run Time | 00:00:11
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 48.1 dB | 64.6 dB | 69.8 dB
Lωpk | 68.5 dB | 76.6 dB | 80.4 dB
| 2024-11-20 16:03:08 | 2024-11-20 16:03:09 | 2024-11-20 16:03:10
LωSmin | 47.2 dB | 63.4 dB | 68.7 dB
| 2024-11-20 16:03:07 | 2024-11-20 16:03:00 | 2024-11-20 16:03:00
LωSmax | 49.9 dB | 65.9 dB | 71.0 dB
| 2024-11-20 16:03:10 | 2024-11-20 16:03:10 | 2024-11-20 16:03:10
LωFmin | 46.1 dB | 60.9 dB | 65.7 dB
| 2024-11-20 16:03:00 | 2024-11-20 16:03:00 | 2024-11-20 16:03:00
LωFmax | 51.4 dB | 67.6 dB | 73.0 dB
| 2024-11-20 16:03:09 | 2024-11-20 16:03:10 | 2024-11-20 16:03:10
LωImin | 48.4 dB | 65.7 dB | 71.5 dB
| 2024-11-20 16:03:05 | 2024-11-20 16:03:00 | 2024-11-20 16:03:07
LωImax | 53.3 dB | 69.9 dB | 75.4 dB
| 2024-11-20 16:03:08 | 2024-11-20 16:03:10 | 2024-11-20 16:03:10
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 48.1 | 48.1 | -99.9 | 48.1 | 48.1 | -99.9 | -99.9 | dB
LCeq - LAeq | 16.5 dB
LAIeq | 50.3 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 58.5 dB
EA (Pa²s) | 0.0 Pa²s
EA,8 h (Pa²s) | 0.7 Pa²s
EA,40 h (Pa²s) | 3.7 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.0 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:03:00 | Run | Timer
2024/11/20 16:03:11 | Stop | Local

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -32.7 | -25.8 | -24.2 | -6.1 | 1.5 | 16.9 | 13.4 | 13.3 | 16.8 | 21.6 | 18.8 | 33.2 | 34.7 | 32.8 | 35.6 | 39.9 | 37.9 | 40 | 38.3 | 35.6 | 38.4 | 36.5 | 33.7 | 31.6 | 29.1 | 28.7 | 29.3 | 26.2 | 24.8 | 22.3 | 20.1 | 16.5 | 12 | 8.4 | 2.5 | -6.7
1/3 LAFmax | -25.5 | -20.5 | -16.3 | -3.1 | 7.8 | 20.4 | 17.8 | 18.5 | 24 | 27 | 25.2 | 37.1 | 39 | 38.7 | 41.8 | 48.5 | 42.1 | 42.8 | 41.3 | 39.7 | 40.2 | 41.5 | 39.4 | 34.9 | 33.4 | 37 | 41.9 | 32.8 | 30.7 | 28.5 | 27.4 | 23.4 | 19.3 | 17.4 | 9.7 | -4.1
1/3 LAFmin | -51.5 | -40.8 | -34.7 | -13.1 | -11.1 | 11.3 | 5.4 | 6.6 | 8.2 | 13.1 | 11.8 | 25.2 | 26.8 | 27.6 | 28.8 | 29.6 | 33.9 | 37.3 | 34.7 | 33 | 36.3 | 33.7 | 32 | 30 | 27.4 | 26.7 | 26.1 | 24.1 | 22.4 | 19.8 | 17.4 | 13.6 | 9.3 | 5.7 | 0.7 | -7.5
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:03 | 46.67 | 57.76 | 62.99 | 72.43 | 68.89 | 78.77 | 0 | 95 | USB |  | -43.81 | -30.76 | -28.53 | -4.49 | 1.02 | 14.73 | 14.26 | 12.52 | 14.68 | 18.99 | 14.26 | 28.53 | 30.61 | 30.56 | 34.44 | 32.11 | 37.07 | 39.48 | 37.31 | 34.87 | 37.95 | 35.98 | 33.27 | 30.88 | 28.68 | 28.13 | 28.24 | 26.01 | 25.2 | 23.29 | 21.5 | 18.93 | 14.28 | 11.44 | 4.89 | -6.14
| 2024-11-20 16:03 | 47.56 | 59.4 | 64.11 | 74.68 | 69.21 | 77.19 | 0 | 95 | USB |  | -41.2 | -27.6 | -25.31 | -5.05 | 0.84 | 17.19 | 10.06 | 14.8 | 14.7 | 19.97 | 17.19 | 29.21 | 36.28 | 32.16 | 33.44 | 33.7 | 37.84 | 39.97 | 37.87 | 37.52 | 38.62 | 36.2 | 33.24 | 31.07 | 28.91 | 28.63 | 27.78 | 25.22 | 24.37 | 21.5 | 18.81 | 16.13 | 10.95 | 7.26 | 2.37 | -6.73
| 2024-11-20 16:03 | 47.19 | 59.07 | 64.27 | 74.09 | 69.99 | 80.08 | 0 | 95 | USB |  | -43.41 | -22.64 | -27.1 | -5.28 | -0.75 | 15.71 | 14.34 | 12.39 | 16.36 | 19.51 | 16.79 | 29.3 | 35.28 | 31.91 | 33.14 | 35.24 | 36.92 | 40.48 | 37.8 | 35.09 | 38.63 | 36.86 | 33.5 | 31.61 | 28.17 | 27.6 | 27.09 | 25 | 24.28 | 20.83 | 18.97 | 15.83 | 11.02 | 7.27 | 2.25 | -6.62
| 2024-11-20 16:03 | 47.46 | 58.59 | 64.28 | 74.97 | 69.09 | 79.09 | 0 | 95 | USB |  | -31.33 | -21.45 | -29.19 | -5.84 | -7.85 | 17.62 | 13.8 | 12.34 | 21.12 | 21.81 | 19.22 | 33.89 | 35.05 | 30.99 | 33.95 | 34.6 | 38.02 | 40.52 | 36.93 | 34.87 | 38.32 | 36.84 | 32.9 | 31.46 | 28.58 | 28.1 | 27.4 | 25.4 | 24.16 | 21.76 | 19.57 | 15.55 | 10.54 | 6.73 | 2.02 | -6.98
| 2024-11-20 16:03 | 47.31 | 60.49 | 65.04 | 75.09 | 70.21 | 79.31 | 0 | 95 | USB |  | -28.44 | -27.97 | -25.58 | -7.06 | -4.97 | 18.01 | 14.38 | 12.76 | 13.31 | 23.5 | 19.81 | 34.52 | 36.59 | 29.99 | 31.69 | 35.02 | 36.53 | 39.39 | 38.19 | 35.39 | 38.44 | 36.36 | 33.27 | 31.61 | 29.49 | 28.33 | 29.37 | 27.77 | 24.96 | 22.51 | 21.05 | 16.89 | 12.41 | 8.6 | 2.64 | -6.58
| 2024-11-20 16:03 | 47.31 | 59.32 | 64.93 | 75.09 | 70.21 | 78.94 | 0 | 95 | USB |  | -29.65 | -22.73 | -31.77 | -5.48 | 2.22 | 18.4 | 15.33 | 10.43 | 13.2 | 22.48 | 20.3 | 35.8 | 29.68 | 30.37 | 32.92 | 35.01 | 36.95 | 40.33 | 38.26 | 34.77 | 38.04 | 36.31 | 33.26 | 31.77 | 29.02 | 27.77 | 27.44 | 25.69 | 24.41 | 21.7 | 18.76 | 15.15 | 11.05 | 8 | 1.75 | -7.14
| 2024-11-20 16:03 | 47.42 | 59.04 | 63.79 | 73.36 | 68.76 | 78 | 0 | 95 | USB |  | -32.11 | -27.97 | -25.52 | -7.94 | 5.77 | 15.91 | 11.52 | 12.76 | 15.04 | 19.09 | 17.78 | 36.39 | 34.49 | 29.44 | 33.38 | 34.21 | 36.99 | 40.19 | 37.21 | 35.44 | 38.78 | 37.05 | 33.56 | 31.67 | 28.79 | 28.15 | 28.04 | 25.14 | 23.78 | 21.04 | 19.03 | 15.53 | 10.22 | 6.84 | 2.43 | -6.83
| 2024-11-20 16:03 | 48.03 | 60.15 | 64.81 | 75.39 | 70.03 | 80.05 | 0 | 95 | USB |  | -37.6 | -29.33 | -25.6 | -7.54 | -2 | 17.55 | 12.23 | 14.65 | 14.22 | 20.23 | 16.81 | 34.42 | 31.55 | 32.76 | 34.72 | 40.12 | 37.88 | 40.12 | 38.83 | 35.31 | 38.74 | 36.01 | 33.25 | 31.69 | 28.49 | 28.09 | 27.39 | 25.54 | 23.85 | 20.89 | 18.55 | 15.99 | 10.97 | 6.94 | 1.88 | -7.07
| 2024-11-20 16:03 | 49.29 | 68.45 | 64.44 | 74.44 | 69.55 | 79.46 | 0 | 95 | USB |  | -37.75 | -32.99 | -25.23 | -9.57 | -3.13 | 17.22 | 10.48 | 10.31 | 16.07 | 20.27 | 20.73 | 34.08 | 34.1 | 31.06 | 35.83 | 43.35 | 38.21 | 39.79 | 38.56 | 35.84 | 38.99 | 38.09 | 35.94 | 32.64 | 30.83 | 31.66 | 34.39 | 27.41 | 26.39 | 23.19 | 21.12 | 17.14 | 13.89 | 10.62 | 2.61 | -6.45
| 2024-11-20 16:03 | 50.19 | 60.81 | 65.42 | 76.63 | 70.77 | 79.76 | 0 | 95 | USB |  | -34.69 | -29.3 | -18.76 | -5.81 | 4.78 | 15.48 | 12.06 | 15.57 | 16.71 | 23.84 | 17.74 | 30.87 | 36.29 | 36.45 | 38.84 | 45.7 | 40.63 | 39.74 | 39.74 | 36.28 | 37.54 | 35.18 | 33.67 | 31.43 | 29.36 | 28.52 | 28.25 | 26.16 | 24.1 | 22.47 | 19.77 | 15.25 | 11.93 | 7.03 | 1.65 | -6.91
| 2024-11-20 16:03 | 49.26 | 61.94 | 66.04 | 76.06 | 70.97 | 80.4 | 0 | 95 | USB |  | -29.04 | -26.22 | -20.48 | -5.28 | 3.53 | 16.61 | 15.29 | 14.76 | 20.21 | 23.85 | 21.39 | 29.32 | 36.14 | 36.97 | 40.19 | 42.64 | 38.54 | 40.07 | 39.39 | 35.69 | 37.76 | 36.21 | 34.19 | 31.55 | 29.38 | 29.4 | 30.22 | 27.97 | 26.51 | 24.16 | 22.02 | 17.61 | 12.63 | 8.42 | 2.36 | -6.54
Stop | 2024-11-20 16:03