## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E08AC:00000084
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:05:00
Stop Time | 2024-11-20 16:05:13
Run Time | 00:00:13
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 62.1 dB | 69.3 dB | 72.9 dB
Lωpk | 86.3 dB | 88.3 dB | 89.9 dB
| 2024-11-20 16:05:11 | 2024-11-20 16:05:11 | 2024-11-20 16:05:11
LωSmin | 50.0 dB | 65.2 dB | 69.7 dB
| 2024-11-20 16:05:01 | 2024-11-20 16:05:01 | 2024-11-20 16:05:01
LωSmax | 67.8 dB | 73.0 dB | 75.9 dB
| 2024-11-20 16:05:11 | 2024-11-20 16:05:11 | 2024-11-20 16:05:12
LωFmin | 45.9 dB | 61.5 dB | 65.4 dB
| 2024-11-20 16:05:00 | 2024-11-20 16:05:00 | 2024-11-20 16:05:00
LωFmax | 73.3 dB | 77.1 dB | 78.2 dB
| 2024-11-20 16:05:11 | 2024-11-20 16:05:11 | 2024-11-20 16:05:11
LωImin | 57.6 dB | 68.0 dB | 72.9 dB
| 2024-11-20 16:05:02 | 2024-11-20 16:05:01 | 2024-11-20 16:05:04
LωImax | 75.9 dB | 79.5 dB | 80.6 dB
| 2024-11-20 16:05:11 | 2024-11-20 16:05:11 | 2024-11-20 16:05:12
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 62.1 | 62.1 | -99.9 | 62.1 | 62.1 | -99.9 | -99.9 | dB
LCeq - LAeq | 7.2 dB
LAIeq | 68.9 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 73.2 dB
EA (Pa²s) | 0.0 Pa²s
EA,8 h (Pa²s) | 18.5 Pa²s
EA,40 h (Pa²s) | 92.7 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.0 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:05:00 | Run | Timer
2024/11/20 16:05:13 | Stop | Local

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -33.6 | -26 | -21.8 | -6 | -1.1 | 16.7 | 13.3 | 16.3 | 18.5 | 23.7 | 20 | 34 | 39.5 | 44.7 | 44.1 | 41.4 | 50.7 | 52.4 | 50.4 | 56.7 | 53.8 | 51.4 | 48.7 | 48.9 | 44.8 | 44.1 | 41.5 | 43.4 | 41.4 | 44.9 | 42.5 | 39.7 | 37.4 | 25.4 | 13.5 | 0.2
1/3 LAFmax | -26.3 | -18.5 | -10.6 | -1.4 | 4.3 | 21.1 | 18.9 | 22.1 | 24.4 | 29.2 | 25.1 | 39.1 | 47.4 | 53.3 | 56.1 | 49 | 62.9 | 65.1 | 63.5 | 70.2 | 64.6 | 62.4 | 62.9 | 64.7 | 57 | 58.3 | 50.7 | 55.5 | 53.8 | 62 | 59.7 | 56.9 | 54.7 | 42.5 | 27.8 | 9.7
1/3 LAFmin | -48.6 | -39.3 | -38.1 | -17.9 | -16.7 | 12 | 5.4 | 8.8 | 10.1 | 14.3 | 13.8 | 23.6 | 27.4 | 31.7 | 29.6 | 28.9 | 35.1 | 35.2 | 32 | 32 | 35.4 | 33.3 | 31.7 | 30.8 | 30.1 | 29.1 | 27 | 25.7 | 24.3 | 20.1 | 18.2 | 14.3 | 10.1 | 6.3 | 1.8 | -6.7
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:05 | 46.57 | 58.78 | 64.32 | 74.64 | 69.34 | 79.8 | 0 | 96 | USB |  | -31.96 | -34.6 | -28.9 | -8.59 | -4.23 | 16.41 | 14.48 | 14.45 | 17.4 | 26.6 | 20.15 | 30.36 | 31.43 | 34.73 | 39.08 | 35.07 | 37.06 | 36.98 | 34.04 | 33.57 | 36.34 | 34.45 | 32.91 | 32.08 | 31.16 | 30.55 | 27.99 | 26.24 | 25.03 | 21.76 | 20.39 | 16.31 | 11.75 | 7.11 | 2.63 | -6.41
| 2024-11-20 16:05 | 50.68 | 66.55 | 65.94 | 78.41 | 69.87 | 80.66 | 0 | 96 | USB |  | -38.56 | -23.85 | -29.28 | -11.23 | -10.31 | 17.46 | 12.04 | 13.95 | 18.3 | 26.21 | 19.23 | 34.23 | 34.56 | 36.64 | 38.43 | 35.85 | 41.38 | 41.86 | 42.5 | 39.44 | 37.37 | 37.2 | 37.68 | 36.6 | 32.48 | 33.23 | 30.79 | 29.84 | 26.34 | 22.83 | 22.22 | 19.18 | 15.75 | 9.66 | 4.58 | -2.98
| 2024-11-20 16:05 | 53.62 | 71.38 | 67.16 | 79.43 | 70.45 | 81.09 | 0 | 96 | USB |  | -39.04 | -26.15 | -30.37 | -10.88 | -13.41 | 16.62 | 13.22 | 15.13 | 14.32 | 25.53 | 20.14 | 37.31 | 40.68 | 45.06 | 40.51 | 42.45 | 45.89 | 41.94 | 42.53 | 45.22 | 38.93 | 39.31 | 37.41 | 36.71 | 40.34 | 39.64 | 35.39 | 33.71 | 35.91 | 34.45 | 25.77 | 21.99 | 21.89 | 16.96 | 10.27 | -3.6
| 2024-11-20 16:05 | 55.73 | 73.28 | 66.98 | 80.19 | 70.37 | 81.46 | 0 | 96 | USB |  | -35.12 | -27.72 | -28.34 | -10.95 | -9.49 | 16.32 | 13.74 | 14.72 | 17.42 | 25.1 | 19.62 | 36.49 | 39.87 | 41.84 | 37.53 | 40.37 | 42.56 | 46.07 | 44.5 | 50.85 | 41.4 | 42.92 | 44.01 | 35.84 | 44.44 | 42.21 | 37.59 | 36.57 | 39.9 | 31.98 | 32.07 | 30.35 | 26.7 | 18.07 | 6.81 | -4.86
| 2024-11-20 16:05 | 52.6 | 68.5 | 66.7 | 80.2 | 70.49 | 82.11 | 0 | 96 | USB |  | -37.05 | -30.13 | -30.3 | -9.67 | 1.72 | 17.27 | 14.79 | 19.73 | 20.46 | 25.78 | 20.61 | 37.39 | 37.9 | 35.93 | 37.72 | 40.65 | 38.26 | 38.61 | 35.25 | 44.33 | 41.68 | 43.16 | 46.14 | 37.14 | 34.11 | 34.84 | 33.67 | 32.57 | 31.39 | 28.94 | 26.83 | 24.43 | 21.61 | 17.31 | 12.22 | 2.52
| 2024-11-20 16:05 | 65.18 | 80.4 | 71.24 | 84.63 | 72.92 | 84.4 | 0 | 96 | USB |  | -33.81 | -32.2 | -29.17 | -7.17 | 2.35 | 15.86 | 11.34 | 18.61 | 21.78 | 22.88 | 20.62 | 36.4 | 43.67 | 41.7 | 44.02 | 45.8 | 46.07 | 57.17 | 50.68 | 62.12 | 57.78 | 52.23 | 47 | 40.2 | 37.4 | 42.35 | 41.17 | 39.55 | 37.42 | 32.79 | 31.08 | 25.75 | 22.99 | 20.38 | 15.64 | 6.27
| 2024-11-20 16:05 | 56.28 | 71.15 | 66.04 | 76.98 | 70.05 | 79.86 | 0 | 96 | USB |  | -34.85 | -26.43 | -29.81 | -6.37 | -1.58 | 16.64 | 12.27 | 18.34 | 18.21 | 21.11 | 16.67 | 32.02 | 35.26 | 38.41 | 41.17 | 44.18 | 45.79 | 52.05 | 49.03 | 49.28 | 43.71 | 44.14 | 41.85 | 42.17 | 41.04 | 42.19 | 38.27 | 35.91 | 35.49 | 31.48 | 29.52 | 26.22 | 22.37 | 16.57 | 9.82 | -2.29
| 2024-11-20 16:05 | 55.25 | 72.31 | 65.06 | 77.69 | 71.11 | 81.37 | 0 | 96 | USB |  | -33.31 | -26.87 | -16.85 | -5.61 | -0.32 | 16.12 | 11.88 | 17.59 | 17.19 | 23.7 | 23.06 | 29.32 | 32.38 | 37.09 | 34.69 | 34.92 | 41.41 | 44.94 | 43.53 | 44.98 | 48.47 | 47.23 | 48.38 | 40.44 | 36.99 | 38.79 | 39.26 | 36.19 | 32.76 | 28.98 | 26.99 | 23.98 | 20.89 | 15.25 | 8.51 | -3.64
| 2024-11-20 16:05 | 58.62 | 74.62 | 68.78 | 81.35 | 73.98 | 84.51 | 0 | 96 | USB |  | -29.13 | -21.47 | -15.83 | -3.78 | -3.76 | 17.25 | 13.1 | 11.37 | 19.7 | 20.23 | 20.36 | 28.99 | 35.68 | 43.67 | 48.55 | 35.6 | 46.9 | 50.91 | 44.53 | 50.07 | 49.65 | 51.01 | 44.95 | 35.64 | 34.16 | 34.9 | 38.3 | 40.16 | 38.26 | 29.69 | 25.9 | 22.3 | 18.38 | 14.37 | 8.45 | -3.5
| 2024-11-20 16:05 | 66.76 | 85.27 | 73.02 | 86.18 | 75.61 | 87.69 | 0 | 96 | USB |  | -33.91 | -25.87 | -22.65 | -4.48 | 1.4 | 15.65 | 16.28 | 16.47 | 20.14 | 21.5 | 20.28 | 31.42 | 42.73 | 49.8 | 49.47 | 43.12 | 58.44 | 55.61 | 54.98 | 58.94 | 60.63 | 58.26 | 53 | 53.56 | 49.91 | 45.55 | 45.86 | 48.22 | 42.74 | 33.63 | 29.4 | 25.2 | 24.82 | 18.52 | 10.07 | -3.4
| 2024-11-20 16:05 | 62.03 | 79.68 | 68.91 | 82.35 | 73.15 | 83.23 | 0 | 96 | USB |  | -36.71 | -25.12 | -23.52 | -3.58 | -6.51 | 15.34 | 10.2 | 13.27 | 17.96 | 18.99 | 16.84 | 31.53 | 42.07 | 44.27 | 40.42 | 41.27 | 51.51 | 50.35 | 46.78 | 56.36 | 55.92 | 52.25 | 46.23 | 50.28 | 44.58 | 45.11 | 43.88 | 43.03 | 40.83 | 33.92 | 26.7 | 25.46 | 23.71 | 15.95 | 8.99 | -3.64
| 2024-11-20 16:05 | 68.27 | 86.34 | 73.29 | 88.34 | 75.7 | 89.86 | 0 | 96 | USB |  | -31.58 | -27.34 | -24.04 | -3.45 | 1.79 | 17.98 | 12.66 | 16.25 | 13.43 | 19.22 | 16.93 | 29.81 | 40.52 | 48.56 | 43.34 | 43.69 | 54.56 | 58.72 | 57.82 | 63.13 | 57.4 | 52.74 | 55.82 | 57.16 | 50.22 | 51.9 | 46.65 | 51.28 | 49.75 | 55.88 | 53.52 | 50.71 | 48.36 | 35.92 | 22.22 | 4.82
| 2024-11-20 16:05 | 63.26 | 82.04 | 70.84 | 83.31 | 76.27 | 87.04 | 0 | 96 | USB |  | -32.82 | -24.28 | -17.6 | -3.96 | 0.54 | 17.51 | 13.78 | 12.98 | 17.73 | 22.2 | 20.94 | 33.47 | 37.68 | 48.88 | 48.11 | 35.88 | 52.93 | 50.3 | 51.7 | 58.67 | 52.25 | 55.1 | 49.6 | 49.56 | 49.64 | 45.56 | 44.01 | 43.67 | 43.31 | 32.98 | 29.11 | 27.93 | 22.67 | 18.04 | 8.44 | -2.08
Stop | 2024-11-20 16:05