## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E08CD:00000085
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:05:33
Stop Time | 2024-11-20 16:06:00
Run Time | 00:00:27
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 66.4 dB | 71.3 dB | 73.0 dB
Lωpk | 86.8 dB | 90.0 dB | 90.0 dB
| 2024-11-20 16:05:35 | 2024-11-20 16:05:35 | 2024-11-20 16:05:35
LωSmin | 58.8 dB | 67.2 dB | 70.5 dB
| 2024-11-20 16:05:33 | 2024-11-20 16:05:56 | 2024-11-20 16:05:56
LωSmax | 69.7 dB | 74.1 dB | 75.2 dB
| 2024-11-20 16:05:52 | 2024-11-20 16:05:52 | 2024-11-20 16:05:52
LωFmin | 48.4 dB | 62.5 dB | 66.7 dB
| 2024-11-20 16:05:56 | 2024-11-20 16:05:37 | 2024-11-20 16:05:37
LωFmax | 74.4 dB | 77.9 dB | 78.5 dB
| 2024-11-20 16:05:35 | 2024-11-20 16:05:35 | 2024-11-20 16:05:35
LωImin | 63.6 dB | 70.1 dB | 73.6 dB
| 2024-11-20 16:05:33 | 2024-11-20 16:05:33 | 2024-11-20 16:05:56
LωImax | 77.3 dB | 80.5 dB | 80.7 dB
| 2024-11-20 16:05:35 | 2024-11-20 16:05:35 | 2024-11-20 16:05:35
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 66.4 | 66.4 | -99.9 | 66.4 | 66.4 | -99.9 | -99.9 | dB
LCeq - LAeq | 4.9 dB
LAIeq | 72.9 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 80.7 dB
EA (Pa²s) | 0.0 Pa²s
EA,8 h (Pa²s) | 50.4 Pa²s
EA,40 h (Pa²s) | 252.0 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.1 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:05:33 | Run | Local
2024/11/20 16:06:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -37 | -27.4 | -28.3 | -8.7 | 1.3 | 16.5 | 15.3 | 14.2 | 20 | 24.8 | 22.7 | 31.5 | 39.6 | 45.7 | 42 | 42.1 | 43.3 | 46.9 | 56.6 | 63.3 | 60.7 | 55.9 | 46.4 | 43.6 | 39.2 | 41.8 | 43.3 | 41.4 | 39.8 | 39.8 | 37.3 | 33.8 | 32.3 | 24.9 | 15.7 | 4.4
1/3 LAFmax | -29.8 | -20.1 | -22.6 | -2.7 | 9.2 | 20.7 | 21.4 | 21.9 | 34.6 | 33.9 | 33.6 | 38.5 | 47.5 | 53 | 55.1 | 55.3 | 49.9 | 60.2 | 68.4 | 72.8 | 72.1 | 68.3 | 58.4 | 55.4 | 49 | 53.4 | 53.8 | 51.9 | 51.8 | 54.2 | 52.6 | 49.2 | 48.2 | 41.4 | 30 | 22.2
1/3 LAFmin | -47.9 | -39.8 | -37.6 | -18.2 | -10.3 | 11.1 | 6.8 | 6.7 | 10.4 | 15.3 | 13 | 19.2 | 27.2 | 26.2 | 29.3 | 32.9 | 34.5 | 35.4 | 40.1 | 39.9 | 39.3 | 36.3 | 32.9 | 32 | 29.2 | 28.7 | 28.1 | 26.7 | 24.2 | 22.2 | 19.5 | 15.9 | 12.1 | 7 | 1 | 0.2
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:06 | 63.44 | 83.95 | 69.54 | 87.88 | 71.65 | 88.29 | 0 | 96 | USB |  | -36.64 | -30.57 | -26.65 | -5.86 | 1.25 | 16.5 | 15.39 | 18.23 | 21.26 | 23.89 | 19.06 | 31 | 41.49 | 40.79 | 38.64 | 48.73 | 41.01 | 40.06 | 51.01 | 61.57 | 54.19 | 47.2 | 41.3 | 36.41 | 32.48 | 36.02 | 34.42 | 34.63 | 35.16 | 33.38 | 26.48 | 24.97 | 20.45 | 14.8 | 6.72 | 1.03
| 2024-11-20 16:06 | 64.78 | 77.22 | 70.75 | 85.87 | 72.63 | 85.33 | 0 | 96 | USB |  | -44.96 | -34.04 | -27.78 | -6.11 | -1.38 | 15.63 | 13.42 | 16.37 | 18.37 | 25.43 | 19.93 | 33.62 | 39.76 | 44.01 | 41.3 | 49.65 | 46.23 | 47.71 | 54.64 | 61.75 | 59.28 | 55.77 | 45.4 | 38.53 | 37.13 | 35.72 | 41.7 | 42.12 | 36.21 | 34.39 | 27.27 | 23.75 | 22.28 | 16.61 | 8.23 | 1.44
| 2024-11-20 16:06 | 69.49 | 86.81 | 73.56 | 89.97 | 74.73 | 89.97 | 0 | 96 | USB |  | -37.97 | -24.21 | -25.13 | -7.62 | -2.06 | 17.22 | 16.88 | 17.56 | 21.96 | 26.04 | 27.99 | 34.95 | 40.75 | 41.18 | 45.4 | 42.23 | 41.1 | 53.98 | 57.09 | 66.92 | 63.68 | 56.96 | 50.48 | 42.2 | 39.3 | 46.34 | 48.65 | 45.07 | 38.15 | 38.83 | 33.08 | 30.55 | 25.24 | 20.49 | 12.72 | 2.9
| 2024-11-20 16:06 | 65.05 | 81.06 | 69.8 | 84.78 | 71.71 | 85.11 | 0 | 96 | USB |  | -36.96 | -26.53 | -27.82 | -9.78 | 1.67 | 15.77 | 11.51 | 14.98 | 20.96 | 18.28 | 17.76 | 30.96 | 39.83 | 44.76 | 34.97 | 36.44 | 40.89 | 47.31 | 52.31 | 62.35 | 60.35 | 53.94 | 48.65 | 41.64 | 33.69 | 38.23 | 39.61 | 43.71 | 42.76 | 37.6 | 32.29 | 27.39 | 24.81 | 17.3 | 8.7 | 1.19
| 2024-11-20 16:06 | 64.42 | 82.29 | 69.11 | 86.36 | 71.22 | 87.02 | 0 | 96 | USB |  | -41.41 | -30.93 | -29.05 | -11.41 | -2 | 15.63 | 12.66 | 13.42 | 20.32 | 21.99 | 19.47 | 29.56 | 31.29 | 34.57 | 40.71 | 38.05 | 38.89 | 44.71 | 52.54 | 60.83 | 57.7 | 52.33 | 44.38 | 39.37 | 34.85 | 37.62 | 40.93 | 39.78 | 39.62 | 38.38 | 44.1 | 40.91 | 38.6 | 33.01 | 21.97 | 14.13
| 2024-11-20 16:06 | 69.97 | 84.28 | 73.81 | 87.33 | 74.77 | 87.27 | 0 | 96 | USB |  | -39.05 | -32.76 | -25.77 | -13.3 | -4.72 | 16.26 | 14.1 | 13.89 | 17.56 | 24.21 | 18.37 | 25.25 | 41.24 | 47.04 | 44.44 | 43.65 | 44.02 | 51.75 | 59.02 | 64.84 | 66.68 | 62.07 | 51.97 | 47.15 | 36.26 | 39.44 | 41.87 | 39.33 | 34.6 | 28.96 | 25.43 | 20.88 | 20.6 | 14.46 | 8.71 | 1.25
| 2024-11-20 16:06 | 67.23 | 83.47 | 71.56 | 86.2 | 72.85 | 85.85 | 0 | 96 | USB |  | -37.89 | -32.1 | -30.61 | -12.64 | -0.9 | 15.39 | 14.37 | 12.4 | 16.2 | 21.99 | 27.41 | 24.82 | 40.71 | 45.96 | 41.76 | 41.21 | 44.51 | 44.87 | 54.06 | 63.67 | 61.48 | 59.98 | 51.88 | 40.22 | 37.02 | 42.16 | 42.43 | 40.55 | 40.72 | 44.88 | 38.57 | 35.92 | 32.18 | 26.25 | 18.93 | 5.03
| 2024-11-20 16:06 | 69.6 | 82.35 | 73.53 | 85.43 | 74.42 | 87.12 | 0 | 96 | USB |  | -36.85 | -24.44 | -29.52 | -12.56 | -1.78 | 15.78 | 15.86 | 10.93 | 14.68 | 22.19 | 18.36 | 23.24 | 38.66 | 45.84 | 36.3 | 39.59 | 43.52 | 44.19 | 55.89 | 67.95 | 63.1 | 52.61 | 45.75 | 37.55 | 41.31 | 46.59 | 45.33 | 42.85 | 36.8 | 38.67 | 33.06 | 28.94 | 25.05 | 19.08 | 12.98 | 1.86
| 2024-11-20 16:06 | 69.1 | 82.83 | 73.82 | 85.2 | 74.9 | 86.13 | 0 | 96 | USB |  | -37.75 | -26.23 | -28.03 | -12.11 | -2.5 | 16.68 | 14.75 | 12.9 | 17.47 | 19.66 | 18.41 | 27.46 | 39.85 | 51.32 | 36.93 | 38.86 | 45.98 | 44.97 | 57.31 | 65.55 | 62.02 | 62.5 | 51.61 | 48.68 | 40.69 | 36.28 | 38.36 | 36.15 | 34.76 | 34.33 | 26.59 | 23.69 | 20.95 | 16.3 | 10.08 | 1.4
| 2024-11-20 16:06 | 64.37 | 79.24 | 70.1 | 83.3 | 72.44 | 84.03 | 0 | 96 | USB |  | -37.15 | -30.58 | -28 | -9.71 | -1.59 | 16.84 | 13.44 | 13.87 | 16.76 | 23.29 | 19 | 27.39 | 40.55 | 47.19 | 34.83 | 39.96 | 44.15 | 41.93 | 53.86 | 61.74 | 59.26 | 56.17 | 43.91 | 39.52 | 36.26 | 35.78 | 37.71 | 35.92 | 36.85 | 35.69 | 30.2 | 31.76 | 24.55 | 18.22 | 10.42 | 1.96
| 2024-11-20 16:06 | 65.32 | 77.23 | 71.35 | 82.79 | 72.74 | 85.33 | 0 | 96 | USB |  | -42.21 | -29.66 | -27.88 | -12.15 | -0.03 | 16.63 | 12.18 | 14.25 | 17.07 | 26.36 | 22.9 | 26.96 | 37.09 | 46.11 | 49.12 | 39.79 | 43.96 | 47.03 | 58.09 | 62.39 | 57.58 | 50.05 | 36.07 | 36.62 | 37.06 | 40.14 | 45.92 | 40.93 | 34.52 | 34.5 | 29.97 | 30.77 | 26.7 | 18.16 | 8.43 | 1.48
| 2024-11-20 16:06 | 66.18 | 78.22 | 71.32 | 82.74 | 72.9 | 84.99 | 0 | 96 | USB |  | -37.33 | -24.83 | -28.76 | -11.5 | 5.18 | 17.1 | 9.46 | 12.39 | 16.87 | 26.19 | 20.81 | 27.23 | 42.93 | 42.37 | 32.79 | 43.4 | 41.93 | 44.73 | 58.51 | 64.1 | 58.16 | 55.2 | 40.93 | 38.97 | 33.54 | 32.36 | 36.99 | 34.87 | 30.95 | 28.91 | 24.22 | 21.35 | 19.12 | 14.13 | 7.01 | 1.04
| 2024-11-20 16:06 | 63.31 | 80.59 | 69.18 | 86.37 | 71.69 | 85.83 | 0 | 96 | USB |  | -37.1 | -28.59 | -32.44 | -10.54 | -1.13 | 17.6 | 15.76 | 13.49 | 20.66 | 26.8 | 26.3 | 24.95 | 35.79 | 43.69 | 35.16 | 37.1 | 41.73 | 43.87 | 54.65 | 62.33 | 46.65 | 40.79 | 34.66 | 33.62 | 30.73 | 41.57 | 45.66 | 34.98 | 35.23 | 37.34 | 30.44 | 27.54 | 22.64 | 16.42 | 12.52 | 1.47
| 2024-11-20 16:06 | 66.15 | 80.69 | 71.87 | 84.79 | 73.34 | 85.33 | 0 | 96 | USB |  | -34.77 | -26.71 | -29.87 | -15.42 | 6.7 | 16.21 | 11.32 | 13.62 | 18.17 | 26.93 | 24.95 | 27.79 | 42.72 | 47.99 | 43.16 | 38.85 | 41.06 | 47.98 | 60.9 | 60.27 | 60.94 | 55.24 | 43.7 | 45.78 | 38.59 | 41.77 | 44.12 | 40.26 | 37.2 | 35.91 | 26.65 | 25.1 | 24.52 | 17.3 | 11.51 | 1.98
| 2024-11-20 16:06 | 63.93 | 79.5 | 70.05 | 84.29 | 72.19 | 84.32 | 0 | 96 | USB |  | -37.03 | -27.96 | -29.95 | -10.99 | 2.95 | 15.75 | 15.28 | 12.02 | 16.5 | 26.05 | 26.1 | 33.97 | 40.91 | 45.49 | 34.63 | 42.59 | 42.54 | 40.97 | 56.93 | 57.62 | 59.66 | 50.45 | 36.41 | 38.55 | 40.31 | 39.57 | 44.24 | 39.49 | 33.57 | 32.93 | 25.62 | 25.01 | 22.58 | 17.39 | 9.6 | 1.69
| 2024-11-20 16:06 | 64.15 | 79.12 | 70.91 | 85.23 | 73.19 | 86.84 | 0 | 96 | USB |  | -34.61 | -33.68 | -28.08 | -11.66 | 4.55 | 16.21 | 14.28 | 10.5 | 19.04 | 30.16 | 28.27 | 34.38 | 41.35 | 46.42 | 34.98 | 40.04 | 42.14 | 41.36 | 56.21 | 60.79 | 58.4 | 56.02 | 38.88 | 41.65 | 35 | 38.98 | 42.17 | 40.84 | 36.21 | 36.38 | 28.6 | 26.01 | 23.77 | 19 | 12.1 | 2.08
| 2024-11-20 16:06 | 65.54 | 81.79 | 71.01 | 86.35 | 73.86 | 86.91 | 0 | 96 | USB |  | -39.12 | -28.99 | -30.3 | -5.11 | 0.78 | 19.64 | 12.78 | 14.42 | 29.8 | 29.56 | 19.93 | 35.26 | 36.72 | 46.93 | 35.58 | 40.07 | 44.57 | 41.9 | 52.62 | 59.87 | 59.59 | 61.24 | 48.32 | 45.43 | 41.07 | 39.14 | 41.61 | 40.82 | 37.26 | 35.39 | 31.73 | 29.61 | 27.43 | 22.81 | 15.29 | 3.27
| 2024-11-20 16:06 | 68.08 | 85.46 | 73.06 | 88.03 | 74.33 | 88.52 | 0 | 96 | USB |  | -37.82 | -21.28 | -29.85 | -9.81 | -0.78 | 17.48 | 14.79 | 16.11 | 17.43 | 21.67 | 22.31 | 33.84 | 38.09 | 47.26 | 47.35 | 38.05 | 45.31 | 49.48 | 55.79 | 66.45 | 60.59 | 49.56 | 39.97 | 38.67 | 37.53 | 37.37 | 40.98 | 39.76 | 40.27 | 40.52 | 35.03 | 34.03 | 29.69 | 22.33 | 15.58 | 2.99
| 2024-11-20 16:06 | 67.47 | 84.65 | 72.2 | 87.4 | 73.69 | 87.26 | 0 | 96 | USB |  | -39.02 | -24 | -28.5 | -5.72 | -0.87 | 17.01 | 17.74 | 12.64 | 15.63 | 21.39 | 17.85 | 31.74 | 41.69 | 43.19 | 43.77 | 43.41 | 41.32 | 48.77 | 57.7 | 63.77 | 63.66 | 50.72 | 38.93 | 41.3 | 39.64 | 43.4 | 47.51 | 47.22 | 43.95 | 43.02 | 35.16 | 35.72 | 32.53 | 22.56 | 15.18 | 2.4
| 2024-11-20 16:06 | 69.84 | 82.68 | 74.29 | 87.44 | 75.31 | 87.24 | 0 | 96 | USB |  | -40.83 | -25.87 | -28.46 | -5.65 | -3.45 | 15.73 | 19.46 | 13.54 | 17.32 | 23.59 | 20.25 | 31.8 | 41.67 | 49.78 | 40.74 | 38.71 | 47.45 | 49.22 | 61.89 | 66.48 | 64.6 | 56.2 | 44.67 | 44.13 | 42.18 | 46.44 | 44.78 | 44.79 | 43.58 | 47.04 | 43.84 | 37.71 | 36.1 | 26.84 | 19.22 | 4.71
| 2024-11-20 16:06 | 62.95 | 79.22 | 69.22 | 83.82 | 71.53 | 85.73 | 0 | 96 | USB |  | -34.73 | -27.78 | -29.77 | -7.11 | 0.66 | 16.03 | 19.37 | 12.59 | 18.78 | 21.99 | 19.52 | 31.12 | 40.99 | 44.79 | 34.15 | 39.37 | 43.11 | 41.99 | 53.57 | 61.44 | 53.54 | 44.68 | 39.47 | 38.43 | 35.63 | 38.04 | 40.5 | 39.6 | 33.31 | 33.26 | 31.37 | 28.4 | 26.79 | 20.76 | 14.29 | 3.88
| 2024-11-20 16:06 | 66.58 | 81.1 | 71.29 | 87.14 | 72.82 | 87.56 | 0 | 96 | USB |  | -35.66 | -28.63 | -30.84 | -5.5 | 3.3 | 15.82 | 13.38 | 13.85 | 17.45 | 22.52 | 18.66 | 31.63 | 36.36 | 46.07 | 34.7 | 38.46 | 42.07 | 42.03 | 55.54 | 64.24 | 59.95 | 54.23 | 47.89 | 48.18 | 43.25 | 43.23 | 42.41 | 41.96 | 37.55 | 34.49 | 31.07 | 26.65 | 25.14 | 19.84 | 11.87 | 2.03
| 2024-11-20 16:06 | 61.29 | 77.34 | 67.61 | 83.49 | 70.48 | 83.03 | 0 | 96 | USB |  | -31.38 | -34.95 | -31.48 | -8.22 | -0.37 | 15.09 | 15.65 | 14.41 | 16.22 | 24.03 | 19.61 | 33.57 | 36.87 | 44.85 | 33.49 | 38.7 | 40.29 | 40.99 | 51.76 | 56.79 | 56.32 | 50.3 | 45.43 | 42.56 | 39.61 | 40.59 | 43.99 | 43.43 | 43.95 | 43.38 | 40.16 | 39 | 39.64 | 29.54 | 20.78 | 5.25
| 2024-11-20 16:06 | 63.46 | 82.64 | 68.77 | 86.3 | 71.3 | 86.94 | 0 | 96 | USB |  | -36.53 | -34.22 | -31 | -8.61 | -3.39 | 16.19 | 17.44 | 13.61 | 17.13 | 22.3 | 20.66 | 34.24 | 35.19 | 28.74 | 38.2 | 34.63 | 36.57 | 46.68 | 42.95 | 63.05 | 48.39 | 45.9 | 37.65 | 33.91 | 32.89 | 31.77 | 32.78 | 32.74 | 29.68 | 24.59 | 24.44 | 20.81 | 16.53 | 11.11 | 5.44 | 0.65
| 2024-11-20 16:06 | 60.06 | 75.46 | 67.52 | 82.53 | 71.14 | 83.85 | 0 | 96 | USB |  | -42.45 | -29.68 | -26.38 | -8.99 | 2.97 | 16.22 | 14.5 | 14.1 | 17.24 | 24.22 | 18.09 | 33.44 | 34.98 | 40.87 | 40.71 | 39.81 | 41.57 | 43.85 | 56.02 | 53.15 | 50.44 | 42.35 | 36.16 | 34.93 | 38.87 | 43.18 | 43.82 | 40.21 | 46.34 | 46.3 | 46.12 | 42 | 41.65 | 34.18 | 23.16 | 6.36
| 2024-11-20 16:06 | 64.5 | 79.22 | 69.26 | 82.29 | 71.27 | 84.38 | 0 | 96 | USB |  | -39.79 | -27.81 | -25.33 | -8.02 | 4.11 | 15.91 | 16.45 | 13.54 | 15.87 | 21.3 | 19.7 | 31.38 | 34.97 | 43.97 | 39.14 | 37.59 | 43.93 | 42.97 | 57.28 | 56.94 | 60.36 | 55.75 | 48.04 | 49.77 | 44.11 | 46.2 | 44.63 | 39.67 | 40.61 | 35.44 | 35.65 | 30.05 | 31.06 | 22.09 | 12.62 | 2.69
| 2024-11-20 16:06 | 66.84 | 80.93 | 71.17 | 83.58 | 72.58 | 84.14 | 0 | 96 | USB |  | -35.06 | -29.95 | -27.47 | -10.23 | 1.52 | 15.37 | 15.17 | 12.87 | 13.96 | 22.12 | 21.63 | 26.64 | 31.49 | 41.44 | 47.58 | 42.52 | 43.27 | 49.35 | 58.28 | 62.55 | 62.59 | 52.91 | 47.66 | 48.18 | 43.82 | 43.58 | 40.45 | 42.42 | 42.03 | 40.39 | 40.02 | 32.7 | 27.68 | 21.03 | 14.64 | 2.88
Stop | 2024-11-20 16:06