## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E08E8:00000087
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:06:00
Stop Time | 2024-11-20 16:07:00
Run Time | 00:01:00
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 69.5 dB | 73.4 dB | 74.7 dB
Lωpk | 92.7 dB | 95.4 dB | 95.9 dB
| 2024-11-20 16:06:57 | 2024-11-20 16:06:57 | 2024-11-20 16:06:13
LωSmin | 57.2 dB | 66.3 dB | 69.5 dB
| 2024-11-20 16:06:24 | 2024-11-20 16:06:24 | 2024-11-20 16:06:49
LωSmax | 76.2 dB | 79.5 dB | 79.6 dB
| 2024-11-20 16:06:57 | 2024-11-20 16:06:58 | 2024-11-20 16:06:58
LωFmin | 47.7 dB | 62.4 dB | 65.8 dB
| 2024-11-20 16:06:24 | 2024-11-20 16:06:03 | 2024-11-20 16:06:48
LωFmax | 81.7 dB | 84.8 dB | 84.8 dB
| 2024-11-20 16:06:54 | 2024-11-20 16:06:54 | 2024-11-20 16:06:54
LωImin | 64.1 dB | 69.0 dB | 72.4 dB
| 2024-11-20 16:06:24 | 2024-11-20 16:06:24 | 2024-11-20 16:06:49
LωImax | 84.6 dB | 87.5 dB | 87.5 dB
| 2024-11-20 16:06:13 | 2024-11-20 16:06:54 | 2024-11-20 16:06:54
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 69.5 | 69.5 | -99.9 | 69.5 | 69.5 | -99.9 | -99.9 | dB
LCeq - LAeq | 3.9 dB
LAIeq | 76.9 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 87.2 dB
EA (Pa²s) | 0.2 Pa²s
EA,8 h (Pa²s) | 101.8 Pa²s
EA,40 h (Pa²s) | 509.2 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.1 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:06:00 | Run | Timer
2024/11/20 16:07:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -38.9 | -29.4 | -27.2 | -6 | 2.4 | 17.2 | 14.2 | 14.4 | 17.5 | 24 | 21.1 | 31.2 | 37.5 | 43.9 | 45.2 | 44.8 | 44 | 50.9 | 59.4 | 65.7 | 65.1 | 57.1 | 49.9 | 47.4 | 45.5 | 48.8 | 48.8 | 45.9 | 44.1 | 41.2 | 39.8 | 33.9 | 30.7 | 27 | 21.9 | 10.2
1/3 LAFmax | -33 | -20 | -17.2 | 1.3 | 10.8 | 22.9 | 20 | 23.8 | 27.2 | 32.8 | 33.1 | 38.9 | 46.5 | 53 | 56.8 | 59.3 | 53.7 | 63.8 | 73.7 | 81.5 | 80.2 | 70.9 | 66.2 | 62 | 61.1 | 65.1 | 63 | 63 | 59.6 | 57.1 | 55.8 | 47.9 | 46.7 | 44.5 | 39.7 | 28.1
1/3 LAFmin | -55.7 | -44.3 | -41 | -17.6 | -13.7 | 2.3 | 2.1 | 5.3 | 9.9 | 14.7 | 12.2 | 19 | 28.1 | 26 | 29.9 | 31.1 | 33 | 34.5 | 39.3 | 38.3 | 37.6 | 35.6 | 33.1 | 31.8 | 29 | 27.8 | 26.5 | 25.6 | 22.9 | 21 | 19 | 13.8 | 11.1 | 6.1 | 1 | 0
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:06 | 63.53 | 78 | 68.74 | 82.23 | 71.11 | 83.66 | 0 | 96 | USB |  | -37.7 | -29.58 | -32.12 | -12.12 | 2.68 | 14.89 | 14.4 | 15.43 | 14.41 | 19.44 | 16.69 | 22.46 | 37.28 | 40.3 | 36.18 | 40.68 | 47.69 | 46.18 | 57.63 | 54.26 | 60.24 | 49.96 | 47 | 43.5 | 38.92 | 42.35 | 43.22 | 41.77 | 41.85 | 35.81 | 35.01 | 25.79 | 23.94 | 15.8 | 9.53 | 2.63
| 2024-11-20 16:06 | 61.38 | 77.1 | 67.48 | 81.7 | 71.24 | 83.89 | 0 | 96 | USB |  | -38.54 | -29.5 | -27.86 | -11.7 | 2.97 | 16.76 | 14.7 | 15.95 | 18.65 | 20.26 | 21.16 | 26.32 | 38.06 | 39 | 35.27 | 38.84 | 39.92 | 41.74 | 51.21 | 54.5 | 57.84 | 52.12 | 48.71 | 43.7 | 41.72 | 43.87 | 42.74 | 40.71 | 36.5 | 33.69 | 32.79 | 29.03 | 24.8 | 20.01 | 13.08 | 4.08
| 2024-11-20 16:06 | 55.28 | 71.35 | 69.24 | 83.22 | 71.15 | 84.73 | 0 | 96 | USB |  | -43.62 | -26.1 | -23.56 | -11.28 | 4.18 | 15.37 | 16.58 | 15.1 | 21.94 | 24.39 | 28.16 | 31.83 | 34.9 | 48.38 | 50.9 | 38.91 | 38.61 | 42.12 | 43.29 | 43.1 | 41.01 | 40.8 | 38 | 36.73 | 37.17 | 37.98 | 37.04 | 39.55 | 36.71 | 35.73 | 32.47 | 29.29 | 20.21 | 16.18 | 9.82 | 1.88
| 2024-11-20 16:06 | 70.56 | 88.99 | 74.87 | 92.04 | 75.55 | 91.69 | 0 | 96 | USB |  | -44.95 | -28.05 | -30.02 | -11.18 | 4.41 | 13.49 | 15.14 | 17.92 | 18.12 | 23.71 | 18.52 | 31.01 | 38.43 | 47.45 | 42.83 | 47.38 | 45.4 | 48.71 | 65.81 | 65.79 | 64.62 | 55.63 | 42.52 | 40.23 | 46.56 | 51.44 | 48.6 | 40.96 | 36.21 | 30.85 | 27.36 | 26.87 | 22.89 | 16.14 | 14.26 | 2.11
| 2024-11-20 16:06 | 53.79 | 75.01 | 65.1 | 80.74 | 69.79 | 82.32 | 0 | 96 | USB |  | -42.62 | -32.59 | -33.85 | -15.02 | -0.04 | 16.98 | 13.14 | 14.72 | 15.12 | 21.94 | 21.2 | 32.48 | 37.53 | 32.1 | 34.71 | 39.77 | 35.06 | 37.37 | 44.84 | 49.78 | 51.47 | 47.33 | 36.32 | 34.28 | 35.27 | 35.72 | 37.86 | 33.72 | 34.13 | 34.67 | 27.31 | 21.43 | 18.97 | 11.09 | 4.42 | 0.7
| 2024-11-20 16:06 | 62.25 | 83.67 | 69.22 | 87.72 | 71.65 | 88.58 | 0 | 96 | USB |  | -39.13 | -28.93 | -36.17 | -12.5 | 5.23 | 15.31 | 15.52 | 14.59 | 14.26 | 22.6 | 21.13 | 30.96 | 32.87 | 31.28 | 42.78 | 46.08 | 37.26 | 53.19 | 60.21 | 51.62 | 47.89 | 43.48 | 41.82 | 37.67 | 34.39 | 43.93 | 43.38 | 45.56 | 39.8 | 38.8 | 34.68 | 28.04 | 26.24 | 20.03 | 12.22 | 2.05
| 2024-11-20 16:06 | 66.07 | 83.69 | 72.03 | 88.22 | 73.26 | 88.53 | 0 | 96 | USB |  | -44.74 | -34.12 | -32.11 | -9.25 | 0.87 | 17.71 | 14.49 | 16.63 | 16.23 | 24.7 | 19.02 | 29.65 | 37.67 | 32.5 | 45.87 | 51.06 | 36.33 | 52.38 | 63.38 | 61.23 | 50.13 | 49.18 | 45.11 | 39.68 | 32.81 | 40.17 | 40.59 | 40.03 | 38.49 | 30.88 | 31.7 | 29.03 | 23.98 | 19.6 | 15.19 | 5.12
| 2024-11-20 16:06 | 72.15 | 86.92 | 74.82 | 89.06 | 75.74 | 89.82 | 0 | 96 | USB |  | -39.21 | -32.16 | -28.86 | -12.1 | 1.38 | 18.04 | 14.27 | 17.21 | 14.63 | 23.16 | 22.18 | 26.54 | 32.51 | 36.26 | 47.24 | 45.02 | 44.96 | 52.95 | 58.05 | 59.26 | 71.14 | 58.44 | 56.54 | 55.1 | 44.6 | 49.87 | 49.86 | 43.93 | 50 | 39.2 | 34.9 | 26.57 | 29.23 | 23.71 | 21.62 | 10.09
| 2024-11-20 16:06 | 66.05 | 81.29 | 71.02 | 84.49 | 73.14 | 85.03 | 0 | 96 | USB |  | -47.2 | -36.53 | -31.26 | -11.78 | 1.62 | 17.91 | 16.2 | 15.5 | 16.41 | 20.45 | 22.79 | 25.42 | 36.08 | 42.59 | 40.74 | 36.05 | 49.1 | 46.52 | 58.86 | 63 | 58.36 | 51.27 | 49.89 | 44.68 | 48.98 | 48.02 | 44.75 | 41.55 | 42.75 | 41.04 | 39.56 | 32.68 | 28.73 | 20.93 | 13 | 3.64
| 2024-11-20 16:06 | 57.65 | 74.95 | 66.08 | 77.85 | 69.89 | 79.67 | 0 | 96 | USB |  | -41.14 | -31.45 | -30.17 | -9.72 | -1.86 | 18.79 | 15.01 | 17.46 | 15.89 | 21.53 | 19.76 | 30.96 | 34.01 | 41.45 | 39.41 | 41.44 | 39.13 | 45.5 | 49.66 | 51.86 | 51.67 | 45.11 | 40.76 | 41.68 | 42.16 | 41.41 | 37.45 | 34.95 | 41.7 | 43.87 | 40.32 | 34.15 | 28.58 | 22.95 | 14.13 | 3.52
| 2024-11-20 16:06 | 55.54 | 74.73 | 65.77 | 80.97 | 70.66 | 81.57 | 0 | 96 | USB |  | -41.27 | -31.3 | -32.14 | -12.15 | 5.52 | 18.38 | 13.51 | 12.21 | 14.56 | 20.14 | 23.55 | 33.93 | 32.12 | 30.38 | 36.19 | 34.27 | 36.12 | 38.81 | 47.54 | 48.32 | 51.93 | 45.65 | 42.26 | 35.31 | 31.42 | 32.01 | 34.12 | 29.87 | 29.83 | 25.55 | 21.42 | 17.27 | 13.76 | 8.95 | 3.21 | 0.69
| 2024-11-20 16:06 | 69.53 | 85.72 | 73.71 | 88.67 | 74.78 | 89.59 | 0 | 96 | USB |  | -38.12 | -35.88 | -27.7 | -8.3 | 1.2 | 17.1 | 10.99 | 10.6 | 15.59 | 26.79 | 21.42 | 35.08 | 36.76 | 41.36 | 45.7 | 40 | 42.78 | 54.46 | 62.42 | 66.33 | 63.54 | 53.88 | 43.73 | 41.73 | 41.27 | 45.05 | 47.66 | 39.69 | 36.35 | 39.54 | 31.41 | 28.27 | 25.54 | 19.11 | 16.19 | 1.69
| 2024-11-20 16:06 | 71.22 | 86.29 | 74.12 | 89.21 | 74.87 | 89.47 | 0 | 96 | USB |  | -42 | -30.59 | -28.35 | -5.67 | 6.72 | 16.77 | 14.03 | 13.82 | 15.28 | 29.3 | 17.53 | 34.88 | 33.03 | 42.79 | 41.31 | 39.1 | 43.9 | 46.7 | 53.86 | 65.47 | 68.95 | 60.13 | 49.13 | 46.69 | 44.26 | 45.08 | 45.38 | 40.59 | 44.63 | 40.85 | 36.96 | 38.68 | 37.24 | 33.35 | 24.74 | 12.17
| 2024-11-20 16:06 | 76.83 | 92.27 | 79.79 | 95.37 | 80.03 | 95.88 | 0 | 96 | USB |  | -39.82 | -30.95 | -30.02 | -8.61 | -0.78 | 15.92 | 14.79 | 13.7 | 20.48 | 28.17 | 22.27 | 33.58 | 37.77 | 46.12 | 48.01 | 51.67 | 45.42 | 57.26 | 64.04 | 71 | 74.76 | 64.48 | 50.23 | 54.79 | 49.61 | 50.38 | 51.86 | 44.42 | 40.23 | 38.33 | 32.06 | 28.94 | 30.11 | 22.3 | 17.01 | 4.03
| 2024-11-20 16:06 | 72.23 | 87.48 | 76.4 | 90.68 | 77.03 | 90.54 | 0 | 96 | USB |  | -38.25 | -29.21 | -30.41 | -4.78 | 1.88 | 14.95 | 16.83 | 13.04 | 17.54 | 23.45 | 24.85 | 31.82 | 37.48 | 48.56 | 49.28 | 43.68 | 48.5 | 59 | 63.75 | 69.7 | 65.54 | 59.49 | 53.22 | 47.04 | 43.58 | 49.39 | 48.96 | 46.58 | 43.82 | 40.88 | 37.16 | 30.76 | 28.11 | 22.18 | 15.58 | 4.88
| 2024-11-20 16:06 | 69.92 | 86.68 | 74.75 | 91.19 | 75.5 | 91.98 | 0 | 96 | USB |  | -38.88 | -25.37 | -26.41 | -3.85 | -1.33 | 16.79 | 14.46 | 13.79 | 15.83 | 21.75 | 27.36 | 35.33 | 39.75 | 45.9 | 44.51 | 44.06 | 44.33 | 53.88 | 65.84 | 66.39 | 59.92 | 53.89 | 44.32 | 43.59 | 42.18 | 44.85 | 44.41 | 41.48 | 40.76 | 37.81 | 35.56 | 32.86 | 29.22 | 25.07 | 18.24 | 7.15
| 2024-11-20 16:06 | 72.18 | 87.32 | 75.64 | 89.02 | 76.51 | 89.41 | 0 | 96 | USB |  | -38.97 | -26.46 | -25.58 | -8.79 | 3.49 | 16.58 | 13.7 | 12.7 | 16.54 | 21.57 | 22.5 | 33.67 | 37.68 | 42.71 | 45.1 | 47.82 | 47.19 | 50.03 | 64.92 | 63.19 | 70.01 | 57.2 | 51.38 | 51.47 | 51.05 | 51.25 | 47.92 | 44.71 | 50.88 | 43.51 | 43.69 | 34.19 | 29.94 | 24.73 | 18.56 | 6.68
| 2024-11-20 16:06 | 68.67 | 84.41 | 72.38 | 86.36 | 73.67 | 86.62 | 0 | 96 | USB |  | -36.98 | -27.48 | -24.25 | -6.04 | 1.21 | 17.47 | 16.38 | 11.54 | 14.48 | 22.98 | 26.6 | 33.71 | 33.16 | 46.04 | 42.08 | 36.59 | 47.26 | 50.14 | 56.23 | 60.85 | 66.67 | 54.95 | 55.9 | 48.67 | 41.11 | 44.99 | 47.16 | 43.97 | 45.85 | 42.04 | 39.97 | 34.99 | 30.46 | 23.01 | 16.98 | 5.81
| 2024-11-20 16:06 | 63.69 | 83.84 | 68.93 | 85.86 | 71.5 | 85.87 | 0 | 96 | USB |  | -38.52 | -33.3 | -27.56 | -8.9 | -1.36 | 16.94 | 12.63 | 12.72 | 12.84 | 24.34 | 23.65 | 32.66 | 33.06 | 44.13 | 36.23 | 36.95 | 42.27 | 44.29 | 54.05 | 58.84 | 59.36 | 52.84 | 49.74 | 38.73 | 39.18 | 42.66 | 44.72 | 40.35 | 42.69 | 40.41 | 37.98 | 33.67 | 27.19 | 23.64 | 16.3 | 5.23
| 2024-11-20 16:06 | 61.04 | 78.13 | 67.72 | 81.47 | 71.31 | 82.15 | 0 | 96 | USB |  | -41.67 | -32.59 | -28.77 | -9.43 | 5.23 | 17.08 | 12.39 | 13.87 | 14.89 | 25.25 | 19.16 | 31.74 | 31.73 | 39.93 | 39.48 | 38.02 | 39.32 | 50.73 | 49.03 | 53.7 | 57.13 | 52.79 | 47.63 | 43.36 | 39.75 | 41.28 | 42.68 | 37.07 | 40.49 | 38.68 | 36.31 | 34.13 | 30.2 | 25.17 | 18.31 | 6.05
| 2024-11-20 16:06 | 69.05 | 83.92 | 72.65 | 85.91 | 74.07 | 87.09 | 0 | 96 | USB |  | -39.08 | -35.22 | -29.49 | -11.04 | 4.68 | 15.12 | 13.57 | 12.44 | 14.79 | 26.91 | 20.63 | 27.04 | 34.84 | 41.84 | 46.31 | 37.66 | 42.3 | 51.27 | 58.23 | 62.06 | 66.6 | 58.19 | 53.15 | 46.51 | 42.49 | 44.04 | 49.77 | 44.26 | 45.26 | 38.93 | 36.19 | 31.5 | 31.01 | 31.94 | 30.72 | 14.51
| 2024-11-20 16:06 | 63.38 | 82.11 | 68.76 | 81.77 | 70.91 | 82.51 | 0 | 96 | USB |  | -43.79 | -36.05 | -33.08 | -9.1 | 9.21 | 14.45 | 10.48 | 12.09 | 12.1 | 23.28 | 18.67 | 23.59 | 36.47 | 43.99 | 33.97 | 35.88 | 41.63 | 43 | 57.37 | 57.88 | 55.22 | 55.97 | 43.47 | 46.32 | 41 | 50.31 | 42.31 | 39.77 | 37.36 | 40.83 | 42.25 | 37.53 | 36.89 | 33.22 | 26.87 | 14.99
| 2024-11-20 16:06 | 58.14 | 74.48 | 65.45 | 78.97 | 70.09 | 80.31 | 0 | 96 | USB |  | -43.05 | -32.98 | -29.24 | -10.8 | 4.65 | 17.23 | 11.41 | 8.81 | 11.19 | 22.02 | 17.86 | 23.52 | 30.82 | 33.94 | 33.1 | 35.06 | 37.68 | 41.88 | 51.35 | 52.37 | 53.43 | 42.21 | 41.16 | 39.16 | 43.82 | 41.79 | 39.32 | 37.3 | 37.24 | 32.55 | 33.28 | 28.85 | 23.94 | 17.63 | 11.18 | 2.4
| 2024-11-20 16:06 | 59.17 | 76.82 | 67.34 | 80.74 | 71.73 | 83.64 | 0 | 96 | USB |  | -37.49 | -30.79 | -31.34 | -12.56 | -1.14 | 18.13 | 12.13 | 11.75 | 13.89 | 27.29 | 19.37 | 28.05 | 36.8 | 36.12 | 36.58 | 36.52 | 38.07 | 39.44 | 48.34 | 54.12 | 55.16 | 48.06 | 46.37 | 42.61 | 36.59 | 39.76 | 40.91 | 34.62 | 33.24 | 31.67 | 31.2 | 27.19 | 24.7 | 18.51 | 12.31 | 2.77
| 2024-11-20 16:06 | 66.16 | 85.23 | 70.32 | 87.07 | 72.74 | 87.94 | 0 | 96 | USB |  | -42.27 | -27.86 | -33.37 | -9.12 | -1.46 | 18.92 | 8.44 | 11.25 | 13.62 | 25.34 | 18.86 | 26.11 | 36.3 | 39.18 | 43.83 | 37.33 | 37.98 | 49.58 | 51.34 | 56.38 | 63.74 | 59.8 | 47.51 | 35.9 | 33.66 | 35.34 | 40.75 | 41.06 | 40.95 | 39.16 | 37.12 | 31.06 | 28.78 | 21 | 14.23 | 3.78
| 2024-11-20 16:06 | 67.4 | 83.57 | 71.67 | 84.86 | 73.33 | 86.13 | 0 | 96 | USB |  | -35.57 | -31.04 | -29.24 | -10.53 | -0.17 | 17.47 | 13.27 | 12.31 | 15.21 | 22.3 | 17.38 | 26.13 | 31.4 | 44.02 | 47.06 | 37.17 | 43.27 | 52.32 | 54.74 | 61.19 | 64.38 | 53.23 | 53.67 | 46.23 | 39.8 | 41.34 | 44.43 | 43.35 | 43.32 | 34.41 | 30.9 | 26.27 | 24.01 | 18.93 | 12.14 | 3.18
| 2024-11-20 16:06 | 66.65 | 85.19 | 71.02 | 86.6 | 72.94 | 87.03 | 0 | 96 | USB |  | -40.96 | -40.74 | -35.71 | -10.22 | -2.79 | 17.33 | 11.55 | 13.81 | 15.24 | 22.53 | 19.67 | 25.77 | 36.72 | 43.32 | 42.18 | 37.3 | 47.46 | 48.45 | 59.88 | 60.3 | 63.08 | 56.7 | 49.59 | 45.35 | 42.79 | 45.49 | 47.09 | 45.01 | 46.65 | 46.25 | 44.14 | 37.58 | 32.51 | 23.47 | 18.94 | 7.11
| 2024-11-20 16:06 | 76.17 | 89.95 | 79.32 | 93.01 | 79.84 | 93.74 | 0 | 96 | USB |  | -36.71 | -36.93 | -33.08 | -11.02 | -3.35 | 19.67 | 12.16 | 11.47 | 13.09 | 19.96 | 19.02 | 25.84 | 33.92 | 46.77 | 48.94 | 45.03 | 45.41 | 54.56 | 61.76 | 74.1 | 70.67 | 62.89 | 53.55 | 50.64 | 48.33 | 48.56 | 50.79 | 48.38 | 47.5 | 44.12 | 42.49 | 38.31 | 31.37 | 26.93 | 20.44 | 8.27
| 2024-11-20 16:06 | 65.09 | 83.04 | 69.81 | 86.85 | 72.74 | 87 | 0 | 96 | USB |  | -38.52 | -30.44 | -28.28 | -13.76 | -10.38 | 18.82 | 11.47 | 13.52 | 21.01 | 23.23 | 19.99 | 29.69 | 37.89 | 40.15 | 36 | 40.78 | 40.49 | 41.23 | 49.85 | 58.87 | 61.54 | 58.2 | 45.41 | 44.56 | 41.88 | 44.47 | 49.75 | 44.03 | 41.99 | 38.54 | 35.56 | 33.49 | 29.5 | 24.3 | 17.69 | 6.81
| 2024-11-20 16:06 | 60.04 | 80.17 | 67.98 | 80.91 | 71.93 | 83.43 | 0 | 96 | USB |  | -34.42 | -25.28 | -36.02 | -8.41 | -0.1 | 18.69 | 14.01 | 12.37 | 16.33 | 24.26 | 19.96 | 33.22 | 41.6 | 38.23 | 33.69 | 41.16 | 38.5 | 36.13 | 48.46 | 53.88 | 55.74 | 46.98 | 44.25 | 43.92 | 41.1 | 45.69 | 44.19 | 39.52 | 36.96 | 38.69 | 36.58 | 36.57 | 36.1 | 34.56 | 27.77 | 19.17
| 2024-11-20 16:07 | 65.79 | 82.83 | 71.26 | 86.96 | 73.97 | 88.66 | 0 | 96 | USB |  | -41.94 | -26.82 | -27.16 | -8.87 | 6.27 | 19.02 | 15.16 | 14.1 | 15.62 | 23.74 | 22.37 | 35.19 | 33.4 | 42.86 | 42.96 | 35.63 | 43.91 | 45.02 | 57.78 | 61.76 | 60.26 | 53.53 | 52.39 | 45.43 | 41.69 | 49.3 | 47.78 | 40.57 | 38.51 | 32.33 | 34.53 | 24.34 | 22.57 | 16.46 | 12.26 | 1.98
| 2024-11-20 16:07 | 62.9 | 81.67 | 69.17 | 81.53 | 76.26 | 87.5 | 0 | 96 | USB |  | -37.44 | -29.66 | -29.06 | -5.81 | 3.07 | 19.41 | 13.31 | 14.08 | 15.64 | 20.87 | 20.91 | 32.39 | 39.95 | 46.35 | 36.69 | 38.59 | 41.28 | 44.77 | 54.06 | 58.71 | 57.79 | 48.64 | 48.89 | 44.56 | 39.01 | 48.35 | 47.23 | 41.38 | 45.19 | 41.84 | 42.06 | 40.13 | 38.63 | 35.29 | 30.64 | 16.16
| 2024-11-20 16:07 | 71.85 | 84.29 | 75.71 | 87.39 | 76.92 | 88.22 | 0 | 96 | USB |  | -37.6 | -28.81 | -27.35 | -4.27 | -2.44 | 17.99 | 12.39 | 10.79 | 17.12 | 23.71 | 17.74 | 27.2 | 38.96 | 45.66 | 46.93 | 40.24 | 45.25 | 55.47 | 62.1 | 68.19 | 68.02 | 54.83 | 49.49 | 41.15 | 35.99 | 49.76 | 50.15 | 44.15 | 41.39 | 33.84 | 31.23 | 25.94 | 24.73 | 16.29 | 16.87 | 2.58
| 2024-11-20 16:07 | 67.2 | 84.7 | 71.64 | 87.31 | 74 | 88.33 | 0 | 96 | USB |  | -37.4 | -27.49 | -24.11 | -5.76 | -3.65 | 19.45 | 13.46 | 13.12 | 17.41 | 23.25 | 18.36 | 28.56 | 43.44 | 44.66 | 33.59 | 41.7 | 39.34 | 42.81 | 55.08 | 59.9 | 65.41 | 53.43 | 44.75 | 46.57 | 39.47 | 47.43 | 47.74 | 38.16 | 39.1 | 39.98 | 42.7 | 37.25 | 36.93 | 36.28 | 29.62 | 19.68
| 2024-11-20 16:07 | 65.34 | 83.16 | 70.08 | 86.27 | 72.8 | 86.81 | 0 | 96 | USB |  | -44.94 | -33.77 | -24.04 | -3.47 | -2.11 | 19.03 | 14.14 | 10.84 | 15.79 | 26 | 20.39 | 31.25 | 35.09 | 39.75 | 39.23 | 37.07 | 38.37 | 44.75 | 48.74 | 62.92 | 54.72 | 51.19 | 45.48 | 44.3 | 40.85 | 50.42 | 42.48 | 37.36 | 36.98 | 42.11 | 42.09 | 37.24 | 36.91 | 33 | 28.94 | 18.75
| 2024-11-20 16:07 | 73.43 | 86.71 | 77.31 | 90.98 | 78.47 | 92 | 0 | 96 | USB |  | -38.46 | -32.03 | -20.89 | -2.28 | 2.7 | 17.74 | 13.4 | 10.95 | 15.75 | 23.65 | 18.74 | 33.11 | 36.26 | 35.89 | 47.78 | 46.48 | 39.83 | 56.67 | 66.47 | 71.9 | 61.78 | 57.57 | 44.06 | 38.73 | 46.23 | 53.66 | 50.5 | 44.26 | 41.17 | 41.03 | 31.73 | 28.81 | 26.84 | 20.23 | 15.83 | 1.56
| 2024-11-20 16:07 | 69.62 | 85.02 | 73.74 | 87.92 | 75.83 | 89.3 | 0 | 96 | USB |  | -36.86 | -23.09 | -22.49 | -1.26 | 6.57 | 21.71 | 15.9 | 13.01 | 14.63 | 21.44 | 20.89 | 31.81 | 32.96 | 37.57 | 47.1 | 42.33 | 40.56 | 51.2 | 55.49 | 64.96 | 67.04 | 54.41 | 47.89 | 42.92 | 45.3 | 46.19 | 46.14 | 40.98 | 35.43 | 32.28 | 25.96 | 22.41 | 22.79 | 16.01 | 9.8 | 0.84
| 2024-11-20 16:07 | 69.46 | 85.74 | 74.17 | 89.46 | 75.75 | 89.56 | 0 | 96 | USB |  | -35.91 | -31.23 | -23.42 | -2.64 | 4.25 | 19.28 | 16.79 | 14.17 | 19.67 | 24.46 | 19.87 | 30.1 | 32.45 | 50.8 | 47.91 | 35.12 | 48.14 | 46.38 | 58.44 | 66.64 | 64.92 | 54.58 | 45.85 | 44.21 | 41.26 | 40.13 | 46.6 | 41.87 | 37.64 | 37.54 | 34.68 | 30.39 | 28.06 | 18.11 | 13.67 | 1.09
| 2024-11-20 16:07 | 67.39 | 83.2 | 72.32 | 86.28 | 73.88 | 87.59 | 0 | 96 | USB |  | -41.07 | -27.07 | -29.3 | -0.55 | -2.38 | 18.51 | 13.76 | 14.01 | 25.27 | 22.89 | 19.56 | 26.69 | 35 | 40.23 | 46.06 | 39.85 | 42.09 | 57.09 | 60.57 | 63.94 | 57.86 | 56.4 | 47.71 | 43.65 | 44.93 | 45.43 | 46.17 | 44.98 | 45.39 | 44.2 | 41.82 | 33.36 | 30.41 | 25.48 | 20.26 | 4.77
| 2024-11-20 16:07 | 69.5 | 84.42 | 73.33 | 86.62 | 75.02 | 87.82 | 0 | 96 | USB |  | -39.41 | -26.48 | -27.97 | -3.75 | 3.41 | 17.83 | 12.81 | 13.03 | 21.33 | 23.24 | 17.16 | 24.65 | 38.32 | 47.07 | 41.81 | 42.22 | 47.68 | 44.85 | 57.11 | 65.29 | 64.24 | 63.07 | 52.13 | 48.7 | 41.61 | 41.12 | 47.57 | 40.35 | 35.74 | 31.57 | 28.61 | 25.17 | 26.61 | 19.29 | 11.46 | 2.09
| 2024-11-20 16:07 | 67.6 | 81.53 | 72.43 | 85.02 | 74.36 | 86.5 | 0 | 96 | USB |  | -36.98 | -29.58 | -30.74 | -4.27 | 4.37 | 19.11 | 16.52 | 11.02 | 17.59 | 20.51 | 19.25 | 30.46 | 40.77 | 46.17 | 39.67 | 43.9 | 44.29 | 42.88 | 55.69 | 64.24 | 63.59 | 50.95 | 41.75 | 39.85 | 39.57 | 43.09 | 49.05 | 38.1 | 35.51 | 35.59 | 31.96 | 27.35 | 25.21 | 18.67 | 12.03 | 1.67
| 2024-11-20 16:07 | 68.4 | 83.91 | 73.07 | 86.64 | 74.8 | 88.21 | 0 | 96 | USB |  | -45.37 | -33.31 | -31.07 | -4.36 | 1.96 | 19.32 | 11.18 | 13.71 | 15.87 | 22.8 | 17.19 | 31.3 | 42.58 | 48.74 | 36.93 | 42.94 | 46.58 | 46.61 | 58.64 | 63.5 | 63.42 | 61.06 | 51.03 | 48.75 | 44.29 | 42.87 | 46.24 | 45.71 | 45.08 | 42.44 | 38.61 | 31.4 | 27.82 | 21.11 | 12.25 | 1.95
| 2024-11-20 16:07 | 60.63 | 81.71 | 68.13 | 84.65 | 72.1 | 83.25 | 0 | 96 | USB |  | -41.8 | -35.7 | -29.71 | -4.95 | -2.11 | 18.51 | 13.66 | 10.16 | 17.6 | 22.49 | 19.79 | 31.03 | 40.87 | 44.12 | 34.18 | 38.76 | 39.78 | 38.37 | 46.27 | 53.39 | 58.52 | 55.84 | 42.64 | 44.24 | 34.96 | 36.43 | 41.75 | 40.1 | 34.25 | 31.79 | 26.13 | 25.95 | 18.87 | 13.5 | 5.64 | 0.57
| 2024-11-20 16:07 | 67.21 | 84.17 | 71.62 | 88.12 | 73.93 | 88.92 | 0 | 96 | USB |  | -41.89 | -33.73 | -24.76 | -4.73 | 0.36 | 18.95 | 15.65 | 9.88 | 15.66 | 23.03 | 17.57 | 32.85 | 31.67 | 36.33 | 45.84 | 37.49 | 39.15 | 46.67 | 53.72 | 65.06 | 60.41 | 48.83 | 40.89 | 40.42 | 43.17 | 51.35 | 49.77 | 50.82 | 51.08 | 48.29 | 42.28 | 38.97 | 29.48 | 23.08 | 17.5 | 3.3
| 2024-11-20 16:07 | 67.26 | 82.4 | 71.86 | 86.74 | 74.36 | 86 | 0 | 96 | USB |  | -40.83 | -34.18 | -28.06 | -6.37 | 1.12 | 19.22 | 14.7 | 11.12 | 13.7 | 24.26 | 18.74 | 32.93 | 37.24 | 45.54 | 37.66 | 41.23 | 44.31 | 44.19 | 58.07 | 61.46 | 62.7 | 59.54 | 52.29 | 47.15 | 49.97 | 46.3 | 47.77 | 46.05 | 47.3 | 45.27 | 40.11 | 35.65 | 27.65 | 21.7 | 16.47 | 3.18
| 2024-11-20 16:07 | 64.26 | 81.88 | 69.19 | 83.36 | 72.28 | 85.11 | 0 | 96 | USB |  | -44.18 | -27.1 | -26.45 | -7.37 | 6.75 | 18.71 | 16.87 | 15.04 | 15.36 | 17.46 | 19.19 | 32.33 | 37.85 | 43.06 | 36.28 | 39.21 | 40.41 | 41.34 | 48.9 | 57.34 | 59.52 | 59.36 | 51.03 | 47.11 | 44.92 | 44.52 | 43.62 | 41.87 | 41.57 | 37.2 | 29.68 | 26.29 | 21.07 | 16.72 | 11.63 | 1.24
| 2024-11-20 16:07 | 63.24 | 78.96 | 69.29 | 83.09 | 72.65 | 84.2 | 0 | 96 | USB |  | -38.6 | -31.96 | -33.31 | -10.01 | 0.12 | 18.16 | 11.91 | 13.25 | 15.22 | 19.41 | 18.27 | 30.76 | 37.27 | 40.22 | 40.06 | 38.07 | 38.98 | 44.3 | 50.88 | 60.63 | 55.8 | 54.45 | 43.28 | 44.27 | 35.27 | 38.56 | 39.44 | 42.14 | 41.42 | 38.6 | 34.78 | 31 | 25.03 | 16.9 | 8.67 | 1.25
| 2024-11-20 16:07 | 61.9 | 74.48 | 68.52 | 81.2 | 71.36 | 83.67 | 0 | 96 | USB |  | -38.55 | -29.39 | -27.66 | -10.3 | 6.46 | 18.4 | 14.54 | 16.07 | 15.92 | 21.86 | 19.1 | 30.54 | 36.3 | 44.97 | 43.58 | 44 | 42.79 | 42.34 | 53.9 | 56.5 | 55.04 | 53.08 | 44.39 | 40.5 | 39.87 | 42.01 | 45.47 | 49.63 | 45.84 | 40.05 | 37.77 | 34.94 | 25.69 | 16.77 | 11.53 | 1.19
| 2024-11-20 16:07 | 61.48 | 77.96 | 66.93 | 80.9 | 69.23 | 82.19 | 0 | 96 | USB |  | -39.35 | -36.2 | -27.37 | -9.83 | 5.42 | 13.5 | 14.22 | 18.25 | 15.24 | 23.18 | 18.25 | 27.11 | 38.49 | 39.11 | 38.48 | 45.37 | 40.05 | 39.44 | 46.09 | 51.96 | 57.33 | 57.08 | 45.28 | 45.71 | 42.41 | 38.67 | 44.55 | 40.27 | 33.49 | 27.88 | 22.95 | 16.84 | 14.46 | 10.97 | 4.78 | 0.68
| 2024-11-20 16:07 | 66.64 | 81.77 | 71.26 | 84.48 | 72.22 | 84.28 | 0 | 96 | USB |  | -36.73 | -33.11 | -27.66 | -8.44 | 2.79 | 11.09 | 11.05 | 20.49 | 19.87 | 22.85 | 19.4 | 31.02 | 38.68 | 38.92 | 46.53 | 49.24 | 46.3 | 49.37 | 58.66 | 60.26 | 63.46 | 51.82 | 46.83 | 46.75 | 41.96 | 44.37 | 48.31 | 41.95 | 44.5 | 31.54 | 36.11 | 22.56 | 20.01 | 12.92 | 8.44 | 1.58
| 2024-11-20 16:07 | 64.91 | 80.67 | 70.31 | 85.31 | 71.19 | 86.57 | 0 | 96 | USB |  | -38.9 | -29.23 | -26.37 | -7.99 | -3.63 | 11.15 | 15.16 | 21.41 | 24.22 | 26.08 | 19.66 | 32.7 | 38.53 | 43.86 | 46.43 | 45.98 | 47.72 | 45.16 | 57.52 | 59.56 | 61.12 | 48.53 | 44.36 | 45.03 | 43.08 | 43.94 | 42.37 | 41.57 | 45.54 | 38.73 | 40.96 | 31.84 | 31.59 | 20.15 | 15.74 | 4.03
| 2024-11-20 16:07 | 65.92 | 81.83 | 70.38 | 84.9 | 71.37 | 84.86 | 0 | 96 | USB |  | -35.79 | -30.53 | -29.3 | -8.12 | -5.83 | 8.35 | 14.56 | 12.97 | 17.81 | 23.73 | 20.99 | 33.21 | 35.4 | 40.99 | 43.72 | 44.94 | 44.61 | 47.53 | 55.54 | 63.46 | 58.65 | 51.34 | 49.91 | 43.61 | 40.71 | 43.5 | 41.55 | 39.37 | 41.5 | 36.98 | 36.87 | 32.69 | 27.94 | 21.5 | 13.79 | 4.21
| 2024-11-20 16:07 | 72.9 | 89.79 | 76.04 | 92.75 | 76.29 | 92.97 | 0 | 96 | USB |  | -38.1 | -29.06 | -28.16 | -5.45 | -8.37 | 13.11 | 15.02 | 13.41 | 14.46 | 28.16 | 22.56 | 31 | 37.25 | 35.62 | 42.49 | 48.88 | 41.63 | 43.52 | 62.43 | 68.62 | 70.09 | 53.21 | 48.23 | 44.04 | 49.6 | 47.58 | 52.24 | 50.83 | 45.15 | 41.6 | 40.47 | 35.2 | 33.69 | 33.45 | 31.55 | 17.95
| 2024-11-20 16:07 | 73.84 | 89.54 | 77.05 | 92.45 | 77.42 | 92.72 | 0 | 96 | USB |  | -40.2 | -30.4 | -24.13 | -3.6 | -4.58 | 11.82 | 15.79 | 10.7 | 14.97 | 24.86 | 21.19 | 26.52 | 39.74 | 43.38 | 46.43 | 47.45 | 44.5 | 55.73 | 59.26 | 71.44 | 68.85 | 60.58 | 50.64 | 49.39 | 47.03 | 45.3 | 49.75 | 45.71 | 45.81 | 46.34 | 45.96 | 36.85 | 30.9 | 22.73 | 17.99 | 4.02
| 2024-11-20 16:07 | 74.82 | 90.96 | 78.15 | 93.52 | 78.34 | 93.94 | 0 | 96 | USB |  | -43.6 | -28.05 | -24.27 | -3.03 | -2.19 | 13.06 | 15.97 | 13.18 | 14.26 | 22.42 | 20.15 | 27.75 | 34.23 | 43 | 49.97 | 44.69 | 40.58 | 52.94 | 48.87 | 74.44 | 56.45 | 56.35 | 43.61 | 40.31 | 38.26 | 56.99 | 57.16 | 51.19 | 46.83 | 41.36 | 47.67 | 37.83 | 35.43 | 33.71 | 27.87 | 18.47
| 2024-11-20 16:07 | 64.08 | 80.7 | 69.63 | 84.48 | 70.71 | 85.94 | 0 | 96 | USB |  | -36.78 | -29.79 | -22.88 | -4.37 | -5.73 | 6.69 | 11.62 | 11.02 | 15.46 | 23.86 | 17.39 | 28.87 | 33.56 | 42.83 | 50.64 | 43.38 | 42.82 | 43.8 | 51.2 | 61.31 | 59.46 | 50.19 | 38.9 | 34.6 | 35.41 | 33.12 | 34.92 | 36.33 | 39.02 | 44.46 | 41.95 | 35 | 27.44 | 18.23 | 11.79 | 1.92
| 2024-11-20 16:07 | 70.53 | 85.29 | 74.03 | 87.76 | 74.76 | 87.67 | 0 | 96 | USB |  | -37.46 | -32.53 | -27.51 | -1.15 | -0.74 | 10.31 | 13.03 | 12 | 16.44 | 25.01 | 18.28 | 30.95 | 33.88 | 44.66 | 49.31 | 41.68 | 46.37 | 54.53 | 61.75 | 63.52 | 67.9 | 54.56 | 52.17 | 48.73 | 46.16 | 52.46 | 52.13 | 44.43 | 49.14 | 47.48 | 48.69 | 39.76 | 32.94 | 23.93 | 17.36 | 5.13
| 2024-11-20 16:07 | 76.99 | 92.69 | 80.21 | 95.41 | 80.34 | 95.83 | 0 | 96 | USB |  | -34.85 | -24.14 | -28.91 | -2.34 | -4.95 | 9.94 | 12.63 | 14.27 | 15.33 | 25.45 | 20.01 | 31.04 | 36.4 | 45.82 | 51.26 | 54.08 | 46.84 | 55.05 | 65.85 | 74.05 | 71.68 | 62.64 | 54.33 | 55.87 | 53.75 | 59.15 | 57.73 | 58.87 | 52.09 | 48.49 | 47.05 | 39.15 | 35 | 27.15 | 17.51 | 6.69
| 2024-11-20 16:07 | 73.16 | 88.36 | 76.24 | 91.08 | 76.64 | 91.38 | 0 | 96 | USB |  | -38.02 | -26.1 | -27.38 | -2.75 | -0.5 | 13.04 | 14.97 | 14.23 | 20.77 | 26.78 | 20.15 | 33.27 | 40.9 | 48.34 | 50.66 | 50.25 | 47.11 | 50.09 | 58.97 | 67.88 | 69.33 | 64.73 | 59.2 | 55.52 | 56.75 | 56.53 | 57.4 | 50.6 | 42.97 | 42.69 | 38.16 | 33.48 | 27.44 | 20.83 | 15.16 | 3.67
| 2024-11-20 16:07 | 67.19 | 83.12 | 71.61 | 86.3 | 72.46 | 86.41 | 0 | 96 | USB |  | -39.33 | -37.46 | -23.87 | -2.31 | -1.49 | 10.39 | 14.17 | 14.2 | 21.51 | 21.85 | 19.86 | 28.29 | 41.44 | 43.55 | 46.32 | 50.71 | 44.06 | 48.21 | 59.03 | 62.53 | 58.95 | 58.24 | 50.31 | 52.28 | 46.96 | 52.39 | 52.05 | 48.43 | 37.87 | 35.95 | 27.61 | 25.29 | 24.72 | 17.5 | 9.81 | 1.34
Stop | 2024-11-20 16:07