## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E0960:0000008B
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:08:00
Stop Time | 2024-11-20 16:09:00
Run Time | 00:01:00
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 66.2 dB | 71.1 dB | 72.3 dB
Lωpk | 88.5 dB | 92.3 dB | 92.3 dB
| 2024-11-20 16:08:00 | 2024-11-20 16:08:19 | 2024-11-20 16:08:19
LωSmin | 57.6 dB | 65.6 dB | 68.1 dB
| 2024-11-20 16:08:09 | 2024-11-20 16:08:54 | 2024-11-20 16:08:54
LωSmax | 72.7 dB | 76.3 dB | 76.6 dB
| 2024-11-20 16:08:47 | 2024-11-20 16:08:47 | 2024-11-20 16:08:47
LωFmin | 47.0 dB | 59.6 dB | 62.9 dB
| 2024-11-20 16:08:03 | 2024-11-20 16:08:50 | 2024-11-20 16:08:50
LωFmax | 78.3 dB | 80.9 dB | 81.0 dB
| 2024-11-20 16:08:47 | 2024-11-20 16:08:47 | 2024-11-20 16:08:19
LωImin | 64.5 dB | 69.4 dB | 72.0 dB
| 2024-11-20 16:08:12 | 2024-11-20 16:08:12 | 2024-11-20 16:08:57
LωImax | 80.6 dB | 84.7 dB | 84.8 dB
| 2024-11-20 16:08:47 | 2024-11-20 16:08:19 | 2024-11-20 16:08:19
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 66.2 | 66.2 | -99.9 | 66.2 | 66.2 | -99.9 | -99.9 | dB
LCeq - LAeq | 4.9 dB
LAIeq | 73.9 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 83.9 dB
EA (Pa²s) | 0.1 Pa²s
EA,8 h (Pa²s) | 47.5 Pa²s
EA,40 h (Pa²s) | 237.4 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.1 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:08:00 | Run | Timer
2024/11/20 16:09:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -38.8 | -30.2 | -27.6 | -5.8 | 1.7 | 12.2 | 15.7 | 18.8 | 22.7 | 29.5 | 24.7 | 29.9 | 38.7 | 44.1 | 45.4 | 45.3 | 45.6 | 49.6 | 57.2 | 61.4 | 61.8 | 54.7 | 47 | 46.5 | 45 | 47.7 | 46 | 41.9 | 41.9 | 41.2 | 39.4 | 34 | 30.3 | 24.5 | 15.3 | 3.7
1/3 LAFmax | -31.4 | -22.8 | -19.1 | 1.6 | 13 | 20.3 | 21.6 | 26.2 | 34.2 | 38.4 | 33.5 | 36.7 | 49.4 | 54.5 | 58.5 | 59.8 | 60.4 | 65.1 | 74.6 | 73.7 | 77.5 | 69.8 | 63 | 62.8 | 59.8 | 62.8 | 58.2 | 57 | 60.4 | 58.5 | 59.9 | 53 | 49.1 | 46.9 | 34.8 | 21.4
1/3 LAFmin | -54.2 | -48.7 | -39.5 | -23.4 | -11.6 | -0.7 | 5.4 | 7.4 | 10.1 | 12.3 | 13 | 20.3 | 27.5 | 26.6 | 30.8 | 32.5 | 33.4 | 35.3 | 37.4 | 37.3 | 35.6 | 35.4 | 32.3 | 31.3 | 28.8 | 27.3 | 26.2 | 25.6 | 22.1 | 20.4 | 16.8 | 13.2 | 10.5 | 5.3 | 0.2 | 0
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:08 | 67.86 | 88.54 | 72.5 | 87.6 | 73.29 | 88.33 | 0 | 96 | USB |  | -37.53 | -33.18 | -27.78 | -2.22 | -2.41 | 2.57 | 14.56 | 15.76 | 24.15 | 32.18 | 24.78 | 32.37 | 42.67 | 45.26 | 46.48 | 49.98 | 46.45 | 47.93 | 59.75 | 62.07 | 59.29 | 60.41 | 55.28 | 55.51 | 51.43 | 49.82 | 49.82 | 49.93 | 52.31 | 50.7 | 45.39 | 43.15 | 40.98 | 38.67 | 26.93 | 13.54
| 2024-11-20 16:08 | 69.51 | 84.37 | 73.62 | 87.07 | 74.14 | 87.28 | 0 | 96 | USB |  | -42.44 | -29.44 | -27.25 | -2.47 | -4.11 | 7.33 | 13.04 | 16.26 | 20.68 | 28.83 | 24.57 | 30.74 | 35.84 | 48.25 | 47.05 | 50.53 | 47.03 | 53.15 | 60.28 | 65.05 | 64.45 | 59.86 | 54.51 | 47.3 | 45.49 | 50.45 | 50.33 | 41.62 | 42.66 | 39.32 | 29.67 | 26.49 | 28.49 | 20.48 | 15.74 | 2.98
| 2024-11-20 16:08 | 51.17 | 70.9 | 65.24 | 76.65 | 68.46 | 77.86 | 0 | 96 | USB |  | -41.34 | -34.09 | -29.73 | -2.24 | -1.72 | 8.33 | 15.21 | 12.58 | 22.92 | 32.43 | 26.95 | 29.71 | 33.2 | 33.98 | 35.91 | 39.93 | 37.56 | 37.22 | 41.48 | 45.71 | 45.87 | 40.74 | 36.08 | 35.23 | 32.92 | 31 | 31.5 | 29.18 | 30.97 | 25.69 | 24.38 | 17.41 | 13.37 | 8.53 | 2.59 | 0.71
| 2024-11-20 16:08 | 68.78 | 83.46 | 72.6 | 86.29 | 73.29 | 87.26 | 0 | 96 | USB |  | -43.05 | -29.68 | -28.67 | -3.16 | -5.07 | 8.8 | 16.52 | 14.92 | 21.23 | 31.04 | 26.81 | 25.41 | 34.12 | 43.15 | 38.77 | 41.18 | 43.24 | 57.09 | 55.51 | 58.66 | 66.63 | 56.87 | 49.07 | 53.19 | 45.19 | 52.84 | 50.44 | 47.55 | 47.86 | 43.15 | 46.95 | 39.02 | 34.75 | 24.89 | 16.27 | 5.9
| 2024-11-20 16:08 | 64.74 | 79.13 | 72.46 | 83.44 | 73.21 | 84.35 | 0 | 96 | USB |  | -45.47 | -37.34 | -30.42 | -3.93 | -6.6 | 10.11 | 14.39 | 16.22 | 20.58 | 34.29 | 25.48 | 27.66 | 36.36 | 49.63 | 54.24 | 42.16 | 48.92 | 56.89 | 52.11 | 58.5 | 53.49 | 44.42 | 38.39 | 47.77 | 46.17 | 55.68 | 50.19 | 49.45 | 50.57 | 47.68 | 52.7 | 46.24 | 39.91 | 31.23 | 19.21 | 5
| 2024-11-20 16:08 | 66.91 | 81.09 | 72.47 | 85.75 | 73.32 | 87.52 | 0 | 96 | USB |  | -43.75 | -30.64 | -29.57 | -5.14 | -4.18 | 8.08 | 14.45 | 17.93 | 22.43 | 34.07 | 28.82 | 30.84 | 37.8 | 46.68 | 48 | 38.83 | 50.92 | 46.96 | 61.01 | 61.72 | 61.6 | 52.92 | 45.67 | 48.94 | 43.55 | 46.43 | 48.98 | 40.8 | 43.24 | 35.84 | 36.46 | 29.86 | 27.42 | 21.45 | 12.37 | 2.89
| 2024-11-20 16:08 | 57.89 | 71.52 | 68.74 | 79.69 | 70.54 | 81.33 | 0 | 96 | USB |  | -44.5 | -30.52 | -31.84 | -5.12 | 1 | 13.19 | 13.69 | 17.73 | 20.35 | 33.48 | 26.33 | 33.36 | 36.18 | 44 | 49.05 | 38.01 | 39.12 | 44.91 | 51.59 | 52.53 | 51.1 | 41.31 | 39.02 | 38.18 | 34.19 | 34.05 | 35.29 | 35.01 | 35.11 | 28.92 | 24.21 | 18.79 | 16.23 | 10.97 | 5.28 | 0.81
| 2024-11-20 16:08 | 64.08 | 82.32 | 70.82 | 86.75 | 72.01 | 87.16 | 0 | 96 | USB |  | -40.83 | -30.7 | -31.12 | -6.23 | -3.87 | 11.09 | 12.04 | 16.59 | 24.41 | 32.56 | 26.05 | 32.1 | 35.43 | 49.02 | 35.96 | 39.08 | 47.45 | 40.81 | 56 | 61.1 | 58.01 | 44.76 | 37.37 | 35.45 | 36.09 | 38.95 | 39.43 | 43.28 | 39.43 | 41.56 | 39.15 | 32.82 | 25.64 | 17.13 | 11.35 | 1.74
| 2024-11-20 16:08 | 53.81 | 69.63 | 66.32 | 78.08 | 69.54 | 79.76 | 0 | 96 | USB |  | -38.22 | -32.71 | -28.77 | -7.49 | 1.58 | 15.24 | 16.2 | 17.03 | 26.43 | 31.9 | 26.3 | 31.78 | 33.39 | 32.15 | 34.68 | 37.08 | 37.03 | 39.43 | 47.14 | 46.62 | 43.56 | 43.65 | 38.56 | 35.78 | 38.98 | 39.98 | 42.54 | 41.72 | 36.55 | 36.17 | 31.41 | 29.55 | 25.67 | 16.49 | 9.17 | 1.9
| 2024-11-20 16:08 | 63.36 | 79.29 | 68.73 | 81.76 | 70.8 | 84.26 | 0 | 96 | USB |  | -34.89 | -31.91 | -25.67 | -7.89 | 0.78 | 14.16 | 15.66 | 14.75 | 23.38 | 33 | 26.09 | 30.68 | 34.87 | 32.95 | 34.44 | 36.81 | 36.88 | 41.14 | 46.75 | 53.99 | 61.82 | 46.41 | 38.15 | 37.68 | 49.47 | 43.55 | 50.15 | 38.87 | 40.08 | 32.52 | 30.14 | 20.62 | 18.25 | 12.22 | 7.75 | 3.39
| 2024-11-20 16:08 | 63.72 | 77.21 | 69 | 81.16 | 70.44 | 83.32 | 0 | 96 | USB |  | -36.89 | -26.93 | -23.68 | -8.68 | 0.92 | 15.27 | 16.02 | 14.74 | 25.74 | 33.15 | 24.71 | 32.3 | 34.19 | 35.9 | 36.11 | 38.11 | 43.59 | 42.2 | 54.15 | 59.77 | 59.28 | 47.03 | 39.05 | 37.88 | 48.81 | 46.6 | 49.27 | 37.34 | 41.49 | 34.59 | 29.97 | 17.64 | 20.53 | 11.26 | 6.3 | 1.53
| 2024-11-20 16:08 | 58.08 | 76.13 | 66.57 | 80.23 | 69.72 | 82.02 | 0 | 96 | USB |  | -43.86 | -26.27 | -27.55 | -8.96 | -2.11 | 11.73 | 13.97 | 13.35 | 23.9 | 32.28 | 29.32 | 29.85 | 35.26 | 31.1 | 33.35 | 36.21 | 36.68 | 38.91 | 48.14 | 52.42 | 54.68 | 50.61 | 44.43 | 35.56 | 32.38 | 31.16 | 33.72 | 32.83 | 29.98 | 25.15 | 19.49 | 14.36 | 12.18 | 6.86 | 0.96 | 0.49
| 2024-11-20 16:08 | 69.44 | 84.92 | 73.74 | 89.52 | 74.69 | 89.19 | 0 | 96 | USB |  | -38.6 | -31.21 | -26.33 | -7.49 | 4.79 | 12.42 | 14.22 | 9.62 | 29.18 | 26.65 | 28.05 | 28.02 | 42.72 | 47.21 | 43.38 | 40.08 | 43.72 | 50.52 | 59.29 | 64.6 | 66.12 | 57.23 | 47.98 | 48.87 | 47.47 | 48.09 | 48.91 | 45.5 | 33.97 | 32.91 | 27.55 | 20.97 | 28.21 | 20.84 | 16.9 | 3.33
| 2024-11-20 16:08 | 65.54 | 83.79 | 70.13 | 86.27 | 71.48 | 86.19 | 0 | 96 | USB |  | -38.03 | -34.91 | -36.18 | -0.2 | 4.97 | 12.69 | 17.6 | 11.18 | 19.5 | 29.28 | 21.94 | 25.85 | 38.49 | 41.49 | 42.93 | 49.54 | 39.52 | 44.18 | 52.05 | 61.98 | 61.26 | 54.69 | 41.84 | 38.04 | 40.39 | 49.74 | 45.27 | 44.02 | 31.6 | 30.98 | 25.17 | 20.53 | 24.7 | 16.51 | 11.5 | 1.26
| 2024-11-20 16:08 | 59.1 | 72.42 | 69.05 | 81.55 | 70.48 | 82.27 | 0 | 96 | USB |  | -42.77 | -29.22 | -32.04 | -4.57 | 3.69 | 11.87 | 13.69 | 11.78 | 16.76 | 32.96 | 26.2 | 29.11 | 39.32 | 45.07 | 41.57 | 48.42 | 44.56 | 46.51 | 53.33 | 53.17 | 49.42 | 42.43 | 36.86 | 35.92 | 39.06 | 39.43 | 41.03 | 43.78 | 40.73 | 38.32 | 39.19 | 33.6 | 29.61 | 20.25 | 12.03 | 2.2
| 2024-11-20 16:08 | 62.12 | 79.97 | 69.73 | 81.75 | 72.09 | 82.96 | 0 | 96 | USB |  | -39.23 | -28.98 | -24.63 | -2.96 | 5.48 | 13.88 | 14.6 | 12.22 | 25.46 | 34.6 | 28.48 | 27.1 | 41.25 | 41.04 | 43.04 | 45.58 | 45 | 43.29 | 54.2 | 55.58 | 56.72 | 55.36 | 46.07 | 42.81 | 37.82 | 38 | 43.53 | 34.26 | 30.22 | 27.76 | 25.34 | 20.88 | 19.66 | 13.76 | 6.06 | 1.04
| 2024-11-20 16:08 | 67.07 | 80.9 | 73.11 | 85.79 | 73.98 | 87.13 | 0 | 96 | USB |  | -39.3 | -29.49 | -26.27 | -3.04 | 3.55 | 12.22 | 16.51 | 15.38 | 32.57 | 27.94 | 29.3 | 26.77 | 36.22 | 45.45 | 48.98 | 43.56 | 46.92 | 54.37 | 59.57 | 64.33 | 59.19 | 47.89 | 44.59 | 39.32 | 37.44 | 49.29 | 49.17 | 42 | 39.4 | 38.99 | 33.12 | 28.21 | 25.55 | 18.43 | 11.45 | 2.01
| 2024-11-20 16:08 | 55.69 | 75.54 | 67.67 | 80.41 | 69.98 | 81.4 | 0 | 96 | USB |  | -36.37 | -25.83 | -28.6 | -5.94 | 1.72 | 3.79 | 17.13 | 11.64 | 28.72 | 33.03 | 29.74 | 29.27 | 34.52 | 39.58 | 45.46 | 42.13 | 41.2 | 40.02 | 48.21 | 50.59 | 47.7 | 41.36 | 37.13 | 37.67 | 36.68 | 36.47 | 37.6 | 34.55 | 31.93 | 28.31 | 26.1 | 22.77 | 20.26 | 14.83 | 7.85 | 1.54
| 2024-11-20 16:08 | 59.65 | 75.79 | 69.03 | 81.04 | 70.91 | 81.67 | 0 | 96 | USB |  | -39.44 | -26.7 | -22.43 | -6.99 | 5.44 | 5.37 | 16.99 | 12.62 | 22.55 | 33.87 | 29.09 | 31.32 | 41.42 | 39.88 | 44.26 | 44.13 | 41.53 | 44.5 | 52.68 | 53.63 | 53.59 | 51.61 | 41.19 | 37.92 | 35.78 | 32.37 | 31.48 | 31.22 | 29.89 | 27.06 | 23.9 | 18.98 | 16.55 | 11.72 | 4.74 | 0.82
| 2024-11-20 16:08 | 71.52 | 87.96 | 76.17 | 92.32 | 76.74 | 92.31 | 0 | 96 | USB |  | -41.22 | -29.48 | -27.82 | -4.77 | 1.1 | 11.02 | 15.88 | 13.21 | 19.65 | 35.98 | 23.61 | 32.77 | 38.91 | 41.19 | 47.44 | 49.34 | 45.06 | 52.14 | 68.9 | 65.27 | 62.81 | 56.28 | 51.85 | 44.64 | 47.16 | 56.72 | 48.79 | 42.95 | 41.39 | 41.64 | 40.67 | 33.62 | 33.96 | 24.72 | 19.81 | 4.61
| 2024-11-20 16:08 | 69.22 | 86.83 | 73.73 | 90.04 | 74.57 | 90.63 | 0 | 96 | USB |  | -35.5 | -28.98 | -23.79 | -6.28 | 2.96 | 15.38 | 16.75 | 12.56 | 20.46 | 28.23 | 22.84 | 29.88 | 35.32 | 39.52 | 47.72 | 53.08 | 40.64 | 52.27 | 56.46 | 66.55 | 61.4 | 52.54 | 41.55 | 38.36 | 35.12 | 46.74 | 48.57 | 46.06 | 40.03 | 35.08 | 32.82 | 28.71 | 24.29 | 17.25 | 12.53 | 1.62
| 2024-11-20 16:08 | 67.61 | 86.72 | 72.84 | 89.71 | 73.96 | 89.35 | 0 | 96 | USB |  | -37.49 | -29.04 | -29.52 | -3.68 | 5.55 | 15.12 | 14.02 | 14.98 | 25.43 | 30.37 | 20.7 | 27.44 | 35.54 | 45.33 | 48.76 | 43.86 | 45.98 | 56.43 | 60.1 | 66.16 | 60.97 | 48.96 | 37.46 | 41.32 | 37.32 | 41.64 | 43.21 | 39.81 | 38.02 | 36.83 | 27.72 | 23.75 | 22.16 | 14.63 | 9.77 | 1.2
| 2024-11-20 16:08 | 65.29 | 78.9 | 70.56 | 82.31 | 73.01 | 85.07 | 0 | 96 | USB |  | -43.06 | -28.71 | -24.59 | -5.16 | 3.55 | 15.76 | 15.49 | 16.66 | 20.45 | 27.54 | 26.65 | 27.42 | 39.36 | 41.88 | 43.68 | 44.89 | 42.19 | 40.86 | 54.15 | 60.26 | 61.41 | 57.53 | 38.99 | 43.84 | 36.52 | 42.56 | 45.64 | 36.64 | 30.88 | 31.81 | 24.78 | 16.61 | 17.99 | 10.97 | 5.89 | 0.69
| 2024-11-20 16:08 | 67.32 | 85.68 | 72.26 | 87.91 | 73.91 | 90.12 | 0 | 96 | USB |  | -39.81 | -29.41 | -26.28 | -2.08 | 10.59 | 18.17 | 16.51 | 10.94 | 22 | 24.58 | 26.98 | 24.27 | 42.97 | 43.62 | 48.36 | 47.14 | 43.63 | 48.66 | 55.64 | 62.82 | 63.45 | 56.56 | 41.04 | 47.53 | 43.33 | 49.01 | 50.03 | 44.51 | 40.1 | 41.86 | 35.98 | 31.09 | 25.55 | 17.8 | 12.65 | 1.92
| 2024-11-20 16:08 | 67.74 | 84.14 | 72.46 | 87.2 | 73.77 | 88.59 | 0 | 96 | USB |  | -41.51 | -31.06 | -25.95 | -3.27 | 3.26 | 16.23 | 14.06 | 18.35 | 25.24 | 24.6 | 26.6 | 28.19 | 37.08 | 44.08 | 44.12 | 45.88 | 48.24 | 52.27 | 60.61 | 64.45 | 61.65 | 50.08 | 39.34 | 40.24 | 37.93 | 49.45 | 50.31 | 46.66 | 38.16 | 35.43 | 33.71 | 24.39 | 21.89 | 15.97 | 10.11 | 1.23
| 2024-11-20 16:08 | 53.71 | 66.44 | 67.09 | 79.63 | 69.93 | 79.96 | 0 | 96 | USB |  | -40.68 | -33.41 | -30.16 | 0.3 | 2.22 | 14.38 | 19.59 | 20.15 | 20.3 | 22.42 | 21.27 | 29.47 | 39.58 | 41.57 | 43.73 | 50.66 | 41.66 | 39.23 | 43.21 | 41.28 | 40.83 | 39.52 | 36.36 | 35.18 | 34.67 | 33.5 | 30.37 | 29.3 | 26.21 | 24.2 | 24.63 | 20.16 | 16.55 | 12.22 | 5.16 | 1.15
| 2024-11-20 16:08 | 50.62 | 75.78 | 65.4 | 75.24 | 68.79 | 79.56 | 0 | 96 | USB |  | -37.17 | -34.64 | -29.94 | -3.85 | 6.72 | 9.47 | 14.5 | 22.28 | 22.09 | 25.54 | 24.32 | 29.43 | 38.88 | 34.64 | 35.57 | 41.97 | 36.9 | 38.62 | 41.58 | 42.12 | 39.39 | 39.18 | 38.49 | 37.66 | 36.86 | 38.17 | 30.08 | 28.99 | 27.05 | 25.93 | 24.55 | 21.76 | 17.8 | 12.08 | 4.61 | 0.94
| 2024-11-20 16:08 | 67.7 | 85.46 | 71.61 | 88.55 | 72.57 | 88.77 | 0 | 96 | USB |  | -40.9 | -36.24 | -29.74 | -4.63 | 2.93 | 13.95 | 16.18 | 18.43 | 21.08 | 23.02 | 20.83 | 31.58 | 39.82 | 46.36 | 40.41 | 41.41 | 45.02 | 45.28 | 55.03 | 61.6 | 64.32 | 59.34 | 45.16 | 41.19 | 44.55 | 54.28 | 52.68 | 44.92 | 36.98 | 41.07 | 38.65 | 31.29 | 29.72 | 21.88 | 15.75 | 3.78
| 2024-11-20 16:08 | 65.36 | 82.37 | 69.86 | 85.7 | 71.28 | 86.17 | 0 | 96 | USB |  | -39.9 | -31.06 | -34.19 | -8.19 | -1 | 10.84 | 15.2 | 23.05 | 20.7 | 20.13 | 21.13 | 30.76 | 34.6 | 41.13 | 35.85 | 39.86 | 40.23 | 40.82 | 50.97 | 62.57 | 60.06 | 49.19 | 37.17 | 37.41 | 38.17 | 50.5 | 50.05 | 42.34 | 31.55 | 30.31 | 27.4 | 22.09 | 22.29 | 17.37 | 12.22 | 1.81
| 2024-11-20 16:08 | 59.53 | 75.22 | 67.4 | 79.72 | 69.27 | 81.55 | 0 | 96 | USB |  | -49.29 | -28.76 | -31.11 | -8.39 | -1.26 | 11.78 | 15.63 | 25.56 | 20.78 | 23.9 | 22.25 | 30.75 | 38.26 | 42.27 | 38.97 | 40.91 | 46.17 | 44.75 | 48.4 | 58.04 | 52.27 | 43.76 | 36.58 | 35.35 | 34.8 | 34.57 | 35.19 | 32.16 | 30.8 | 28 | 25.51 | 21.87 | 19.48 | 13.57 | 6.69 | 1.38
| 2024-11-20 16:08 | 66.39 | 82.67 | 71.91 | 86.98 | 73.09 | 87.56 | 0 | 96 | USB |  | -42.03 | -30.11 | -34.43 | -12.14 | -3.65 | 13.73 | 16.34 | 25.08 | 17.11 | 24.45 | 25.1 | 27.92 | 39.64 | 46.21 | 49.87 | 41.66 | 48.58 | 53.92 | 55.42 | 62.66 | 57.73 | 53.45 | 46.76 | 48.03 | 45.52 | 42.31 | 46.2 | 45.47 | 43.86 | 46.8 | 39.74 | 36.19 | 31.25 | 23 | 15.51 | 5.21
| 2024-11-20 16:09 | 69 | 85.37 | 72.78 | 88.51 | 73.36 | 88.19 | 0 | 96 | USB |  | -38.23 | -32.17 | -29.89 | -12.27 | -5.04 | 10.53 | 13.19 | 22.35 | 15.12 | 22.17 | 19.61 | 27.91 | 33.7 | 40.18 | 51.09 | 47.74 | 42.22 | 51.29 | 58.19 | 63.03 | 66.96 | 54.99 | 47.56 | 52.44 | 48.76 | 47.41 | 43.51 | 42.55 | 42.43 | 38.96 | 33.62 | 29.77 | 27.82 | 24.4 | 15.13 | 4.81
| 2024-11-20 16:09 | 68.11 | 86.33 | 71.46 | 87.81 | 72.34 | 88.58 | 0 | 96 | USB |  | -43.96 | -32.35 | -25.63 | -15.21 | 7.2 | 9.87 | 16.2 | 21.96 | 15.99 | 23.29 | 20 | 27.27 | 37.75 | 40.75 | 40.48 | 36.86 | 42.09 | 49.03 | 56.72 | 60.87 | 65.74 | 58.42 | 52.96 | 45.87 | 43.86 | 42.91 | 44.73 | 42.66 | 44.58 | 35.64 | 35.54 | 28.76 | 25.64 | 19.94 | 19.84 | 8.05
| 2024-11-20 16:09 | 66.77 | 83.31 | 71.02 | 86.4 | 72 | 87.06 | 0 | 96 | USB |  | -43.81 | -29.22 | -28.28 | -14.31 | 1.92 | 8.95 | 15.14 | 24.06 | 17.1 | 23.63 | 18.92 | 29.77 | 34.15 | 38.71 | 42.97 | 36.86 | 42.12 | 47.84 | 56.75 | 63.1 | 62.66 | 51.6 | 49.91 | 46.28 | 46.71 | 41.29 | 39.64 | 40.27 | 42.97 | 33.86 | 34.89 | 33.29 | 24.79 | 19.79 | 11.07 | 2.25
| 2024-11-20 16:09 | 61.27 | 75.25 | 66.81 | 79.14 | 71.04 | 81.61 | 0 | 96 | USB |  | -46.11 | -30.26 | -25.83 | -11.14 | -1.08 | 9.66 | 14.86 | 23.69 | 16.77 | 20.71 | 20.15 | 30.25 | 32.33 | 39.54 | 35.67 | 38.59 | 44.55 | 45.09 | 56.02 | 55.36 | 56.09 | 46.95 | 44.72 | 40.37 | 40.37 | 41.01 | 43.29 | 36.95 | 34.83 | 28.51 | 30 | 18.88 | 18.18 | 12.54 | 6.34 | 0.88
| 2024-11-20 16:09 | 63.43 | 79.09 | 68.44 | 82.05 | 69.98 | 83.69 | 0 | 96 | USB |  | -38.51 | -26.3 | -29.88 | -11.66 | -0.36 | 8.7 | 15.86 | 22.42 | 14.85 | 24.42 | 20.06 | 31.67 | 36.71 | 40.48 | 36.95 | 37.18 | 40.56 | 43.47 | 54.62 | 58.46 | 59.46 | 50.01 | 44.69 | 41.66 | 46.12 | 42.72 | 43.97 | 39.78 | 43.24 | 45.09 | 41.8 | 33.81 | 31.29 | 25.6 | 15.81 | 4.55
| 2024-11-20 16:09 | 69.22 | 84.86 | 74.21 | 89.86 | 74.8 | 89.96 | 0 | 96 | USB |  | -34.99 | -31.53 | -26.15 | -9.14 | -0.26 | 12.4 | 12.47 | 23.71 | 16.34 | 20.19 | 19.96 | 34.9 | 44.51 | 47.02 | 41.48 | 47.2 | 45.99 | 49.74 | 64.89 | 65.92 | 60.36 | 48.43 | 43.9 | 41.82 | 40.93 | 50.81 | 41.47 | 35.38 | 32 | 30.09 | 26.22 | 22.98 | 21.33 | 12.6 | 6.77 | 0.77
| 2024-11-20 16:09 | 60.8 | 79.26 | 67.87 | 82.79 | 70.5 | 83.25 | 0 | 96 | USB |  | -39.82 | -30.21 | -26.12 | -9.37 | -1.19 | 12.88 | 16.06 | 23.57 | 14.14 | 24.51 | 18.75 | 30.03 | 34.11 | 40.12 | 42.2 | 43.06 | 47.44 | 52.22 | 53.8 | 55.8 | 52.79 | 45.18 | 37.98 | 37.98 | 43.05 | 43.67 | 43.69 | 37.99 | 38.94 | 39.97 | 37.42 | 30.35 | 29.3 | 20.31 | 13.7 | 2.32
| 2024-11-20 16:09 | 60.15 | 76.41 | 68.37 | 79.46 | 73.91 | 83.11 | 0 | 96 | USB |  | -36.79 | -33.18 | -31.34 | -6.44 | 3.34 | 10.31 | 16.29 | 23.71 | 21.32 | 21.91 | 22.14 | 26.81 | 41.81 | 40.23 | 41.04 | 48.83 | 41.65 | 46.23 | 52.36 | 54.87 | 54.13 | 46.81 | 39.42 | 42.26 | 39.24 | 37.18 | 36.47 | 32.3 | 33.88 | 25.1 | 26.12 | 17.89 | 17.44 | 9.92 | 3.08 | 0.68
| 2024-11-20 16:09 | 61.72 | 78.65 | 69.33 | 83.5 | 70.88 | 84.14 | 0 | 96 | USB |  | -38.27 | -35.36 | -26.45 | -6.73 | 1.54 | 11.09 | 18.21 | 16.92 | 23.15 | 29.1 | 29.69 | 28.8 | 40.53 | 38.69 | 41.59 | 48.01 | 39.88 | 46.77 | 55.03 | 59.71 | 49.64 | 43.15 | 36.88 | 36.58 | 34.96 | 39.35 | 33.06 | 30.99 | 31.17 | 30.1 | 28.77 | 25.88 | 20.35 | 12.56 | 6.73 | 1.12
| 2024-11-20 16:09 | 68.75 | 82.98 | 73.75 | 86.53 | 74.47 | 86.09 | 0 | 96 | USB |  | -35.58 | -29.9 | -25.89 | -10.44 | -1.39 | 10.34 | 17.27 | 16.67 | 25.36 | 33.14 | 28.1 | 29.82 | 36.37 | 51.16 | 42.17 | 42.72 | 52.66 | 44.32 | 55.14 | 63.67 | 64.97 | 58.68 | 52.23 | 49 | 39.82 | 45.77 | 40.89 | 40.51 | 33.35 | 30.47 | 29.87 | 25.46 | 25.27 | 16.56 | 10.97 | 1.58
| 2024-11-20 16:09 | 65.97 | 82.72 | 70.6 | 84.71 | 71.68 | 85.34 | 0 | 96 | USB |  | -33.97 | -32.79 | -29.48 | -7.65 | 0.66 | 13.01 | 17.87 | 14.7 | 18.04 | 27.99 | 28.48 | 32.64 | 36.9 | 47.34 | 43.67 | 40.78 | 45.17 | 39.71 | 51.93 | 62.53 | 62.37 | 55.18 | 51.73 | 50.22 | 43.1 | 36.83 | 38.07 | 40.68 | 41.17 | 33.93 | 30.28 | 21.91 | 20.57 | 13.73 | 8.4 | 0.92
| 2024-11-20 16:09 | 58.21 | 76.94 | 66.83 | 79.89 | 69.26 | 80.96 | 0 | 96 | USB |  | -37.16 | -24.18 | -26.95 | -6.44 | -0.02 | 11.71 | 17.26 | 14.83 | 19.53 | 27.92 | 23.46 | 32.02 | 34.27 | 39.29 | 44.29 | 42.95 | 45.04 | 37.49 | 44.73 | 48.68 | 54.06 | 51.11 | 40.24 | 33.25 | 31.07 | 29.74 | 30.03 | 28.08 | 25.16 | 21.98 | 18.41 | 13.89 | 11.66 | 6.58 | 1.4 | 0.47
| 2024-11-20 16:09 | 66.46 | 80.96 | 70.9 | 84.09 | 71.92 | 85.71 | 0 | 96 | USB |  | -39.58 | -32.46 | -27.86 | -5.79 | 0.22 | 6.16 | 17.52 | 15.58 | 16.73 | 28.56 | 22.91 | 29.56 | 39.97 | 44.98 | 44.23 | 41.48 | 46.43 | 42.74 | 54.49 | 61.45 | 63.2 | 55.35 | 49.2 | 45.49 | 46.66 | 41.36 | 41.48 | 37.63 | 43.1 | 39.87 | 34.74 | 27.05 | 25.06 | 16.97 | 10.45 | 1.85
| 2024-11-20 16:09 | 59.65 | 77.38 | 67.38 | 80.8 | 69.46 | 81.75 | 0 | 96 | USB |  | -37.06 | -28.21 | -30.9 | -6.47 | -0.13 | 5.69 | 17.47 | 12.28 | 17.05 | 32.99 | 20.78 | 27.5 | 36.29 | 40.46 | 42.59 | 41.23 | 44.94 | 41.95 | 49.58 | 54.13 | 55.7 | 50.36 | 40.86 | 40.96 | 44.69 | 40.69 | 36.94 | 33.65 | 38.12 | 41.21 | 33.52 | 28.86 | 24.57 | 18.13 | 9.76 | 1.23
| 2024-11-20 16:09 | 65.65 | 80.9 | 70.35 | 84.71 | 71.59 | 84.67 | 0 | 96 | USB |  | -36.78 | -34.44 | -28.28 | -5.96 | -5.05 | 10.24 | 17.56 | 12.31 | 19.43 | 26.83 | 20.49 | 28.5 | 41.99 | 40.61 | 44 | 41.92 | 44.41 | 42.18 | 55.72 | 61.06 | 61.21 | 55.46 | 41.58 | 46.29 | 49.88 | 49.16 | 41.5 | 38.36 | 45.86 | 43.22 | 33.58 | 32.04 | 28.61 | 23.8 | 14.67 | 3.23
| 2024-11-20 16:09 | 66.58 | 81.82 | 72.15 | 86.45 | 72.88 | 86.02 | 0 | 96 | USB |  | -33.51 | -31.1 | -29.07 | -3.77 | -2.09 | 6.01 | 17.79 | 13.75 | 25.11 | 25.88 | 18.03 | 27.38 | 41.19 | 39.02 | 51.89 | 49.07 | 46.4 | 54.92 | 56.61 | 60.83 | 62.07 | 50.41 | 44.36 | 45.36 | 44.37 | 42.24 | 39.12 | 35.82 | 40.86 | 31.67 | 31.8 | 25.29 | 18.57 | 13.06 | 6.47 | 1.18
| 2024-11-20 16:09 | 73.49 | 87.68 | 76.98 | 90.65 | 77.15 | 90.77 | 0 | 96 | USB |  | -39.14 | -30.13 | -30.93 | -4.54 | -1.09 | 8.39 | 13.84 | 15.62 | 17.12 | 24.16 | 20.26 | 29.72 | 37.56 | 49.4 | 51.4 | 41.85 | 51.71 | 57.08 | 58.24 | 68.47 | 70.85 | 61.21 | 52.19 | 48.65 | 50.87 | 54.67 | 49.38 | 43.11 | 45.64 | 51.52 | 49.13 | 43.51 | 40.66 | 30.8 | 22.9 | 8.86
| 2024-11-20 16:09 | 64.49 | 81.63 | 70.34 | 83.84 | 71.56 | 85.04 | 0 | 96 | USB |  | -46.1 | -34.46 | -28.79 | -7.66 | 0.23 | 7.71 | 15.77 | 15.38 | 24.18 | 29.77 | 19.51 | 32.06 | 42.15 | 47.64 | 44.12 | 48.33 | 45.37 | 45.36 | 49.1 | 52.32 | 62.73 | 55.32 | 42.93 | 46.57 | 40.67 | 42 | 44.09 | 40.1 | 42.39 | 45.01 | 38.39 | 31.88 | 28.36 | 18.85 | 13.09 | 2.39
| 2024-11-20 16:09 | 65.48 | 81.16 | 70.86 | 84.9 | 71.94 | 85.11 | 0 | 96 | USB |  | -37.33 | -33.67 | -28.93 | -6.5 | 0.94 | 15.07 | 15.67 | 15.9 | 24.65 | 23.71 | 18.54 | 31.33 | 38.25 | 45.8 | 44 | 52.71 | 44.97 | 44.9 | 52.29 | 56.32 | 63.55 | 54.37 | 45.47 | 45.58 | 41.38 | 41.19 | 45.83 | 37.32 | 37.47 | 34.6 | 30.8 | 25.47 | 23.68 | 15.58 | 9.15 | 1.94
| 2024-11-20 16:09 | 49.18 | 61.51 | 62.36 | 72.96 | 65.95 | 76.99 | 0 | 96 | USB |  | -40.51 | -31.61 | -29.59 | -8.69 | -2.6 | 13.74 | 9.59 | 13.88 | 18.13 | 20.4 | 18.44 | 31.56 | 36.17 | 31.27 | 36.74 | 42.3 | 37.57 | 37.55 | 41.25 | 39.07 | 39.82 | 36.45 | 34.49 | 33.83 | 32.15 | 32.18 | 31.69 | 30.36 | 27.82 | 25.92 | 24.23 | 20.94 | 16.86 | 11.12 | 4.95 | 0.97
| 2024-11-20 16:09 | 67.6 | 84.56 | 72.25 | 87.28 | 73.18 | 88.08 | 0 | 96 | USB |  | -40.16 | -36.04 | -29.35 | -8.85 | -2.93 | 12.98 | 12.28 | 15.71 | 16.07 | 23.96 | 17.08 | 27.62 | 34.48 | 47.76 | 47.5 | 40.59 | 46.96 | 49.39 | 59.98 | 64.21 | 60.47 | 53.44 | 49.88 | 48.34 | 52.1 | 50.44 | 46.31 | 40.19 | 43.09 | 45.88 | 41.36 | 34.03 | 32.08 | 24.68 | 15.5 | 5.15
| 2024-11-20 16:09 | 65.95 | 82.07 | 70.36 | 85.42 | 71.45 | 86.21 | 0 | 96 | USB |  | -35.54 | -28.22 | -26.27 | -9.05 | -5.03 | 15.77 | 12.33 | 16.48 | 12.49 | 20.01 | 17.74 | 24.81 | 45.01 | 44.32 | 36.06 | 45.57 | 44.44 | 43.85 | 53.01 | 57.52 | 63.31 | 57.56 | 46.68 | 54.54 | 45.52 | 46.27 | 40.22 | 43.02 | 42.07 | 43.13 | 37.11 | 37.9 | 31.87 | 29.98 | 18.4 | 6.17
| 2024-11-20 16:09 | 54.97 | 74.84 | 63.77 | 78.86 | 68.13 | 79.76 | 0 | 96 | USB |  | -40.01 | -31.58 | -27.81 | -13.79 | -1.14 | 13.69 | 15.65 | 17.44 | 13.58 | 16.85 | 18.88 | 25.08 | 31.52 | 36.12 | 35.72 | 37.89 | 38.58 | 39.31 | 46.02 | 49.7 | 46.95 | 45.13 | 36.97 | 41.64 | 38.03 | 36.06 | 31.61 | 32.14 | 32.22 | 29.22 | 25.82 | 21.92 | 21.07 | 15.1 | 7.28 | 0.87
| 2024-11-20 16:09 | 65.79 | 85.52 | 68.82 | 87.21 | 69.66 | 86.55 | 0 | 96 | USB |  | -40.87 | -26.97 | -21.06 | -14.46 | 0.37 | 12.31 | 14.84 | 16.76 | 15.62 | 21.33 | 17.44 | 29.06 | 33.78 | 40.76 | 36.08 | 35.82 | 42.09 | 41.12 | 47.99 | 54.53 | 61.63 | 62.27 | 45.4 | 50.82 | 43.72 | 41.83 | 40.91 | 36.26 | 42.51 | 47.46 | 41.27 | 39.85 | 34.78 | 31.94 | 23.28 | 6.04
| 2024-11-20 16:09 | 66.95 | 83.51 | 70.83 | 85.85 | 71.51 | 85.85 | 0 | 96 | USB |  | -46.69 | -41.18 | -30.32 | -7.14 | -4.64 | 6.7 | 13.99 | 21.55 | 14.91 | 22.21 | 15.71 | 28.93 | 38.55 | 42.27 | 47.87 | 39.3 | 42.61 | 48.73 | 54.07 | 62.03 | 63.74 | 55.47 | 46.12 | 45.43 | 50.64 | 48.08 | 44.41 | 40.6 | 41.77 | 40.53 | 36.71 | 32.34 | 28.57 | 19.07 | 12.96 | 3
| 2024-11-20 16:09 | 61.26 | 77.71 | 66.08 | 80.36 | 67.73 | 81.5 | 0 | 96 | USB |  | -39.08 | -31.53 | -32.03 | -12.8 | -7.1 | 6.27 | 14.97 | 11.73 | 17.8 | 20.08 | 18.13 | 27.76 | 36.89 | 32.55 | 34.92 | 38.04 | 37.77 | 40.22 | 52.88 | 55.16 | 57.66 | 51.53 | 45.18 | 40.18 | 40.85 | 38.8 | 35.23 | 31.17 | 30.38 | 30.19 | 27.28 | 21.56 | 19.79 | 12.59 | 6.34 | 1.33
| 2024-11-20 16:09 | 63.86 | 82.63 | 67.42 | 84.9 | 68.79 | 86.1 | 0 | 96 | USB |  | -42.08 | -35.54 | -31.76 | -11.26 | 1.02 | 5.95 | 17.72 | 13.68 | 20.04 | 21.2 | 16.3 | 29.59 | 36.62 | 40.31 | 35.73 | 38.83 | 38.9 | 39.85 | 50.11 | 56.93 | 60.34 | 57.64 | 43.61 | 45.99 | 46.12 | 40.81 | 47.49 | 41.95 | 33.67 | 32.97 | 22.52 | 17.5 | 18.42 | 13.03 | 6.45 | 0.95
| 2024-11-20 16:09 | 70.94 | 87.59 | 74.34 | 91.01 | 74.59 | 91.04 | 0 | 96 | USB |  | -43.93 | -32.72 | -32.18 | -14.17 | -5.96 | 10.24 | 14.25 | 16.92 | 15.79 | 21.3 | 16.43 | 27.01 | 38.38 | 40.94 | 44.3 | 43.86 | 54.01 | 54.47 | 60.47 | 67.1 | 66.59 | 56.17 | 53.91 | 49.94 | 50.08 | 52.22 | 51.96 | 42.82 | 45.66 | 40.87 | 40.3 | 29.25 | 29.18 | 19.9 | 18.03 | 5.1
| 2024-11-20 16:09 | 66.83 | 81.86 | 70.25 | 84.44 | 70.99 | 84.39 | 0 | 96 | USB |  | -40.1 | -35.45 | -29.17 | -11.66 | -3.59 | 8.48 | 14.31 | 18.31 | 13.39 | 18.95 | 17.38 | 24.18 | 34.65 | 44.08 | 39.59 | 35.71 | 41.6 | 46.6 | 54.87 | 60.7 | 63.47 | 59.24 | 47.53 | 47.86 | 45.16 | 45 | 43.41 | 44.63 | 43.01 | 39.43 | 35.99 | 33.81 | 32.29 | 18.3 | 13.12 | 2.46
Stop | 2024-11-20 16:09