## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E099C:0000008E
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:09:00
Stop Time | 2024-11-20 16:10:00
Run Time | 00:01:00
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 68.1 dB | 72.7 dB | 74.1 dB
Lωpk | 96.8 dB | 94.5 dB | 94.9 dB
| 2024-11-20 16:09:10 | 2024-11-20 16:09:10 | 2024-11-20 16:09:10
LωSmin | 59.0 dB | 66.5 dB | 68.5 dB
| 2024-11-20 16:09:59 | 2024-11-20 16:09:03 | 2024-11-20 16:09:03
LωSmax | 75.6 dB | 79.0 dB | 79.3 dB
| 2024-11-20 16:09:33 | 2024-11-20 16:09:33 | 2024-11-20 16:09:33
LωFmin | 47.5 dB | 63.0 dB | 65.3 dB
| 2024-11-20 16:09:22 | 2024-11-20 16:09:15 | 2024-11-20 16:09:15
LωFmax | 81.6 dB | 84.8 dB | 84.8 dB
| 2024-11-20 16:09:33 | 2024-11-20 16:09:33 | 2024-11-20 16:09:33
LωImin | 66.6 dB | 70.5 dB | 71.5 dB
| 2024-11-20 16:09:54 | 2024-11-20 16:09:03 | 2024-11-20 16:09:03
LωImax | 83.5 dB | 86.5 dB | 86.5 dB
| 2024-11-20 16:09:33 | 2024-11-20 16:09:33 | 2024-11-20 16:09:33
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 68.1 | 68.1 | -99.9 | 68.1 | 68.1 | -99.9 | -99.9 | dB
LCeq - LAeq | 4.6 dB
LAIeq | 75.3 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 85.9 dB
EA (Pa²s) | 0.2 Pa²s
EA,8 h (Pa²s) | 74.3 Pa²s
EA,40 h (Pa²s) | 371.4 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.1 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:09:00 | Run | Timer
2024/11/20 16:10:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -39.2 | -29 | -24.6 | -6.6 | 1.9 | 19.6 | 15.1 | 17.1 | 19.7 | 25.8 | 20.8 | 30.5 | 38.2 | 44.5 | 46.4 | 45.2 | 46.2 | 52.1 | 58 | 64.6 | 62.8 | 56.7 | 49 | 47.6 | 43.8 | 48.4 | 47.9 | 44.4 | 42.5 | 41.1 | 38.9 | 33.9 | 30.7 | 27.8 | 18.5 | 6.4
1/3 LAFmax | -31.6 | -20.7 | -10.8 | 2.8 | 11.7 | 25.3 | 21.2 | 23.3 | 30.4 | 34.7 | 29.1 | 37.5 | 46.3 | 53.8 | 56.9 | 58.5 | 61.7 | 68.5 | 71.2 | 80.9 | 74.8 | 70.3 | 65.3 | 64.7 | 63.2 | 67.3 | 64.6 | 60.6 | 55 | 54.8 | 56.2 | 50.8 | 49 | 52.4 | 40.1 | 27.1
1/3 LAFmin | -52 | -48.3 | -39.8 | -19.7 | -11.5 | 2.9 | 6.6 | 4.5 | 9.8 | 13.9 | 11.8 | 18.5 | 26.3 | 27.8 | 29 | 30.9 | 32.9 | 35 | 39.2 | 37.7 | 36.1 | 35.2 | 32.7 | 32.1 | 29.6 | 28.5 | 27.5 | 26.2 | 23.2 | 21.2 | 18.2 | 14.5 | 10.9 | 6.1 | 0.4 | 0
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:09 | 60.73 | 76.76 | 66.64 | 79.64 | 68.64 | 80.72 | 0 | 96 | USB |  | -38.77 | -34.98 | -28.1 | -12.34 | -6.54 | 10.9 | 15.71 | 14.93 | 13.53 | 21.78 | 18.75 | 23.75 | 33.48 | 43.69 | 36.27 | 35 | 43.93 | 42.99 | 50.46 | 56.83 | 55.37 | 52.33 | 42.22 | 40.08 | 37.53 | 36.57 | 41.24 | 35.5 | 38.24 | 30.26 | 27.78 | 20.92 | 20.19 | 14.24 | 8.61 | 1.87
| 2024-11-20 16:09 | 62.67 | 78.04 | 67.35 | 80.37 | 68.96 | 82.37 | 0 | 96 | USB |  | -36.09 | -28.82 | -28.84 | -11.46 | -6.28 | 12.73 | 14.89 | 19.38 | 15.61 | 19.93 | 19.41 | 29.7 | 34.93 | 35.68 | 39.16 | 45.67 | 40.15 | 46.22 | 51.98 | 54.83 | 59.96 | 52.2 | 48.61 | 37.17 | 36.55 | 40.54 | 40.7 | 36.92 | 35.41 | 32.1 | 30.16 | 24.4 | 23.77 | 17.1 | 9.8 | 2.24
| 2024-11-20 16:09 | 59.2 | 76.14 | 66.15 | 79.22 | 68.47 | 81.64 | 0 | 96 | USB |  | -40.69 | -28.08 | -30.7 | -9.87 | -0.76 | 7.71 | 15.01 | 17.49 | 16.41 | 21.39 | 20.45 | 32.79 | 36.57 | 33.91 | 42.37 | 46.13 | 41.34 | 40.49 | 47.96 | 52.34 | 55.73 | 51.59 | 44.45 | 37.59 | 32.5 | 30.45 | 35.38 | 35.55 | 32.16 | 28.91 | 24.33 | 25.98 | 27.35 | 12.38 | 5.45 | 0.77
| 2024-11-20 16:09 | 69.99 | 87.69 | 73.51 | 90.75 | 74.08 | 91.17 | 0 | 96 | USB |  | -42.81 | -33.77 | -30.78 | -8.09 | -4.39 | 11.74 | 15.14 | 16.25 | 23.71 | 25.92 | 22.68 | 32.67 | 38.87 | 42.41 | 45.38 | 45.27 | 44.4 | 46.76 | 50.15 | 67.35 | 64.34 | 60.33 | 48.61 | 47 | 46.67 | 45.02 | 47.16 | 37.07 | 38.93 | 39.58 | 31.76 | 22.4 | 23.03 | 17.43 | 7.79 | 1.07
| 2024-11-20 16:09 | 66.25 | 81.77 | 71.6 | 84.1 | 72.43 | 84.06 | 0 | 96 | USB |  | -46.47 | -32.79 | -32.09 | -6.55 | -6.03 | 10.44 | 17.7 | 16.05 | 17.96 | 21.8 | 19.23 | 32.17 | 36.52 | 46.76 | 50.14 | 44.37 | 46.43 | 49.88 | 58.07 | 63.1 | 59.9 | 55.46 | 49.28 | 52.47 | 34.28 | 39.12 | 38.91 | 37.92 | 30.97 | 30.49 | 26.06 | 20.62 | 23.25 | 15.8 | 8.02 | 1.02
| 2024-11-20 16:09 | 67.55 | 83.64 | 71.72 | 86.71 | 72.5 | 87.7 | 0 | 96 | USB |  | -40.5 | -31.12 | -25.78 | -5.66 | -3.81 | 10.09 | 13.98 | 13.91 | 15.71 | 26.95 | 19.3 | 29.84 | 37.93 | 46.85 | 44.19 | 43.01 | 43.5 | 42.45 | 58.12 | 61.82 | 63.94 | 56.1 | 49.68 | 38.84 | 33.22 | 41.66 | 36.59 | 34.92 | 35.19 | 34.14 | 27.73 | 32.67 | 26.15 | 18.09 | 8.88 | 1.64
| 2024-11-20 16:09 | 71.65 | 86.89 | 75.56 | 90.26 | 75.83 | 90 | 0 | 96 | USB |  | -38.36 | -38.6 | -30.9 | -3.55 | -6.3 | 10.83 | 14.97 | 13.82 | 16.85 | 25.18 | 20.42 | 30.44 | 34.99 | 38.6 | 47.19 | 47.18 | 41.98 | 55.98 | 65.18 | 69.3 | 61.23 | 54.66 | 48.69 | 45.71 | 44.22 | 56.8 | 56.34 | 53.08 | 41.9 | 46.77 | 39.4 | 34.12 | 31.68 | 24.7 | 18.69 | 4.13
| 2024-11-20 16:09 | 73.45 | 89.35 | 76.69 | 90.67 | 77.01 | 91.27 | 0 | 96 | USB |  | -37.12 | -33.54 | -29.41 | -5.76 | -0.44 | 9.94 | 17.56 | 14.03 | 16.77 | 26.02 | 21.56 | 31.31 | 36.51 | 44.74 | 52.01 | 44.2 | 44.25 | 56.25 | 58.73 | 69.73 | 69.15 | 62.85 | 59.06 | 54.67 | 47.99 | 48.41 | 50.48 | 46.81 | 43.41 | 46.61 | 39.71 | 32.98 | 31.99 | 25.22 | 18.78 | 6.57
| 2024-11-20 16:09 | 69.83 | 88.78 | 74.43 | 89.66 | 74.92 | 90.52 | 0 | 96 | USB |  | -36.91 | -33.43 | -28.13 | -4.06 | -0.87 | 10.93 | 17.06 | 13.86 | 21.09 | 27.77 | 20.75 | 33.43 | 38.83 | 51.05 | 50.04 | 42.95 | 49.49 | 54.11 | 59.34 | 65.36 | 65.82 | 58.52 | 49.11 | 49.43 | 48.16 | 51.33 | 50.93 | 45.49 | 41.14 | 39.16 | 34.84 | 30.63 | 29.2 | 25.26 | 17.76 | 5.82
| 2024-11-20 16:09 | 67.73 | 83.42 | 70.95 | 86.71 | 71.8 | 86.15 | 0 | 96 | USB |  | -34.3 | -30.21 | -31.59 | -5 | -3.24 | 13.16 | 16.48 | 13.87 | 18.96 | 26.63 | 16.84 | 32.33 | 37.79 | 39.79 | 42.82 | 43.37 | 39.34 | 38.23 | 47.05 | 51.53 | 65.85 | 60.47 | 44.64 | 47.53 | 42.8 | 45.27 | 47.23 | 42.05 | 41.32 | 37.21 | 34.16 | 30.86 | 27.94 | 22.79 | 16.8 | 5.78
| 2024-11-20 16:09 | 72.91 | 96.78 | 75.49 | 94.53 | 75.8 | 94.93 | 0 | 96 | USB |  | -40.44 | -32.36 | -30.68 | -8.98 | -1.36 | 12.69 | 12.16 | 13.33 | 17.73 | 28.44 | 16.06 | 31.55 | 39.54 | 42.79 | 48.41 | 49.32 | 42.45 | 54.52 | 55.14 | 63.86 | 70.03 | 65.53 | 58.53 | 57.14 | 55.66 | 58.97 | 52.85 | 52.83 | 48.6 | 44.9 | 42.43 | 39.76 | 41.04 | 43.95 | 32.06 | 16.39
| 2024-11-20 16:09 | 68.17 | 84.14 | 72.06 | 85.96 | 72.62 | 86.19 | 0 | 96 | USB |  | -45.34 | -32.35 | -29.58 | -6.43 | -0.97 | 11.05 | 15.2 | 14.97 | 15.11 | 26.76 | 19.4 | 28.22 | 34.85 | 40.49 | 48.03 | 45.31 | 47.5 | 57.08 | 55.39 | 62.63 | 64.96 | 59.68 | 50.29 | 49.47 | 44.05 | 43.07 | 44.02 | 39.06 | 39.63 | 34.64 | 37.8 | 25.66 | 24.02 | 13.6 | 9.19 | 1.56
| 2024-11-20 16:09 | 65.22 | 78.94 | 70.89 | 83.7 | 71.56 | 84.94 | 0 | 96 | USB |  | -48.75 | -32.91 | -27.39 | -11.77 | -1.02 | 10.35 | 13.69 | 8.14 | 19.8 | 28.52 | 25.19 | 31.22 | 39.8 | 43.09 | 45.04 | 48.73 | 44.12 | 46.5 | 58.72 | 62.98 | 50.52 | 43.47 | 38.01 | 38.28 | 48.68 | 48.52 | 48.51 | 41.74 | 44.62 | 41.1 | 40.72 | 30.48 | 27.85 | 22.47 | 15.8 | 5.57
| 2024-11-20 16:09 | 61.07 | 79.56 | 67.58 | 83.04 | 68.8 | 83.06 | 0 | 96 | USB |  | -42.15 | -40.53 | -28.92 | -13.31 | -3.8 | 7.35 | 14.74 | 18.63 | 21.24 | 23.11 | 20 | 25.06 | 35.75 | 43.51 | 43.35 | 49.24 | 44.68 | 41.46 | 53.64 | 58.18 | 50.23 | 45.13 | 43.56 | 36.77 | 37.13 | 45.15 | 42.15 | 39.95 | 40.96 | 37.82 | 40.69 | 33.14 | 32.76 | 24.36 | 19.41 | 6.7
| 2024-11-20 16:09 | 69.57 | 85.33 | 73.78 | 87.16 | 74.13 | 87.91 | 0 | 96 | USB |  | -39.46 | -25.61 | -32 | -15.41 | -1.93 | 9.72 | 14.42 | 18.53 | 15.35 | 25.06 | 24.28 | 29.88 | 32.76 | 35.81 | 39.43 | 52.94 | 38.05 | 42.25 | 66.35 | 54.3 | 65.02 | 59.35 | 50.13 | 49.89 | 43.71 | 46.33 | 44.62 | 38.32 | 35.13 | 33.74 | 35.86 | 29.74 | 27.23 | 21.33 | 14.85 | 4.6
| 2024-11-20 16:09 | 60.58 | 79.14 | 67.02 | 80.83 | 68.14 | 80.46 | 0 | 96 | USB |  | -45.69 | -26.29 | -31.67 | -11.65 | -3.91 | 9.46 | 13.35 | 17.21 | 15.65 | 20.68 | 18.63 | 31.12 | 38.86 | 44.21 | 35.83 | 37.24 | 44.94 | 41.45 | 52.27 | 52.3 | 56.86 | 46.3 | 41.94 | 44.42 | 38.63 | 46.98 | 45.36 | 38.4 | 41.43 | 39.39 | 36.99 | 31.88 | 29.48 | 23.72 | 16.21 | 4.53
| 2024-11-20 16:09 | 71.12 | 85.74 | 74.55 | 89.19 | 74.96 | 90.17 | 0 | 96 | USB |  | -45.01 | -26.22 | -31.54 | -15.4 | 0.12 | 11.22 | 14.89 | 18.25 | 17.77 | 22.32 | 20.65 | 29.06 | 37.29 | 42.48 | 45.03 | 36.82 | 38.05 | 53.65 | 53.34 | 68.45 | 65.4 | 58.72 | 47.56 | 50.39 | 43.35 | 50.58 | 47.14 | 38.32 | 39.75 | 44.64 | 40.61 | 35.9 | 32.83 | 25.64 | 17.86 | 5.79
| 2024-11-20 16:09 | 72 | 86.7 | 75.78 | 89.84 | 76.41 | 90.52 | 0 | 96 | USB |  | -36.07 | -22.99 | -26.96 | -10.67 | -6.59 | 17.68 | 15.26 | 13.94 | 16.3 | 19.31 | 19.95 | 31.03 | 35.55 | 42.3 | 52.15 | 42 | 41.43 | 58.23 | 56.96 | 70.86 | 63.84 | 59.31 | 50.79 | 45.71 | 39.89 | 42.17 | 45.8 | 43.48 | 39.6 | 46.04 | 40.62 | 37.54 | 38.45 | 28.86 | 21.7 | 9.91
| 2024-11-20 16:09 | 65.19 | 80.77 | 69.62 | 83.73 | 71.22 | 85.43 | 0 | 96 | USB |  | -39.48 | -30.94 | -28.86 | -5.02 | -2.32 | 15.42 | 14.18 | 17.48 | 13.93 | 18.22 | 17.3 | 31.03 | 39.36 | 40.89 | 37.39 | 42.62 | 40.92 | 41.99 | 56.05 | 59.5 | 61.72 | 52.29 | 42.7 | 42.15 | 41.9 | 47.87 | 48.09 | 40.19 | 40.61 | 47.03 | 43.42 | 36.99 | 32.98 | 27.37 | 19.79 | 7.15
| 2024-11-20 16:09 | 64.32 | 79.23 | 70.07 | 82.9 | 72.2 | 84.01 | 0 | 96 | USB |  | -35.89 | -36.48 | -26.92 | -7.63 | 0.77 | 18 | 11.42 | 18.45 | 17.55 | 22.13 | 18.5 | 27.08 | 42.8 | 43.36 | 35.31 | 43.08 | 43.73 | 41 | 55.87 | 60.96 | 59.63 | 47.02 | 38.26 | 44.45 | 40.67 | 42.93 | 44.53 | 36.07 | 38.97 | 37.17 | 30.93 | 27.02 | 23.79 | 17.08 | 9.66 | 1.3
| 2024-11-20 16:09 | 63.14 | 79.64 | 68.9 | 82.28 | 72.23 | 83.19 | 0 | 96 | USB |  | -38.85 | -32.1 | -26.14 | -10.11 | -1.75 | 21.71 | 17.53 | 15.08 | 13.79 | 20.97 | 17.1 | 21.95 | 33.91 | 41.51 | 35.53 | 37.44 | 40.82 | 41.92 | 50.85 | 49.84 | 61.59 | 53.74 | 41.85 | 47.74 | 41.65 | 43.37 | 40.03 | 36.1 | 42.35 | 40.64 | 36.72 | 33.73 | 28.29 | 21.73 | 13.34 | 2.61
| 2024-11-20 16:09 | 49.36 | 64.73 | 65.42 | 73.93 | 70.29 | 79.19 | 0 | 96 | USB |  | -41.26 | -29.43 | -27.99 | -8.56 | -3.49 | 21.6 | 15.43 | 13.93 | 14.27 | 21.11 | 17.12 | 22.93 | 35.06 | 30.11 | 31.89 | 33.54 | 36.55 | 37.73 | 41.61 | 39.25 | 38.13 | 36.66 | 35.29 | 33.63 | 34 | 36.45 | 39.71 | 36.04 | 34.17 | 33.76 | 32.67 | 30.46 | 27.05 | 22.08 | 13.78 | 4.14
| 2024-11-20 16:09 | 64.43 | 83.59 | 71.28 | 87.2 | 73.52 | 87.28 | 0 | 96 | USB |  | -42.86 | -36 | -31.39 | -10.33 | -2.3 | 21.42 | 16.55 | 18.28 | 12.38 | 20.92 | 18.8 | 29.35 | 37.61 | 47.7 | 40.97 | 38.65 | 50.48 | 51.51 | 54.81 | 62.22 | 55.02 | 50.98 | 44.08 | 36.72 | 33.81 | 39.01 | 43.83 | 32.49 | 44.19 | 27.75 | 28.07 | 26.12 | 20.54 | 11.8 | 6.23 | 0.82
| 2024-11-20 16:09 | 60.54 | 76.4 | 68.93 | 81.36 | 71.99 | 83.68 | 0 | 96 | USB |  | -39.66 | -29.11 | -28.33 | -8.57 | -0.96 | 21.29 | 12.52 | 15.88 | 14.53 | 21.83 | 19.77 | 33.56 | 41.46 | 43.22 | 36.8 | 44.44 | 43.38 | 44.62 | 51.87 | 55.68 | 55.61 | 47.73 | 38.78 | 44.36 | 41.06 | 38.62 | 41.37 | 30.13 | 38.71 | 35.22 | 35.87 | 35.03 | 27.39 | 21.12 | 16.13 | 2.63
| 2024-11-20 16:09 | 62.94 | 79.54 | 70.73 | 82.96 | 73.97 | 85.04 | 0 | 96 | USB |  | -41.89 | -33.56 | -31.86 | -9.16 | -1.75 | 22.33 | 15.3 | 17.88 | 14.23 | 20.16 | 18.08 | 33.35 | 35.29 | 43.95 | 47.31 | 39.76 | 43.84 | 47.77 | 55.14 | 59.53 | 54.49 | 48.29 | 41.49 | 40.74 | 40.71 | 46.27 | 43.32 | 38.22 | 42.39 | 36.69 | 28.4 | 21.47 | 21.17 | 12.72 | 6.85 | 1.36
| 2024-11-20 16:09 | 65 | 79.3 | 70.03 | 83.32 | 72.54 | 85.1 | 0 | 96 | USB |  | -42.19 | -28.03 | -28.33 | -7.16 | -1.62 | 23.61 | 12.81 | 13.56 | 13.28 | 21.17 | 20.2 | 33.04 | 36.51 | 39.72 | 38.11 | 42.08 | 40.57 | 44.25 | 56.86 | 58.88 | 62.06 | 52.39 | 46.36 | 45.41 | 42.34 | 42.65 | 40.72 | 39.95 | 42.12 | 42.02 | 35.39 | 33.9 | 30.8 | 21 | 14.75 | 3.27
| 2024-11-20 16:09 | 63.04 | 77.9 | 68.08 | 81.37 | 69.94 | 81.8 | 0 | 96 | USB |  | -40.11 | -31.12 | -28.12 | -4.9 | 1.71 | 14.77 | 13.71 | 16.51 | 16.42 | 22.66 | 18.64 | 29.59 | 38.14 | 38.81 | 41.04 | 47.06 | 40.67 | 40.65 | 52 | 56.94 | 60.34 | 51.21 | 44.11 | 46.24 | 42.17 | 38.3 | 38.13 | 34.7 | 37.76 | 37.79 | 29.37 | 26.03 | 22.18 | 17.61 | 10.78 | 2.12
| 2024-11-20 16:09 | 65 | 78.17 | 69.59 | 82.84 | 71.07 | 83.65 | 0 | 96 | USB |  | -40.45 | -27.75 | -20.38 | -5.47 | 4.87 | 10.37 | 12.74 | 18.05 | 21.91 | 27.15 | 22.36 | 29.76 | 39.18 | 40.87 | 43.55 | 46.71 | 42.45 | 42.74 | 52.1 | 58.85 | 62.17 | 55.93 | 46.87 | 45.25 | 44.77 | 44.62 | 42.07 | 33.39 | 38.63 | 38.98 | 30.74 | 29.04 | 24.92 | 18.38 | 11.19 | 2.87
| 2024-11-20 16:09 | 62.6 | 81.21 | 67.52 | 83.16 | 69.53 | 83.67 | 0 | 96 | USB |  | -40.3 | -23.71 | -11.96 | -4.49 | -1.23 | 7.84 | 15.19 | 17.7 | 20.25 | 26.81 | 20.1 | 29.86 | 40.13 | 35.06 | 43.27 | 39.78 | 40.64 | 37.4 | 44.9 | 52.2 | 60.47 | 54.63 | 45.07 | 49.89 | 38.63 | 38.36 | 36.55 | 35.37 | 43.59 | 43.87 | 39.37 | 34.84 | 28.14 | 26.24 | 16.1 | 3.76
| 2024-11-20 16:09 | 62.51 | 80.44 | 68.43 | 83.95 | 70.33 | 85.15 | 0 | 96 | USB |  | -36.97 | -24.89 | -14.87 | -4.19 | -6.75 | 11.5 | 13.88 | 18.2 | 18.65 | 27.87 | 17.68 | 27.93 | 37.29 | 38.95 | 44.1 | 40.1 | 43.09 | 41.81 | 53.8 | 58.46 | 56.16 | 51.06 | 34.72 | 33.57 | 30.19 | 30 | 32.9 | 31.38 | 29.34 | 26.17 | 22.48 | 18 | 14.61 | 9.38 | 3.51 | 0.74
| 2024-11-20 16:10 | 63.9 | 80.1 | 68.96 | 83.8 | 70.34 | 84.4 | 0 | 96 | USB |  | -40.39 | -26.35 | -20.9 | -4.12 | -0.3 | 12.11 | 12.52 | 16.95 | 17.15 | 30.25 | 19.99 | 31.13 | 34.87 | 37.14 | 46.04 | 39.96 | 43.24 | 45.14 | 56.05 | 59.29 | 60.22 | 49.86 | 41.08 | 41.37 | 45.8 | 43.39 | 43.99 | 37.69 | 43.37 | 47.41 | 41.42 | 37.8 | 30.44 | 24.85 | 15.36 | 4.19
| 2024-11-20 16:10 | 68.05 | 82 | 73.43 | 87.89 | 74.46 | 86.75 | 0 | 96 | USB |  | -39.62 | -28.95 | -22.45 | -6.99 | -0.64 | 15.66 | 15.45 | 20.46 | 20.54 | 28.27 | 19.62 | 31.69 | 35.38 | 39.8 | 47.19 | 47.29 | 44.4 | 58.65 | 63.51 | 63.58 | 53.87 | 47.75 | 40.51 | 40.95 | 44.52 | 50.54 | 51 | 53.25 | 50.48 | 49.16 | 49.63 | 44.11 | 33.58 | 30.08 | 18.58 | 5.42
| 2024-11-20 16:10 | 65.57 | 83.83 | 70.94 | 85.91 | 71.95 | 87.49 | 0 | 96 | USB |  | -37.76 | -30.73 | -26.95 | -6.85 | 0.05 | 10.45 | 16.06 | 17.7 | 24.05 | 29.12 | 19.6 | 30.18 | 33.12 | 39.98 | 52.07 | 43.26 | 41.77 | 48.94 | 54.98 | 62.86 | 60.22 | 49.25 | 43.95 | 45 | 35.03 | 36.94 | 39.27 | 43.41 | 37.51 | 40.44 | 38.18 | 32.96 | 30.77 | 21.94 | 11.06 | 1.9
| 2024-11-20 16:10 | 76.11 | 89.55 | 79.54 | 93.42 | 79.83 | 93.78 | 0 | 96 | USB |  | -40.59 | -30.27 | -27.66 | -3.63 | -2.55 | 12.91 | 18.09 | 17.78 | 27.06 | 30.96 | 22.63 | 28.51 | 39.82 | 40.06 | 49.46 | 48.32 | 46.46 | 57.83 | 61.1 | 74.7 | 69.12 | 58.43 | 54.43 | 46.65 | 46.35 | 51.08 | 53.22 | 48.46 | 44.93 | 42.34 | 42.44 | 40.78 | 36.38 | 28.46 | 20.7 | 8.61
| 2024-11-20 16:10 | 66.23 | 81.69 | 72.22 | 86.22 | 73.57 | 86.54 | 0 | 96 | USB |  | -39.62 | -28.74 | -28.03 | -1.07 | 9.46 | 12.77 | 14.76 | 17.2 | 24.65 | 22.79 | 21.4 | 24.74 | 34.21 | 42.19 | 51.63 | 48.59 | 40.95 | 59.04 | 56.52 | 61.74 | 56.6 | 46.6 | 44.05 | 37.63 | 38.42 | 49.76 | 47.55 | 46.67 | 48.35 | 47.57 | 46.54 | 41.57 | 39.82 | 28.61 | 17.78 | 3.64
| 2024-11-20 16:10 | 64.31 | 79.72 | 70.84 | 84.54 | 72.08 | 84.68 | 0 | 96 | USB |  | -41.8 | -30.32 | -27.26 | -0.62 | 4.86 | 14.9 | 15.94 | 13.78 | 17.21 | 22.65 | 19.51 | 24.99 | 42.79 | 45.91 | 49.86 | 44.06 | 42.67 | 57.39 | 57.49 | 61.12 | 56.36 | 45.35 | 37.78 | 41.6 | 36.41 | 45.82 | 46.19 | 42.76 | 37.08 | 35.8 | 30.8 | 28.39 | 21.61 | 12.62 | 6.49 | 0.99
| 2024-11-20 16:10 | 69.5 | 83.85 | 74.42 | 86.13 | 75.63 | 87.01 | 0 | 96 | USB |  | -37.32 | -27.53 | -25.75 | -2.55 | 3 | 16.59 | 15.05 | 16.64 | 16.92 | 24.65 | 17.63 | 23.86 | 38.1 | 42.02 | 47.53 | 45.16 | 42.68 | 61.76 | 62.22 | 64.58 | 62.88 | 51.77 | 46.94 | 45.23 | 47.92 | 49.9 | 51.74 | 46.93 | 49.07 | 39.48 | 41.08 | 30.97 | 31.06 | 22.69 | 19.98 | 6.79
| 2024-11-20 16:10 | 64.93 | 82.32 | 70.96 | 85.65 | 73.71 | 86.34 | 0 | 96 | USB |  | -46.87 | -30.88 | -31.67 | -6.34 | 3 | 22.78 | 11.34 | 14.56 | 16.39 | 22.47 | 19.08 | 25.95 | 38.11 | 41.8 | 44.12 | 40.43 | 42.46 | 52.24 | 58.08 | 61.61 | 59.06 | 50.9 | 48.23 | 39.29 | 42.35 | 43.58 | 48.71 | 38.78 | 43.72 | 42.67 | 41.39 | 37.22 | 32.64 | 27.52 | 17.98 | 6.13
| 2024-11-20 16:10 | 65.18 | 83.03 | 72.86 | 86.32 | 75.26 | 87.4 | 0 | 96 | USB |  | -39.4 | -30.88 | -36.33 | -6.85 | -1.76 | 23.53 | 16.08 | 17.52 | 15.99 | 21.51 | 18.96 | 28.99 | 30.79 | 48.03 | 48.6 | 36 | 56.1 | 53.18 | 58.13 | 60.72 | 53.61 | 55.8 | 45.95 | 44.53 | 38.02 | 45.64 | 43.88 | 42.7 | 41.16 | 32.36 | 31.46 | 25.38 | 21.34 | 16.19 | 7.17 | 1.15
| 2024-11-20 16:10 | 68.73 | 85.01 | 73.37 | 86.39 | 74.64 | 88 | 0 | 96 | USB |  | -39.78 | -31.95 | -25.68 | -9.22 | -1.2 | 21.44 | 12.95 | 17.18 | 16.68 | 20.85 | 20.2 | 30.29 | 35.32 | 45.6 | 47.86 | 45.71 | 54.8 | 50.17 | 61.24 | 61.51 | 63.49 | 60.34 | 49.95 | 52.16 | 46.87 | 43.91 | 44.28 | 43.66 | 43.56 | 35.44 | 42.65 | 25.2 | 21.76 | 15.77 | 7.25 | 1.03
| 2024-11-20 16:10 | 73.31 | 90.32 | 77.09 | 92.52 | 77.91 | 93.7 | 0 | 96 | USB |  | -35.55 | -23.98 | -28.15 | -14.24 | 3.27 | 21.67 | 12.78 | 14.18 | 16.77 | 20.66 | 19.06 | 28.3 | 41.12 | 49.28 | 44.64 | 46.18 | 50.25 | 50.46 | 64.84 | 70.08 | 66.74 | 62.8 | 52.34 | 52.57 | 48.48 | 59.11 | 58.01 | 48.31 | 46.1 | 39.33 | 38.63 | 34.82 | 31.66 | 23.86 | 16.63 | 4.36
| 2024-11-20 16:10 | 71.99 | 85.21 | 75.49 | 88.22 | 76.83 | 89.06 | 0 | 96 | USB |  | -33.05 | -24.11 | -31.81 | -8.54 | 0.3 | 21.95 | 17.13 | 15.87 | 13.75 | 22.29 | 19.01 | 25.62 | 36.52 | 45.23 | 49.67 | 35.07 | 45.33 | 48.91 | 58.38 | 64.55 | 69.91 | 63.3 | 52.79 | 52.87 | 38.92 | 40.6 | 45.83 | 44.12 | 43.65 | 40.78 | 36.13 | 33.21 | 32.13 | 25.26 | 16.28 | 6.05
| 2024-11-20 16:10 | 70.87 | 82.64 | 74.99 | 86.83 | 75.81 | 87.77 | 0 | 96 | USB |  | -35.77 | -28.29 | -30.59 | -12.15 | 7.17 | 22.78 | 9.51 | 17.22 | 15.37 | 21.45 | 20.38 | 24.52 | 33.6 | 45.25 | 47.55 | 37.06 | 47.09 | 53.64 | 57.56 | 70 | 58.35 | 57.66 | 36.8 | 37.67 | 34.46 | 50.44 | 47.49 | 50.54 | 38.85 | 30.46 | 27.98 | 24.85 | 23.97 | 19.28 | 13.84 | 2.09
| 2024-11-20 16:10 | 71.51 | 85.45 | 75.86 | 89.45 | 76.95 | 90.03 | 0 | 96 | USB |  | -36.62 | -35.65 | -26 | -12.12 | 1.67 | 20.93 | 14.84 | 16.25 | 19.25 | 23.89 | 19.58 | 28.57 | 36.91 | 46.88 | 47.96 | 35.94 | 46.78 | 48.7 | 58.86 | 70.49 | 60.79 | 56.19 | 43.17 | 38.17 | 39.76 | 47.82 | 50.6 | 40.11 | 35.16 | 37.96 | 28.41 | 26.66 | 24.65 | 18.62 | 13.53 | 1.67
| 2024-11-20 16:10 | 66.96 | 83.53 | 72.56 | 86.24 | 75.25 | 87.43 | 0 | 96 | USB |  | -37.63 | -28.52 | -30.04 | -10.05 | 2.89 | 23.13 | 15.16 | 15.18 | 17.78 | 19.47 | 18.01 | 33.45 | 41.45 | 46.99 | 37.61 | 41.42 | 44.84 | 42.38 | 56.59 | 63.1 | 60.5 | 60.01 | 43.71 | 42.97 | 34.29 | 37.99 | 40.99 | 39.95 | 36.85 | 43.57 | 37.2 | 33.56 | 27.11 | 18.23 | 13.23 | 2.56
| 2024-11-20 16:10 | 66.38 | 81.48 | 72.35 | 86.83 | 74.36 | 87.41 | 0 | 96 | USB |  | -41.77 | -28.37 | -25.67 | -6.28 | -3.47 | 23.42 | 17.83 | 16.17 | 17.89 | 21.1 | 19.45 | 32.88 | 39.69 | 49.24 | 34.81 | 42.76 | 46.01 | 43.79 | 54.7 | 63.3 | 60.7 | 57.05 | 44.98 | 46.37 | 37.77 | 40.23 | 42.32 | 39.15 | 36.27 | 35.32 | 29.99 | 22.65 | 21.42 | 16.95 | 10.18 | 1.07
| 2024-11-20 16:10 | 63.64 | 81.49 | 70.02 | 84.9 | 73.38 | 87.47 | 0 | 96 | USB |  | -40.27 | -30.95 | -26.78 | -4.58 | 9.18 | 20.63 | 13.86 | 18.23 | 17.2 | 24.04 | 22.46 | 33.51 | 36.05 | 46.07 | 34.64 | 41.4 | 42.98 | 39.29 | 47.5 | 57.72 | 61.7 | 55.09 | 40.61 | 43.78 | 41.55 | 36.9 | 48.45 | 46.44 | 35.42 | 34.27 | 25.42 | 21.08 | 18.15 | 13.7 | 9.73 | 1.56
| 2024-11-20 16:10 | 68.03 | 84.66 | 72.93 | 86.89 | 74.51 | 88.71 | 0 | 96 | USB |  | -37.92 | -31.3 | -28.53 | -3.55 | 1.6 | 20.18 | 13.71 | 16.97 | 17.98 | 23.61 | 19.18 | 31.88 | 39.84 | 46.87 | 42.33 | 45.33 | 46.64 | 46.41 | 55.11 | 65.4 | 62.59 | 51.18 | 46.99 | 48.27 | 41.94 | 47.18 | 48.77 | 46.75 | 48.3 | 42.58 | 36.19 | 29.31 | 25.61 | 17.86 | 12.39 | 1.82
| 2024-11-20 16:10 | 72.06 | 87.45 | 75.78 | 90.52 | 76.75 | 90.73 | 0 | 96 | USB |  | -46.22 | -32.05 | -30.39 | -4.2 | -1.68 | 21.73 | 15.37 | 16.26 | 20.5 | 25.25 | 21.52 | 29.69 | 41.11 | 45.73 | 49.79 | 47.38 | 52.85 | 54.04 | 61.64 | 67.64 | 68.11 | 61.42 | 56.25 | 50.98 | 46.24 | 48.99 | 53.54 | 48.64 | 48.32 | 40.9 | 41.02 | 34.02 | 27.22 | 20.16 | 13.55 | 3.64
| 2024-11-20 16:10 | 66.64 | 82.54 | 72.05 | 88.06 | 74 | 89.26 | 0 | 96 | USB |  | -45.09 | -31.78 | -24.19 | -5.89 | 2.64 | 20.76 | 14.72 | 19.6 | 21.1 | 24.21 | 22.73 | 31.35 | 38.7 | 44.44 | 45.91 | 44.75 | 47.27 | 47.91 | 56.79 | 63.14 | 61.22 | 54.72 | 49.64 | 43.07 | 38.31 | 46.28 | 46.88 | 45.67 | 41.33 | 38.67 | 40.66 | 35.05 | 29.55 | 21.81 | 16.19 | 4
| 2024-11-20 16:10 | 69.14 | 85.2 | 74.28 | 87.28 | 75.58 | 88.27 | 0 | 96 | USB |  | -40.07 | -28.35 | -28.05 | -5.24 | 1.68 | 21.21 | 18.07 | 17.58 | 17.9 | 23.59 | 19.86 | 31.64 | 40.02 | 50.07 | 48.52 | 43.33 | 47.17 | 49.36 | 61.71 | 66.02 | 63.03 | 52.56 | 49.4 | 43.93 | 45.51 | 49.37 | 50.1 | 45.42 | 44.07 | 43.07 | 43.23 | 35.44 | 29.42 | 20.61 | 16.71 | 3.5
| 2024-11-20 16:10 | 60.43 | 76.11 | 69.64 | 83.07 | 72.67 | 84.4 | 0 | 96 | USB |  | -38.16 | -26.85 | -29.24 | -6.1 | 0.6 | 21.07 | 16.81 | 16.8 | 19.99 | 26.41 | 19.15 | 31.29 | 39.99 | 46.1 | 42.98 | 42.75 | 42.12 | 43.66 | 55.2 | 52.87 | 54.49 | 46.1 | 41.13 | 41.81 | 40.43 | 43.7 | 41.59 | 34.65 | 32.65 | 27.6 | 26.96 | 21.89 | 20.37 | 16.07 | 9.39 | 2.51
| 2024-11-20 16:10 | 58.73 | 76.51 | 69.25 | 81.58 | 73.32 | 83.72 | 0 | 96 | USB |  | -38.3 | -28.33 | -28.2 | -8.18 | -0.14 | 21.89 | 13.46 | 14.82 | 18.94 | 26.82 | 20.26 | 30.99 | 39.27 | 40.98 | 41.48 | 44.49 | 40.13 | 42.68 | 53.33 | 54.48 | 52.26 | 46.79 | 42.95 | 36.98 | 39.04 | 43.1 | 40.33 | 34.04 | 30.3 | 28.27 | 25.29 | 19.79 | 18.15 | 13.76 | 8.62 | 1.79
| 2024-11-20 16:10 | 59.6 | 77.88 | 69.24 | 82.24 | 72.61 | 84.16 | 0 | 96 | USB |  | -42.33 | -28.65 | -27 | -7.65 | 7.95 | 23.04 | 14.92 | 20.39 | 17.67 | 31.08 | 20.26 | 29.84 | 37.99 | 35.76 | 40.48 | 44.68 | 39.4 | 38.38 | 46.2 | 55.81 | 54.79 | 47.07 | 38.78 | 38.08 | 37.49 | 38.78 | 39.39 | 36.86 | 33.13 | 31.73 | 28.03 | 25.44 | 23.11 | 18.28 | 12.09 | 2.75
| 2024-11-20 16:10 | 65.5 | 80.32 | 71.88 | 85.94 | 74.83 | 87.25 | 0 | 96 | USB |  | -45.47 | -30.27 | -25.93 | -11.43 | 0.86 | 22.73 | 12.41 | 18.57 | 21.66 | 29.87 | 20.65 | 28.49 | 36.92 | 41.87 | 45.74 | 49.57 | 39.79 | 45.67 | 52.06 | 61.05 | 61.13 | 56.61 | 48.23 | 45.4 | 38.97 | 40.37 | 42.76 | 41.26 | 38.02 | 36.44 | 35 | 31.99 | 27.96 | 23.52 | 16.18 | 5.52
| 2024-11-20 16:10 | 69.35 | 86.17 | 74.86 | 88.98 | 76.78 | 89.43 | 0 | 96 | USB |  | -44.24 | -27.55 | -25.76 | -9.11 | 2.55 | 23.61 | 15.33 | 20.04 | 21.23 | 27.47 | 24.22 | 25.16 | 41.2 | 49.49 | 48.23 | 52.31 | 48.42 | 44.39 | 58.3 | 65.32 | 65.09 | 57.26 | 52.34 | 55.3 | 40.08 | 48.49 | 43.91 | 41.82 | 33.48 | 28.58 | 23.46 | 20.27 | 19.15 | 14 | 7.59 | 1.13
| 2024-11-20 16:10 | 58.06 | 75.38 | 69.33 | 82.93 | 72.84 | 84.87 | 0 | 96 | USB |  | -40.75 | -31.42 | -21.58 | -8.89 | 7.89 | 24.51 | 14.68 | 20.42 | 20.92 | 28.09 | 26.18 | 31.71 | 35.35 | 40.83 | 46.38 | 43.43 | 37.43 | 51.12 | 48.86 | 53.9 | 46.11 | 40.57 | 38.34 | 37.19 | 36.65 | 39.39 | 35.48 | 41.14 | 35.63 | 32.61 | 38.25 | 31.33 | 25.85 | 27.58 | 28.98 | 18.74
| 2024-11-20 16:10 | 67.22 | 82.29 | 72.96 | 87.04 | 74.66 | 86.83 | 0 | 96 | USB |  | -43.58 | -34.92 | -30.4 | -9.43 | 7.46 | 19.16 | 15.09 | 19.95 | 25.26 | 30.55 | 25.3 | 31.66 | 37.25 | 44.94 | 48.18 | 43.91 | 44.77 | 51.96 | 60.07 | 64.35 | 59.79 | 54.31 | 42.1 | 42.46 | 33.91 | 31.9 | 36.16 | 38.06 | 34.01 | 31.15 | 31.06 | 28.82 | 25.91 | 20.29 | 11.52 | 2.5
| 2024-11-20 16:10 | 58.15 | 77.25 | 70.22 | 83.69 | 73.98 | 86.16 | 0 | 96 | USB |  | -39.83 | -36.83 | -32.29 | -10.17 | -1.48 | 23.82 | 15.64 | 13.78 | 23.83 | 27.78 | 23.73 | 32.76 | 39.2 | 46.12 | 34.45 | 39.88 | 43.2 | 45.29 | 49.17 | 56.98 | 44.96 | 40.14 | 35.59 | 38.06 | 32.62 | 30.63 | 31.4 | 36.05 | 33.48 | 34.78 | 33.54 | 29.07 | 23.81 | 13.96 | 5.04 | 0.6
| 2024-11-20 16:10 | 53.41 | 68.94 | 67.51 | 79.22 | 71.86 | 81.28 | 0 | 96 | USB |  | -39.01 | -31.73 | -26.2 | -10.39 | 0.53 | 22.73 | 13.71 | 17.7 | 25.14 | 29.63 | 23.21 | 31.12 | 37.25 | 34.8 | 34.88 | 36.97 | 35.79 | 37.92 | 42.3 | 49.34 | 48.44 | 38.76 | 35.09 | 34.86 | 35.35 | 32.56 | 33.28 | 34.62 | 28.04 | 26.5 | 22.27 | 18 | 14.98 | 8.92 | 3.46 | 0.5
Stop | 2024-11-20 16:10