## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E09D8:00000090
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:10:00
Stop Time | 2024-11-20 16:11:00
Run Time | 00:01:00
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 64.0 dB | 70.4 dB | 73.1 dB
Lωpk | 88.2 dB | 91.2 dB | 91.6 dB
| 2024-11-20 16:10:43 | 2024-11-20 16:10:47 | 2024-11-20 16:10:47
LωSmin | 50.7 dB | 65.8 dB | 69.6 dB
| 2024-11-20 16:10:58 | 2024-11-20 16:10:22 | 2024-11-20 16:10:51
LωSmax | 71.9 dB | 76.4 dB | 77.0 dB
| 2024-11-20 16:10:47 | 2024-11-20 16:10:47 | 2024-11-20 16:10:47
LωFmin | 46.7 dB | 62.8 dB | 65.0 dB
| 2024-11-20 16:10:05 | 2024-11-20 16:10:51 | 2024-11-20 16:10:51
LωFmax | 77.3 dB | 80.5 dB | 80.8 dB
| 2024-11-20 16:10:37 | 2024-11-20 16:10:47 | 2024-11-20 16:10:47
LωImin | 54.7 dB | 68.1 dB | 72.7 dB
| 2024-11-20 16:10:58 | 2024-11-20 16:10:22 | 2024-11-20 16:10:25
LωImax | 80.8 dB | 83.6 dB | 83.7 dB
| 2024-11-20 16:10:37 | 2024-11-20 16:10:47 | 2024-11-20 16:10:47
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 64 | 64 | -99.9 | 64 | 64 | -99.9 | -99.9 | dB
LCeq - LAeq | 6.4 dB
LAIeq | 71.7 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 81.8 dB
EA (Pa²s) | 0.1 Pa²s
EA,8 h (Pa²s) | 28.7 Pa²s
EA,40 h (Pa²s) | 143.7 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.0 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:10:00 | Run | Timer
2024/11/20 16:11:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -35.4 | -27.3 | -27.1 | -7.9 | -0.4 | 21.7 | 14.7 | 17 | 20.8 | 26.9 | 21.8 | 30.3 | 37.9 | 42.4 | 43.3 | 45 | 43.6 | 46.7 | 54.8 | 59 | 59.9 | 52.8 | 44.9 | 45 | 40.8 | 42.3 | 43.2 | 39.5 | 39.5 | 37.8 | 35.1 | 29.6 | 26.6 | 21.1 | 13 | 4.2
1/3 LAFmax | -24.8 | -14.2 | -18.9 | 0.3 | 7 | 25.7 | 21.2 | 25.6 | 31.3 | 36.5 | 35.2 | 35.5 | 47.6 | 53.3 | 55.8 | 63.9 | 55.4 | 63.4 | 74.1 | 73.4 | 77 | 69.5 | 63.4 | 61.8 | 55.3 | 60.5 | 61 | 58.2 | 56.7 | 57.2 | 51 | 46.4 | 41.2 | 40.2 | 32.2 | 25.5
1/3 LAFmin | -52.7 | -44.7 | -41.9 | -19.6 | -14.5 | 7.6 | 5.3 | 3.7 | 9.1 | 15.2 | 11.6 | 18 | 27.1 | 26.8 | 29.7 | 31.2 | 33.2 | 34.4 | 38.5 | 36.9 | 35.2 | 35 | 32.5 | 31.9 | 28.6 | 27.2 | 25.8 | 25.4 | 21.3 | 20 | 17.4 | 13.3 | 10.1 | 5.3 | 0 | -0.1
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:10 | 61.06 | 75.96 | 68.79 | 80.54 | 72.26 | 83.25 | 0 | 96 | USB |  | -41.91 | -31.02 | -27.19 | -11.16 | -1.68 | 20.71 | 11.96 | 11.38 | 19.27 | 27.3 | 24.69 | 31.25 | 34.61 | 41.33 | 33.99 | 35.27 | 42.64 | 38.2 | 48.94 | 58.24 | 54.55 | 50.68 | 41.06 | 45.32 | 34.51 | 34.21 | 35.35 | 35.46 | 32.06 | 27.27 | 25.14 | 19.89 | 14.19 | 9.46 | 2.99 | 0.49
| 2024-11-20 16:10 | 56.64 | 74.44 | 69.16 | 79.91 | 72.74 | 82.41 | 0 | 96 | USB |  | -41.94 | -31.51 | -27.01 | -11.54 | -1.52 | 23 | 14.24 | 16.32 | 22.34 | 26.84 | 23.53 | 30.57 | 33.66 | 47.43 | 33.34 | 36.14 | 42.01 | 39.07 | 42.78 | 47.95 | 53.58 | 48.67 | 40.45 | 39.83 | 31.02 | 29.49 | 30.35 | 29.18 | 26.81 | 22.96 | 19.09 | 15.49 | 11.68 | 6.7 | 1.29 | 0.45
| 2024-11-20 16:10 | 54.56 | 70.59 | 67 | 77.99 | 71.28 | 79.56 | 0 | 96 | USB |  | -41.47 | -33.37 | -33.88 | -11.09 | 1.32 | 21.51 | 17.07 | 15.17 | 21.88 | 26.35 | 24.87 | 29.73 | 37.7 | 35.26 | 34.76 | 37.79 | 36.99 | 38.58 | 40.93 | 44.82 | 50.61 | 47.49 | 41.34 | 44.58 | 31.49 | 30.19 | 29.73 | 28.49 | 24.34 | 22.61 | 19.29 | 15.73 | 12.33 | 8.54 | 2.43 | 0.49
| 2024-11-20 16:10 | 56.4 | 70.88 | 67.32 | 79.03 | 71.08 | 81.46 | 0 | 96 | USB |  | -37.19 | -27.65 | -29.45 | -14.47 | -2.9 | 21.36 | 13.86 | 13.93 | 21.64 | 27.4 | 24.18 | 25.92 | 40.45 | 36.73 | 34.23 | 40.07 | 37.86 | 40.21 | 47.6 | 53.3 | 49.24 | 43.88 | 37.48 | 40.27 | 34.97 | 32.44 | 31.31 | 34.8 | 29.1 | 26.1 | 28.05 | 25.09 | 23.67 | 18.45 | 8.27 | 1.28
| 2024-11-20 16:10 | 47.43 | 61.13 | 66.59 | 76.08 | 71.27 | 79.84 | 0 | 96 | USB |  | -40.76 | -29.72 | -30.82 | -13.21 | 1.57 | 19.99 | 12.28 | 17.64 | 22.83 | 31.11 | 22.59 | 26.96 | 32.35 | 29.35 | 31.91 | 35.84 | 34.71 | 36.46 | 40.71 | 38.91 | 38.22 | 36.55 | 33.71 | 32.67 | 30.01 | 28.78 | 27 | 28.4 | 24.14 | 21.8 | 20.58 | 18 | 14.96 | 11.06 | 4.72 | 1.06
| 2024-11-20 16:10 | 52.71 | 72.14 | 67.5 | 78.82 | 71.82 | 81.26 | 0 | 96 | USB |  | -40.84 | -28.41 | -31.64 | -10.42 | -0.05 | 21.91 | 12.94 | 17.89 | 25.83 | 24.83 | 22.15 | 31.8 | 37.56 | 31.15 | 34.28 | 36.97 | 36.46 | 37.9 | 44.35 | 46.99 | 47.15 | 42.27 | 35.09 | 36.73 | 32.36 | 30.42 | 28.7 | 32.26 | 27.82 | 32.39 | 26.82 | 28.3 | 21.78 | 14.68 | 5.83 | 0.97
| 2024-11-20 16:10 | 55.61 | 72.02 | 67.73 | 79.65 | 71.65 | 82.32 | 0 | 96 | USB |  | -51.62 | -30.24 | -32.29 | -8.49 | 0.9 | 21.41 | 17.32 | 17.96 | 24.58 | 28.06 | 28.1 | 34.14 | 36.82 | 39.06 | 33.7 | 33.92 | 38.41 | 41.2 | 43.78 | 51.62 | 51.03 | 43.82 | 36.69 | 35.54 | 31.44 | 29.91 | 29.28 | 28.3 | 24.63 | 22.23 | 20.21 | 16.54 | 12.45 | 7.26 | 1.62 | 0.44
| 2024-11-20 16:10 | 47.95 | 59.72 | 67.25 | 76.73 | 71.83 | 79.9 | 0 | 96 | USB |  | -40.92 | -31.02 | -29.32 | -7.85 | 1.12 | 21.19 | 12.56 | 18.61 | 24.94 | 26.68 | 24.68 | 34.13 | 32.52 | 30.56 | 32.95 | 37.15 | 35.82 | 37.84 | 41.62 | 38.44 | 36.8 | 35.72 | 33.73 | 33.23 | 29.98 | 28.39 | 26.85 | 26.28 | 23.24 | 22.02 | 20.16 | 14.85 | 11.73 | 6.6 | 1.12 | 0.37
| 2024-11-20 16:10 | 55.07 | 68.91 | 67.88 | 79.45 | 72.11 | 81.94 | 0 | 96 | USB |  | -39.1 | -33.15 | -27.14 | -6.38 | 3.54 | 22.41 | 13.53 | 17.66 | 22.06 | 26.59 | 22.61 | 31.37 | 35.42 | 35.39 | 40.62 | 45.89 | 37.99 | 37.88 | 44.9 | 51.36 | 46.52 | 43.7 | 36.41 | 33.29 | 30.41 | 29.22 | 28.4 | 27.34 | 27.38 | 25.29 | 23.3 | 19.18 | 15.56 | 10.99 | 3.93 | 0.82
| 2024-11-20 16:10 | 53.78 | 73.5 | 69.07 | 80.04 | 73 | 82.64 | 0 | 96 | USB |  | -34.22 | -30.08 | -27.84 | -4.25 | -2.37 | 22.09 | 14.63 | 20.68 | 23.07 | 27.03 | 23.95 | 27.9 | 40.31 | 39.99 | 42.41 | 47.46 | 40.83 | 38.53 | 43.27 | 41.66 | 45.01 | 46.95 | 36.97 | 38.06 | 34.27 | 29.75 | 28.37 | 29.34 | 24.34 | 22.29 | 20.74 | 16.91 | 14.43 | 9.03 | 1.98 | 0.51
| 2024-11-20 16:10 | 54.52 | 73.05 | 68.86 | 82.85 | 73.12 | 85.37 | 0 | 96 | USB |  | -39.04 | -32.27 | -27.07 | -4.66 | -2.12 | 22.44 | 13.05 | 23.24 | 24.94 | 30.2 | 24.32 | 25.09 | 36.6 | 36.6 | 43.29 | 41.26 | 41.57 | 37.08 | 43.42 | 52.44 | 41.11 | 37.45 | 34.47 | 33.98 | 31.16 | 29.8 | 28.02 | 27.61 | 24.15 | 22.47 | 21.78 | 16.86 | 15.27 | 12.98 | 4.08 | 0.96
| 2024-11-20 16:10 | 66.43 | 83.09 | 72.68 | 87.68 | 75.54 | 88.6 | 0 | 96 | USB |  | -40.51 | -29.86 | -30.36 | -3.97 | 1.48 | 24.06 | 14.98 | 22.39 | 19.37 | 28.93 | 24.62 | 28.36 | 33.83 | 40.97 | 45.92 | 44.02 | 46.12 | 44.02 | 53.96 | 65.32 | 57.52 | 45.71 | 36.74 | 37.99 | 35.88 | 36.94 | 38.51 | 39.35 | 39.01 | 38.06 | 42.76 | 37.15 | 32.01 | 22.25 | 13.03 | 1.81
| 2024-11-20 16:10 | 64.84 | 83.46 | 71.47 | 86.63 | 74.59 | 86.82 | 0 | 96 | USB |  | -37.4 | -28.77 | -28.9 | -5.86 | -1.48 | 24.93 | 13.58 | 18.56 | 22.17 | 30.92 | 22.75 | 31.03 | 38.09 | 44.04 | 45.39 | 42.91 | 44.98 | 44.45 | 50.33 | 55.83 | 62.57 | 57.2 | 42.83 | 45.84 | 42.63 | 40.34 | 40.89 | 43.55 | 36.94 | 39.88 | 40.57 | 37.46 | 32.19 | 21.56 | 11.62 | 1.82
| 2024-11-20 16:10 | 67.82 | 81.91 | 73.54 | 86.31 | 75.92 | 87.62 | 0 | 96 | USB |  | -39 | -37.32 | -25.78 | -5.11 | -0.45 | 24.56 | 15.34 | 18.64 | 17.88 | 30.38 | 20.4 | 28.36 | 34.1 | 43.43 | 49.1 | 41.88 | 46.06 | 54.77 | 57.66 | 62.99 | 63.86 | 56.92 | 47.1 | 49.63 | 35.18 | 40.13 | 39.86 | 42.06 | 34.7 | 29 | 23.13 | 19.23 | 19.11 | 14.05 | 9.9 | 1.05
| 2024-11-20 16:10 | 64.05 | 81.73 | 70.7 | 84.37 | 73.63 | 86.52 | 0 | 96 | USB |  | -42.04 | -28.74 | -25.93 | -5.42 | -3.38 | 23.72 | 16.45 | 14.48 | 19.98 | 29.02 | 20.93 | 26.72 | 38.42 | 43.43 | 46.83 | 42.19 | 47.15 | 40.55 | 54.07 | 51.82 | 59.66 | 59.23 | 51.57 | 50.03 | 38.08 | 42.28 | 45.29 | 38.08 | 38.83 | 35.46 | 34.19 | 28.41 | 24.87 | 17.42 | 9.83 | 1.77
| 2024-11-20 16:10 | 61.86 | 79.19 | 70.33 | 83.65 | 73.38 | 85.63 | 0 | 96 | USB |  | -35.68 | -30.69 | -27.93 | -4.49 | -3.04 | 21.77 | 18.25 | 16.24 | 23.41 | 28.64 | 21.13 | 27.13 | 37.43 | 40.57 | 46.75 | 48.73 | 45.23 | 47.02 | 53.33 | 57.69 | 54.7 | 49.7 | 43.88 | 42.97 | 41.19 | 40.29 | 46.28 | 34.7 | 38.03 | 36.92 | 36.76 | 30.27 | 29.42 | 23.12 | 14.87 | 3.85
| 2024-11-20 16:10 | 62.02 | 78.74 | 70.16 | 83.17 | 73.27 | 85.42 | 0 | 96 | USB |  | -45.93 | -27.74 | -28.68 | -4.56 | -0.53 | 22.08 | 14.31 | 19.7 | 18.72 | 25.06 | 21.16 | 25.48 | 36.28 | 40.27 | 42.17 | 50.84 | 47.52 | 42.46 | 56.48 | 57.81 | 52.86 | 42.67 | 40.62 | 40.05 | 44.42 | 45.72 | 46.36 | 41.18 | 40.8 | 31.2 | 34.15 | 23.19 | 20.7 | 11.59 | 8.83 | 1.64
| 2024-11-20 16:10 | 65.13 | 78.31 | 70.93 | 83 | 73.66 | 84.68 | 0 | 96 | USB |  | -37.62 | -27.24 | -26.37 | -4.12 | -6.66 | 22.1 | 15.62 | 10.18 | 14.93 | 23.04 | 19.44 | 27.62 | 38.25 | 41.89 | 42.12 | 40.42 | 44.98 | 44.72 | 59.45 | 56.75 | 61.92 | 53.17 | 39.97 | 41.66 | 35.78 | 44.86 | 45.5 | 41.47 | 38.79 | 35.71 | 35.42 | 31.29 | 28.39 | 23.24 | 15.7 | 5.98
| 2024-11-20 16:10 | 54.01 | 68.21 | 67.64 | 78.15 | 72.03 | 80.57 | 0 | 96 | USB |  | -35.49 | -28.03 | -27.84 | -5.96 | -2.29 | 22.56 | 14.84 | 12.43 | 18.38 | 19.36 | 18.48 | 32.54 | 34.18 | 41.22 | 33.8 | 35.76 | 45.17 | 38.5 | 50.22 | 43.67 | 39.54 | 37.64 | 36.58 | 35.52 | 35.46 | 38.82 | 38.58 | 38.32 | 35.09 | 34.62 | 33.06 | 30.4 | 27.22 | 22.29 | 15.99 | 5.66
| 2024-11-20 16:10 | 56.76 | 74.08 | 67.9 | 81.97 | 71.57 | 81.68 | 0 | 96 | USB |  | -36.74 | -30.31 | -27.8 | -7.48 | -1.11 | 21.55 | 13.59 | 13.17 | 21.17 | 21.01 | 18.07 | 30.85 | 33.14 | 44.66 | 35.81 | 37.19 | 46.83 | 44.19 | 54 | 46.06 | 41.11 | 37.78 | 36.76 | 37.15 | 34.39 | 41.23 | 38.83 | 38.69 | 36.19 | 34.38 | 33.81 | 30 | 26.66 | 20.06 | 12.48 | 3.07
| 2024-11-20 16:10 | 59.46 | 77.37 | 67.46 | 80.13 | 71.54 | 82.13 | 0 | 96 | USB |  | -34.53 | -28.18 | -30.23 | -8.3 | -2.85 | 21.95 | 12.59 | 13.34 | 16.14 | 22.74 | 18 | 30.12 | 34.09 | 41.01 | 36.69 | 37.47 | 40.72 | 42.5 | 49.55 | 52.43 | 56.27 | 47.06 | 43.43 | 43.62 | 37.87 | 40.79 | 43.82 | 35.05 | 41.79 | 36.07 | 37.75 | 29.48 | 22.45 | 16.96 | 11.6 | 1.47
| 2024-11-20 16:10 | 55.73 | 72.32 | 65.84 | 76.99 | 69.86 | 79.57 | 0 | 96 | USB |  | -29.88 | -25.01 | -28.28 | -12.6 | -10.05 | 21.06 | 12.37 | 17.41 | 16.84 | 20.14 | 17.87 | 23.3 | 33.17 | 38.8 | 35.02 | 36.75 | 39.18 | 40.01 | 48.16 | 52.64 | 47.53 | 40.14 | 35.1 | 35.64 | 38.65 | 37.71 | 38.94 | 33.68 | 34.42 | 28.5 | 29.32 | 18.46 | 14.57 | 8.52 | 2.77 | 0.79
| 2024-11-20 16:10 | 48.02 | 62.23 | 65.64 | 74.69 | 70.3 | 77.92 | 0 | 96 | USB |  | -30.04 | -28.75 | -23.95 | -10.34 | -6.06 | 18.21 | 15.69 | 15.25 | 21.99 | 20.61 | 19.52 | 26.47 | 35.3 | 32.64 | 35.12 | 35.99 | 36.08 | 37.48 | 40.17 | 39.12 | 39.32 | 37.22 | 34.37 | 33.89 | 30.88 | 29.43 | 27.9 | 27.28 | 24.33 | 22.48 | 22.38 | 17.86 | 15.45 | 10.43 | 3.88 | 0.95
| 2024-11-20 16:10 | 58.13 | 72.58 | 68.62 | 78.84 | 72.31 | 82.48 | 0 | 96 | USB |  | -39.35 | -29.97 | -25.81 | -11.54 | -5.31 | 22.53 | 14.07 | 14.23 | 20.81 | 20.1 | 19.47 | 26.2 | 39.85 | 43.86 | 34.09 | 38.92 | 42.02 | 41.27 | 47.72 | 54.45 | 52.12 | 41.64 | 35.75 | 37.77 | 34.43 | 34.88 | 36.3 | 40.15 | 39.26 | 36.67 | 37.43 | 34.82 | 28.42 | 18.34 | 9.81 | 1.68
| 2024-11-20 16:10 | 55.61 | 69.84 | 67.37 | 77.43 | 71.4 | 80.18 | 0 | 96 | USB |  | -37.35 | -30.74 | -27.24 | -13.7 | -2.5 | 21.11 | 11.77 | 14.07 | 15.55 | 20.69 | 15.17 | 22.36 | 33.44 | 44.52 | 33.52 | 35.68 | 43.82 | 43.93 | 46.97 | 52.28 | 47.33 | 43.32 | 34.6 | 34.21 | 31.88 | 30.18 | 27.99 | 27.79 | 25.1 | 21.86 | 19.35 | 15.4 | 11.65 | 7.75 | 2.04 | 0.43
| 2024-11-20 16:10 | 48.31 | 62.72 | 65.46 | 75.32 | 70.35 | 78.73 | 0 | 96 | USB |  | -32.98 | -28.2 | -29.24 | -12.94 | -4.15 | 21.18 | 13.06 | 17.45 | 16.98 | 22.97 | 19.99 | 22.91 | 35.98 | 29.55 | 32.41 | 32.98 | 35.11 | 38.22 | 42.9 | 40.24 | 38.55 | 37.6 | 34.31 | 33.06 | 30.29 | 28.58 | 28.79 | 26.75 | 24.19 | 23.08 | 20.77 | 19.01 | 16.18 | 9.82 | 2.29 | 0.53
| 2024-11-20 16:10 | 60.46 | 77.45 | 68.83 | 81.94 | 72.47 | 83.61 | 0 | 96 | USB |  | -29.87 | -29.53 | -28.8 | -15.37 | -8.81 | 21.4 | 9.32 | 15.07 | 18.68 | 25.2 | 18.3 | 29.99 | 37.05 | 39.83 | 42.01 | 40.42 | 40.62 | 44.05 | 51.59 | 55.96 | 53.28 | 44.87 | 41.62 | 42.82 | 43.21 | 43.66 | 40.39 | 33.88 | 39.15 | 36.27 | 34.65 | 26.85 | 25.5 | 17.27 | 11.19 | 1.35
| 2024-11-20 16:10 | 63.72 | 79.23 | 69.87 | 83.84 | 71.91 | 85.09 | 0 | 96 | USB |  | -28.57 | -31.04 | -23.22 | -9.67 | -2.36 | 21.28 | 13.12 | 14.53 | 16.78 | 25.74 | 19.35 | 32.61 | 37.14 | 41.1 | 41.91 | 47.74 | 49.57 | 46.57 | 57.93 | 59.93 | 55.62 | 50.02 | 45.12 | 45.36 | 42.78 | 47.35 | 45.41 | 41.76 | 44.18 | 41.37 | 41.22 | 36.44 | 33.48 | 32.26 | 24.08 | 17.18
| 2024-11-20 16:10 | 63.79 | 78.34 | 69.94 | 82.56 | 72.52 | 85.3 | 0 | 96 | USB |  | -35.11 | -32.57 | -27.64 | -9.17 | -1.14 | 18.67 | 14.82 | 15.93 | 20.61 | 24.58 | 17.75 | 33.48 | 37.67 | 39.1 | 44.26 | 45.46 | 43.68 | 43.81 | 53.03 | 60.19 | 58.7 | 53.91 | 41.72 | 43.4 | 38.96 | 38.73 | 42 | 38.77 | 37.26 | 27.2 | 29.24 | 17.29 | 16.75 | 11.65 | 3.85 | 0.99
| 2024-11-20 16:10 | 53.08 | 79.22 | 67 | 78.82 | 71.49 | 80.03 | 0 | 96 | USB |  | -35.26 | -30.74 | -28.66 | -4.04 | -0.93 | 22.56 | 14.39 | 15.9 | 19.77 | 24.81 | 21.63 | 34.01 | 35.38 | 35.59 | 43.55 | 41.97 | 39.66 | 39.31 | 42.84 | 48.28 | 45.11 | 40.37 | 38.33 | 38.65 | 37.28 | 36.58 | 35.52 | 34.02 | 34.73 | 34.31 | 30.06 | 26.12 | 23.79 | 21.53 | 10.97 | 2.87
| 2024-11-20 16:10 | 64.36 | 80.68 | 69.72 | 82.14 | 71.77 | 83.15 | 0 | 96 | USB |  | -34.11 | -26.92 | -28.49 | -5.45 | 4.18 | 19.07 | 14.29 | 13.02 | 16.75 | 26.67 | 17.99 | 31.89 | 35.78 | 43.37 | 39.8 | 42.3 | 48.28 | 42.96 | 52.65 | 57.76 | 61.19 | 53.66 | 48.58 | 49.29 | 46.4 | 43.13 | 47.55 | 37.76 | 42.09 | 33.07 | 33.5 | 20.63 | 20.73 | 11.76 | 9.25 | 2.7
| 2024-11-20 16:11 | 59.04 | 75.82 | 69.7 | 82.85 | 72.54 | 84.39 | 0 | 96 | USB |  | -35.16 | -29.42 | -24.92 | -7.38 | 0.95 | 20.02 | 14.94 | 15.16 | 18.66 | 26.85 | 18.72 | 31.92 | 36.76 | 47.39 | 48.12 | 45.21 | 42.56 | 45.43 | 53.22 | 54.06 | 48.59 | 41.17 | 40.85 | 38.47 | 34.79 | 39.17 | 40.76 | 36.48 | 39.42 | 37.04 | 37.7 | 31.02 | 28.7 | 22.09 | 15.06 | 3.51
| 2024-11-20 16:11 | 63.48 | 77.4 | 70.67 | 83.14 | 73.32 | 85.94 | 0 | 96 | USB |  | -34.97 | -26.45 | -24.49 | -2.43 | 6.35 | 20.04 | 13.8 | 17.4 | 15.42 | 24.78 | 17.57 | 31.15 | 40.3 | 46.54 | 40.81 | 44.19 | 42.52 | 46.28 | 58.3 | 60.28 | 50.79 | 44.47 | 41.62 | 41.07 | 36.25 | 39.94 | 45.13 | 42.21 | 43.77 | 44.05 | 37.85 | 33.46 | 32.8 | 26.3 | 15.32 | 2.15
| 2024-11-20 16:11 | 66.42 | 80.95 | 72.01 | 84.71 | 74.55 | 86.44 | 0 | 96 | USB |  | -29.33 | -29.41 | -23.94 | -5.44 | 3.8 | 22.14 | 14.68 | 13.8 | 19.11 | 26.01 | 17.86 | 30.55 | 42.82 | 43.85 | 42.65 | 47.13 | 42.78 | 43.55 | 55.1 | 60.72 | 62.7 | 55.37 | 48.95 | 50.11 | 38.29 | 43.18 | 48.8 | 42.1 | 40.49 | 34.23 | 33.19 | 26.98 | 24.9 | 21.27 | 13 | 4.15
| 2024-11-20 16:11 | 71.5 | 85.85 | 75.21 | 89.32 | 76.07 | 88.61 | 0 | 96 | USB |  | -34.27 | -24.53 | -24.43 | -5.8 | -6.79 | 20.94 | 17.01 | 12.71 | 22.75 | 29.3 | 18.7 | 32.58 | 36.68 | 42.92 | 46.69 | 49.41 | 47.82 | 55.41 | 62.71 | 64.36 | 68.63 | 63.1 | 50.66 | 44.05 | 37.2 | 40.65 | 46.95 | 39.76 | 45.93 | 32.98 | 36.11 | 25.74 | 24.07 | 18.2 | 11.05 | 2.48
| 2024-11-20 16:11 | 63.25 | 78.02 | 70.72 | 83.57 | 72.84 | 84.26 | 0 | 96 | USB |  | -41.49 | -28.38 | -27.09 | -6.61 | -2.79 | 20.67 | 13.16 | 18.06 | 20.89 | 23.87 | 19.97 | 31.61 | 38.13 | 42.74 | 49.05 | 49.82 | 44.45 | 54.89 | 56.18 | 58.63 | 55.32 | 46.41 | 40.74 | 45.29 | 41.46 | 42.7 | 43.51 | 40.68 | 39.13 | 35.26 | 39.78 | 28.26 | 31.18 | 22.65 | 18.47 | 6.05
| 2024-11-20 16:11 | 70.41 | 86.24 | 74.11 | 88.27 | 75.44 | 89.54 | 0 | 96 | USB |  | -48.93 | -27.34 | -29.14 | -11.03 | 2.56 | 21.28 | 15.08 | 12.19 | 18.25 | 24.99 | 22.4 | 28.83 | 36.89 | 45.39 | 40.47 | 43.16 | 47.05 | 45.92 | 60.22 | 65.09 | 67.56 | 58.07 | 51.53 | 50.73 | 47.85 | 42.22 | 42.71 | 40.99 | 38.71 | 33.98 | 32.71 | 24.69 | 22.47 | 17.18 | 12.93 | 4.23
| 2024-11-20 16:11 | 70.42 | 87.71 | 73.9 | 90.66 | 75.3 | 91.12 | 0 | 96 | USB |  | -36.23 | -33.71 | -24.83 | -10.02 | -3.47 | 22.01 | 17.07 | 17.05 | 15.21 | 23.2 | 18.57 | 22.14 | 33.04 | 39.85 | 42.93 | 36.88 | 43.26 | 49.69 | 58.86 | 61.12 | 69.39 | 51.96 | 46.55 | 43.04 | 48.38 | 45.95 | 42.68 | 36.63 | 37.53 | 34.93 | 39.8 | 22.28 | 24.57 | 14.8 | 10.03 | 2.67
| 2024-11-20 16:11 | 63.95 | 80.17 | 69.89 | 83.33 | 73.47 | 86.18 | 0 | 96 | USB |  | -35.88 | -26.47 | -26.63 | -9.95 | -2.76 | 21.05 | 14.06 | 17.69 | 15.9 | 22.02 | 19.75 | 23.6 | 37.39 | 43.01 | 39.32 | 37.03 | 41.48 | 42.22 | 52.45 | 60.92 | 58.1 | 54.29 | 43.36 | 43.15 | 43.82 | 40.42 | 40.06 | 37.05 | 41.83 | 39.89 | 37.72 | 31.42 | 26.28 | 17.46 | 12.35 | 1.96
| 2024-11-20 16:11 | 60.8 | 79.16 | 68.11 | 80.54 | 72.16 | 82.44 | 0 | 96 | USB |  | -26.79 | -16.64 | -26.37 | -10.71 | -1.89 | 21.55 | 11.97 | 17.13 | 17.1 | 28.19 | 18.77 | 21.68 | 36.69 | 36.7 | 35.55 | 35.41 | 37.82 | 39.1 | 45.78 | 45.36 | 58.7 | 55.43 | 44.53 | 43.1 | 34.84 | 33.62 | 33.62 | 29.24 | 34.52 | 27.08 | 25.67 | 18.57 | 15.26 | 8.46 | 2.71 | 0.62
| 2024-11-20 16:11 | 64.73 | 81.95 | 71.36 | 84.82 | 74.29 | 85.8 | 0 | 96 | USB |  | -34.99 | -32.9 | -31.2 | -11.09 | -3.93 | 22.2 | 16.28 | 19.09 | 19.43 | 32.52 | 18.12 | 27.67 | 29.29 | 41.26 | 42.85 | 38.43 | 43.39 | 44.31 | 53.9 | 60.48 | 60.66 | 54.24 | 46.78 | 42.03 | 37.96 | 39.73 | 44.59 | 39.77 | 40.31 | 36.99 | 38.68 | 32.38 | 26.93 | 20.62 | 13.51 | 3.13
| 2024-11-20 16:11 | 54.51 | 74.2 | 69.21 | 84.67 | 72.58 | 85.95 | 0 | 96 | USB |  | -36.3 | -29.71 | -29.58 | -9.98 | -3.87 | 23.5 | 17.51 | 17.74 | 20.99 | 27.85 | 29.53 | 32.21 | 38.31 | 47.61 | 44.7 | 43.04 | 40.15 | 42.1 | 42.59 | 45.55 | 44.1 | 44.07 | 42.43 | 38.64 | 36.94 | 36.68 | 35.32 | 36.58 | 32.74 | 28.55 | 26.2 | 22.39 | 20.04 | 14.88 | 6.52 | 1.23
| 2024-11-20 16:11 | 69.01 | 83.21 | 74.28 | 86.71 | 75.38 | 86.79 | 0 | 96 | USB |  | -41.42 | -32.33 | -24.68 | -10.62 | -1.18 | 20.19 | 16.45 | 17.28 | 17.23 | 20.42 | 19.18 | 33.31 | 40.57 | 48.48 | 50.39 | 44.55 | 47.37 | 55.96 | 57.79 | 66.15 | 63.14 | 50.53 | 47.81 | 48.07 | 45.22 | 47.98 | 48.4 | 39.19 | 32.67 | 33.17 | 28.62 | 25.03 | 24.99 | 18.45 | 13.91 | 2.3
| 2024-11-20 16:11 | 71.42 | 88.22 | 74.89 | 90.63 | 75.97 | 89.73 | 0 | 96 | USB |  | -39.91 | -25.8 | -21.89 | -9.34 | 1.84 | 20.98 | 13.42 | 17.12 | 15.16 | 21.68 | 19.43 | 32.4 | 43.98 | 48.85 | 42.08 | 42.83 | 46.56 | 46.77 | 56.47 | 65.28 | 68.58 | 63.12 | 56.75 | 56.61 | 46.66 | 46.51 | 50.95 | 43.13 | 40.89 | 39.87 | 36.32 | 33.81 | 31.96 | 27.83 | 19.78 | 7.45
| 2024-11-20 16:11 | 63.49 | 78 | 70.14 | 82.12 | 73.32 | 83.49 | 0 | 96 | USB |  | -37.8 | -24.64 | -25.85 | -6.93 | 2.1 | 22.34 | 12.92 | 18.4 | 15.15 | 22.66 | 16.79 | 32.66 | 37.7 | 44.6 | 40.33 | 39.58 | 42.2 | 43.98 | 50.09 | 59.52 | 59.65 | 48.16 | 42.7 | 43.92 | 41.16 | 40.84 | 45.4 | 45.9 | 42.24 | 44.84 | 38.43 | 29.54 | 25.19 | 18.86 | 9.8 | 1.92
| 2024-11-20 16:11 | 68.78 | 84.7 | 72.97 | 88.24 | 74.32 | 87.63 | 0 | 96 | USB |  | -41.63 | -28.28 | -28.19 | -11.93 | 3.66 | 21.39 | 12.5 | 16.96 | 15.6 | 23.52 | 18.1 | 32.91 | 35.28 | 47.75 | 41 | 37.73 | 46.3 | 47.39 | 58.33 | 63.87 | 64.68 | 59.68 | 49.27 | 52.66 | 47.18 | 43.4 | 45.82 | 42.94 | 44.88 | 48.54 | 39.78 | 30.51 | 28.21 | 19.29 | 12.77 | 1.78
| 2024-11-20 16:11 | 61.54 | 78.4 | 68.87 | 82.96 | 72.46 | 82.85 | 0 | 96 | USB |  | -38.06 | -28.41 | -27.31 | -11.68 | -0.46 | 20.61 | 14.73 | 17.6 | 13.5 | 21.72 | 20.43 | 33.18 | 38.87 | 40.11 | 33.55 | 39.08 | 37.18 | 40.71 | 47.96 | 57.55 | 55.85 | 53.36 | 44.63 | 40.62 | 33.65 | 37.37 | 39.8 | 35.4 | 44.72 | 48.22 | 42.01 | 36.09 | 33.62 | 25.93 | 16.05 | 2.81
| 2024-11-20 16:11 | 72.63 | 87.17 | 77.23 | 91.22 | 77.6 | 91.59 | 0 | 96 | USB |  | -41.37 | -29.11 | -29.97 | -12.08 | 2.09 | 21.88 | 13.98 | 17.42 | 15.93 | 23.41 | 18.9 | 32.09 | 36.07 | 42.04 | 51.24 | 56.87 | 42.23 | 56.39 | 67.08 | 68.68 | 66.26 | 52.93 | 41.49 | 47.1 | 45.02 | 52.16 | 48.93 | 50.55 | 49.52 | 39.01 | 33.45 | 30.64 | 27.25 | 22.9 | 15.93 | 2.19
| 2024-11-20 16:11 | 63.09 | 77.01 | 68.57 | 82.13 | 69.8 | 82.6 | 0 | 96 | USB |  | -40.17 | -30.51 | -31.55 | -11.13 | -0.76 | 12.36 | 11.35 | 16.76 | 14.97 | 21.7 | 17.58 | 29.41 | 43.79 | 38.51 | 41.14 | 46.72 | 39.09 | 38.21 | 50.06 | 61.37 | 57.17 | 45.93 | 38.37 | 35.69 | 36.31 | 40.31 | 41.78 | 35.4 | 33.11 | 29.92 | 27.34 | 22.8 | 20.9 | 14.73 | 7.2 | 0.94
| 2024-11-20 16:11 | 60.76 | 75.53 | 69.48 | 83.61 | 70.94 | 84.74 | 0 | 96 | USB |  | -40.7 | -29.54 | -32.79 | -13.77 | -1.93 | 14.11 | 15.56 | 13.55 | 26.89 | 30.04 | 21.35 | 27.04 | 41.02 | 45.53 | 43.21 | 48.3 | 43.82 | 42.25 | 51.57 | 57.4 | 54.21 | 44.21 | 39.72 | 39.36 | 36.59 | 39.85 | 38.61 | 34.87 | 33.2 | 31.35 | 28.79 | 24.02 | 20.2 | 13.96 | 6.44 | 1.03
| 2024-11-20 16:11 | 62.34 | 80.59 | 68.33 | 82.7 | 70 | 83.41 | 0 | 96 | USB |  | -34.66 | -24.01 | -29.9 | -9.34 | -3.03 | 13.33 | 11.72 | 16.19 | 21.76 | 30.36 | 20.31 | 26.26 | 40.13 | 38.21 | 43.2 | 41.21 | 41.53 | 43.51 | 52.22 | 57.77 | 58.83 | 47.66 | 44.76 | 40.77 | 38.55 | 40.18 | 35.92 | 35.78 | 35.14 | 33.13 | 32.99 | 28.19 | 24.39 | 18.72 | 11.9 | 2.22
| 2024-11-20 16:11 | 52.77 | 71.82 | 66.37 | 78.79 | 69.42 | 82.9 | 0 | 96 | USB |  | -35.24 | -35.72 | -32.55 | -9.43 | -0.25 | 13.53 | 15.4 | 12.57 | 19.62 | 28.99 | 21.98 | 31.16 | 36.55 | 34.57 | 44.56 | 41.79 | 42.86 | 40.68 | 44.24 | 44.16 | 42.54 | 39.25 | 38.14 | 37.22 | 34.68 | 35.9 | 35.2 | 36.09 | 35.48 | 32.57 | 31.11 | 27.46 | 22.2 | 17.31 | 9.78 | 2.32
| 2024-11-20 16:11 | 53.95 | 69.89 | 69.14 | 78.96 | 73.36 | 83.36 | 0 | 96 | USB |  | -40.45 | -29.45 | -23.69 | -11.11 | -2.91 | 21.01 | 17.62 | 15.59 | 18.85 | 30.11 | 20.91 | 30.91 | 38.4 | 35.04 | 45.6 | 43.13 | 44.62 | 38.56 | 45.52 | 43.18 | 42.31 | 40.33 | 38.87 | 40.91 | 41 | 39.21 | 34.31 | 38.12 | 36.72 | 34.22 | 29.33 | 26.19 | 21.99 | 18.35 | 12.07 | 2.93
| 2024-11-20 16:11 | 55.84 | 82.04 | 68.46 | 80.99 | 72.84 | 83.48 | 0 | 96 | USB |  | -39.44 | -27.25 | -23.69 | -6.93 | -0.73 | 24.03 | 14.12 | 16.98 | 16.66 | 27.21 | 20.07 | 31.22 | 38.66 | 34.32 | 43.71 | 39.87 | 42.29 | 41.96 | 46.44 | 47.28 | 44.7 | 41.73 | 44.83 | 47.82 | 43.16 | 42.46 | 37.33 | 42.42 | 39.3 | 39.1 | 36.44 | 34.07 | 31.76 | 25.6 | 15.66 | 5.02
| 2024-11-20 16:11 | 52.49 | 66.44 | 68.84 | 78.56 | 72.93 | 81.85 | 0 | 96 | USB |  | -41.98 | -29.35 | -28.1 | -6.98 | -3.12 | 23.1 | 15.62 | 12.22 | 17.91 | 28.34 | 18.23 | 30.46 | 39.85 | 35.04 | 45.77 | 43.19 | 43.58 | 38.01 | 42.91 | 39.71 | 39.07 | 39.04 | 35.22 | 35.04 | 33.46 | 32.78 | 34.32 | 34.3 | 33.73 | 33.31 | 27.5 | 22.85 | 18.73 | 12.58 | 5.31 | 0.77
| 2024-11-20 16:11 | 53.97 | 66.01 | 69.58 | 80.04 | 73.58 | 84.15 | 0 | 96 | USB |  | -37.15 | -26.55 | -27.31 | -12.33 | -0.18 | 21.98 | 17.9 | 15.76 | 27.6 | 29.21 | 21.8 | 29.93 | 39.36 | 38.98 | 44.49 | 48.94 | 45.01 | 40.61 | 44.51 | 42.84 | 40.53 | 38.28 | 36.03 | 35.46 | 34.87 | 35.84 | 36.93 | 34.48 | 35.21 | 33.69 | 29.54 | 26.23 | 21.33 | 17.09 | 8.43 | 1.42
| 2024-11-20 16:11 | 54.59 | 71.75 | 67.97 | 79.02 | 71.65 | 82.31 | 0 | 96 | USB |  | -35.75 | -19.98 | -26.87 | -11.39 | 0.1 | 22.15 | 14.58 | 20.59 | 25.11 | 29.44 | 27.39 | 29.56 | 35.27 | 36.09 | 39.36 | 49.12 | 39.44 | 39.74 | 43.59 | 44.75 | 44.67 | 42.18 | 37.81 | 36.62 | 36.02 | 38.52 | 40.04 | 37.01 | 44.22 | 40.89 | 33.57 | 33.73 | 33.26 | 29.24 | 18.13 | 5.32
| 2024-11-20 16:11 | 51.17 | 74.11 | 66.54 | 75.92 | 71.45 | 80.35 | 0 | 96 | USB |  | -38.97 | -26.01 | -27.71 | -11.19 | -3.08 | 20.97 | 12.32 | 17.35 | 15.71 | 22.94 | 21.25 | 21.98 | 36.04 | 31.72 | 33.03 | 37.15 | 36.83 | 37.84 | 42.25 | 40.95 | 40.96 | 39.8 | 39.04 | 39.34 | 39.5 | 40.87 | 36.5 | 38.73 | 37 | 33.06 | 30.56 | 27.67 | 23.84 | 18.75 | 10.47 | 1.94
| 2024-11-20 16:11 | 58.11 | 87.02 | 68.07 | 87.1 | 72.77 | 87.11 | 0 | 96 | USB |  | -38.82 | -30.62 | -32.82 | -9.98 | -4.57 | 23.45 | 13.47 | 14.54 | 15.28 | 23.99 | 19.61 | 22.3 | 36.1 | 30.23 | 32.58 | 35.27 | 37.05 | 38.87 | 45.22 | 50.35 | 47.42 | 43.69 | 40.34 | 39.82 | 46.32 | 51.99 | 52.46 | 39.6 | 36.26 | 34.89 | 31.95 | 26 | 21.98 | 17.6 | 9.59 | 1.56
| 2024-11-20 16:11 | 50.76 | 77.03 | 66.65 | 80.46 | 71.58 | 80.42 | 0 | 96 | USB |  | -40.11 | -27.02 | -29.52 | -7.6 | -1.98 | 22.56 | 13.77 | 14.54 | 15.22 | 25.2 | 21.81 | 28.15 | 35.73 | 33.04 | 36.34 | 36.66 | 37.06 | 37.8 | 43.55 | 41.02 | 41.75 | 39.89 | 34.78 | 34.76 | 38.82 | 42.18 | 39.28 | 30.14 | 30.64 | 25.48 | 22.05 | 19.13 | 15.22 | 9.48 | 3.31 | 0.64
Stop | 2024-11-20 16:11