## Summary
SoundExpert 821 Summary
Meter General Information
| Model | Serial
Meter | SoundExpert 821 | 40126
Preamp | PRM821 | 
Microphone | 377B02 | 
Unique File Id | 00C:00009CBE:673E0A14:00000092
Measurement Notes
User
Location
Job Description
Note | Could not parse section, making sure you have the latest G4 installed may resolve this issue.
Overall Measurement
Start Time | 2024-11-20 16:11:00
Stop Time | 2024-11-20 16:12:00
Run Time | 00:01:00
Pre-Calibration Deviation (Cal Lvl) | -0.14 dB(94.0 dB) | 2023-11-05 20:58:07
Pre-Sensitivity | -26.29 dB re 1V/Pa | 48.47 mV/Pa
Post-Calibration Deviation (Cal Lvl) | ---(---) | ---
Post-Sensitivity | --- | ---
| A | C | Z
Lωeq | 52.0 dB | 67.2 dB | 71.6 dB
Lωpk | 92.6 dB | 93.0 dB | 93.6 dB
| 2024-11-20 16:11:57 | 2024-11-20 16:11:57 | 2024-11-20 16:11:57
LωSmin | 47.7 dB | 62.8 dB | 66.6 dB
| 2024-11-20 16:11:17 | 2024-11-20 16:11:23 | 2024-11-20 16:11:23
LωSmax | 61.5 dB | 71.5 dB | 75.3 dB
| 2024-11-20 16:11:57 | 2024-11-20 16:11:37 | 2024-11-20 16:11:37
LωFmin | 46.9 dB | 61.2 dB | 63.8 dB
| 2024-11-20 16:11:07 | 2024-11-20 16:11:22 | 2024-11-20 16:11:22
LωFmax | 69.4 dB | 73.8 dB | 78.2 dB
| 2024-11-20 16:11:57 | 2024-11-20 16:11:37 | 2024-11-20 16:11:35
LωImin | 49.0 dB | 66.7 dB | 70.8 dB
| 2024-11-20 16:11:17 | 2024-11-20 16:11:20 | 2024-11-20 16:11:54
LωImax | 73.7 dB | 75.5 dB | 81.3 dB
| 2024-11-20 16:11:57 | 2024-11-20 16:11:37 | 2024-11-20 16:11:35
ω = frequency weighting (A, C or Z)
Community Noise | LDN | LDay 07:00-22:00 | LNight 22:00-07:00 | LDEN | LDay 07:00-19:00 | LEvening 19:00-22:00 | LNight 22:00-07:00
| 52 | 52 | -99.9 | 52 | 52 | -99.9 | -99.9 | dB
LCeq - LAeq | 15.2 dB
LAIeq | 61.3 dB
Overload Count | 0
Overload Duration | 00:00:00
| A | C | Z
Under Range Peak | 50 | 50 | 62 | dB
Under Range Limit | 24 | 27 | 37 | dB
Noise Floor | 17 | 18 | 25 | dB
Exceedances
| Exceedance Counts | Duration
LAF > 85 dB | 0 | 0 | s
LAF > 95 dB | 0 | 0 | s
LCpk > 135 dB | 0 | 0 | s
LCpk > 137 dB | 0 | 0 | s
LCpk > 140 dB | 0 | 0 | s
Exposure
SELA | 69.8 dB
EA (Pa²s) | 0.0 Pa²s
EA,8 h (Pa²s) | 1.8 Pa²s
EA,40 h (Pa²s) | 9.1 Pa²s
EA (Pa²h) | 0.0 Pa²h
EA,8 h (Pa²h) | 0.0 Pa²h
EA,40 h (Pa²h) | 0.0 Pa²h

## Settings
SoundExpert 821 Settings
System Settings
Manufacturer | Larson Davis
Hardware Version | A1
Firmware Version | 1.201R11
Firmware Date | 2024-04-08 22:20:47
User Defined Name
Description
Language | English
Decimal Character | Period (.)
Auto Off Time | Disabled
Overload | 145.1567 | dB
dB Reference | 2E-05 | Pa
Calibration Level | 114 | dB
System Sensitivity | -26.3 | dB re 1V/Pa | 48.5 | mV/Pa
Nominal Sensitivity | -26.0 | dB re 1V/Pa | 50.1 | mV/Pa
Microphone | 377B02
Mic Serial Number | 
Microphone Correction | FF:FF
Preamplifier Type | PRM821
Preamplifier Serial Number | 
Store on Stop | Enabled
Backlight | 7%
Dosimeter Settings
Virtual Dosimeters | 1 | 2 | 3 | 4
Enable | Disabled | Disabled | Disabled | Disabled
Mode | DOSE | DOSE | DOSE | DOSE
Title | OSHA-PEL | OSHA-HC | ACGIH | NIOSH
Frequency Weighting | A | A | A | A
Detector | SLOW | SLOW | SLOW | SLOW
Peak Weighting | C | C | C | C
Exchange Rate | 5 dB | 5 dB | 3 dB | 3 dB
Threshold | 90.0 dB | 80.0 dB | 80.0 dB | 80.0 dB
Criterion Level | 90.0 dB | 90.0 dB | 85.0 dB | 85.0 dB
Shift Time | 8 hours | 8 hours | 8 hours | 8 hours
Overall Settings
Measurement History | 1 | m
OBA | 1/3 Octave
OBA Freq Weight | A
OBA Min/Max Detector | Fast
OBA in Time History | Enabled
Time History | 1 | s
Min/Max in Time History | Off
Exceedance Settings
Frequency Weighting | A
Detector | FAST
Peak Weighting | C
Exceedance Threshold (SPL1) | 85.0 | dB
Exceedance Threshold (SPL2) | 95.0 | dB
Peak Exceedance Threshold (Peak1) | 135.0 | dB
Peak Exceedance Threshold (Peak2) | 137.0 | dB
Peak Exceedance Threshold (Peak3) | 140.0 | dB
Timer Settings
Timer Mode | Continuous
Auto-Store Interval | 1 min
Timer Start Date | 2022-01-20
Timer Stop Date | 2027-01-20
Timer 1 Start Time | 08:00:00
Timer 1 Stop Time | 12:00:00
Timer 2 Enable | Disabled
Timer 2 Start Time | 13:00:00
Timer 2 Stop Time | 17:00:00
Timer 3 Enable | Disabled
Timer 3 Start Time | 18:00:00
Timer 3 Stop Time | 23:00:00
Timed Stop Duration | 00:00:30
Ln Settings
Ln Enable | Disabled
Ln 1 | 0.0 | %
Ln 2 | 0.0 | %
Ln 3 | 0.0 | %
Ln 4 | 0.0 | %
Ln 5 | 0.0 | %
Ln 6 | 0.0 | %
Ln Freq Weight | A
Ln Time Weight | Slow
Community Noise
Day Time | 07:00:00
Evening Time | 19:00:00
Night Time | 22:00:00
Evening Penalty | 5
Night Penalty | 10
Marker
Marker 1 | UT start
Marker 2 | UT end
Marker 3 | DT start
Marker 4 | DT end
Marker 5 | Exclude
Marker 6 | #6
Marker 7 | #7
Marker 8 | #8
Marker 9 | #9
Marker 10 | #10

## Session Log
SoundExpert 821 Session Log
Date/Time | Record Type | Cause
2024/11/20 16:11:00 | Run | Timer
2024/11/20 16:12:00 | Stop | Timer

## OBA
SoundExpert 821 OBA Summary
1/3 Octave
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
1/3 LAeq | -35.6 | -26.3 | -22.3 | -9 | -0.8 | 21.4 | 15.7 | 16.1 | 20.8 | 27.4 | 25.7 | 31.1 | 35.9 | 34.3 | 39.1 | 42.9 | 38.6 | 37.8 | 42.8 | 39.5 | 41 | 39.9 | 40.6 | 38.9 | 38 | 38.4 | 40.3 | 37.7 | 37.2 | 35.8 | 33.8 | 28.2 | 26.1 | 22.2 | 13 | 2.8
1/3 LAFmax | -21.3 | -15.9 | -5.6 | -2.7 | 8 | 25.9 | 23.5 | 26 | 32.2 | 39.4 | 41.5 | 41.9 | 46.9 | 47.2 | 48.7 | 53.8 | 47.2 | 47.6 | 50.3 | 55.3 | 61.3 | 59.5 | 61.5 | 59 | 59 | 57.5 | 60.4 | 59.7 | 59.9 | 57.6 | 57.1 | 50.1 | 50 | 46.8 | 35.7 | 20.3
1/3 LAFmin | -56.8 | -42.2 | -39 | -21.4 | -12.8 | 4.4 | 7.3 | 6.9 | 10 | 15.6 | 12 | 20.8 | 25.3 | 25.8 | 28.5 | 30.2 | 31.6 | 33.9 | 38.1 | 35.6 | 36.4 | 34.8 | 32.3 | 31.6 | 28.8 | 27.3 | 25.2 | 25 | 21.5 | 19.8 | 16.7 | 13.1 | 9.9 | 5.2 | 0.3 | -1.9
Frequency (Hz) | 6.3 | 8.0 | 10.0 | 12.5 | 16.0 | 20.0 | 25.0 | 31.5 | 40.0 | 50.0 | 63.0 | 80.0 | 100 | 125 | 160 | 200 | 250 | 315 | 400 | 500 | 630 | 800 | 1000 | 1250 | 1600 | 2000 | 2500 | 3150 | 4000 | 5000 | 6300 | 8000 | 10000 | 12500 | 16000 | 20000
Under Range Limit | -51.3 | -46.8 | -40.4 | -34.4 | -28.7 | -23.5 | -18.7 | -14.4 | -11.6 | -10.2 | -10.2 | -7.5 | -5.1 | -2.1 | -1.4 | 0.1 | 1.4 | 2.4 | 3.2 | 4.8 | 6.1 | 7.2 | 8 | 8.6 | 9 | 9.2 | 10.3 | 11.2 | 12 | 11.5 | 11.9 | 11.9 | 11.5 | 10.7 | 10.4 | 8.7
Noise Floor | -58.24 | -53.74 | -47.34 | -41.34 | -35.64 | -30.44 | -25.64 | -21.34 | -18.54 | -17.14 | -17.14 | -14.44 | -12.04 | -9.04 | -8.34 | -6.84 | -5.54 | -4.54 | -3.74 | -2.14 | -0.84 | 0.26 | 1.06 | 1.66 | 2.06 | 2.26 | 3.36 | 4.26 | 5.06 | 4.56 | 4.96 | 4.96 | 4.56 | 3.76 | 3.46 | 1.76

## Time History
Record Type | Date/Time | LAeq | LApk | LCeq | LCpk | LZeq | LZpk | External (V) | Battery (%) | Power Source | Overload | 1/3 LAeq 6.3 | 1/3 LAeq 8.0 | 1/3 LAeq 10.0 | 1/3 LAeq 12.5 | 1/3 LAeq 16.0 | 1/3 LAeq 20.0 | 1/3 LAeq 25.0 | 1/3 LAeq 31.5 | 1/3 LAeq 40.0 | 1/3 LAeq 50.0 | 1/3 LAeq 63.0 | 1/3 LAeq 80.0 | 1/3 LAeq 100 | 1/3 LAeq 125 | 1/3 LAeq 160 | 1/3 LAeq 200 | 1/3 LAeq 250 | 1/3 LAeq 315 | 1/3 LAeq 400 | 1/3 LAeq 500 | 1/3 LAeq 630 | 1/3 LAeq 800 | 1/3 LAeq 1000 | 1/3 LAeq 1250 | 1/3 LAeq 1600 | 1/3 LAeq 2000 | 1/3 LAeq 2500 | 1/3 LAeq 3150 | 1/3 LAeq 4000 | 1/3 LAeq 5000 | 1/3 LAeq 6300 | 1/3 LAeq 8000 | 1/3 LAeq 10000 | 1/3 LAeq 12500 | 1/3 LAeq 16000 | 1/3 LAeq 20000 | Invalid | Markers
Start | 2024-11-20 16:11 | 48.92 | 69.16 | 66.49 | 75.53 | 71.52 | 79.4 | 0 | 96 | USB |  | -42.57 | -28.34 | -32.02 | -11.61 | -7.29 | 22.46 | 12.25 | 13 | 15.71 | 22.96 | 21.35 | 31.59 | 30.11 | 31.64 | 34.19 | 36.72 | 36.15 | 36.79 | 42.06 | 40.39 | 40.29 | 37.15 | 34.68 | 34.17 | 34.84 | 34.89 | 31.78 | 29.95 | 30.92 | 25.01 | 22.4 | 17.62 | 14.28 | 8.47 | 2.72 | 0.53
| 2024-11-20 16:11 | 48.72 | 72 | 65.63 | 74.75 | 70.32 | 79.32 | 0 | 96 | USB |  | -38.33 | -27.69 | -29.35 | -9.4 | -5.1 | 21.62 | 16.11 | 15.98 | 13.74 | 21.05 | 19.31 | 32.78 | 35.8 | 30.38 | 33.83 | 35.48 | 33.97 | 35.98 | 42.57 | 38.89 | 39.04 | 36.78 | 34.1 | 33.89 | 34.13 | 37.44 | 35.77 | 26.71 | 23.28 | 21.33 | 18.56 | 15.13 | 12.43 | 8.13 | 2.52 | 0.51
| 2024-11-20 16:11 | 51.65 | 78.03 | 68.64 | 77.85 | 73.77 | 82.67 | 0 | 96 | USB |  | -35.18 | -27.42 | -29.25 | -8.67 | -5.4 | 23.02 | 15.77 | 15.17 | 16.55 | 24.12 | 19.91 | 32.07 | 33.47 | 31.74 | 34.67 | 37.28 | 38.15 | 39.63 | 42.64 | 42.77 | 42.31 | 40.24 | 36.04 | 35.28 | 38.03 | 43.4 | 42.3 | 30.52 | 27.8 | 27.62 | 25.55 | 21.63 | 17.78 | 12.56 | 12.67 | 1.55
| 2024-11-20 16:11 | 49.08 | 64.53 | 66.74 | 75.63 | 71.75 | 79.51 | 0 | 96 | USB |  | -36.34 | -26.7 | -25.07 | -8.24 | -7.66 | 23.96 | 14.77 | 15.72 | 19.67 | 20.66 | 17.89 | 29.44 | 34.54 | 32.12 | 34.15 | 35.21 | 36.29 | 36.9 | 42 | 39.65 | 39.43 | 38.16 | 35.33 | 35.45 | 35.69 | 34.6 | 33.53 | 33.51 | 32.2 | 29.76 | 28.99 | 24.32 | 21.77 | 13.47 | 6.7 | 0.67
| 2024-11-20 16:11 | 48.01 | 59.82 | 67.34 | 75.97 | 72.47 | 79.95 | 0 | 96 | USB |  | -44.46 | -31.26 | -27.62 | -5.31 | -0.71 | 22.32 | 14.61 | 16.82 | 19.73 | 20.13 | 16.5 | 29.52 | 35.11 | 31.7 | 32.53 | 34.89 | 35.54 | 37.18 | 41.97 | 38.41 | 38 | 36.8 | 34.09 | 33.76 | 32.23 | 32.28 | 28.57 | 27.3 | 24.09 | 22.74 | 20.39 | 16.31 | 12.67 | 7.06 | 1.64 | 0.34
| 2024-11-20 16:11 | 48.87 | 61.9 | 67.35 | 76.59 | 72.52 | 80.33 | 0 | 96 | USB |  | -49.43 | -32.39 | -27.97 | -8.28 | -1.26 | 23.41 | 11.59 | 13.49 | 17.28 | 21.46 | 19.29 | 30.1 | 32.76 | 31.47 | 33.19 | 34.02 | 35.6 | 38.38 | 42.15 | 39.04 | 39.3 | 37.31 | 35.1 | 34.36 | 32.33 | 32.83 | 33.69 | 31.83 | 36.4 | 32.13 | 28.89 | 27.28 | 23.7 | 19.56 | 12.1 | 1.7
| 2024-11-20 16:11 | 47.74 | 61.22 | 65.71 | 74.56 | 70.8 | 78.79 | 0 | 96 | USB |  | -43.34 | -35.75 | -34.12 | -6.17 | -3.27 | 22.76 | 13.62 | 14.25 | 15 | 22.49 | 21.6 | 28.68 | 31.51 | 29.85 | 32.71 | 34.1 | 35.61 | 36.8 | 41.81 | 37.84 | 38.17 | 36.62 | 34.05 | 32.78 | 32.87 | 33.42 | 31.71 | 29.1 | 26.32 | 25.92 | 23.18 | 19.92 | 14.45 | 9.49 | 2.49 | 0.54
| 2024-11-20 16:11 | 47.65 | 59.43 | 66.28 | 75.29 | 71.25 | 79.82 | 0 | 96 | USB |  | -40.94 | -35.99 | -28.92 | -6.96 | -2.45 | 22.02 | 15.21 | 11.97 | 13.53 | 22.77 | 18.77 | 30.67 | 34.9 | 30.42 | 33.58 | 34.44 | 35.26 | 36.7 | 41.13 | 38.13 | 38.37 | 36.7 | 33.83 | 33.22 | 30.87 | 30.16 | 29.54 | 26.58 | 26.62 | 21.83 | 17.78 | 14.26 | 11.82 | 6.27 | 0.93 | 0.32
| 2024-11-20 16:11 | 48.67 | 65.36 | 65.36 | 75.98 | 70.12 | 79.15 | 0 | 96 | USB |  | -38.92 | -35.35 | -30.39 | -11.42 | -3.6 | 20.91 | 13.11 | 11.46 | 15.39 | 20.99 | 20.07 | 33.98 | 33.89 | 29.46 | 34.48 | 35.78 | 35.94 | 36.11 | 42.56 | 39.67 | 38.83 | 39.3 | 34.46 | 33.43 | 30.72 | 28.58 | 27.31 | 26.14 | 22.68 | 21.44 | 18.58 | 14.96 | 11.06 | 5.95 | 0.97 | 0.31
| 2024-11-20 16:11 | 51.38 | 63.76 | 67.08 | 77.79 | 71.14 | 79.58 | 0 | 96 | USB |  | -34.06 | -24.54 | -30.5 | -11.68 | 0.06 | 19.97 | 15.51 | 16.38 | 16.15 | 25.99 | 20.54 | 34.01 | 37.55 | 36.99 | 39.15 | 47.07 | 39.83 | 37.23 | 43.24 | 38.28 | 38.57 | 37.38 | 34.59 | 33.41 | 30.69 | 30.45 | 28.47 | 26.15 | 24.28 | 21.95 | 18.79 | 15 | 11.57 | 8.21 | 1.39 | 0.39
| 2024-11-20 16:11 | 51.67 | 64.58 | 67.37 | 76.99 | 70.9 | 80.4 | 0 | 96 | USB |  | -40.59 | -27.1 | -25.64 | -8.95 | 1.11 | 20.92 | 11.79 | 15.13 | 19.69 | 28.09 | 18.73 | 30.83 | 38.66 | 39.04 | 43.32 | 46.16 | 41.07 | 38.57 | 43.08 | 37.17 | 38.82 | 36.41 | 33.33 | 33.1 | 32.09 | 31.43 | 28.3 | 26.36 | 22.55 | 21.38 | 19.04 | 15.17 | 12.21 | 8.06 | 1.69 | 0.44
| 2024-11-20 16:11 | 52.16 | 66.37 | 68.82 | 79.79 | 72.6 | 80.55 | 0 | 96 | USB |  | -36.94 | -30 | -31.46 | -7.23 | -6.06 | 20.83 | 15.9 | 16.01 | 20.38 | 30.3 | 20.58 | 26.64 | 39.86 | 35 | 45.1 | 43.53 | 45.06 | 36.39 | 41.97 | 37.98 | 39.04 | 36.77 | 33.88 | 33.63 | 30.5 | 29.38 | 29.93 | 28.82 | 33.3 | 28.45 | 23.15 | 22.67 | 20.04 | 14.91 | 6.36 | 0.74
| 2024-11-20 16:11 | 52.51 | 64.02 | 69.64 | 81.19 | 73.55 | 84.21 | 0 | 96 | USB |  | -39.17 | -26.83 | -32.62 | -10.19 | -2.25 | 23.06 | 17.13 | 15.06 | 28.86 | 29.98 | 23.48 | 28.29 | 40.52 | 38.16 | 45.09 | 46.48 | 45.06 | 39.81 | 44.56 | 38.86 | 39.42 | 37.68 | 34.37 | 34.24 | 30.73 | 29.96 | 29.08 | 30.02 | 28.1 | 26.44 | 22.25 | 19.25 | 15.46 | 9.98 | 3.12 | 0.73
| 2024-11-20 16:11 | 52.42 | 64.1 | 67.12 | 78.27 | 70.93 | 81.54 | 0 | 96 | USB |  | -41.06 | -27.24 | -27.98 | -12.28 | -2.41 | 21.96 | 15.1 | 17.66 | 23.96 | 24.8 | 21.41 | 27.42 | 36.22 | 32.91 | 40.42 | 49.63 | 40.5 | 37.98 | 44.07 | 38.79 | 38.29 | 37.05 | 33.78 | 32.54 | 31.73 | 31.09 | 29.27 | 32 | 28.62 | 26.53 | 24.62 | 19.76 | 15.59 | 11.06 | 4.21 | 0.72
| 2024-11-20 16:11 | 47.88 | 60.79 | 65.89 | 76.03 | 70.89 | 79.73 | 0 | 96 | USB |  | -36.53 | -26.43 | -25.89 | -12.67 | -9.37 | 19.58 | 15.45 | 14.83 | 24.29 | 21.21 | 18.67 | 27.64 | 33.99 | 32.91 | 32.34 | 36.5 | 36.69 | 37.51 | 42.11 | 37.67 | 37.95 | 36.72 | 34.65 | 32.71 | 30.48 | 28.55 | 26.38 | 25.94 | 22.82 | 21.54 | 19.33 | 16.04 | 13.39 | 9.11 | 3.08 | 0.64
| 2024-11-20 16:11 | 47.81 | 61.24 | 65.97 | 74.79 | 70.79 | 80.1 | 0 | 96 | USB |  | -43.22 | -30.19 | -29.55 | -9.87 | -2.86 | 21.42 | 12.58 | 17.33 | 17.42 | 22.06 | 19.46 | 28.46 | 36.08 | 29.66 | 32.74 | 33.64 | 35.58 | 37.88 | 41.47 | 39.04 | 37.91 | 36.1 | 34.41 | 32.96 | 31.43 | 29.94 | 27.72 | 26.41 | 23.27 | 22.16 | 20.1 | 17.8 | 14.69 | 10.56 | 4.81 | 0.69
| 2024-11-20 16:11 | 47.59 | 59.47 | 66.39 | 74.22 | 71.27 | 79.59 | 0 | 96 | USB |  | -43.66 | -28.37 | -27.09 | -10.89 | -5.5 | 21.16 | 14.93 | 16.78 | 21.79 | 23.07 | 17.68 | 24.89 | 32.65 | 30.47 | 31.41 | 34.17 | 36.08 | 37.27 | 41.44 | 38.19 | 38.2 | 36.8 | 35.46 | 33.91 | 31.23 | 29.09 | 27.34 | 26.74 | 23.41 | 22.06 | 19.46 | 16.26 | 12.75 | 7.6 | 2.06 | 0.36
| 2024-11-20 16:11 | 47.7 | 60.4 | 65.6 | 74.98 | 70.41 | 80.25 | 0 | 96 | USB |  | -41.94 | -30.04 | -30.16 | -15.85 | -2.4 | 21.88 | 19.7 | 16.48 | 16.25 | 25.69 | 16.82 | 24.03 | 31.4 | 30.29 | 33.06 | 34.26 | 35.81 | 37.29 | 41.74 | 37.99 | 38.08 | 36.36 | 35.16 | 33.22 | 31.64 | 29.75 | 27.68 | 28.43 | 25.21 | 22.93 | 21.68 | 18.75 | 18.41 | 13.46 | 6.79 | 1.08
| 2024-11-20 16:11 | 48.29 | 63.69 | 67.22 | 75.79 | 72.34 | 80.2 | 0 | 96 | USB |  | -43.08 | -28.9 | -27.13 | -13.49 | -6.34 | 20.28 | 13.72 | 14.57 | 15.72 | 24.05 | 17.09 | 27.31 | 36.41 | 29.94 | 32.71 | 34.68 | 37.21 | 37.93 | 41.97 | 39.22 | 38.26 | 36.68 | 35.68 | 33.84 | 31.58 | 30.53 | 28.4 | 29.09 | 25.78 | 24.51 | 23.94 | 19.84 | 17.02 | 12.19 | 6.06 | 0.78
| 2024-11-20 16:11 | 48.15 | 61.68 | 64.33 | 76.16 | 68.17 | 79.15 | 0 | 96 | USB |  | -37.8 | -30.63 | -30.55 | -13.81 | -4.06 | 21.98 | 18.6 | 15 | 15.94 | 24.39 | 17.99 | 25.47 | 38.32 | 29.97 | 33.48 | 35.26 | 35.89 | 36.81 | 42.29 | 38.5 | 38.12 | 36.28 | 34.7 | 33.59 | 31.57 | 29.18 | 27.44 | 27.08 | 23.45 | 22.27 | 19.83 | 16.27 | 12.5 | 7.64 | 1.73 | 0.51
| 2024-11-20 16:11 | 48.79 | 63.58 | 64.82 | 81.44 | 68.84 | 84.14 | 0 | 96 | USB |  | -38.86 | -23.27 | -35.33 | -12.14 | -8.28 | 10.81 | 14.64 | 16.82 | 14.77 | 22.29 | 17.49 | 28.23 | 37.07 | 30.29 | 34.38 | 35.76 | 35.62 | 37.4 | 42.27 | 39.37 | 38.56 | 37.91 | 35.44 | 34.48 | 31.9 | 30.56 | 30.59 | 29.85 | 32.39 | 28.76 | 23.38 | 22.07 | 18.7 | 14.84 | 6.99 | 0.84
| 2024-11-20 16:11 | 48.14 | 62.68 | 63.32 | 73.54 | 66.99 | 76.34 | 0 | 96 | USB |  | -38.21 | -28.94 | -26.51 | -12.23 | 2.52 | 10.26 | 21.11 | 18.31 | 20.24 | 25.97 | 25.69 | 31.97 | 32.57 | 31.42 | 32.81 | 35.13 | 36.02 | 37.38 | 41.85 | 39.24 | 38.3 | 37.4 | 34.77 | 34.23 | 33 | 31.85 | 30.15 | 28.32 | 26.74 | 24.33 | 21.9 | 20.41 | 15.28 | 10.77 | 3.78 | 0.67
| 2024-11-20 16:11 | 48.02 | 61.85 | 62.64 | 73.96 | 66.84 | 76.35 | 0 | 96 | USB |  | -37.86 | -28.6 | -32.58 | -9.52 | 0.04 | 11.48 | 15.13 | 15.43 | 16.37 | 22.59 | 22.39 | 32.25 | 32.08 | 29.6 | 33.34 | 35.2 | 34.72 | 36.1 | 42.63 | 38.43 | 38.56 | 36.92 | 34.85 | 33.76 | 31.62 | 29.65 | 28.8 | 27.64 | 24.87 | 22.93 | 20.98 | 16.91 | 12.38 | 8.28 | 1.82 | 0.46
| 2024-11-20 16:11 | 50.74 | 76.32 | 63.7 | 77.27 | 67.98 | 79.5 | 0 | 96 | USB |  | -35.46 | -27.99 | -26.59 | -11.02 | 0.81 | 11.83 | 13.82 | 19.16 | 16.36 | 20.36 | 21.54 | 31.13 | 35.3 | 31 | 33.53 | 35.78 | 36.58 | 37.01 | 43.28 | 41.62 | 42.37 | 40.43 | 35.94 | 35.6 | 39.24 | 40.42 | 37.55 | 31.82 | 24.95 | 23.44 | 20.52 | 16.51 | 12.54 | 8.2 | 2.22 | 0.45
| 2024-11-20 16:11 | 48.23 | 62.39 | 66.33 | 75.62 | 71.47 | 79.34 | 0 | 96 | USB |  | -36.41 | -28.97 | -30.56 | -10.46 | -0.55 | 20.82 | 13 | 12.26 | 17.67 | 21.94 | 19.44 | 31.39 | 35.1 | 30.7 | 33.95 | 35.12 | 34.96 | 36.22 | 42.34 | 38.78 | 39.13 | 36.92 | 35.58 | 34.47 | 32.94 | 30.73 | 28.81 | 27.05 | 23.87 | 22.67 | 21.38 | 18.4 | 13.66 | 9.65 | 2.77 | 0.53
| 2024-11-20 16:11 | 48.3 | 60.46 | 65.71 | 74.64 | 70.77 | 79.68 | 0 | 96 | USB |  | -36.86 | -28.36 | -30.65 | -8.08 | 1.73 | 21.81 | 15.79 | 15.23 | 15.9 | 21.37 | 20.71 | 29.44 | 33.21 | 30.7 | 33.35 | 35.24 | 36.3 | 37.22 | 41.92 | 38.46 | 38.35 | 37.37 | 34.49 | 33.63 | 31.57 | 30.94 | 31.34 | 30.05 | 34.44 | 29.96 | 23.45 | 23.12 | 19.75 | 15.94 | 7.65 | 1.22
| 2024-11-20 16:11 | 48.01 | 61.2 | 67.14 | 76.06 | 72.46 | 81.91 | 0 | 96 | USB |  | -33.6 | -28.68 | -24.68 | -7.03 | -2.56 | 20.58 | 14.33 | 11.95 | 16.62 | 22.65 | 18.23 | 26.18 | 32.04 | 30.41 | 35.32 | 34.57 | 35.38 | 36.1 | 41.81 | 38.33 | 38.5 | 36.42 | 34.68 | 33.3 | 34.61 | 34.66 | 31.13 | 28.04 | 25.17 | 23.45 | 20.42 | 16.34 | 13.47 | 8.79 | 2.72 | 0.48
| 2024-11-20 16:11 | 47.6 | 59.31 | 68.6 | 76.75 | 73.93 | 80.97 | 0 | 96 | USB |  | -35.43 | -28.2 | -26.33 | -6.03 | -3.85 | 24.94 | 18.68 | 12.94 | 14.6 | 22.75 | 18.84 | 26.29 | 35.85 | 29.44 | 33.46 | 33.57 | 35.39 | 36.81 | 41.08 | 38.57 | 37.98 | 36.73 | 33.96 | 33.68 | 31.37 | 30.54 | 28.8 | 27.49 | 24.99 | 23.01 | 20.88 | 16.72 | 14.31 | 10.18 | 2.56 | 0.54
| 2024-11-20 16:11 | 47.91 | 60.75 | 67.38 | 76.89 | 72.58 | 80.63 | 0 | 96 | USB |  | -39.22 | -19.47 | -23.93 | -6.89 | -4.58 | 23.01 | 19.98 | 12.35 | 18.77 | 18.45 | 18.17 | 29.96 | 34.96 | 29.34 | 32.65 | 34.27 | 35.81 | 36.36 | 42.64 | 38.2 | 38.47 | 36.4 | 34.12 | 33.43 | 31.26 | 29.51 | 27.97 | 27.16 | 24.64 | 22.27 | 19.72 | 15.69 | 12.84 | 8.42 | 2.13 | 0.46
| 2024-11-20 16:11 | 49.2 | 64.4 | 66.67 | 75.3 | 71.64 | 80.12 | 0 | 96 | USB |  | -36.51 | -20.77 | -27.36 | -8.35 | -4.06 | 22.88 | 17.23 | 14.62 | 14.72 | 24.05 | 21.52 | 30.77 | 29.08 | 32.31 | 35.94 | 42.65 | 36.71 | 37.78 | 42.45 | 38.14 | 38.13 | 37.52 | 35.28 | 33.91 | 31.68 | 29.61 | 27.53 | 26.51 | 24.17 | 21.77 | 21.29 | 16.31 | 13.44 | 9.65 | 2.81 | 0.67
| 2024-11-20 16:12 | 51.14 | 63.08 | 67.13 | 76.22 | 71.18 | 80.8 | 0 | 96 | USB |  | -33.43 | -24.7 | -23.96 | -6.34 | -2.81 | 21.2 | 17.69 | 14.15 | 18.1 | 26.98 | 20.3 | 32.19 | 32.98 | 35.08 | 39.38 | 46.44 | 39.88 | 37.71 | 43.16 | 38.96 | 38.46 | 37.3 | 35.2 | 33.86 | 30.85 | 29.07 | 27.56 | 26.57 | 23.8 | 22.39 | 19.86 | 16.18 | 12.82 | 8.55 | 2.08 | 0.44
| 2024-11-20 16:12 | 52.09 | 64.57 | 68.02 | 77.05 | 71.78 | 81.02 | 0 | 96 | USB |  | -38.75 | -30.1 | -27.16 | -8.51 | -5.52 | 21.09 | 14.83 | 16.83 | 23.6 | 26.68 | 25.7 | 34.43 | 35.33 | 34.36 | 44.15 | 46.37 | 41.91 | 39.38 | 45.37 | 38.89 | 39.41 | 36.84 | 33.93 | 33.76 | 31.26 | 29.22 | 27.72 | 27.01 | 24.96 | 23.1 | 19.83 | 17.35 | 14.25 | 9.08 | 2.35 | 0.47
| 2024-11-20 16:12 | 50.07 | 62.12 | 68.61 | 78.63 | 72.79 | 81.55 | 0 | 96 | USB |  | -37.83 | -32.75 | -25.35 | -9.62 | -2.03 | 21.19 | 16.84 | 17.74 | 23.32 | 27.19 | 22.51 | 32.89 | 37.43 | 34.72 | 42.82 | 41.97 | 40.25 | 36.63 | 41.63 | 38.32 | 38.65 | 36.98 | 34.6 | 34.26 | 31.53 | 30.36 | 28.22 | 26.53 | 23.34 | 22 | 20.6 | 16.77 | 13.05 | 8.86 | 2.1 | 0.51
| 2024-11-20 16:12 | 49.88 | 62.53 | 68.4 | 78.24 | 72.48 | 80.42 | 0 | 96 | USB |  | -40.99 | -32.16 | -27.36 | -13.18 | 4.43 | 22.89 | 15.71 | 16.74 | 29.07 | 31.95 | 31.11 | 31.41 | 36.02 | 34.52 | 41.09 | 42.79 | 37.45 | 37.17 | 40.77 | 38.05 | 38.63 | 37.35 | 34.99 | 33.83 | 31.71 | 34.91 | 32.27 | 29.96 | 26.54 | 25.12 | 20.8 | 16.61 | 13.49 | 8.59 | 1.95 | 0.55
| 2024-11-20 16:12 | 50.59 | 62.03 | 67.34 | 76.72 | 71.04 | 80.39 | 0 | 96 | USB |  | -40.08 | -31.77 | -27.09 | -15.94 | 1.14 | 21.35 | 13.1 | 12.86 | 17.28 | 28.57 | 30.33 | 28.72 | 33.97 | 33.26 | 43.02 | 41.44 | 37.03 | 37.13 | 42.06 | 38.64 | 38.22 | 37.05 | 34.03 | 33.92 | 31.01 | 31.61 | 35.27 | 33.93 | 39.07 | 33.57 | 28.76 | 30.27 | 26.18 | 19.79 | 12.33 | 1.83
| 2024-11-20 16:12 | 59.88 | 89.91 | 70.02 | 88.62 | 74.86 | 90.34 | 0 | 96 | USB |  | -37.28 | -21.84 | -13.28 | -12.2 | 0.58 | 20.62 | 14.91 | 15.65 | 27.63 | 35.97 | 31.56 | 28.85 | 38.66 | 35.66 | 43.36 | 44.02 | 39.45 | 39.18 | 43.29 | 40.42 | 44.34 | 45.13 | 46.45 | 45.26 | 46.88 | 48.58 | 50.84 | 51.83 | 51.62 | 49.62 | 48.89 | 42.73 | 41.83 | 38.48 | 27.56 | 13.2
| 2024-11-20 16:12 | 55.97 | 82.53 | 69.15 | 81.52 | 73.61 | 86.69 | 0 | 96 | USB |  | -28.33 | -22.03 | -9.2 | -4.92 | 4.4 | 21.11 | 15.05 | 16.51 | 23.96 | 34.26 | 27.46 | 27.58 | 38.27 | 36.84 | 42.64 | 46.47 | 39.64 | 37.86 | 43.24 | 40.13 | 39.45 | 39.62 | 40.43 | 41.35 | 40.22 | 43.23 | 50.42 | 45.71 | 43.03 | 42.6 | 38.92 | 32 | 31.69 | 26.31 | 19.54 | 6.47
| 2024-11-20 16:12 | 57.51 | 83.98 | 71.96 | 84.45 | 75.42 | 86.79 | 0 | 96 | USB |  | -22.39 | -17.22 | -12.89 | -8.82 | -0.47 | 23.22 | 18.62 | 21.53 | 24.6 | 29.21 | 39.58 | 28.34 | 41.15 | 43.44 | 45.46 | 52.18 | 43.68 | 39.07 | 44.84 | 39.96 | 40.15 | 39.8 | 41.85 | 42.85 | 43.19 | 46.24 | 47.26 | 44.38 | 43.57 | 42.6 | 40.04 | 37.34 | 34.05 | 29.58 | 23.07 | 13.71
| 2024-11-20 16:12 | 50.78 | 68.99 | 67.76 | 79.03 | 72.48 | 81.57 | 0 | 96 | USB |  | -31.16 | -23.76 | -17.29 | -9.18 | 4.06 | 23.78 | 15.1 | 19 | 19.44 | 23.51 | 30.08 | 32.52 | 35.81 | 35.33 | 36.82 | 44.83 | 37.12 | 38.37 | 42.86 | 40.04 | 40.05 | 39.63 | 36.23 | 36.09 | 35.27 | 35.24 | 34.21 | 32.18 | 31.93 | 29.66 | 27.08 | 23.34 | 20.2 | 15.79 | 8.84 | 0.95
| 2024-11-20 16:12 | 50.13 | 72.15 | 69.27 | 77.83 | 74.04 | 82.18 | 0 | 96 | USB |  | -41.18 | -26.93 | -26.77 | -8.83 | -2.48 | 23.41 | 13.24 | 16.1 | 20.44 | 30.42 | 31.25 | 25.94 | 37.49 | 31.59 | 34.87 | 35.33 | 36.09 | 37.4 | 42.85 | 39.65 | 41.04 | 40.07 | 35.96 | 35.9 | 36.48 | 35.84 | 33.96 | 34.42 | 32.35 | 29.14 | 25.49 | 21.7 | 17.9 | 12.12 | 4.48 | -0.64
| 2024-11-20 16:12 | 48.65 | 77.19 | 68.61 | 76.88 | 72.68 | 81.89 | 0 | 96 | USB |  | -41.07 | -26.66 | -25.86 | -5.85 | 2.28 | 22.98 | 15.92 | 16.28 | 16.18 | 35 | 20.22 | 27.43 | 34.16 | 29.26 | 34.58 | 35.35 | 36.25 | 36.25 | 42.5 | 38.16 | 38.33 | 38.66 | 35.77 | 35.49 | 31.51 | 31.24 | 31.8 | 31.93 | 31.16 | 31.73 | 30.12 | 26.38 | 22.57 | 14.04 | 3.56 | 1.07
| 2024-11-20 16:12 | 47.93 | 66.73 | 66.85 | 76.89 | 71.62 | 82.44 | 0 | 96 | USB |  | -39.22 | -35.74 | -29.18 | -13.79 | 3.73 | 22.99 | 16.16 | 14.35 | 17.39 | 32.75 | 17.57 | 31.89 | 33.42 | 30.07 | 32.09 | 34.27 | 36.87 | 36.57 | 41.6 | 37.62 | 38.52 | 37.26 | 34.66 | 34.8 | 31.73 | 29.41 | 28.02 | 26.81 | 25.54 | 24.23 | 20.97 | 15.62 | 11.81 | 6.59 | 2.26 | -1
| 2024-11-20 16:12 | 54.05 | 73.57 | 67.23 | 80.53 | 71.26 | 81.04 | 0 | 96 | USB |  | -39.27 | -30.93 | -35.36 | -10.3 | 1.39 | 20.52 | 12.1 | 14.99 | 15.45 | 30.47 | 18.84 | 33.42 | 36.06 | 36.59 | 36.3 | 38.99 | 40.18 | 42.35 | 45.65 | 43 | 45.65 | 42.7 | 43.79 | 42.64 | 39.92 | 40.87 | 41.39 | 38.39 | 34.96 | 33.26 | 28.28 | 22.1 | 17.1 | 9.88 | 3.18 | -1.09
| 2024-11-20 16:12 | 50.99 | 71.29 | 67.65 | 83.65 | 71.75 | 85.64 | 0 | 96 | USB |  | -44.42 | -25.36 | -30.65 | -11.53 | 0.76 | 20.15 | 14.55 | 16.47 | 20.75 | 27.69 | 26.37 | 37.86 | 40.88 | 36.22 | 35.24 | 37.34 | 36.86 | 38.94 | 42.58 | 40.31 | 40.63 | 40.74 | 38.16 | 38.89 | 35.75 | 36.05 | 35.37 | 35.32 | 34.93 | 31.07 | 27.89 | 22.38 | 16.26 | 11.75 | 4.1 | -1.08
| 2024-11-20 16:12 | 48.47 | 64.43 | 67.23 | 76.68 | 72.2 | 80.54 | 0 | 96 | USB |  | -42.77 | -26.17 | -28.91 | -6.92 | 2.96 | 22.41 | 10.55 | 16.63 | 20.62 | 24.53 | 21.05 | 33.46 | 32.75 | 29.87 | 35.02 | 37.63 | 35.77 | 37.12 | 41.42 | 38.66 | 38.98 | 37.76 | 35.5 | 35.52 | 31.98 | 30.77 | 29.97 | 30.41 | 29.65 | 24.47 | 22.06 | 18.28 | 13.46 | 8.04 | 2.45 | -1.2
| 2024-11-20 16:12 | 47.91 | 65.06 | 66.32 | 75.2 | 71.34 | 79.54 | 0 | 96 | USB |  | -42.29 | -25.12 | -31.27 | -6.87 | -4.18 | 22.57 | 12.65 | 18.54 | 17.67 | 22.9 | 19.29 | 31.95 | 34.42 | 28.72 | 33 | 36.29 | 35.11 | 36.73 | 41.36 | 38.52 | 38.74 | 37.69 | 34.2 | 34.87 | 31.38 | 28.97 | 28.37 | 27.76 | 25.22 | 23.22 | 21.15 | 17.28 | 12.5 | 7.87 | 2.31 | -1.31
| 2024-11-20 16:12 | 49.46 | 63.68 | 67.47 | 77.81 | 72.21 | 80.22 | 0 | 96 | USB |  | -39.82 | -25.66 | -30.39 | -9.03 | -2.08 | 22.32 | 14.44 | 17.57 | 18.43 | 22.6 | 20.1 | 31.82 | 36.13 | 33.32 | 40.8 | 38.85 | 38.98 | 37.52 | 42.73 | 37.87 | 38.67 | 37.56 | 34.16 | 34.33 | 30.86 | 29.02 | 27.31 | 26.82 | 24.73 | 22 | 20.38 | 16.41 | 11.44 | 6.56 | 1.41 | -1.32
| 2024-11-20 16:12 | 50.11 | 61.19 | 66 | 76.13 | 70.58 | 80.35 | 0 | 96 | USB |  | -36.8 | -31.86 | -30.01 | -8.05 | -1.73 | 21.97 | 12.66 | 15.93 | 18.99 | 22.78 | 19.92 | 28.67 | 33.32 | 31.84 | 37.62 | 45.86 | 38.11 | 36.93 | 41.99 | 37.56 | 38.85 | 37.57 | 34.27 | 34.71 | 31.11 | 28.24 | 26.66 | 25.97 | 23.84 | 21.15 | 18.49 | 15.18 | 11.8 | 6.67 | 1.34 | -1.37
| 2024-11-20 16:12 | 52.51 | 63.84 | 67.2 | 77.65 | 71.3 | 80.56 | 0 | 96 | USB |  | -35.22 | -28.16 | -30.04 | -6.82 | -0.88 | 20.12 | 12.15 | 17.64 | 18.7 | 25.75 | 18.99 | 26.04 | 36.81 | 35.11 | 43.71 | 46.74 | 42.5 | 38.21 | 45.03 | 39.39 | 39.94 | 38.36 | 34.83 | 35.1 | 32.85 | 31.25 | 30.92 | 31.23 | 30.4 | 30.06 | 24.61 | 22.84 | 20.44 | 15.4 | 8.42 | -0.23
| 2024-11-20 16:12 | 51.19 | 64.64 | 66.55 | 78.22 | 70.33 | 80.64 | 0 | 96 | USB |  | -43.6 | -28.21 | -28 | -7.89 | -5.7 | 21.36 | 13.12 | 17.38 | 22.09 | 26.81 | 21.72 | 31.05 | 36.51 | 36.42 | 43.71 | 44.47 | 40.62 | 38.98 | 43.7 | 38.95 | 38.55 | 38.39 | 35.11 | 34.96 | 31.98 | 30.69 | 30.07 | 28.5 | 27.67 | 25.82 | 23.76 | 21.97 | 17.7 | 13.4 | 6.94 | -0.94
| 2024-11-20 16:12 | 50.21 | 64.87 | 65.19 | 76.76 | 68.37 | 79.92 | 0 | 96 | USB |  | -43.37 | -26.43 | -32.13 | -6.53 | -1.6 | 11.81 | 15.17 | 16.95 | 16.39 | 25.56 | 18.21 | 31.33 | 33.84 | 35.58 | 41.38 | 41.33 | 39.09 | 36.61 | 41.78 | 38.07 | 39.44 | 38.11 | 35.77 | 36.25 | 33.87 | 32.62 | 33.87 | 33.31 | 30.97 | 30.72 | 29.5 | 26.69 | 22.89 | 17.54 | 10.3 | -0.06
| 2024-11-20 16:12 | 51.69 | 63.96 | 66.38 | 78.1 | 69.15 | 78.99 | 0 | 96 | USB |  | -37.78 | -29.13 | -27.47 | -7.42 | -4.42 | 15.28 | 19.02 | 18.61 | 22.27 | 30.48 | 18.88 | 32.57 | 35.39 | 36.23 | 40.47 | 47.12 | 39.19 | 37.39 | 42.92 | 37.73 | 38.54 | 37.56 | 34.57 | 34.56 | 31.56 | 30.98 | 29.75 | 28.4 | 25.76 | 23.78 | 21 | 20.19 | 14.29 | 8.01 | 2.73 | -1.22
| 2024-11-20 16:12 | 54.76 | 67.88 | 67.72 | 81.44 | 69.72 | 80.69 | 0 | 96 | USB |  | -36.77 | -33.9 | -30.6 | -8.41 | -1.85 | 6.96 | 17.38 | 17.21 | 22.47 | 26.14 | 19.26 | 34.63 | 36.39 | 42.4 | 44.7 | 52.24 | 43.28 | 38.94 | 45.21 | 37.82 | 39.01 | 38.33 | 35.65 | 36.65 | 32.25 | 28.34 | 27.24 | 27.34 | 24.79 | 22.15 | 18.77 | 15.53 | 12.18 | 7.85 | 1.82 | -1.31
| 2024-11-20 16:12 | 50.3 | 72.16 | 64.25 | 79.59 | 67.84 | 80.22 | 0 | 96 | USB |  | -43.63 | -29.59 | -24.87 | -12.45 | 0.39 | 11.6 | 17.34 | 13.47 | 17.91 | 24 | 24.2 | 35.66 | 37.16 | 33.88 | 36.9 | 43.86 | 36.12 | 37.07 | 42.58 | 39.36 | 38.77 | 38.28 | 37.05 | 37.29 | 36.5 | 33.4 | 31.1 | 29.25 | 27.07 | 26.02 | 27.55 | 24.95 | 18.45 | 13.12 | 5.61 | -0.92
| 2024-11-20 16:12 | 55.61 | 78.27 | 65.7 | 78.21 | 70.5 | 82.56 | 0 | 96 | USB |  | -46.07 | -28.85 | -23.35 | -10.35 | -1.41 | 12.3 | 13.28 | 12.48 | 18.77 | 22.26 | 19.65 | 28.55 | 36.36 | 32.17 | 34.65 | 34.56 | 36.28 | 38.78 | 43.74 | 39.86 | 43.29 | 40.84 | 47.84 | 47.55 | 45.66 | 45.97 | 46.43 | 42.47 | 40.98 | 38.68 | 35.63 | 31.17 | 28.81 | 22.32 | 14.75 | 4.5
| 2024-11-20 16:12 | 54.32 | 78.02 | 67.09 | 81.35 | 72.25 | 84.66 | 0 | 96 | USB |  | -32.82 | -24.07 | -16.11 | -12.94 | -5.53 | 23.17 | 15.11 | 12.09 | 17.56 | 22.12 | 20.52 | 24.15 | 32.08 | 31.92 | 33.64 | 34.48 | 36.41 | 38.61 | 44.07 | 40.44 | 41.77 | 43.26 | 49.16 | 44.41 | 43.16 | 41.73 | 44.04 | 36.41 | 34.47 | 33.08 | 29.95 | 27.2 | 21.7 | 13.57 | 8.07 | 0.72
| 2024-11-20 16:12 | 53.65 | 81.04 | 67.03 | 82.63 | 71.87 | 83.94 | 0 | 96 | USB |  | -37.35 | -28.63 | -30.35 | -9.75 | 0.41 | 22.42 | 12.7 | 13.45 | 13.99 | 25.09 | 20.42 | 28.1 | 34.04 | 30.43 | 32.47 | 35.41 | 35.83 | 37.04 | 42.63 | 40.02 | 42.6 | 45.36 | 47.05 | 40.88 | 39.22 | 41.96 | 45.5 | 38.49 | 34.96 | 34.44 | 29.26 | 27.41 | 22.34 | 18.88 | 15.79 | 5.13
| 2024-11-20 16:12 | 61.16 | 92.56 | 67.96 | 93.04 | 72.16 | 93.55 | 0 | 96 | USB |  | -46.45 | -28.61 | -31.05 | -14.66 | -3.38 | 22.52 | 12.21 | 14.8 | 17.63 | 23.39 | 21.31 | 32.51 | 36.95 | 31.89 | 34.44 | 35.8 | 36.6 | 39.18 | 44.51 | 47.55 | 53.02 | 51.37 | 53.28 | 50.78 | 50.55 | 49.07 | 51.67 | 46.96 | 47.68 | 48.11 | 44.59 | 36.68 | 30.4 | 27.03 | 18.12 | 3.12
| 2024-11-20 16:12 | 49.69 | 71.08 | 65.99 | 74.92 | 70.85 | 79.2 | 0 | 96 | USB |  | -42.68 | -27.48 | -29.26 | -10.23 | -0.81 | 22.15 | 15.11 | 16.5 | 20.78 | 22.88 | 18.75 | 30.65 | 32.31 | 29.69 | 33.01 | 34.01 | 36.89 | 36.62 | 42.44 | 39.09 | 38.82 | 38.23 | 42.51 | 38.09 | 35.14 | 36.49 | 35.18 | 27.74 | 25.67 | 22.5 | 19.27 | 15.5 | 12.19 | 6.83 | 1.48 | -1.52
| 2024-11-20 16:12 | 49.16 | 64.77 | 65.33 | 74.16 | 70.3 | 79.74 | 0 | 96 | USB |  | -39.72 | -32.12 | -28.32 | -11.25 | -5.27 | 21.09 | 13.26 | 13.02 | 18.44 | 25.26 | 22.72 | 27.63 | 33.86 | 29.53 | 32.28 | 35.31 | 36.18 | 37.45 | 42.43 | 37.32 | 39.04 | 38.25 | 39.24 | 40.12 | 34.26 | 32.85 | 33.58 | 28.39 | 26.39 | 24.4 | 21.2 | 17.53 | 14.05 | 9.13 | 3.05 | -1.54
Stop | 2024-11-20 16:12